2018 Consumer Confidence Report

###### Toyon Park Water System LLC

PO Box 608, Valley Springs, CA

We're pleased to present to you this year's annual Consumer Confidence Report (CCR). This report is designed to inform you about the quality water and services we deliver to you every day. Our constant goal is to provide you with a safe and dependable supply of drinking water. We are committed to ensuring the quality of your water.  Our water source consists of 2 wells located on the property.

If you have any questions about this report or concerning your water utility, please contact Ryan Churchill at (209) 418-8385.

Espanol – (Spanish): Este informe contiene información muy importante sobre su agua beber.  Tradúzcalo ó hable con alguien que lo entienda bien.

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

In order to ensure that tap water is safe to drink, the U.S. Environmental Protection Agency (USEPA) and the State Department of Health (Department) prescribe regulations that limit the amount of certain contaminants in water provided by public water systems.  Department regulations also establish limits for contaminants in bottled water that provide the same protection for public health.

All drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that the water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the USEPA’s Safe Drinking Water Hotline at 1-800-426-4791.

Contaminants that may be present in source water include:

- Microbiological contaminants, such as viruses and bacteria, that may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

- Inorganic contaminants, such as salts and metals, that can be naturally-occurring or result from urban stormwater runoff, industrial, or domestic wastewater discharges, oil and gas production, mining, or farming.

- Pesticides and herbicides, that may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

- Organic chemical contaminants, including synthetic and volatile organic chemicals, that are by-products of industrial processes and petroleum production and can also come from gas stations, urban stormwater runoff, agricultural application, and septic systems.

- Radioactive contaminants, that can be naturally-occurring or be a result of oil and gas production and mining activities.

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. USEPA/Centers for Disease Control (CDC) guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbiological contaminants are available from the Safe Drinking Water Hotline (800-426-4791).

WATER QUALITY DATA

Toyon Park Water System routinely monitors for constituents in your drinking water according to Federal and State laws. Tables 1, 2, 3, 4, 5 and 6 list all of the drinking water contaminants that were detected above the DLR during the most recent sampling for the constituent.  The presence of these contaminants in the water does not necessarily indicate that the water poses a health risk.  The table does not include contaminants that were not detected by laboratory testing.  Unless otherwise indicated, the data contained in this report are for the monitoring period of January 1st to December 31st, 2018.  The Department allows us to monitor for certain contaminants less than once per year because the concentrations of these contaminants do not change frequently.  Some of the results in this report, though representative, may be more than a year old.

| TERMS USED IN THIS REPORT: |
| --- |
| Maximum Contaminant Level (MCL): The highest level of a contaminant that is allowed in drinking water. Primary MCLs are set as close to the PHGs (or MCLGs) as is economically and technologically feasible. Secondary MCLs are set to protect the odor, taste, and appearance of drinking water. Primary Drinking Water Standards (PDWS): MCLs for contaminants that affect health along with their monitoring and reporting requirements, and water treatment requirements. Secondary Drinking Water Standards (SDWS): MCLs for contaminants that affect taste, odor, or appearance of the drinking water. Contaminants with SDWSs do not affect the health at the MCL levels. ND: not detectable at testing limit ppm: parts per million or milligrams per liter (mg/L) ppb: parts per billion or micrograms per liter (ug/L) pCi/L: picocuries per liter (a measure of radiation) | Public Health Goal (PHG): The level of a contaminant in drinking water below which there is no known or expected risk to health. PHGs are set by the California Environmental Protection Agency. Maximum Contaminant Level Goal (MCLG): The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs are set by the U.S. Environmental Protection Agency (USEPA). Treatment Technique (TT): A required process intended to reduce the level of a contaminant in drinking water Regulatory Action Level (AL): The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow. Variances and Exemptions: Department permission to exceed an MCL or not comply with a treatment technique under certain conditions. DLR: Detection Limit for purposes of Reporting. The DLR is set by state regulation for each reportable analyte. |

| Table 1 – Sampling Results Showing The Detection Of Coliform Bacteria |
| --- |
| Microbiological Contaminants | Highest No. of detections | No. of months in violation | MCL | MCLG | Typical source of Bacteria |
| Total Coliform Bacteria | (In a mo.) Two | 2 | More than 1 sample in a month with a detection | 0 | Naturally present in the environment |
| Fecal coliform or E. coli | (In the yr) None | None | A routine sample and a repeat sample detect total coliform and either sample also detects fecal coliform of E.coli | 0 | Human and animal fecal waste |

Total Coliform: Coliforms are bacteria that are naturally present in the environment and are used as an indicator that other, potentially harmful, waterborne pathogens may be present or that a potential pathway exists through which contamination may enter the drinking water distribution system.  We found coliforms indicating the need to look for potential problems in water treatment or distribution.  When this occurs, we are required to conduct assessment(s) to identify problems and to correct any problems that were found during these assessments.

During the past year we were required to conduct Two Level 1 Assessments which were completed in March and

September 2018.  A Level 1 Assessment is a study of the water system to identify potential problems and determine (if possible) why total coliform bacteria have been found in our water system.

| Table 2 – Sampling Results Showing The Detection Of Lead And Copper |
| --- |
| Contaminant (CCR units) | MCL | PHG | Average | Range | Sample Date | Violation | Typical Source |
| Lead (ppb) | AL = 15 | 0.2 | 8 | 5 sites sampled; 0 sites over action level | 2018 | No | Internal corrosion of household water plumbing systems; discharges from industrial manufacturers; erosion of natural deposits |
| Copper (ppm) | AL = 13 | 0.3 | 0.6 | 5 sites sampled; 0 sites over action level | 2018 | No | Internal corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives. |

Copper is an essential nutrient, but some people who drink water containing copper in excess of the action level over a relatively short amount of time may experience gastrointestinal distress.  Some people who drink water containing copper in excess of the action level over many years may suffer liver or kidney damage.  People with Wilson’s Disease should consult their personal doctor.

Lead - If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing.  Toyon Park Water System is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components.  When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking.  If you are concerned about lead in your water, you may wish to have your water tested.  Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead.

| Table 3 – Sampling Results For Sodium and Hardness |
| --- |
| Chemical or Constituent (reporting units) | Sample Date | Average Level Detected | Range of Detections | PHG (MCLG) | MCL | Typical Source of Contamination |
| Sodium (ppm) | 05/05/05 | 10.3 | NA | none | none | Generally found in ground and surface water |
| Hardness (ppm) | 05/05/05 | 111 | NA | none | none | Generally found in ground and surface water |

| Table 4 - Detection Of Contaminants With A Primary Drinking Water Standard |
| --- |
| Chemical or Constituent | Violation Y/N | Average Level Detected | Range of Detections | Units | PHG (MCLG) | MCL | Typical Source of Contaminant |
| Arsenic Well 3: 2/11/2015 | N | ND | --- | ppb | 0.004 | 10 | Erosion of natural deposits; runoff from orchards; glass and electronics production wastes |
| Fluoride Well 3: 2/11/2015 | N | 0.140 | --- | ppm | 1 | 2 | Erosion of natural deposits; water additive which promotes strong teeth; discharge from fertilizer and aluminum factories |
| Hexavalent Chromium Well 3: 2014 Well 1: 2014 | N | ND | ND | ppb | 0.02 | 10 | Discharge from electroplating factories, leather tanneries, wood preservation, chemical synthesis, refractory production, and textile manufacturing facilities; erosion of natural deposits |
| Nitrate as N Well 3: 2018 Well 1: 2018 | N | 3.6 | 0.84 – 6.5 | ppm | 10 | 10 | Runoff from fertilizer use; leaching from septic tanks, sewage; erosion of natural deposits |
| Volatile Organic Contaminants |
| 1,1-dichloroethylene Well 3 | N | 0.54 | NA | CCR Units | 10 | 6 | Discharge from industrial chemical factories |
| TTHM Well 1 | N | 5.86 | NA | CCR Units | 10 | 80 | Byproduct of drinking water disinfection |
| Table 5 - Detection Of Contaminants With A Secondary Drinking Water Standard (a) Well #3 Sampling Date: 05/05/2005 |
| Chemical or Constituent | Violation Y/N | Average Level Detected | Range of Detections | Units | PHG (MCLG) | MCL | Typical Source of Contaminant |
| Chloride | N | 8.5 | NA | ppm | NA | 500 | Runoff/leaching from natural deposits; sea water influence |
| Color | N | 3 | NA | Color Units | NA | 15 | Naturally-occurring organic materials |
| Conductivity | N | 299 | NA | Micro-mhos per cm | NA | 1600 | Substances that form ions when in water; sea water influence |
| Corrosivity | N | -1.28 | NA | Langlier Index | NA | Non-corrosive | Naturally or industrially-influenced balance of hydrogen, carbon and oxygen in the water; affected by temperature and other factors. |
| Iron | Y* | 320 | NA | ppb | NA | 300 | Leaching from natural deposits; industrial wastes |
| Odor – Threshold | N | 1.0 | NA | Units | NA | 3 | Naturally-occurring organic compounds |
| Sulfate | N | 18 | NA | ppm | NA | 500 | Runoff/leaching from natural deposits; industrial wastes |
| Total Dissolved Solids Well 3 (02/17/15) Well 1 (11/08/12) | N | 221 | 173 - 269 | ppm | NA | 1000 | Runoff/leaching from natural deposits |
| Turbidity | N | 2.1 | NA | Units | NA | 5 | Soil runoff |
| Zinc | N | 380 | NA | ppb | NA | 5000 | Runoff/leaching from natural deposits; industrial wastes |
| Table 6 - Radioactive Contaminants of Well #1 and #3 |
| Chemical or Constituent | Violation Y/N | Range of Detections | Units | PHG (MCLG) | MCL | Typical Source of Contaminant |
| Gross Alpha particle activity | N | (Well #3) 0.391 +/- 1.13 to (Well #1) 0.518 +/- 1.23 | pCi/L | (0) | 15 | Erosion of natural deposits |

*Any violation of an MCL or AL is asterisked.  Additional information regarding the violation is provided below.

- There are no PHGs, MCLGs, or mandatory standard health affects language for constituents with secondary drinking water standards because secondary MCLs are set on the basis of aesthetics.

Iron MCL violation - “Iron was found at a level that will exceed the secondary MCL.  This MCL was set to protect you against unpleasant aesthetic effects such as color, taste, odor and the staining of plumbing fixtures (e.g., tubs and sinks), and clothing while washing.  The high iron level is due to leaching of natural deposits.”

| Chemical | Detected Level | Health Effects Language |
| --- | --- | --- |
| Perchlorate (ppb) 5/11/2016 | ND | Perchlorate has been shown to interfere with uptake of iodide by the thyroid gland, and to thereby reduce the production of thyroid hormones, leading to adverse effects associated with inadequate hormone levels. Thyroid hormones are needed for normal prenatal growth and development of the fetus, as well as for normal growth and development in the infant and child. In adults, thyroid hormones are needed for normal metabolism and mental function. |

MCL’s are set at very stringent levels. To understand the possible health effects described for many regulated constituents, a person would have to drink 2 liters of water every day at the MCL level for a lifetime to have a one-in-a-million chance of having the described health effect.

On 2/12/2018, 5/08/2018, 8/16/2018, & 11/16/2018, Synthetic Organic Contaminates was sampled to meet regulatory

sampling requirements.  The results were less than the reporting limits with none detection.

| Chemical | Detected Level | Health Effects Language |
| --- | --- | --- |
| 1,2,3-Trichloropropane (ng/L or PPT) | ND | Some people who drink water containing 1,2,3-trichloropropane in excess of the MCL over many years may have an increased risk of getting cancer. |

Report prepared 5/26/2019 by Alpha Analytical Laboratories, Inc., using CCR Guidance for Water Suppliers available at, http://www.waterboards.ca.gov/drinking_water/certlic/drinkingwater/CCR.shtml, employing due diligence with instructions given. Data contained in this report are based on the analytical results generated by Alpha Analytical Laboratories and its subcontract laboratories.