
Big Creek Community Services District

Annual Drinking Water Quality Report - 2017
Posted from 04/21/2017 to 05/21/2017 

System # 1000005

The Big Creek Community Services District is pleased to present to you the 2016 Annual Water Quality Report. This report is designed to inform you about the quality of water and services we deliver to you every day. Our constant goal is to provide you with a safe and dependable supply of drinking water. We want you to be aware of the efforts we make to continually provide good, clean, safe water. We are committed to ensuring the quality of our water. Our water source is surface water from Huntington Lake via Big Creek #1 Penstock. This water is processed through the SCE water treatment plant and delivered to our 60,000-gallon redwood storage tank. All BCCSD water is purchased from Southern California Edison Company. 

Treatment

The SCE Big Creek #1 Domestic Water Plant routinely monitors for contaminants in your drinking water according to Federal and State laws. Their testing is performed by BSK Labs, an independent, certified laboratory. The BCCSD does not test raw water since we purchase treated water. However, we do tests for chlorine residual daily, and for certain contaminants as required by the California Public Health Department. 

The results of these tests for BCCSD and SCE for the period 01-01-16 thru 12-31-16 are shown in the following tables.

In these tables you will find terms and abbreviations you might not be familiar with. To help you better understand these terms we've provided the following definitions:

Non-Detects (ND) - laboratory analysis indicates that the constituent is not present.

Picocuries per liter (pCi/L) - picocuries per liter is a measure of the radioactivity in water.

Nephelometric Turbidity Unit (NTU) - nephelometric turbidity unit is a measure of the clarity of water. Turbidity in excess of 5 NTU is just noticeable to the average person.

Treatment Technique (TT) - A treatment technique is a required process intended to reduce the level of a contaminant in drinking water.

Maximum Contaminant Level- The “Maximum Allowed” (MCL) is the highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

Maximum Contaminant Level Goal - The “Goal”(MCLG) is the level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety. 

Public Health Goal or PHG – The level of a contaminant in drinking water below which there is no known or expected risk to health. PHGs are set by the California Environmental Protection Agency.

1

Note: All drinking water, including bottled drinking water, may be reasonably expected to contain at least small amounts of some contaminants. It's important to remember that the presence of these contaminants does not necessarily pose a health risk.  More information about contaminants and potential health effects can be obtained by calling the Environmental Protection Agency’s Safe Drinking Water Hotline at 1-800-426-4791.

 TABLE 1         

BCCSD TEST  RESULTS FOR DETECTION OF COLIFORM BACTERIA
	Contaminant
	Violation

Y/N
	Level 

Detected
	Range
	Unit

Measurement
	MCL
	PHG

(MCLG)
	Likely Source of Contamination

	Total Coliform Bacteria
	N
	0
	
	N/A
	presence of coliform bacteria in 5% of monthly samples
	N/A

(0)
	Naturally present in the environment

	Fecal coliform and                                                E.coli
	N
	0
	
	N/A
	A routine sample and a repeat sample detect total coliform and either sample also detects fecal coliform or E. coli
	N/A

(0)
	Human and animal waste


 TABLE 2                       BCCSD TEST RESULTS FOR DETECTION OF LEAD AND COPPER

	Lead 

And

Copper
	Violation

Y/N
	No. of samples collected
	90th percentile level detected
	No. sites exceeding AL
	MCL
	PHG
	Typical Source of Contaminant

	Lead                (ppm)
	N
	10
	7
	0
	.015
	0.2
	Internal corrosion of household water plumbing systems; discharges from industrial manufacturers; erosion of natural deposits

	Copper    (ppm)
	N
	10
	62
	0
	1.3
	0.3
	Internal corrosion of household water plumbing systems; discharges from industrial manufacturers; erosion of natural deposits


Note: These samples were tested on 09/08/16
TABLE 3 
BCCSD DETECTION OF CONTAMINANTS WITH A PRIMARY DRINKING WATER STANDARD

	Chemical or Constituent
(and reporting units)
	Violation

     Y/N
	Sample Interval
	Level Detected
	Range of Detection
	MCL
[MRDL]
	PHG
(MCLG)
[MRDLG]
	Typical Source of Contaminant

and Health Effects

	HAA5  (ppb)
	Y
	Quarterly


	Annual Average: 

67.0
	48-150
	MCL 

60 ppb
	
	Byproduct of drinking water disinfection.

Some people who drink water containing Haloacetic acids in excess of the MCL over many years may have an increased risk of getting cancer.

	TTHM  (ppb)
	n
	Quarterly
	Annual Average:

58.3
	68-100
	MCL

80 ppb
	
	Byproduct of drinking water disinfection.

Some people who drink water containing Trichloromethane in excess of the MCL over many years may have an increased risk of getting cancer.

	Chlorine (ppm)
	N
	Daily
	Daily Average:

.7
	
	[MRDL]

4.0 as residual chlorine
	[MRDLG]

4.0 as  residual chlorine
	Drinking water disinfectant added for treatment.

Some people who use water containing chlorine well in excess of the MRDL could experience irritating effects to their eyes and nose.  Some people who drink water containing chlorine well in excess of the MRDL could experience stomach discomfort.


2

We are currently exceeding the MCL for HAA5. This does not present an immediate health risk. You do not need to use an alternative (e.g. , bottled) water supply (see Table 3). The BCCSD is in the process of determining the proper method of correcting this situation.

TABLE 4        SCE  detection of contaminants with a  Primary Drinking Water Standard
	Contaminant
	Violation

Y/N
	Level 

Detected
	Range
	Unit

Measurement
	MCL
	PHG

(MCLG)
	Likely Source of Contamination

and Health Effects

	Turbidity
	N
	0.258*
	.020 to .258
	NTU
	TT**
	1.0

(N/A)
	Soil runoff.  Turbidity has no health effects.  However, high levels of turbidity can interfere with disinfection and provide a medium for microbial growth.  Turbidity may indicate the presence of disease-causing organisms.  These organisms include bacteria, viruses, and parasites that can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.

	 Alpha  Activity,  Gross
	N
	ND
	
	pCi/L
	15
	N/A
	Erosion of natural deposits.

Certain minerals are radioactive and may emit a form of radiation known as alpha radiation.  Some people who drink water containing alpha emitters in excess of the MCL over many years may have an increased risk of getting cancer.


*   This is the highest single measurement for the year. Turbidity is logged every 4 hours continuously.

** The treatment technique used by SCE to remove turbidity is multiple stage filtration.

Additional Information

Lead and copper are an issue in some homes. Infants and young children are typically more vulnerable to lead in drinking water than the general population. It is possible that lead levels at your home may be

higher than at other homes in the community as a result of materials used in your home’s plumbing. If 

you are concerned about elevated lead levels in your home water you may wish to have your water tested                    and flush your tap for 30 seconds to 2 minutes before using tap water. Additional information is available   from the Safe Drinking Water Hotline at (800-426-4791)

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. EPA/CDC guidelines on appropriate means to lessen the risk of infection by cryptosporidium and other microbiological contaminants are available from the Safe Drinking Water Hotline (800-426-4791).”

Please call me if you have questions: Carson Brockway (559)374-1751
The Big Creek Community Services District desires to provide top quality water to every tap. We ask that all our customers help us protect our water sources, conserve water whenever possible, and use water responsibly.













BCCSD

Carson Brockway
3
