2025 Consumer Confidence Report
Water System Name:	Sherwood Forest Mobile Home Park	Report Date:	06/22/2026
We test the drinking water quality for many constituents as required by state and federal regulations. This report shows the results of our monitoring for the period of January 1 to December 31, 2025 and may include earlier monitoring data.
Este informe contiene información muy importante sobre su agua para beber. Favor de comunicarse Sherwood Forest Mobile Home Park a 559-349-4187 para asistirlo en español.
Type of water source(s) in use:	 Groundwater	 Name & general location of source(s):	 Well 01 is located adjacent to a small decorative creek in the mobile home park.	

Drinking Water Source Assessment information:	 The source is considered most vulnerable to the following activities not  Associated with any detected contaminants: surface water- streams/lakes/rivers, transportation corridor- roads/streets. There Have been no primary contaminants detected in the water supply, however the source is still considered vulnerable to

Activities located near the drinking water source.


Time and place of regularly scheduled board meetings for public participation:	 Please call for an appointment	 For more information, contact:	Coty Rivera		Phone:	559-420-1534
	
TERMS USED IN THIS REPORT
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Maximum Contaminant Level (MCL): The highest level of a contaminant that is allowed in drinking water. Primary MCLs are set as close to the PHGs (or MCLGs) as is economically and technologically feasible. Secondary MCLs are set to protect the odor, taste, and appearance of drinking water.
Maximum Contaminant Level Goal (MCLG): The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs are set by the U.S. Environmental Protection Agency (U.S. EPA).
Public Health Goal (PHG): The level of a contaminant in drinking water below which there is no known or expected risk to health. PHGs are set by the California Environmental Protection Agency.
Maximum Residual Disinfectant Level (MRDL): The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.
Maximum Residual Disinfectant Level Goal (MRDLG): The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.
Primary Drinking Water Standards (PDWS): MCLs and MRDLs for contaminants that affect health along with their monitoring and reporting requirements, and water treatment requirements.

Secondary Drinking Water Standards (SDWS): MCLs for contaminants that affect taste, odor, or appearance of the drinking water. Contaminants with SDWSs do not affect the health at the MCL levels.
Treatment Technique (TT): A required process intended to reduce the level of a contaminant in drinking water.
Regulatory Action Level (AL): The concentration of a contaminant which, if exceeded, triggers treatment or other requirements that a water system must follow.
Variances and Exemptions: Permissions from the State Water Resources Control Board (State Board) to exceed an MCL or not comply with a treatment technique under certain conditions.
Level 1 Assessment: A Level 1 assessment is a study of the water system to identify potential problems and determine (if possible) why total coliform bacteria have been found in our water system.
Level 2 Assessment: A Level 2 assessment is a very detailed study of the water system to identify potential problems and determine (if possible) why an E. coli MCL violation has occurred and/or why total coliform bacteria have been found in our water system on multiple occasions.
ND: not detectable at testing limit
ppm: parts per million or milligrams per liter (mg/L) ppb: parts per billion or micrograms per liter (µg/L) ppt: parts per trillion or nanograms per liter (ng/L) ppq: parts per quadrillion or picogram per liter (pg/L) pCi/L: picocuries per liter (a measure of radiation)


The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.
Contaminants that may be present in source water include:
· Microbial contaminants, such as viruses and bacteria, that may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.
· Inorganic contaminants, such as salts and metals, that can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.
· Pesticides and herbicides, that may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.
· Organic chemical contaminants, including synthetic and volatile organic chemicals, that are byproducts of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, agricultural application, and septic systems.
· Radioactive contaminants, that can be naturally-occurring or be the result of oil and gas production and mining activities.
In order to ensure that tap water is safe to drink, the U.S. EPA and the State Board prescribe regulations that limit the amount of certain contaminants in water provided by public water systems. The U.S. Food and Drug Administration regulations and California law also establish limits for contaminants in bottled water that provide the same protection for public health.
Tables 1, 2, 3, 4, 5, and 6 list all of the drinking water contaminants that were detected during the most recent sampling for the constituent. The presence of these contaminants in the water does not necessarily indicate that the water poses a health risk. The State Board allows us to monitor for certain contaminants less than once per year because the concentrations of these contaminants do not change frequently. Some of the data, though representative of the water quality, are more than one year old. Any violation of an AL, MCL, MRDL, or TT is asterisked. Additional information regarding the violation is provided later in this report.


	TABLE 1 – SAMPLING RESULTS SHOWING THE DETECTION OF COLIFORM BACTERIA

	Microbiological Contaminants
	Highest No. of Detections
	No. of Months in Violation
	MCL
	MCLG
	Typical Source of Bacteria

	E. Coli
	0
	0
	1+
	0
	Human and animal fecal waste

	(a) Routine and repeat samples are total coniform-positive and either is E. coli-positive or system fails to take repeat samples following E. Coli-positive routine sample or system fails to analyze total coliform-positive repeat samples for E-coli.



	TABLE 2 – SAMPLING RESULTS SHOWING THE DETECTION OF LEAD AND COPPER

	Lead and Copper (complete if lead or copper detected in the last sample set)
	
Sample Date
	No. of Samples Collected
	90th Percentile
Level Detected
	No. Sites Exceeding AL
	
AL
	
PHG
	No. of Schools Requesting Lead Sampling
	
Typical Source of Contaminant

	
Lead (ppb)
	
8/31/2023
	
5
	
ND
	
0
	
15
	
0.2
	
Not applicable
	Internal corrosion of household water plumbing systems; discharges from industrial
manufacturers; erosion of natural deposits

	
Copper (ppm)
	
8/31/2023
	
5
	
.027
	
0
	
1.3
	
0.3
	
Not applicable
	Internal corrosion of household plumbing systems; erosion of natural deposits; leaching from
wood preservatives
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	TABLE 3 – SAMPLING RESULTS FOR SODIUM AND HARDNESS

	Chemical or Constituent
(and reporting units)
	Sample Date
	Level Detected
	Range of Detections
	MCL
	PHG (MCLG)
	Typical Source of Contaminant

	
Sodium (ppm)
	
2024
	
26
	
N/A
	
None
	
None
	Salt present in the water and is generally naturally occurring

	
Hardness (ppm)
	
2024
	
140
	
N/A
	
None
	
None
	Sum of polyvalent cations present in the water, generally magnesium and calcium, and are usually naturally
occurring



	TABLE 4 – DETECTION OF CONTAMINANTS WITH A PRIMARY DRINKING WATER STANDARD

	Chemical or Constituent
(and reporting units)
	Sample Date
	Level Detected
	Range of Detections
	MCL
[MRDL]
	PHG (MCLG) [MRDLG]
	
Typical Source of Contaminant

	Radioactive Contaminants

	Gross Alpha (pCi/L)
	2020
	4.91
	N/A
	15
	0
	Erosion of natural deposits

	Uranium (pCi/L)
	2020
	8.8
	N/A
	20
	0.43
	Erosion of natural deposits

	Inorganic Contaminants

	
Nitrate as N (ppm)
	
2025
	
1.7
	
N/A
	
10
	
10
	Runoff and leaching from fertilizer use; leaching from septic tanks and sewage; erosion of natural deposits

	
Arsenic (ppb)
	
2024
	
2
	
N/A
	
10
	
0.004
	Erosion of natural deposits; runoff from orchards; glass and electronics production wastes

	
Fluoride (ppm)
	
2024
	
0.18
	
N/A
	
2
	
1
	Erosion of natural deposits; water additive that
promotes strong teeth; discharge from fertilizer and aluminum factories

	Hex Chromium 
	2025
	0.19
	N/A
	10
	.02
	Erosion of natural deposits; transformation of
naturally occurring trivalent chromium to
hexavalent chromium by natural processes
and human activities such as discharges
from electroplating factories, leather tanneries, wood preservation, chemical synthesis, refractory production

	Disinfection Byproducts

	Total Trihalomethanes (ug/l) TTHM
	2024
	.96
	ND – 2.4
	80
	N/A
	Byproduct of drinking water disinfection



	TABLE 5 – DETECTION OF CONTAMINANTS WITH A SECONDARY DRINKING WATER STANDARD

	Chemical or Constituent
(and reporting units)
	Sample Date
	Level Detected
	Range of Detections
	MCL
	PHG (MCLG)
	Typical Source of Contaminant

	Chloride (ppm)
	2024
	11
	N/A
	500
	N/A
	Runoff/leaching from natural deposits; seawater influence

	Specific Conductance (EC) (µS/cm)
	2024
	430
	N/A
	1,600
	N/A
	Substances that form ions when in water; seawater influence

	Sulfate (ppm)
	2024
	13
	N/A
	500
	N/A
	Runoff/leaching from natural deposits; industrial wastes

	Total Dissolved Solids (TDS) (ppm)
	2024
	280
	N/A
	1,000
	N/A
	Runoff/leaching from natural deposits

	Turbidity (NTU)
	2024
	.16
	N/A
	5
	N/A
	Soil runoff



	TABLE 6 – DETECTION OF UNREGULATED CONTAMINANTS

	Chemical or Constituent
(and reporting units)
	Sample Date
	Level Detected
	Range of Detections
	Notification Level
	Health Effects Language

	Calcium (ppm)
	2024
	35
	N/A
	N/A
	N/A

	Magnesium (ppm)
	2024
	14
	N/A
	N/A
	N/A

	Potassium (ppm)
	2024
	2.1
	N/A
	N/A
	N/A


The State allows us to monitor for some contaminants less than once per year because the concentrations of these contaminants do not change frequently. Some of our data, though representative, are more than one year old


Additional General Information on Drinking Water
Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that the water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the U.S. EPA’s Safe Drinking Water Hotline (1-800-426-4791).
Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections.  These people should seek advice about drinking water from their health care providers.  U.S. EPA/Centers for Disease Control (CDC) guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (1-800-426-4791).
Lead-Specific Language: Lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. Sherwood Forest MHP is responsible for providing high quality drinking water and removing lead pipes, but cannot control the variety of materials used in plumbing components in your home. You share the responsibility for protecting yourself and your family from the lead in your home plumbing. You can take responsibility by identifying and removing lead materials within your home plumbing and taking steps to reduce your family's risk. Before drinking tap water, flush your pipes for several minutes by running your tap, taking a shower, doing laundry or a load of dishes. You can also use a filter certified by an American National Standards Institute accredited certifier to reduce lead in drinking water. If you are concerned about lead in your water and wish to have your water tested, contact Superior Waterworks at 559-420-1534. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available at http://www.epa.gov/safewater/lead.

Lead service line inventory has been prepared. Sherwood Forest MHP water system was found to have no lead lines, fittings, or anything else containing lead. If you would like to have access to the inventory please email cotysuperiorwater@gmail.com and Superior Waterworks will send it over. 

Summary Information for Violation of a MCL, MRDL, AL, TT, or Monitoring and Reporting Requirement
Table 7. Violation of a MCL, MRDL, AL, TT or Monitoring Reporting Requirement
	Violation
	Explanation
	Duration
	Actions Taken to Correct Violation
	Health Effects Language

	Lead and Copper Rule Revisions Reporting and Treatment Technique Violations
	A lead service line inventory was due on October 17, 2024 and has not been submitted which is a reporting violation and is also considered a treatment technique violation.
	October 17, 2024- 11/12/25
	Performed lead service line inventory and concluded there was no lead in system. System is back in compliance with state. 
	Health effects of lead.  Exposure to lead in drinking water can cause serious health effects in all age groups. Infants and children can have decreases in IQ and attention span. Lead exposure can lead to new learning and behavior problems or exacerbate existing learning and behavior problems. The children of women who are exposed to lead before or during pregnancy can have increased risk of these adverse health effects. Adults can have increased risks of heart disease, high blood pressure, kidney or nervous system problems.
N/A





