WATER SYSTEM NAME:  STC (NTNCWS) System #1000399	REPORT DATE:  June 2, 2020

We test the drinking water quality for many constituents as required by State and Federal Regulations.  This report shows the results of our monitoring for the period January 1 – December 31, 2019

and may include earlier monitoring data.

Este informe contiene informatcion muy importante sobre su agua potable.

Traduzcalo o hable con alguien que lo entienda bien.

TYPE OF WATER SOURCE (S) IN USE:  		WELL - Groundwater

NAME AND LOCATION OF SOURCE (S):	SAF-T-CAB, INC.

3241 SOUTH PARKWAY DRIVE

FRESNO, CALIFORNIA  93725

DRINKING WATER SOURCE ASSESSMENT INFORMATION:  STC was last inspected by the State Water Resource Control Board (State Board) on February 13, 2015 and is regularly monitored throughout each year.   The STC water system remains in good operating condition and with proper operation, we are able to provide continuous delivery of drinking water to system users.  The ground water supply currently meets all applicable drinking water standards.  We had no violations of the Maximum Contaminant Levels (MCL) in 2019.

TIME AND PLACE OF REGULAR SCHEDULED BOARD MEETINGS FOR PUBLIC PARTICIPATION: There are no regularly scheduled water board meetings.  We are a non-transient non-community (NTNC) water system therefore; we are permitted to post on the bulletin board or notify via team meetings regarding water information.  Employees will have the opportunity to participate in water discussions during the team meeting(s) or by contacting the Director of Compliance (see contact information below).

For more information contact:  Dian M. Gonzales	Phone:	268-5541 ext. 43 or come upstairs to my office

TERMS USED IN THIS REPORT

| Maximum Contaminant Level (MCL): The highest level of a contaminant that is allowed in drinking water. Primary MCLs are set as close to the PHGs (or MCLGs) as is economically and technologically feasible. Secondary MCLs are set to protect the odor, taste and appearance of drinking water. Maximum Contaminant Level Goal (MCLG): The level of a contaminant in drinking water below which there is no know or expected risk to health. MCLGs are set by the US Environmental Protection Agency (USEPA). Public Health Goal (PHG): The level of a contaminant in drinking water below which there is no known or expected risk to health. PHGs are set by the California Environmental Protection Agency Maximum Residual Disinfectant Level (MRDL): The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants. Maximum Residual Disinfectant Level Goal (MRDLG): The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants. | Primary Drinking Water Standards (PDWS): MCLs for contaminants that affect health along with their monitoring and reporting requirements, and water treatment requirements. Secondary Drinking Water Standards (SDWS): MCLs for contaminants that affect taste, odor, or appearance of the drinking water. Contaminants with SDSWs do not affect the health at the MCL Level. Treatment Technique (TT): A required process intended to reduce the level of a contaminant in drinking water. Regulatory Action Level (AL): The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow Variances and Exemptions: Department permission to exceen an MCL or not comply with a treatment technique under certain conditions. ND: not detectable at testing limit ppm: parts per million or milligrams per liter (mg/L) ppb: parts per billion or micrograms per liter (ug/L) ppt: parts per trillion or nanograms per liter (ng/L) ppq: parts per quadrillion or pictogram per liter (pg/L) pCi/L: picocuries per liter (a measure of radiation) |
| --- | --- |

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

- Microbial contaminants, such as viruses and bacteria that may come from sewage treatment plants, septic systems, agricultural livestock operations and wildlife.

- Inorganic contaminants, such as salts and metals, that can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining or farming.

- Pesticides and herbicides, that may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

- Organic chemical contaminants, including synthetic and volatile organic chemicals, that are by-products of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, agricultural application, and septic systems.

- Radioactive contaminants, that can be naturally-occurring or be the result of oil and gas production and mining activities.

In order to ensure that the tap water is safe to drink, The U.S. Environmental Protection Agency (USEPA) and the State Water Resource Control Board (State Board) prescribe regulations that limit the amount of certain contaminants in water provided by public water systems.  State Board regulations also establish limits for contaminants in bottled water that must provide the same protection for public health.

Tables 1, 2, 3, 4, 5, 7 and 8 list all of the drinking water contaminants that were detected during the most recent sampling for the constituent.  The presence of these contaminants in the water does not necessarily indicate that the water poses a health risk.  The State Board allows Saf-T-Cab, Inc. to monitor for certain contaminants less than once per year because the concentrations of these contaminants do not change frequently.  Some of the data, though representative of the water quality, are more than one year old.  Furthermore, in other tables, we have included contaminants that were not detected (ND) in our drinking water but were required to be tested per our water sampling schedule given to us by the State Board.  We utilize BSK Analytical Laboratories to analyze our water samples.  The analytical results are then provided electronically by BSK Labs to the State Board who oversees our water system.

| TABLE 1 SAMPLING RESULTS SHOWING THE DETECTION OF COLIFORM BACTERIA |
| --- |
| Microbiological Contaminants (to be completed only if there was a detection of bacteria) | Highest No. of detections | No of months in violation | MCL | MCLG | Typical Source of Bacteria |
| Total Coliform Quarterly sampling resumed in 2010 per CDPH After October 2013, CDPH confirmed Q’ly sampling can continue. state Total Coliform Rule | (in a mo.) 0 | 0 | No more than one positive monthly sample | 0 | Naturally present in the environment |
|  | Samples for total coliform ABSENT 1st Q 2/27/19 ABSENT 2nd Q 6/26/19 ABSENT 3rd Q 8/1/19 Waived 4th Q NO DETECTION IN 2019 |  |  |  |

Table 1 continued on the next page

| TABLE 1 SAMPLING RESULTS SHOWING THE DETECTION OF COLIFORM BACTERIA |
| --- |
| MICROBIOLOGICAL CONTAMINANTS Continued |
| Microbiological Contaminants (to be completed only if there was a detection of bacteria) | Highest No. of detections | No of months in violation | MCL | MCLG | Typical Source of Bacteria |
| Fecal Coliform or E. coli Quarterly sampling resumed in 2010 per CDPH After October 2013, CDPH confirmed Q’ly sampling can continue. state Total Coliform Rule | (in a year) 0 | 0 | A routine sample and a repeat sample are total coliform positive and one of these is also fecal coliform or E. coli positive | 0 | Human and animal fecal waste |
|  | All samples were absent of fecal coliform and E. coli : ABSENT 1st Q 2/27/19 ABSENT 2nd Q 6/26/19 ABSENT 3rd Q 8/1/19 Waived 4th Q NO DETECTION IN 2019 |  |  |  |
| Fecal Indicator E. coli Enterococci coliphage Ground Water Rule federal Revised Total Coliform Rule | 0 | 0 | (a) | 0 |  |
| (a) Routine and repeat samples are total coliform positive and either is E. coli-positive or system fails to take repeat samples following E.coli positive routine sample or system fails to analyze total coliform positive repeat sample for E.coli |

| TABLE 2 SAMPLING RESULTS SHOWING THE DETECTION OF LEAD AND COPPER |
| --- |
| Lead and Copper (to be completed only if there was a detection of lead or copper in the last sample set) | No. of samples collected | 90th % level detected | No. of the Sites exceeding AL (action level) | AL | PHG | Typical Source of Bacteria |
| Lead (ppb) 1 sample taken @ 5 distribution points Sampling once every 9 years at 5 sites approved by CDPH Next Sample Date is 2027 | 5 samples taken on 4/24/18 And on 6/28/18 ND | .00355 mg/L converts to 3.55 ug/L | 0 | 15 ppb parts per billion or micrograms per liter (ug/L) | 2 ppb | Internal corrosion of household water plumbing systems; discharges from industrial manufacturers; erosion of natural deposits |
|  |  | None of the samples exceeded the action level. No violations. 3 |  |  |  |

Table 2 continued on the next page

| TABLE 2 SAMPLING RESULTS SHOWING THE DETECTION OF LEAD AND COPPER Continued |
| --- |
| Lead and Copper (to be completed only if there was a detection of lead or copper in the last sample set) | No. of samples collected | 90th % level detected | No. of the Sites exceeding AL (action level) | AL | PHG | Typical Source of Bacteria |
| Copper (ppm) 1 sample taken @ 5 distribution points Sampling once every 9 years at 5 sites approved by CDPH Next Sample Date is 2027 | 5 samples taken on 4/24/18 And on 6/28/18 ND | ND mg/L | 0 | AL=1.3 ppm parts per million or milligrams per liter (mg/L) | 0.3 ppm | Internal corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives. |
|  |  | None of the samples exceeded the action level. No violations. |  |  |  |

| TABLE 3 SAMPLING RESULTS FOR SODIUM AND HARDNESS |
| --- |
| Chemical and/or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL | PHG MCLG | Typical Source of Contaminant |
| Sodium (ppm) Sampling required once only – No further sampling will be done at this time. | 6/5/09 | 28 mg/L | - | None parts per million or milligram per liter (mg/L) | none | Generally found in ground & surface water. “Sodium” refers to the salt present in the water and is generally naturally occurring. |
|  | There are no drinking water standards for this constituent, but it must be reported for customer information. |  |  |  |  |
| Hardness (ppm) Sampling required once only – No further sampling will be done at this time. | 6/15/09 | 290 mg/L | - | None parts per million or milligram per liter (mg/L) | none | Generally found in ground & surface water. “Hardness” is the sum of polyvalent cations present in the water, generally magnesium and calcium. The cations are usually naturally occurring. |
|  | There are no drinking water standards for this constituent, but it must be reported for customer information. |  |  |  |  |

| TABLE 4 DETECTION OF CONTAMINANTS WITH A PRIMARY DRINKING WATER STANDARD |
| --- |
| MICROBIOLOGICAL CONTAMINANTS |
| Chemical and/or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL [MRDL] | PHG (MCLG) [MRDLG] | Typical Source of Contaminant |
| Total Coliform Bacteria | See page 2 for column information including levels detected (absent/present), MCL and source The following samples were absent of total coliform: ABSENT 1st Q ABSENT 2nd Q ABSENT 3rd Q Waived 4th Q (Took water sample Dec 2019 but BSK closed for holidays and hold time would have been exceeded from time took 12/31/2019 until the lab reopened.). Jan 2020 resubmitted HEALTH EFFECTS LANGUAGE: Coliforms are bacteria that are naturally present in the environment and are used as an indicator that other potentially-harmful, bacteria may be present. Coliforms were NOT found in 2019 samples. |
| Fecal coliform and E. coli Total Coliform Rule Fecal Indicator E. coli, Enterococci Coliphage Ground Water Rule | See page 3 for column information including levels detected (absent/present), MCL and source All 2019 samples were absent of Fecal coliform and E. coli. No Enterococci or Coliphage. E. Coli was NOT found in 2019 samples. |
| RADIOACTIVE CONTAMINANTS |
| Chemical and/or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL [MRDL] | PHG (MCLG) [MRDLG] | Typical Source of Contaminant |
| Total Alpha Radium Gross Alpha NOTE: per CDPH, the Gross Alpha exceeds standard but is not MCL violation. | 12/31/19 | 19.2 pCi/L |  | 15 pCi/L picuries per liter | (0) | Erosion of natural deposits |
|  |  | (Took water sample Dec 2019 but BSK closed for holidays and hold time would have been exceeded from time took 12/31/2019 until the lab reopened.). Jan 2020 resubmitted |  |  |

Table 4 continued on the next page

| TABLE 4 DETECTION OF CONTAMINANTS WITH A PRIMARY DRINKING WATER STANDARD |
| --- |
| INORGANIC CONTAMINANTS |
| Chemical and/or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL [MRDL] | PHG (MCLG) [MRDLG] | Typical Source of Contaminant |
| Arsenic Sample frequency = every 36 months Next Sample Date is 05/2020 | 5/31/17 | ND | - | 10 ppb parts per billion or micrograms per liter (ug/L) | 0.004 ppb | Erosion of natural deposits; runoff from orchards; glass and electronics production waste |
| Barium Sample frequency = every 36 months Next Sample Date is 05/2020 | 5/31/17 | ND | - | 1 ppm parts per million or milligram per liter (mg/L) | 2 ppm | Discharge of oil drilling wastes and from metal refineries; erosion of natural deposits |
| Chromium Sample frequency = every 36 months Next Sample Date is 05/2020 | 5/31/17 | ND | - | 50 ppb parts per billion or micrograms per liter (ug/L) | (100) | Discharge from steel and pulp mills and chrome plating; erosion of natural deposits |
| Fluoride Sample frequency = every 36 months Next Sample Date is 05/2020 | 5/31/17 | ND | - | 2.0 ppm parts per million or milligrams per liter (mg/L) | 1 ppm | Erosion of natural deposits |
| Nitrate (as nitrogen, N) The CDPH reduced nitrate sampling to once per year. 2016 must report as N not NO3 | 8/1/19 | 6.1 mg/L | - | 10 mg/L |  | Runoff and leaching from fertilizer use; leaching from septic tanks and sewage; erosion of natural deposits |

For systems that detect nitrate (as nitrogen) above 5 mg/L, but below 10mg/L: Special language regarding health effects are to be reported under ADDITIONAL GENERAL INFORMATION ON DRINKING WATER. Refer to that section (pg.10) of this report.

Table 4 continued on the next page

| TABLE 4 DETECTION OF CONTAMINANTS WITH A PRIMARY DRINKING WATER STANDARD |
| --- |
| VOLATILE ORGANIC CONTAMINANTS |
| Chemical and/or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL [MRDL] | PHG (MCLG) [MRDLG] | Typical Source of Contaminant |
| Xylene (TOTAL) (m,p Xylene = ND) (o Xylene = ND) Next Sample Date is 08/2023 | 8/28/17 | ND | - | 1.75 ppm parts per million or milligrams per liter (mg/L) | 1.8 ppm | Discharge from petroleum and chemical factories; fuel solvent |

| TABLE 5 DETECTION OF CONTAMINANTS WITH A SECONDARY DRINKING WATER STANDARD |
| --- |
| Chemical and/or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL | PHG (MCLG) | Typical Source of Contaminant |
| Foaming Agents (MBAs) Sampling required once only – waived by CDPH as per on-line schedule | 3/11/08 | <.050 | - | 500 ppb parts per billion or micrograms per liter (ug/L) | There are no PHGs, MCLGs, or mandatory standard health effects language for constituents with secondary drinking water standards because secondary MCLs are set on the basis of aesthetics. | Municipal and industrial waste discharges |
| Hardness (Total) as CACO3 Sampling required once only – No further sampling will be done at this time. See Table 3 page 4 | 6/15/09 | 290 mg/L | - | - |  | Is the sum of polyvalent cations present in the water, generally magnesium and calcium. The cations are usually naturally occurring. |
| PH, Laboratory Sampling required once only – No further sampling will be done at this time. | 6/5/09 | 8.0 std unit | - | - |  |  |
| Sodium Sampling required once only – No further sampling will be done at this time. See Table 3 page 4 | 6/5/09 | 28 mg/l | - | None |  | Refers to the salt present in the water and is generally naturally occurring |

Table 5 continued on the next page

| TABLE 5 DETECTION OF CONTAMINANTS WITH A SECONDARY DRINKING WATER STANDARD |
| --- |
| Chemical and/or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL | PHG (MCLG) | Typical Source of Contaminant |
| Specific Conductance Sampling required once only – waived by CDPH as per on-line schedule | 3/11/08 | 650 | - | 1600 uS/cm |  | Substances that form ions when in water; seawater influences |
| Total Dissolved Solids Sampling required once only – waived by CDPH as per on-line schedule | 3/11/08 | 400 mg/L | - | 1000 ppm parts per million or milligrams per liter (mg/L) |  | Runoff/leaching from natural deposits |
| Copper waived by CDPH as per on-line schedule See Table 2 pg. 3-4 Lead & Copper | 8/22/05 | 0.025 mg/L | 5 samples @ distribution lines Four = ND One = 0.25 mg/L | ppm parts per million or milligrams per liter (mg/L) | See pg. 7 | Internal corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives |

| TABLE 6 DETECTION OF UNREGULATED CONTAMINANTS Monitoring requirements repealed effective October 18, 2007 |
| --- |
| Chemical and/or Constituent (and reporting units) | Sample Date | Level Detected | Notification Level | Health Effects Language |
| 1,2,3 Trichloropropane (see below for details) Chromium CrVI Vanadium Boron Iron (required only once) Manganese (required only once) | 2005 2006 2006 2006 (ND) 2009 (ND) 2009 (ND) | Results of monitoring under former section 64450 (UCMR) need only be included for five years from the date of the last required sampling or until any of the detected contaminants become regulated and subject to routine monitoring requirements, whichever comes first. Section 64450 was repealed effective October 18, 2007. It has been over five years from the date of Saf-T-Cab’s last required sampling. |

NOTE:  The California State Water Resource Control Board (State Water Board) developed regulations to adopt a maximum contamination level (MCL) for 1,2,3-Trichloropropane (1,2,3-TCP) in drinking water.  Initial sampling will begin in 2018.  The California Office of Environmental Health Hazard Assessment (OEHHA) has established a public health goal (PHG) for exposure to 1,2,3-TCP from drinking water of 0.0000007 mg/L or 0.7 parts per trillion (ppt). Saf-T-Cab will take quarterly water

samples for 1,2,3-TCP beginning in 2018.  Done 2018 for 1st  2nd 3rd 4th Q requirement (ND)  Next Sample Date is 12/2021

TABLE 6 DETECTION OF UNREGULATED CONTAMINANTS Continued

| Chemical and/or Constituent | Sample Date | Level Detected | Range of Detection | PHG | Health Effects Language |
| --- | --- | --- | --- | --- | --- |
| Hexavalent Chromium Required to sample on or before 1/1/15 | 12/15/14 | 2.8 ug/L | - | 0.02 ppb* parts per billion or micrograms per liter (ug/L) | Some people who drink water containing hexavalent chromium in excess of the MCl over many years may have an increased risk of getting cancer |

*There is currently no MCL for hexavalent chromium.  The previous MCL of 0.010 mg/L (10 ug/L) was withdrawn on September 11, 2017.  Detection limit is 1 ug/L.  (2.8 ug/L = 0.0028 mg/L. Saf-T-Cab was below the previous MCL.

Hexavalent Chromium:  Because the maximum contaminant level (MCL) was in effect for part of the 2017 calendar year, the regulations require that information about the hexavalent chromium MCL of 0.010 mg/L be included in the CCR.  The hexavalent chromium MCL was invalidated during the 2017 calendar year but water systems are required to report the information collected prior to the MCL being invalidated.

ADDITIONAL GENERAL INFORMATION ON DRINKING WATER

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that the water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the USEPA’s Safe Drinking Water Hotline (1-800-426-4791)

Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have

undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly and infants can be particularly at risk from infections.  These people should seek advice about drinking water

from their health care providers.  USEPA/Centers for Disease Control (CDC) guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available form the Safe Drinking Water Hotline (1-800-426-4791)

NITRATES – Nitrate in drinking water @ levels above 10 mg/L. is a health risk for infants of less than 6 months of age.  Such nitrate levels in drinking water can interfere with the capacity of the infant’s blood to carry oxygen, resulting in serious illness; symptoms include shortness of breath and blueness of the skin.  Nitrate levels above 10 mg/L may also affect the ability of the blood to carry oxygen in other individuals, such as pregnant women and those with specific enzyme deficiencies.  If you are caring for an infant, or you are pregnant, you should ask advice from your health care provider.

FOR SYSTEMS PROVIDING GROUNDWATER AS A SOURCE OF DRINKING WATER

| TABLE 7 SAMPLING RESULTS SHOWING FECAL INDICATOR-POSITIVE GROUNDWATER SOURCE SAMPLES Complete if fecal-indicator detected |
| --- |
| Microbiological Contaminant | Total # of detections (in the yr.) | Sample Date | MCL [MRDL] | PHG (MCLG) [MRDL] | Type of Source of Contaminant |
| E. Coli | NO DETECTION | 0 | (0) | Human & Animal Fecal Waste |
| Enterococci | NO DETECTION | TT | NA | Human & Animal Fecal Waste |
| Coliphage | NO DETECTION | TT | NA | Human & Animal Fecal Waste |

ALL CONTAMINANTS THAT WERE MONITORED FOR

BUT THERE WERE NO DETECTIONS

| INORGANIC COMPOUNDS |
| --- |
| Chemical and/or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL [MRDL] | PHG (MCLG) [MRDLG] | Typical Source of Contaminant |
| Aluminum Sampled every 36 months Next Sample Date is 05/2020 | 5/31/17 | ND | - | 1 ppm parts per million or milligram per liter (mg/L) | 0.6 ppm | Erosion of natural deposits; residue from some surface water treatment processes |
| Antimony Sampled every 36 months Next Sample Date is 05/2020 | 5/31/17 | ND | - | 6 ppb parts per billion or micrograms per liter (ug/L) | 20 ppb | Discharge from petroleum refineries; fire retardants; ceramics; electronics; solder |
| Beryllium Sampled every 36 months Next Sample Date is 05/2020 | 5/31/17 | ND | - | 4 ppb parts per billion or micrograms per liter (ug/L) | 1 ppb | Discharge from metal refineries, coal burning factories, and electrical, aerospace and defense industries |

Table continued on the next page

ALL CONTAMINANTS THAT WERE MONITORED FOR

BUT THERE WERE NO DETECTIONS

| INORGANIC COMPOUNDS |
| --- |
| Chemical and/or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL [MRDL] | PHG (MCLG) [MRDLG] | Typical Source of Contaminant |
| Cadmium Sampled every 36 months Next Sample Date is 05/2020 | 5/31/17 | ND | - | 5 ppb parts per billion or micrograms per liter (ug/L) | 0.04 ppb | Internal corrosion of galvanized pipes, erosion of natural deposits, discharge from electroplating and industrial chemical factories, and metal refineries, runoff from waste batteries and paints |
| Mercury (inorganic) Sampled every 36 months Next Sample Date is 05/2020 | 5/31/17 | ND | - | 2 ppb parts per billion or micrograms per liter (ug/L) | 1.2 ppb | Erosion of natural deposits, discharge from refineries and factories, runoff from landfills and cropland |
| Nickel Sampled every 36 months Next Sample Date is 05/2020 | 5/31/17 | ND | - | 100 ppb parts per billion or micrograms per liter (ug/L) | 12 ppb | Erosion of natural deposits, discharge from meal factories |
| Nitrite (as nitrogen) Sampled every 36 months Next Sample Date is 05/2020 | 5/31/17 | ND |  | 1 ppm parts per million or milligrams per liter (mg/L) | 1 ppm | Runoff and leaching from fertilizer use, leaching from septic tanks and sewage, erosion of natural deposits |

Table continued on the next page

ALL CONTAMINANTS THAT WERE MONITORED FOR

BUT THERE WERE NO DETECTIONS

| INORGANIC COMPOUNDS |
| --- |
| Chemical and/or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL [MRDL] | PHG (MCLG) [MRDLG] | Typical Source of Contaminant |
| Selenium Sampled every 36 months Next Sample Date is 05/2020 | 5/31/17 | ND |  | 50 ppb parts per billion or micrograms per liter (ug/L) | (30) | Discharge from petroleum, glass, and metal refineries, erosion of natural deposits, discharge from mines and chemical manufacturers, runoff from livestock lots (feed additive) |
| Thallium Sampled every 36 months Next Sample Date is 05/2020 | 5/31/17 | ND | - | 2 ppb parts per billion or micrograms per liter (ug/L) | 0.1 ppb | Leaching from ore-processing sites; discharge from electronics, glass and drug factories. |
| Perchlorate CDPH has STC set up with a 3 year monitoring schedule Next Sample Date is 07/2021 | 7/31/18 | ND |  | 0.006 mg/L (6 ppb) |  | Environmental contamination from historic aerospace operations that use, store or dispose of perchlorate and its salt. |

| SYNTHETIC ORGANIC CONTAMINANTS INCLUDING PESTICIDES & HERBICIDES |
| --- |
| Chemical and/or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL [MRDL] | PHG (MCLG) [MRDLG] | Typical Source of Contaminant |
| Alachlor Next Sample Date is 02/2019 Done: 2/27/19=ND | 2/29/16 2/27/19 | ND ND | - | 2 ppb parts per billion or micrograms per liter (ug/L) | 4 ppb | Runoff from herbicide used on row crops |

Table continued on the next page

ALL CONTAMINANTS THAT WERE MONITORED FOR

BUT THERE WERE NO DETECTIONS

| SYNTHETIC ORGANIC CONTAMINANTS INCLUDING PESTICIDES & HERBICIDES |
| --- |
| Chemical and/or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL [MRDL] | PHG (MCLG) [MRDLG] | Typical Source of Contaminant |
| Atrazine Next Sample Date is 02/2019 Done: 2/27/19=ND | 2/29/16 2/27/19 | ND ND | - | 1 ppb parts per billion or micrograms per liter (ug/L) | 0.15 ppb | Runoff from herbicide used on row crops and along railroad and highway right-of-ways |
| Dibromochloro-propane (DBCP) Next Sample Date is 03/2021 | 3/20/18 | ND | - | 200 ppt Parts per trillion or nanograms per litter (ng/L) | 1.7 ppt | Banned nematocide that may still be present in soils due to runoff/ leaching from former use on soybeans, cotton, vineyards, tomatoes, and tree fruit |
| Ehylenedibromide (EDB) Next Sample Date is 03/2021 | 3/20/18 | ND | - | 50 ppt Parts per trillion or nanograms per litter (ng/L) | 10 | Discharge from petroleum refineries; underground gas tank leaks,; banned nematocide that may still be present in soils due to runoff and leaching from grain and fruit crops |
| Simazine Next Sample Date is 02/2019 Done: 2/27/19=ND | 2/29/16 2/27/19 | ND ND | - | 4 ppb parts per billion or micrograms per liter (ug/L) | 4 ppb | Herbicide runoff |

Table continues on next page

ALL CONTAMINANTS THAT WERE MONITORED FOR

BUT THERE WERE NO DETECTIONS

| VOLATILE ORGANIC CONTAMINANTS |
| --- |
| Chemical and/or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL [MRDL] | PHG (MCLG) [MRDLG] | Typical Source of Contaminant |
| Benzene Next Sample Date is 08/2023 | 8/28/17 | ND | - | 1 ppb parts per billion or micrograms per liter (ug/L) | 0.15 ppb | Discharge from plastics, dyes and nylon factories; leaching from gas storage tanks and landfills |
| Carbon tetrachloride Next Sample Date is 08/2023 | 8/28/17 | ND | - | 500 ppt Parts per trillion or nanograms per litter (ng/L) | 100 ppt | Discharge from chemical plants and other industrial activities |
| 1,2 Dichlorobenzene Next Sample Date is 08/2023 | 8/28/17 | ND | - | 600 ppb parts per billion or micrograms per liter (ug/L) | 600 ppb | Discharge from industrial chemical factories |
| 1,4 Dichlorobenzene Next Sample Date is 08/2023 | 8/28/17 | ND | - | 5 ppb parts per billion or micrograms per liter (ug/L) | 6 ppb | Discharge from industrial chemical factories |
| 1,1 Dichloroethane Next Sample Date is 08/2023 | 8/28/17 | ND | - | 5 ppb parts per billion or micrograms per liter (ug/L) | 3 ppb | Extraction and degreasing solvent; used in the manufacture of pharmaceuticals, stone, clay and glass products; fumigant |
| 1,2 Dichloroethane Next Sample Date is 08/2023 | 8/28/17 | ND | - | 500 ppt Parts per trillion or nanograms per litter (ng/L) | 400 ppt | Discharge from industrial chemical factories |

Table continues on next page

ALL CONTAMINANTS THAT WERE MONITORED FOR

BUT THERE WERE NO DETECTIONS

| VOLATILE ORGANIC CONTAMINANTS |
| --- |
| Chemical and/or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL [MRDL] | PHG (MCLG) [MRDLG] | Typical Source of Contaminant |
| 1,1 Dichloroethylene Next Sample Date is 08/2023 | 8/28/17 | ND | - | 6 ppb parts per billion or micrograms per liter (ug/L) | 10 ppb | Discharge from industrial chemical factories |
| Cis-1,2 Dichloroethylene Next Sample Date is 08/2023 | 8/28/17 | ND | - | 6 ppb parts per billion or micrograms per liter (ug/L) | 100 ppb | Discharge from industrial chemical factories; major biodegradation byproduct of TCE and PCE groundwater contamination |
| Trans-1,2 Dichloroethylene Next Sample Date is 08/2023 | 8/28/17 | ND | - | 10 ppb parts per billion or micrograms per liter (ug/L) | 60 ppb | Discharge from industrial chemical factories; minor biodegradation byproduct of TCE and PCE groundwater contamination |
| Dichloromethane Next Sample Date is 08/2023 | 8/28/17 | ND | - | 5 ppb parts per billion or micrograms per liter (ug/L) | 4 ppb | Discharge from pharmaceutical and chemical factories; insecticide |
| 1,2 Dichloropropane Next Sample Date is 08/2023 | 8/28/17 | ND | - | 5 ppb parts per billion or micrograms per liter (ug/L) | 0.5 ppb | Discharge from industrial chemical factories; primary component of some fumigants |

Table continued on next page

ALL CONTAMINANTS THAT WERE MONITORED FOR

BUT THERE WERE NO DETECTIONS

| VOLATILE ORGANIC CONTAMINANTS |
| --- |
| Chemical and/or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL [MRDL] | PHG (MCLG) [MRDLG] | Typical Source of Contaminant |
| 1,3 Dichloropropene Next Sample Date is 08/2023 | 8/28/17 | ND | - | 500 ppt Parts per trillion or nanograms per litter (ng/L) | 200 ppt | Runoff/leaching from nematocide used on croplands |
| Ethylbenzene Next Sample Date is 08/2023 | 8/28/17 | ND | - | 300 ppb parts per billion or micrograms per liter (ug/L) | 300 ppb | Discharge from petroleum refineries; industrial chemical factories |
| Methyl-t-Butyl Ether (MTBE) Next Sample Date is 08/2023 | 8/28/17 | ND | - | 13 ppb parts per billion or micrograms per liter (ug/L) | 13 ppb | Leaking from underground gasoline stoage tanks; discharges from petroleum and chemical factories |
| Monochlorobenzene Next Sample Date is 08/2023 | 8/28/17 | ND | - | 70 ppb parts per billion or micrograms per liter (ug/L) | 200 ppb | Discharge from industrial and agricultural chemical factories and dry cleaning facilities |
| Styrene Next Sample Date is 08/2023 | 8/28/17 | ND | - | 100 ppb parts per billion or micrograms per liter (ug/L) | (100) | Discharge from rubber and plastic factories; leaching from landfills |

Table continued on next page

ALL CONTAMINANTS THAT WERE MONITORED FOR

BUT THERE WERE NO DETECTIONS

| VOLATILE ORGANIC CONTAMINANTS |
| --- |
| Chemical and/or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL [MRDL] | PHG (MCLG) [MRDLG] | Typical Source of Contaminant |
| 1,1,2,2 Tetrachloroethane Next Sample Date is 08/2023 | 8/28/17 | ND | - | 1 ppb parts per billion or micrograms per liter (ug/L) | 0.1 ppb | Discharge from industrial and agricultural chemical factories; solvent used in production of TCE, pesticides, varnish and lacquers |
| Tetrachloroethylene (PCE) Next Sample Date is 08/2023 | 8/28/17 | ND | - | 5 ppb parts per billion or micrograms per liter (ug/L) | 0.06 ppb | Discharge from factories, dry cleaners and auto shops (metal degreaser) |
| 1,2,4 Trichlorobenzene Next Sample Date is 08/2023 | 8/28/17 | ND | - | 5 ppb parts per billion or micrograms per liter (ug/L) | 5 ppb | Discharge from textile-finishing factories |
| 1,1,1 Trichloroethane Next Sample Date is 08/2023 | 8/28/17 | ND | - | 200 ppb parts per billion or micrograms per liter (ug/L) | 1000 ppb | Discharge from metal degreasing sites and other factories; manufacture of food wrappings |
| 1,1,2 Trichloroethane Next Sample Date is 08/2023 | 8/28/17 | ND | - | 5 ppb parts per billion or micrograms per liter (ug/L) | 0.3 ppb | Discharge from industrial chemical factories |

Table continued on next page

ALL CONTAMINANTS THAT WERE MONITORED FOR

BUT THERE WERE NO DETECTIONS

| VOLATILE ORGANIC CONTAMINANTS |
| --- |
| Chemical and/or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL [MRDL] | PHG (MCLG) [MRDLG] | Typical Source of Contaminant |
| Trichloroethylene (TCE) Next Sample Date is 08/2023 | 8/28/17 | ND | - | 5 ppb parts per billion or micrograms per liter (ug/L) | 0.8 ppb | Discharge from metal degreasing sites and other factories |
| Toluene Next Sample Date is 08/2023 | 8/28/17 | ND | - | 150 ppb parts per billion or micrograms per liter (ug/L) | 150 ppb | Discharge from petroleum and chemical factories; underground gas tank leaks |

| Trichlorofluoromethane (FREON 11) Next Sample Date is 08/2023 | 8/28/17 | ND | - | 150 ppb parts per billion or micrograms per liter (ug/L) | 700 ppb | Discharge from industrial factories; degreasing solvent; propellant and refrigerant |
| --- | --- | --- | --- | --- | --- | --- |
| 1,1,2 Trichloro 1,2,2 trifluoroethane (FREON 113) Next Sample Date is 08/2023 | 8/28/17 | ND | - | 1.2 ppm parts per million or milligrams per liter (mg/L) | 4 ppm | Discharge from metal degreasing sites and other factories; dry cleaning solvent; refrigerant |
| Vinyl chloride (VC) Next Sample Date is 08/2023 | 8/28/17 | ND | - | 500 ppt Parts per trillion or nanograms per litter (ng/L) | 50 ppt | Leaching from PV piping; discharge from plastics factories; biodegradation byproduct of TCE an PCE groundwater contamination |

End of CCR 2019