# 2025 Consumer Confidence Report

## Water System Information

Water System Name: Blossom Trail

Report Date: June 2026

Type of Water Source(s) in Use: Hard rock well

Name and General Location of Source(s): Well #2 922 N ACADEMY
SANGER CA 93657

Drinking Water Source Assessment Information: Available upon request

For More Information, Contact: KJWater Services Kenneth Liebel 661-703-8301

## About This Report

We test the drinking water quality for many constituents as required by state and federal regulations.  This report shows the results of our monitoring for the period of January 1 to December 31, 2025 and may include earlier monitoring data.

## Importance of This Report Statement in Five Non-English Languages (Spanish, Mandarin, Tagalog, Vietnamese, and Hmong)

Language in Spanish:  Este informe contiene información muy importante sobre su agua para beber.  Favor de comunicarse Blossom Trail

a 922 N ACADEMY SANGER CA 93657 559-787-2056 para asistirlo en español.

Language in Mandarin:  这份报告含有关于您的饮用水的重要讯息。请用以下地址和电话联系 Blossom Trail

以获得中文的帮助: 922 N ACADEMY SANGER CA 93657 559-787-2056

Language in Tagalog: Ang pag-uulat na ito ay naglalaman ng mahalagang impormasyon tungkol sa inyong inuming tubig.  Mangyaring makipag-ugnayan sa Blossom Trail 922 N ACADEMY SANGER CA 93657 o tumawag sa 661-703-8301 para matulungan sa wikang Tagalog.

Language in Vietnamese:  Báo cáo này chứa thông tin quan trọng về nước uống của bạn.  Xin vui lòng liên hệ Blossom Trail tại 922 N ACADEMY SANGER CA 93657; 661-703-8301 để được hỗ trợ giúp bằng tiếng Việt.

Language in Hmong:  Tsab ntawv no muaj cov ntsiab lus tseem ceeb txog koj cov dej haus.  Thov hu rau Blossom Trail ntawm 922 N ACADEMY SANGER CA 93657; 661-703-8301 rau kev pab hauv lus Askiv.

## Terms Used in This Report

| Term | Definition |
| --- | --- |
| Level 1 Assessment | A Level 1 assessment is a study of the water system to identify potential problems and determine (if possible) why total coliform bacteria have been found in our water system. |
| Level 2 Assessment | A Level 2 assessment is a very detailed study of the water system to identify potential problems and determine (if possible) why an E. coli MCL violation has occurred and/or why total coliform bacteria have been found in our water system on multiple occasions. |
| Maximum Contaminant Level (MCL) | The highest level of a contaminant that is allowed in drinking water. Primary MCLs are set as close to the PHGs (or MCLGs) as is economically and technologically feasible. Secondary MCLs are set to protect the odor, taste, and appearance of drinking water. |
| Maximum Contaminant Level Goal (MCLG) | The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs are set by the U.S. Environmental Protection Agency (U.S. EPA). |
| Maximum Residual Disinfectant Level (MRDL) | The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants. |
| Maximum Residual Disinfectant Level Goal (MRDLG) | The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants. |
| Primary Drinking Water Standards (PDWS) | MCLs and MRDLs for contaminants that affect health along with their monitoring and reporting requirements, and water treatment requirements. |
| Public Health Goal (PHG) | The level of a contaminant in drinking water below which there is no known or expected risk to health. PHGs are set by the California Environmental Protection Agency. |
| Regulatory Action Level (AL) | The concentration of a contaminant which, if exceeded, triggers treatment or other requirements that a water system must follow. |
| Secondary Drinking Water Standards (SDWS) | MCLs for contaminants that affect taste, odor, or appearance of the drinking water. Contaminants with SDWSs do not affect the health at the MCL levels. |
| Treatment Technique (TT) | A required process intended to reduce the level of a contaminant in drinking water. |
| Variances and Exemptions | Permissions from the State Water Resources Control Board (State Board) to exceed an MCL or not comply with a treatment technique under certain conditions. |
| ND | Not detectable at testing limit. |
| ppm | parts per million or milligrams per liter (mg/L) |
| ppb | parts per billion or micrograms per liter (µg/L) |
| ppt | parts per trillion or nanograms per liter (ng/L) |
| ppq | parts per quadrillion or picogram per liter (pg/L) |
| pCi/L | picocuries per liter (a measure of radiation) |

## Sources of Drinking Water and Contaminants that May Be Present in Source Water

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

Microbial contaminants, such as viruses and bacteria, that may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

Inorganic contaminants, such as salts and metals, that can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

Pesticides and herbicides, that may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

Organic chemical contaminants, including synthetic and volatile organic chemicals, that are byproducts of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, agricultural application, and septic systems.

Radioactive contaminants, that can be naturally-occurring or be the result of oil and gas production and mining activities.

## Regulation of Drinking Water and Bottled Water Quality

In order to ensure that tap water is safe to drink, the U.S. EPA and the State Board prescribe regulations that limit the amount of certain contaminants in water provided by public water systems.  The U.S. Food and Drug Administration regulations and California law also establish limits for contaminants in bottled water that provide the same protection for public health.

## About Your Drinking Water Quality

### Drinking Water Contaminants Detected

Tables 1, 2, 3, 4, 5, 6, and 8 list all of the drinking water contaminants that were detected during the most recent sampling for the constituent.  The presence of these contaminants in the water does not necessarily indicate that the water poses a health risk.  The State Board allows us to monitor for certain contaminants less than once per year because the concentrations of these contaminants do not change frequently.  Some of the data, though representative of the water quality, are more than one year old.  Any violation of an AL, MCL, MRDL, or TT is asterisked.  Additional information regarding the violation is provided later in this report.

Table 1.  Sampling Results Showing the Detection of Coliform Bacteria

Complete if bacteria are detected.

| Microbiological Contaminants | Highest No. of Detections | No. of Months in Violation | MCL | MCLG | Typical Source of Bacteria |
| --- | --- | --- | --- | --- | --- |
| E. coli | (2025) 0 | 0 | (a) | 0 | Human and animal fecal waste |

(a) Routine and repeat samples are total coliform-positive and either is E. coli-positive or system fails to take repeat samples following E. coli-positive routine sample or system fails to analyze total coliform-positive repeat sample for E. coli.

Table 2.  Sampling Results Showing the Detection of Lead and Copper

Complete if lead or copper is detected in the last sample set.

| Lead and Copper | Sample Date | No. of Samples Collected | 90th Percentile Level Detected | No. Sites Exceeding AL | AL | PHG | Typical Source of Contaminant |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Lead (ppb) | 6/16/2025 | 7 | ND | 0 | 15 | 2 | Internal corrosion of household water plumbing systems; discharges from industrial manufacturers; erosion of natural deposits |
| Copper (ppb) | 6/16/2025 | 7 | 319 | 0 | 1300 | 1300 | Internal corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives |

Table 3.  Sampling Results for Sodium and Hardness

| Chemical or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL | PHG (MCLG) | Typical Source of Contaminant |
| --- | --- | --- | --- | --- | --- | --- |
| Sodium (ppm) | 7/23/2021 | 31 |  | None | None | Salt present in the water and is generally naturally occurring |
| Hardness (ppm) | 7/23/2021 | 120 |  | None | None | Sum of polyvalent cations present in the water, generally magnesium and calcium, and are usually naturally occurring |

Table 4.  Detection of Contaminants with a Primary Drinking Water Standard

| Chemical or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL [MRDL] | PHG (MCLG) [MRDLG] | Typical Source of Contaminant | Health effects Language |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Nitrate (MG/L) | 7/17/2025 | 8.4 | 8.4 | 10 | 4 | Runoff and leaching from fertilizer use; leaching from septic tanks and sewage; erosion of natural deposits | Infants below the age of six months who drink water containing nitrate in excess of the MCL may quickly become seriously ill and, if untreated, may die because high nitrate levels can interfere with the capacity of the infant’s blood to carry oxygen. Symptoms include shortness of breath and blueness of the skin. High nitrate levels may also affect the oxygen-carrying ability of the blood of pregnant women. |
| Chlorine (MG/L) | 2025 | .97 | .4-2.5 | 4 | 4 | Drinking water disinfectant added for treatment |  |
| Barium (ug/l) | 2/11/2024 5/10/2024 8/26/2024 | 90 61 93 | 61-93 | 1000 | 2000 | Discharge of drilling wastes; discharge from metal refineries; erosion of natural deposits |  |
| Aluminum | 2/11/2024 5/10/2024 8/26/2024 | 220 N/D N/D N/D | N/D-220 | 1000 | 600 | Erosion of natural deposits; residue from some surface water treatment processes |  |
| Arsenic (ug/l) | 8/26/24 5/10/24 2/11/24 9/23/23 | ND ND ND 2.3 | N/D-2.3 | 10 | 2 | Erosion of natural deposits; runoff from orchards, runoff from glass and electronics production wastes |  |
| Chromium (ug/l) | 2023 | 2.3 | 2.3 | 50 |  | Discharge from steel and pulp mills; erosion of natural deposits |  |
| Copper (ug/l) | 6/16/2025 | 0 71 130 260 270 310 340 | 0-340 | 1300 | 300 | Corrosion of household plumbing systems; erosion of natural deposits | Copper is an essential nutrient, but some people who drink water containing copper in excess of the action level over a relatively short amount of time may experience gastrointestinal distress. Some people who drink water containing copper in excess of the action level over many years may suffer liver or kidney damage. People with Wilson’s Disease should consult their personal doctor. |
| Gross Alpha Particle Activity | 2/24/2025 | 334 | 334 | 1500 |  | Erosion of natural deposits | Certain minerals are radioactive and may emit a form of radiation known as alpha radiation. Some people who drink water containing alpha emitters in excess of the MCL over many years may have an increased risk of getting cancer. |
| Chromium (hexavalent) | 11/18/2024 | 540 | 540 | 10000 | 20 | It is a toxic metal that occurs naturally and is used in industries like chrome plating and steel making | Some people who drink water containing hexavalent chromium in excess of the MCL over many years may have an increased risk of getting cancer. |

Table 5.  Detection of Contaminants with a Secondary Drinking Water Standard

| Chemical or Constituent (and reporting units) |  | Sample Date |  | Level Detected |  | Range of Detections |  | SMCL |  | PHG (MCLG) |  | Typical Source of Contaminant |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Color (Units) |  | 9/2023 |  | 5 |  | 5 |  | 15 |  | 15 |  | Naturally occurring organic materials |  |
| Chloride (mg/L) |  | 9/2023 |  | 8.1 |  | 8.1 |  | 500 |  | 500 |  | Runoff/leaching from natural deposits; seawater influence |  |
| Sulfate (mg/L) |  | 9/2023 |  | 15 |  | 15 |  | 500 |  | 500 |  | Runoff/leaching from natural deposits; industrial wastes |  |
| Turbidity (NTU) |  | 7/23/2021 |  | 3.6 |  | 3.6 |  | 5 |  | 5 |  | Soil runoff |  |
| Aluminum (ug/l) |  | 2/11/2025 |  | 220 |  | ND-220 |  | 200 |  | 200 |  | Runoff/leaching from natural deposits; industrial wastes. |  |
| Manganese (ug/l) |  | 2/11/2025 |  | 64 |  | 64 |  | 50 |  | 50 |  | Leaching from natural deposits |  | Manganese exposures resulted in neurological effects. High levels of manganese in people have been shown to result in adverse effects to the nervous system. |  |
| Iron** |  | 2/5/2024 2/11/2024 |  | 410 450 |  | 410-450 |  | 300 |  |  |  | Leaching from natural deposits |  |  |  |
| TDS (Total Dissolved Solids) |  | 2/5/2024 2/11/2024 |  | 250 230 |  | 230-250 |  | 1000 |  |  |  |  |  |  |  |

### Table 6 Synthetic Organic Contaminants including Pesticides and Herbicides

| Chemical or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | SMCL | Typical source of contaminant | Typical Source of Contaminant |
| --- | --- | --- | --- | --- | --- | --- |
| Dibromochloropropane [DBCP] (ng/L) | 2/24/2025 4/14/2025 4/28/2025 7/17/2025 10/27/2025 | 190 200 190 180 190 | 180-200 | 200 | Banned nematocide that may still be present in soils due to runoff/leaching from former use on soybeans, cotton, vineyards, tomatoes, and tree fruit | Some people who use water containing DBCP in excess of the MCL over many years may experience reproductive difficulties and may have an increased risk of getting cancer. |

### Additional General Information on Drinking Water

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that the water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the U.S. EPA’s Safe Drinking Water Hotline (1-800-426-4791).

Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections.  These people should seek advice about drinking water from their health care providers.  U.S. EPA/Centers for Disease Control (CDC) guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (1-800-426-4791).

For a water system with a monitoring and testing procedure violation, this language shall be included: “We are required to monitor your drinking water for specific contaminants on a regular basis. Results of regular monitoring are an indicator of whether or not your drinking water meets health standards. During7-1-2025 till 12-31-2025, we did not complete all monitoring or testing for Lead and Copper.

Lead-Specific Language:  If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing.  Blossom Trail is responsible for providing high quality drinking water but cannot control the variety of materials used in plumbing components.  When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking.  [Optional: If you do so, you may wish to collect the flushed water and reuse it for another beneficial purpose, such as watering plants.]  If you are concerned about lead in your water, you may wish to have your water tested.  Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline (1-800-426-4791) or at http://www.epa.gov/lead.

During the past year we were required to conduct 0 Level 1 assessment.  0 Level 1 assessment were completed.  In addition, we were required to take 0 corrective action and we completed 0  of these actions.

During the past year 0 Level 2 assessments were required to be completed for our water system.  0 Level 2 assessments were completed.  In addition, we were required to take 0 corrective actions and we completed 0 of these actions.

Appendix 3 — Compliance Certification

Citation and Compliance Order Number: 04_23_26J_023

Name of Water System: Blossom Trail Café

System Number: CA1000517

This form, when completed and sent to DWPDlST230waterboards.ca.qov for the Division of Drinking Water, Fresno District at 265 West Bullard Avenue Fresno, CA 93704, certifies that the required actions listed below were completed and public notification of water users was performed as required by California Code of Regulations, title 22, sections 64463 through 64465.

THIS FORM MUST BE COMPLETED AND RETURNED TO THE STATE WATER BOARD,

DIVISION OF DRINKING WATER, NO LATER THAN MARCH 13, 2026

| Required Action | Date Completed |
| --- | --- |
| Directive 1 Lead and Copper Testing | March 16 2026 |
| Directive 2 Public Notification (see below) | March 16 th 2026 |

Attach a copy of the public notice distributed to the water system's customers.

Public notification for failure to comply with the lead and copper monitoring requirements was conducted on: 3/16/2026	(date), for 2nd 6-Month using the following delivery and good-faith efforts (check all that apply and fill in requested information):

The notice was distributed by mail or direct delivery to each customer.

The water system has used the 2025 Consumer Confidence Report, to be distributed no later than July 1, 2026, to satisfy the notification requirement.

# Secondarv notification requirements for all systems

One or more of the following methods were used to notify persons (such as renters, students, patients, prison inmates, etc.) not likely to be reached by mailing or direct delivery.

Posted the notice at the following conspicuous locations served by the water system. (If more space is needed, please attach a list of locations).

Publication of the notice in a local newspaper or newsletter of general circulation (attach a copy of the published notice, including name of newspaper and date published).

Posted the notice on the Internet at www.

C]	Other method used to notify customers.

I hereby certify that the above information is factual.

Certified by: Printed Name	Kenneth Liebel	Title	Water Operator

Signature

7

Date	3/16/26

Disclosure: Be advised that the California Health and Safety Code sections 116725 and 116730 state that any person who knowingly makes any false statement on any report or document submitted for the purpose of compliance with the Safe Drinking Water Act may be liable for a civil penalty not to exceed five thousand dollars ($5,000) for each separate violation or, for continuing vio lations, for each day that violation continues, or may be charged with a misdemeanor, punishable with a fine of up to $25,000 for each day of violation, or by imprisonment in the county jail not to exceed one year, or by both the fine and imprisonment.

Appendix 2 — Notification Template

Este informe contiene informacion muy importante sobre su agua potable. Por favor hable con alguien que 10 pueda tradücir.

Daim ntawv qhia no tseem ceeb heev txog koj cov dej haus. Thov nrog ib tug neeg uas uav txhais tau nws.

Lead and Copper Monitoring Requirements

# Not Met for Blossom Trail Café During 2nd 6-Month Monitoring Period

Our water system recently violated a drinking water standard. Although this is not an emergency, as our customers, you have a right to know what happened, what you should do, and what we did to correct the situation.

We are required to monitor your drinking water for specific contaminants on a regular basis. Results of regular monitoring are an indicator of whether or not our drinking water meets health standards. During July 1 to December 2025, we did not meet all monitoring requirements for coliform bacteria and therefore cannot be sure of the quality of our drinking water during that time.

What should I do?

- You do not need to boil your water or take other corrective actions.

- The table below lists the contaminant we did not properly test for during July I to December 2025 and how many samples we are required to take and how often, how many samples we took, when samples should have been taken, and the date on which follow-up samples will be taken.

|  | Required sampling fre uenc | Number of samples taken | When all samples should have been taken | When samples will be taken |
| --- | --- | --- | --- | --- |
| Lead and | 2 times a year | 5 out of 10 | December 2025 | March 2026 |

- If you have health issues concerning the consumption of this water, you may wish to consult your doctor.

unaware of the number of samples needed. only 5 of the 10 required were taken

What happened? What is being done?

Description of corrective action: 10 samples will be collected per sampling requirements in March 2026

We anticipate resolving the problem within the estimated time frame:	March 2026

For more information, please contact:

Kenneth Liebel

Name of Contact

661-703-8301

Phone Number

Mailing Address	waterserviceskj@gmail.com

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this public notice in a public place or distributing copies by hand or mail.

Secondary Notification Requirements

Upon receipt of notification from a person operating a public water system, the following notification must be given within 10 days [Health and Safety Code Section 1

- SCHOOLS: Must notify school employees, students, and parents (if the students are minors).

- RESIDENTIAL RENTAL PROPERTY MANAGERS OR MANAGERS (including nursing homes and care facilities): Must notify tenants.

- BUSINESS PROPERTY MANAGERS, MANAGERS, OR OPERATORS: Must notify employees of businesses located on the property.

This notice is being sent to you by Blossom Trail Café in compliance with the California Domestic Water Quality and Monitoring Regulations as a means of keeping the public informed.

State Water System ID: CAI 000517	Date distributed:	3/16/26