## 2018 Consumer Confidence Report

| Water System Name: | Boron Community Services District | Report Date: | March 29, 2019 |
| --- | --- | --- | --- |

Este informe contiene información muy importante sobre su agua potable.  Tradúzcalo ó hable con alguien que lo entienda bien.

We are pleased to provide you with this report and want to keep you informed about the water and services we have delivered to you over the past year.  Our goal is, and always has been, to provide to you a safe and dependable supply of drinking water. We test the drinking water quality for many constituents as required by state and federal regulations.  This report shows the results of our monitoring for the period of January 1 through December 31, 2018.

The type of water sources used by the District for 2018 were Well No. 15, which is located west of the community of Boron, and purchased surface water through Antelope Valley East Kern Water Agency (AVEK).  Well No. 15 was an active water source until it was shut down and moved into standby on Saturday, September 29th, 2018.  Well No. 15 is currently on standby and will only be used when there is an emergency/disruption of supplies from AVEK.  We will provide prior notification before using Well No. 15 again.  A copy of our Drinking Water Source Assessment information may be viewed at our district office.

If you have questions about this report or concerning your water utility, please contact the manager, Peter A. Lopez at (760) 762-6127, Monday through Friday, 8:00 a.m. to 4:00 p.m.  Our regularly scheduled board meetings are held the third Thursday of each month at the district office located at 27167 Carmichael Street at 5:00 p.m.

| TERMS USED IN THIS REPORT |
| --- |
| Maximum Contaminant Level (MCL): The highest level of a contaminant that is allowed in drinking water. Primary MCLs are set as close to the PHGs (or MCLGs) as is economically and technologically feasible. Secondary MCLs are set to protect the odor, taste, and appearance of drinking water. Maximum Contaminant Level Goal (MCLG): The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs are set by the U.S. Environmental Protection Agency (USEPA). Public Health Goal (PHG): The level of a contaminant in drinking water below which there is no known or expected risk to health. PHGs are set by the California Environmental Protection Agency. Maximum Residual Disinfectant Level (MRDL): The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants. Maximum Residual Disinfectant Level Goal (MRDLG): The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants. | Primary Drinking Water Standards (PDWS): MCLs and MRDLs for contaminants that affect health along with their monitoring and reporting requirements, and water treatment requirements. Secondary Drinking Water Standards (SDWS): MCLs for contaminants that affect taste, odor, or appearance of the drinking water. Contaminants with SDWSs do not affect the health at the MCL levels. Treatment Technique (TT): A required process intended to reduce the level of a contaminant in drinking water. Regulatory Action Level (AL): The concentration of a contaminant which, if exceeded, triggers treatment or other requirements that a water system must follow. Variances and Exemptions: Department permission to exceed an MCL or not comply with a treatment technique under certain conditions. ND: not detectable at testing limit ppm: parts per million or milligrams per liter (mg/L) ppb: parts per billion or micrograms per liter (ug/L) ppt: parts per trillion or nanograms per liter (ng/L) ppq: parts per quadrillion or picogram per liter (pg/L) pCi/L: picocuries per liter (a measure of radiation) |

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

- Microbial contaminants, such as viruses and bacteria, that may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

- Inorganic contaminants, such as salts and metals, that can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

- Pesticides and herbicides that may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

- Organic chemical contaminants, including synthetic and volatile organic chemicals that are by-products of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, agricultural application, and septic systems.

- Radioactive contaminants that can be naturally-occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, the USEPA and the state Department of Public Health (Department) prescribe regulations that limit the amount of certain contaminants in water provided by public water systems.  Department regulations also establish limits for contaminants in bottled water that provide the same protection for public health.

The following tables list all of the drinking water contaminants that were detected during the most recent sampling for the constituent.  The presence of these contaminants in the water does not necessarily indicate that the water poses a health risk.  The Department allows us to monitor for certain contaminants less than once per year because the concentrations of these contaminants do not change frequently.  Some of the data, though representative of the water quality, are more than one year old.

*Any violation of an MC or AL is asterisked.  Additional information regarding the violation is provided later in this report.

| Table 1 – Monthly Bacteriological analysis requires 2 tests per month for coliform bacteria. test results were negative for coliform bacteria in the distribution system. |
| --- |
| Table 2 – sampling results showing the detection of Lead and copper: If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. lead in drinking water is primarily from materials and components associated with service lines and home plumbing. when your water has been sitting for several hours, you can minimize potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cookiing. if you are concerned about lead in your water, you may wish to have your water tested. additional information is available from the safe drinking water hotline at (800) 426-4791. |
| Lead and Copper (complete if lead or copper detected in the last sample set) | No. of samples collected | 90th percentile level detected | No. sites exceeding AL | AL | PHG | Typical Source of Contaminant |
| Lead (ppb) | 09/25/2018 10 | ND | 0 | 15 | 0.2 | Internal corrosion of household water plumbing systems; discharges from industrial manufacturers; erosion of natural deposits |
| Copper (ppm) | 09/25/2018 10 | .13mg/L | 0 | 1.3 | 0.3 | Internal corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives |
| TAble 3 – sampling results for sodium and hardness at well no. 15 site |
| Chemical or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL | PHG (MCLG) | Typical Source of Contaminant |
| Sodium (ppm) | 8/29/2018 | 240 | NA | none | none | Salt present in the water and is generally naturally occurring |
| Hardness (ppm) | 8/29/2018 | 190 | NA | none | none | Sum of polyvalent cations present in the water, generally magnesium and calcium, and are usually naturally occurring |

| TAble 4 A – detection of contaminants with a Primary Drinking Water Standard at the Blending station Site |
| --- |
| Chemical or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL [MRDL] | PHG (MCLG) [MRDLG] | Typical Source of Contaminant |
| Arsenic (ppb) | 2018 | 42.78* | 41-45 | 10 | 10 | Erosion of natural deposits; runoff from orchards; glass and electronics production wastes |
| Chlorine (ppm) | 2018 | 1.59 | 0.8-2.8 | [4] | [4] | Water additive to control microbes |
| TAble 4 B – detection of contaminants with a Primary Drinking Water Standard at well nO. 15 site |
| Chemical or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL [MRDL] | PHG (MCLG) [MRDLG] | Typical Source of Contaminant |
| Arsenic (ppb) | 2018 | 77.67* | 76-79 | 10 | .004 | Erosion of natural deposits; runoff from orchards; glass and electronics production wastes |
| Fluoride (ppm) | 8/29/2018 | 0.97 | NA | 2 | 1 | Erosion of natural deposits; water additive which promotes strong teeth; discharge from fertilizer and aluminum factories |
| Gross Alpha (pCi/L) | 2/7/2017 | 11.6 | NA | 15 | 0 | Certain minerals are radioactive and may emit forms of radiation known as photons and beta radiation. Some people who drink water containing beta and photon emitters in excess of the MCL over many years may have an increased risk of getting cancer |
| Hexavalent Chromium | 2/24/2015 | 3.8 | NA | 10 | 10 | Chromium is a metallic chemical that originates as a contaminant in the environment from the discharges of dye and paint pigments, wood preservatives, chrome-plating liquid wastes, and leaching from hazardous waste sites. The greatest use of chromium is in metal alloys such as stainless steel; protective coatings on metal; magnetic tapes; and pigments for paints, cement, paper, rubber, composition floor covering, etc. The two largest sources of chromium emission in the atmosphere are from the chemical manufacturing and combustion of natural gas, oil and coal. |
| Nitrate as N | 06/06/2018 | .96 | NA | 45 | 45 | Runoff and leaching from fertilizer use; leaching from septic tanks and sewage; erosion of natural deposits |
| Radium 226 | 2017 | .58 | .25-.89 | 5 | 0 | Erosion of natural deposits |
| (CONTINUED) Chemical or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL [MRDL] | PHG (MCLG) [MRDLG] | Typical Source of Contaminant |
| Radium 228 | 2017 | 1.22 | 0.0-2.48 | 5 | 0 | Erosion of natural deposits |
| Selenium (ppb) | 8/29/2018 | 3.3 | NA | 50 | 30 | Discharge from petroleum, glass, and metal refineries; erosion of natural deposits; discharge from mines and chemical manufacturers; runoff from livestock lots (feed additive) |
| **1,2,3-Trichloropropane | 2018 | ND | ND | 5 ppt | 5 ppt | Synthetic chemical commonly used as an industrial solvent, cleaning and degreasing agent, and paint and varnish remover. |
| TAble 5 A – detection of contaminants with a Secondary Drinking Water Standard at the blending station Site |
| Chemical or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL [MRDL] | PHG (MCLG) [MRDLG] | Typical Source of Contaminant |
| Chloride (ppm) | 2018 | 176.25 | 160-190 | 500 | none | Runoff/leaching from natural deposits; seawater influence |
| Total Dissolved Solids (ppm) | 2018 | 648.75 | 620-670 | 1000 | none | Runoff/leaching from natural deposits |

| TAble 5 B – detection of contaminants with a Secondary Drinking Water Standard at well nO. 15 site |
| --- |
| Chemical or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL [MRDL] |  | Typical Source of Contaminant |
| Chloride (ppm) | 8/29/2018 | 280 | NA | 500 |  | Runoff/leaching from natural deposits; seawater influence |
| Sulfate (ppm) | 8/29/2018 | 160 | NA | 500 |  | Runoff/leaching from natural deposits; industrial wastes |
| Total Dissolved Solids (ppm) | 8/29/2018 | 890 | NA | 1500 |  | Runoff/leaching from natural deposits |
| TAble 6 – disinfection by-products: Sampling for disinfection by-products, including total trihalomethanes (tthm) and haloacetic acids (haa5), were conducted for all four quarters in 2010. Boron csd does not chlorinate the drinking water; however, avek does. these by-products are a result of drinking water chlorination. avek is working on reducing the formation of disinfection by-products. |
| Chemical or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL [MRDL] |  | Typical Source of Contaminant |
| Total Trihalomethanes (ppb) | 9/10/2018 | 7.4 | NA | 80 |  | By-product of drinking water chlorination |
| Total Haloacetic Acids (ppb) | 9/10/2018 | ND | NA | 60 |  | By-product of drinking water chlorination |

*Arsenic: Throughout 2018, we continued to take the required samples, as described in the arsenic table above.  The samples for arsenic exceeded the limit as indicated.  However, our water system shut down its Well No. 15 and began serving 100 percent Antelope Valley East Kern (AVEK) Water Agency water to its customers on Saturday, September 29, 2018.  The District pulled samples to be tested for the arsenic constituent at three different locations throughout the District on Wednesday, October 3, 2018.  Those most recent arsenic testing results at the three different sites were

3 parts per billion, 4.8 parts per billion, and 7.3 parts per billion.  Even though these results show that the system is now reaching compliance regarding the standard, or maximum contaminant level (MCL), set by the State of California State Water Resources Control Board of 10 parts per billion for arsenic, there is a possibility that you were still being served water that violated the arsenic drinking water standard for the first three days of October 2018.

**1,2,3-Trichloropropane:  We are required to monitor your drinking water for specific contaminants on a regular basis.  Results of regular monitoring are an indicator of whether or not your drinking water meets health standards.  During the calendar year 2018, we did not monitor for 1,2,3-trichloropropane from Well No. 15 Active during the 2nd quarter of 2018 and therefore, cannot be sure of the quality of your drinking water at that time.

Additional General Information on Drinking Water

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that the water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the USEPA’s Safe Drinking Water Hotline (1-800-426-4791).

Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. USEPA/Centers for Disease Control (CDC) guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (1-800-426-4791).

Under the Safe Drinking Water Act (SDWA), the United States Environmental Protection Agency (USEPA) is responsible for setting national limits for hundreds of substances in drinking water and also specifies various treatments that water systems must use to remove these substances.  Each system continually monitors for these substances and reports their findings to the USEPA.  The USEPA uses this data to ensure that consumers are receiving clean water.

This publication conforms to the regulation under SDWA requiring water utilities to provide detailed water quality information to each of their customers annually.  We are committed to providing you with this information about your water supply because customers who are well informed are our best allies in supporting improvements necessary to maintain the highest water standards.