# 2020 Consumer Confidence Report

## Water System Information

Water System Name: Sunrise Shore Mutual Water Company

Report Date: June 30, 2021

Type of Water Source(s) in Use: Groundwater

Name and General Location of Source(s): Well #03, 6030 Sunrise Court, Lower Lake CA, 95457

Drinking Water Source Assessment Information: Contact the Water Resources Control Board in Santa Rosa at 707-576-2145

Time and Place of Regularly Scheduled Board Meetings for Public Participation: Annual Shareholder meeting held 7/2/21, 11:00am, at 6030 Sunrise Court, Lower Lake CA 95457

Quarterly Board of Directors meetings are announced at least 10 days in advance via shareholder email list communication

For More Information, Contact: Bob Bisson, President.  805-441-6755 cell

## About This Report

We test the drinking water quality for many constituents as required by state and federal regulations.  This report shows the results of our monitoring for the period of January 1 to December 31, 2020 and may include earlier monitoring data.

## Importance of This Report Statement

Language in Spanish:  Este informe contiene información muy importante sobre su agua para beber.  Favor de comunicarse Sunrise Shore Mutual Water Company a 6030 Sunrise Ct., Lower Lake CA 95457

## Terms Used in This Report

| Term | Definition |
| --- | --- |
| Level 1 Assessment | A Level 1 assessment is a study of the water system to identify potential problems and determine (if possible) why total coliform bacteria have been found in our water system. |
| Level 2 Assessment | A Level 2 assessment is a very detailed study of the water system to identify potential problems and determine (if possible) why an E. coli MCL violation has occurred and/or why total coliform bacteria have been found in our water system on multiple occasions. |
| Maximum Contaminant Level (MCL) | The highest level of a contaminant that is allowed in drinking water. Primary MCLs are set as close to the PHGs (or MCLGs) as is economically and technologically feasible. Secondary MCLs are set to protect the odor, taste, and appearance of drinking water. |
| Maximum Contaminant Level Goal (MCLG) | The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs are set by the U.S. Environmental Protection Agency (U.S. EPA). |
| Maximum Residual Disinfectant Level (MRDL) | The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants. |
| Maximum Residual Disinfectant Level Goal (MRDLG) | The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants. |
| Primary Drinking Water Standards (PDWS) | MCLs and MRDLs for contaminants that affect health along with their monitoring and reporting requirements, and water treatment requirements. |
| Public Health Goal (PHG) | The level of a contaminant in drinking water below which there is no known or expected risk to health. PHGs are set by the California Environmental Protection Agency. |
| Regulatory Action Level (AL) | The concentration of a contaminant which, if exceeded, triggers treatment or other requirements that a water system must follow. |
| Secondary Drinking Water Standards (SDWS) | MCLs for contaminants that affect taste, odor, or appearance of the drinking water. Contaminants with SDWSs do not affect the health at the MCL levels. |
| Treatment Technique (TT) | A required process intended to reduce the level of a contaminant in drinking water. |
| Variances and Exemptions | Permissions from the State Water Resources Control Board (State Board) to exceed an MCL or not comply with a treatment technique under certain conditions. |
| ND | Not detectable at testing limit. |
| ppm | parts per million or milligrams per liter (mg/L) |
| ppb | parts per billion or micrograms per liter (µg/L) |
| ppt | parts per trillion or nanograms per liter (ng/L) |
| ppq | parts per quadrillion or picogram per liter (pg/L) |
| pCi/L | picocuries per liter (a measure of radiation) |

## Sources of Drinking Water and Contaminants that May Be Present in Source Water

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

Microbial contaminants, such as viruses and bacteria, that may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

Inorganic contaminants, such as salts and metals, that can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

Pesticides and herbicides, that may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

Organic chemical contaminants, including synthetic and volatile organic chemicals, that are byproducts of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, agricultural application, and septic systems.

Radioactive contaminants, that can be naturally-occurring or be the result of oil and gas production and mining activities.

## Regulation of Drinking Water and Bottled Water Quality

In order to ensure that tap water is safe to drink, the U.S. EPA and the State Board prescribe regulations that limit the amount of certain contaminants in water provided by public water systems.  The U.S. Food and Drug Administration regulations and California law also establish limits for contaminants in bottled water that provide the same protection for public health.

## About Your Drinking Water Quality

### Drinking Water Contaminants Detected

Tables 1, 2, 3, and 4 list all of the drinking water contaminants that were detected during the most recent sampling for the constituent.  The presence of these contaminants in the water does not necessarily indicate that the water poses a health risk.  The State Board allows us to monitor for certain contaminants less than once per year because the concentrations of these contaminants do not change frequently.  Some of the data, though representative of the water quality, are more than one year old.  Any violation of an AL, MCL, MRDL, or TT is asterisked.  Additional information regarding the violation is provided later in this report on Table 5.

Table 1.  Sampling Results Showing the Detection of Coliform Bacteria

| Microbiological Contaminants | Highest No. of Detections | No. of Months in Violation | MCL | MCLG | Typical Source of Bacteria |
| --- | --- | --- | --- | --- | --- |
| Total Coliform Bacteria (State Total Coliform Rule) | (In a month) 0 | 0 | 1 positive monthly sample (a) | 0 | Naturally present in the environment |
| Fecal Coliform or E. coli (State Total Coliform Rule) | (In the year) 0 | 0 | A routine sample and a repeat sample are total coliform positive, and one of these is also fecal coliform or E. coli positive | None | Human and animal fecal waste |
| E. coli (Federal Revised Total Coliform Rule) | (In the year) 0 | 0 | (b) | 0 | Human and animal fecal waste |

(a) Two or more positive monthly samples is a violation of the MCL

(b) Routine and repeat samples are total coliform-positive and either is E. coli-positive or system fails to take repeat samples following E. coli-positive routine sample or system fails to analyze total coliform-positive repeat sample for E. coli.

Table 2.  Sampling Results Showing the Detection of Lead and Copper

Complete if lead or copper is detected in the last sample set.

| Lead and Copper | Sample Date | No. of Samples Collected | 90th Percentile Level Detected | No. Sites Exceeding AL | AL | PHG | No. of Schools Requesting Lead Sampling | Typical Source of Contaminant |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Lead (ppb) | 6/13/19 | 5 | <0.005 | 0 | 15 | 0.2 | 0 | Internal corrosion of household water plumbing systems; discharges from industrial manufacturers; erosion of natural deposits |
| Copper (ppm) | 6/13/19 | 5 | 0.37 | 0 | 1.3 | 0.3 | Not applicable | Internal corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives |

Table 3.  Sampling Results for Sodium and Hardness

| Chemical or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL | PHG (MCLG) | Typical Source of Contaminant |
| --- | --- | --- | --- | --- | --- | --- |
| Sodium (ppm) | 12/4/19 | 9.2 | NA | None | None | Salt present in the water and is generally naturally occurring |
| Hardness (ppm) | 12/4/19 | 48 | NA | None | None | Sum of polyvalent cations present in the water, generally magnesium and calcium, and are usually naturally occurring |

Table 4.  Detection of Contaminants with a Primary Drinking Water Standard

| Chemical or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL [MRDL] | PHG (MCLG) [MRDLG] | Typical Source of Contaminant |
| --- | --- | --- | --- | --- | --- | --- |
| Fluoride (ppm) | 12/4/19 | 0.26 | NA | 2.0 | 1 | Erosion of natural deposits; water additive which promotes strong teeth; discharge from fertilizer and aluminum factories |
| Aluminum (ppm) | 2020 | 0.21 | <0.05-0.36 | 1.0 | 0.6 | Erosion of natural deposits; residue from some surface water treatment processes |
| Arsenic (ppm) | 12/4/19 | 5.3 | NA | 10 | 0.004 | Erosion of natural deposits; runoff from orchards; glass and electronics production wastes |
| Gross Alpha (pCi/L) | 7/9/16 | 0.46 | NA | 15 | (0) | Erosion of natural deposits |

Table 5.  Detection of Contaminants with a Secondary Drinking Water Standard

| Chemical or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | SMCL | PHG (MCLG) | Typical Source of Contaminant |
| --- | --- | --- | --- | --- | --- | --- |
| Aluminum (ppb) | 2020 | 213 | <50-360 | 1000 | 600 | Erosion of natural deposits; residue from some surface water treatment processes |
| Iron (ppb) | 2020 | 503* | <100-1100 | 300 | None | Leaching from natural deposits; industrial wastes |
| Manganese (ppb) | 2020 | 7 | <20-21 | 50 | None | Leaching from natural deposits |
| Turbidity | 2020 | 0.64 | <0.10-1.7 | 5 | None | Soil runoff |
| Color (units) | 2020 | <5.0 | <5.0 - <5.0 | 15 | None | Naturally occurring organic materials |
| Zinc (ppm) | 12/4/19 | 0.056 | NA | 5 | None | Runoff/leaching from natural deposits; industrial wastes |
| Total Dissolved Solids (TDS) | 12/4/19 | 160 | NA | 1,000 | None | Runoff/leaching from natural deposits |
| Specific Conductance (uS/cm) | 12/4/19 | 150 | NA | 1,600 | None | Substances that form ions when in water; seawater influence |
| Chloride (ppm) | 12/4/19 | 4.1 | NA | 500 | None | Runoff/leaching from natural deposits; seawater influence |

### Additional General Information on Drinking Water

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that the water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the U.S. EPA’s Safe Drinking Water Hotline (1-800-426-4791).

Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections.  These people should seek advice about drinking water from their health care providers.  U.S. EPA/Centers for Disease Control (CDC) guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (1-800-426-4791).

Lead-Specific Language:  If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing.  Sunrise Shore Mutual Water Company is responsible for providing high quality drinking water, but cannot control the variety of materials used in home plumbing components.  When your water has been sitting for several hours in your household plumbing, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking.  If you are concerned about lead in your water, you may wish to have your water tested.  Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline (1-800-426-4791) or at http://www.epa.gov/lead.

Additional Special Language for Arsenic:  While your drinking water meets the federal and state standards for arsenic, it does contain low levels of arsenic as of the most recent sampling in 2019.  This contaminate is tested for every 3 years and will occur again in 2022.  The arsenic standard balances the current scientific understanding of arsenic’s possible health affects against the cost of removing arsenic from drinking water.  The U.S. Environmental Protection Agency (EPA) continues to research the health effects of low levels of arsenic, which is a mineral known to cause cancer in humans in high concentrations and is linked to other health effects such as skin damage and circulatory problems.

Additional Specific Language for Iron, Aluminum, and Manganese:  Your drinking water is obtained from a groundwater well that contains naturally high concentrations of iron, aluminum, and manganese.  These minerals are naturally occurring in the earth, especially so in Lake County due to its volcanic geology.  The Secondary MCLs for these contaminants were set to protect you against unpleasant aesthetic effects (e.g., color, taste, odor) and the staining of plumbing fixtures (e.g., bathtubs and sinks) and clothing while washing.  An oxidation and filtration system is used to lower the iron, manganese, and aluminum concentrations in the well water after it’s pumped to the surface, and prior to delivery to your home.  Sunrise Shore Mutual Water Company is nearing design completion of a new, more advanced filtration system for our current well that is expected to improve the filtering of these minerals to levels below the Secondary MCL on a consistent basis.  Installation is expected to begin in the 2nd half of 2022, with completion by the end of 2023.

Sunrise Shore Mutual Water Company is classified by the State’s Division of Drinking Water (DDW) as a Small Water System for the purposes of contaminant testing regulations and frequencies.  We use Sodium Hypochlorite as a disinfectant additive to the raw water after it’s pumped to the surface and before the water is processed through the Green Sand Filters and into the large storage tanks.  We test our raw well water and our treated finished water on a monthly basis for Total Coliform and E. Coli.  In 2020 we had no positive testing results for either contaminant.  We plan to continue monthly testing of our raw and treated water for these important contaminants.

### Summary Information for Violation of a MCL, MRDL, AL, TT, or Monitoring and Reporting Requirement

Table 5. Violation of a MCL, MRDL, AL, TT or Monitoring Reporting Requirement

| Violation | Explanation | Duration | Actions Taken to Correct Violation | Health Effects Language |
| --- | --- | --- | --- | --- |
| Exceeded the Iron Secondary MCL | Iron was found in our treated water at levels that exceed the secondary MCL of 300 ug/L (ppb). The Iron MCL was set to protect you against aesthetic effects such as color, taste, and odor and the staining of plumbing fixtures such as sinks and bathtubs, and of clothes while washing. The high iron levels are due to the leaching of natural deposits in the soil surrounding the well. | 1st and 4th Quarters of 2020 | Refining of backwash operations of our filtering/treatment system | Iron has no known health effects |

General Information:

Sunrise Shore Mutual Water Company pumped and treated approximately 3.5 million gallons of drinking water during the 2020 calendar year.  Our highest running 3-month usage period was May – July, and our lowest single usage month was January.  We replaced our source well’s pump in April of 2020, along with the pressure pipe that delivers water to the surface.  This resulted in a significant positive reduction in electricity costs to the company as compared to the previous year.  A permanent back-up generator was installed in June 2021; two 45,000 gallon storage tanks are planned for installation in late 2022; a new treatment system is planned for installation in 2023.

This required report is provided to you by your Board of Directors, on behalf of you, our private shareholder-owned mutual water company customer.