## Sheet2
alkalinity | Nitrate | Aggressive | Langlier | Spec Cond | TDS | Chromium +6 | Gross Beta | Tritium | Strontium 90 | Aluminum | Cyanide | MTBE | NO3 | tthm | HAA5
[14 empty] | 48.2 | 14.7
[14 empty] | 49.2 | 14.5
[14 empty] | 48.8 | 13.3
[14 empty] | 38.2 | 9.06
[14 empty] | 40.4 | 9.69
[14 empty] | 39.8 | 9.8
[14 empty] | 39 | 9.33
[14 empty] | 43.3714 | 11.4829

## Sheet1
Three Valleys Municipal Water District
2018 WATER QUALITY REPORT TO TVMWD MEMBER AGENCIES
WEYMOUTH refers to the Metropolitan Water District's Weymouth Water Treatment Plant in the city of La Verne.
MIRAMAR refers to the Three Valleys Municipal Water District's Miramar Water Treatment Plant in the city of Claremont.
|  |  | WEYMOUTH EFFLUENT | MIRAMAR | MIRAMAR | REGULATORY STANDARDS
|  |  |  | PLANT | GROUNDWATER
|  |  | Range/Average | Range/Average | Range/Average | State (Federal) MCL | PHG | State DLR | Major Sources in Drinking Water
(RL)
SOURCE WATER
% of State Project Water |  |  | 0 - 100/36 | 94.078 |  | NA | NA | NA
% of Groundwater |  |  |  |  | 5.92
PRIMARY STANDARDS - Mandatory Health-Related Standards
CLARITY
Combined Filter Effluent (CFE) Turbidity (a) |  | NTU | 0.06 (highest) | 0.14 (highest) | 0.16 (highest) | TT | NA | NA | Soil runoff
|  | % ≤ 0.3 | 100% | 100% | 100%
MICROBIOLOGICAL (b)
Total Coliform Bacteria ( c) |  | % Positive Monthly Samples | 0 - 0.3/0.1% | 0-1.25/0.1% | ND | 5 | MCLG = 0 | NA | Naturally present in the environment
|  |  | distribution system-wide | distribution system-wide
Escherichia coli (E. coli)( c,d) |  | Number | 0% | ND | ND | 1 | MCLG = 0 | NA | Human and animal fecal waste
|  |  | distribution system-wide | distribution system-wide
Heterotrophic Plate Count (e) |  | CFU/ mL | ND-1/ND | ND | ND | TT | NA | (1) | Naturally present in the environment
Cryptosporidium |  | Oocyst | ND | ND | ND | TT | MCLG = 0 | (1) | Human and animal fecal waste
200 L
Giardia (f) |  | Cysts | ND | ND | ND | TT | MCLG = 0 | (1) | Human and animal fecal waste
200 L
ORGANIC CHEMICALS
Synthetic Organic Compounds |  | Units
1,2,3-Trichloropropange (1,2,3-TCP) (g) |  | ppt | ND | ND | ND | 5 | 0.7 | 5 | Discharge from industrial and agrichemical factories; byproducts of producing other compounds and pesticides, leaching from hazardous waste site
2,4,5-TP (Silvex) |  | ppb | ND | ND | ND | 50 | 3 | 1 | Residue of banned herbicide
2,4-D |  | ppb | ND | ND | ND | 70 | 20 | 10 | Runoff from herbicide used on row crops, range land, lawns and aquatic weeds
Acrylamide (h) |  | ppm | NA | ND | ND | TT | MCLG = 0 | NA | Water treatment chemical impurities
Alachlor |  | ppb | ND | ND | ND | 2 | 4 | 1 | Runoff from herbicide used on row crops
Atrazine |  | ppb | ND | ND | ND | 1 | 0.15 | 0.5 | Runoff from herbicide used on row crops and along railroad and highways rights-of-way
Bentazon |  | ppb | ND | ND | ND | 18 | 200 | 2 | Runoff/leaching from herbicide used on beans, peppers, corn, peanuts, rice, and ornamental grasses
Benzo(a)pyrene |  | ppt | ND | ND | ND | 200 | 7 | 100 | Leaching from linings of water storage tanks and distribution mains
Carbofuran |  | ppb | ND | ND | ND | 18 | 0.7 | 5 | Leaching of soil fumigant used on rice, alfalfa and grapes vineyards
Chlordane |  | ppt | ND | ND | ND | 100 | 30 | 100 | Residue of banned insecticide
Dalapon |  | ppb | ND | ND | ND | 200 | 790 | 10 | Runoff from herbicide used on rights of way, crops and landscape maintenance
Di(2-ethylhexyl) adipate |  | ppb | ND | ND | ND | 400 | 200 | 5 | Discharge from chemical factories
Di(2-ethylhexyl) phthalate |  | ppb | ND | ND | ND | 4 | 12 | 3 | Discharge from rubber and chemical factories; inert ingredient in pesticides
Dibromochloropropane (DBCP) |  | ppt | ND | ND | ND | 200 | 1.7 | 10 | Banned nematicide that may still be present in soils due to runoff/leaching
Dinoseb |  | ppb | ND | ND | ND | 7 | 14 | 2 | Runoff from herbicide used on soybeans, vegetables and fruits
Dioxin (2,3,7,8-TCDD) |  | ppq | ND | ND | ND | 30 | 0.05 | 5 | Waste incineration emissions, chemical factory discharge
Diquat |  | ppb | ND | ND | ND | 20 | 6 | 4 | Runoff from herbicide used for terrestrial and aquatic weeds
Endothall |  | ppb | ND | ND | ND | 100 | 94 | 45 | Runoff from herbicide used for terrestrial and aquatic weeds
Endrin |  | ppb | ND | ND | ND | 2 | 0.3 | 0.1 | Residue of banned insecticide and rodenticide
Epichlorohydrin (h) |  | ppm | ND | ND | ND | TT | MCLG = 0 | NA | Water treatment chemical impurities
Ethylene dibromide (EDB) |  | ppt | ND | ND | ND | 50 | 10 | 20 | Discharge from petroleum refineries; underground gas tank leaks, banned nematocide that maybe still present in soils due to runoff and leaching
Glyphosate |  | ppb | ND | ND | ND | 700 | 900 | 25 | Runoff from herbicide use
Heptachlor |  | ppt | ND | ND | ND | 10 | 8 | 10 | Residue of banned insecticide
Heptachlor Epoxide |  | ppt | ND | ND | ND | 10 | 6 | 10 | Breakdown product of heptachlor
Hexachlorobenzene |  | ppb | ND | ND | ND | 1 | 0.03 | 0.5 | Discharge from metal refineries & agrichemical factories; wastewater chlorination reaction by-product
Hexachlorocyclopentadiene |  | ppb | ND | ND | ND | 50 | 2 | 1 | Discharge from chemical factories
Lindane |  | ppt | ND | ND | ND | 200 | 32 | 200 | Runoff/leaching from insecticide used on cattle, lumber, gardens
Methoxychlor |  | ppb | ND | ND | ND | 30 | 0.09 | 10 | Runoff/leaching from insecticide uses
Molinate (Ordram) |  | ppb | ND | ND | ND | 20 | 1 | 2 | Runoff/leaching from herbicide used on rice
Oxamyl (Vydate) |  | ppb | ND | ND | ND | 50 | 26 | 20 | Runoff/leaching from insecticide uses
Pentachlorophenol (PCP) |  | ppb | ND | ND | ND | 1 | 0.3 | 0.2 | Discharge from wood preserving factories, other insecticidal and herbicidal uses
Picloram |  | ppb | ND | ND | ND | 500 | 166 | 1 | Herbicide runoff
Polychlorinated Biphenyls (PCBs) |  | ppt | ND | ND | ND | 500 | 90 | 500 | Runoff from landfills; discharge of waste chemicals
Simazine |  | ppb | ND | ND | ND | 4 | 4 | 1 | Herbicide runoff
Thiobencarb |  | ppb | ND | ND | ND | 70 | 42 | 1 | Runoff/leaching from herbicide used on rice
Toxaphene |  | ppb | ND | ND | ND | 3 | 0.03 | 1 | Runoff/leaching from insecticide used on cotton and cattle
Volatile Organic Chemicals |  |  |  |  | 2016 (x)
1,1,1-Trichloroethane |  | ppb | ND | ND | ND | 200 | 1000 | 0.5 | Discharge from metal degreasing sites; manufacture of food wrappings
1,1,2,2-Tetrachloroethane |  | ppb | ND | ND | ND | 1 | 0.1 | 0.5 | Discharge from industrial, agricultural chemical factories; solvent used in production of TCE, pesticides, varnish and lacquers
1,1,2-Trichloro-1,2,2-trifluoroethane (Freon 113) |  | ppm | ND | ND | ND | 1.2 | 4 | 0.01 | Discharge from metal degreasing sites and other factories; dry-cleaning solvent; refrigerant
1,1,2-Trichloroethane |  | ppb | ND | ND | ND | 5 | 0.3 | 0.5 | Discharge from industrial chemical factories
1,1-Dichloroethane |  | ppb | ND | ND | ND | 5 | 3 | 0.5 | Extraction & degreasing solvent; fumigant
1,1-Dichloroethylene |  | ppb | ND | ND | ND | 6 | 10 | 0.5 | Discharge from industrial chemical factories
1,2,4-Trichlorobenzene |  | ppb | ND | ND | ND | 5 | 5 | 0.5 | Discharge from textile-finishing factories
1,2-Dichlorobenzene |  | ppb | ND | ND | ND | 600 | 600 | 0.5 | Discharge from industrial chemical factories
1,2-Dichloroethane |  | ppt | ND | ND | ND | 500 | 400 | 500 | Discharge from industrial chemical factories
1,2-Dichloropropane |  | ppb | ND | ND | ND | 5 | 0.5 | 0.5 | Discharge from industrial chemical factories; primary component of some fumigants
1,3-Dichloropropene |  | ppt | ND | ND | ND | 500 | 200 | 500 | Runoff/leaching from nematocide used on croplands
1,4-Dichlorobenzene |  | ppb | ND | ND | ND | 5 | 6 | 0.5 | Discharge from industrial chemical factories
Benzene |  | ppb | ND | ND | ND | 1 | 0.15 | 0.5 | Plastic factory discharge; gas tanks and landfill leaching
Carbon Tetrachloride |  | ppt | ND | ND | ND | 500 | 100 | 500 | Discharge from chemical plants and other industrial activities
cis-1,2-Dichloroethylene |  | ppb | ND | ND | ND | 6 | 100 | 0.5 | Industrial chemical factory discharge; biodegradation byproduct of TCE/PCE groundwater contamination
Dichloromethane (methylene chloride) |  | ppb | ND | ND | ND | 5 | 4 | 0.5 | Discharge from pharmaceutical and chemical factories
Ethylbenzene |  | ppb | ND | ND | ND | 300 | 300 | 0.5 | Discharge from petroleum refineries; industrial chemical factories
Methyl-tert-butyl-ether (MTBE) |  | ppb | ND | ND | ND | 13 | 13 | 3 | Gasoline discharge from watercraft engines
Monochlorobenzene |  | ppb | ND | ND | ND | 70 | 70 | 0.5 | Discharge from industrial, agricultural chemical factories and dry-cleaning facilities
Styrene |  | ppb | ND | ND | ND | 100 | 0.5 | 0.5 | Rubber and plastics factories discharge, landfill leaching
Tetrachloroethylene (PCE) |  | ppb | ND | ND | ND | 5 | 0.06 | 0.5 | Discharge from factories, dry cleaners and auto shops
Toluene |  | ppb | ND | ND | ND | 150 | 150 | 0.5 | Discharge from petroleum and chemical refineries
trans-1,2-Dichloroethylene |  | ppb | ND | ND | ND | 10 | 60 | 0.5 | Industrial chemical factory discharge; biodegradation byproduct of TCE/PCE groundwater contamination
Trichloroethylene (TCE) |  | ppb | ND | ND | ND | 5 | 1.7 | 0.5 | Discharge from metal degreasing sites and other factories
Trichlorofluoromethane (Freon 11) |  | ppb | ND | ND | ND | 150 | 1300 | 5 | Discharge from industrial factories; degreasing solvent; propellant
Vinyl chloride |  | ppt | ND | ND | ND | 500 | 50 | 500 | Leaching from PVC piping; plastics factory discharge; biodegradation byproduct of TCE/PCE biodegradation
Xylenes |  | ppm | ND | ND | ND | 1.75 | 1.8 | 0.0005 | Discharge from petroleum and chemical refineries; fuel solvent
INORGANIC CHEMICALS
Aluminum |  | ppb | ND-220/105 | ND | ND | 1000 | 600 | 50 | Residue from water treatment process; erosion of natural deposits
Antimony |  | ppb | ND | ND | ND | 6 | 1 | 6 | Petroleum refinery discharges, fire retardants, solder, electronics
Arsenic |  | ppb | ND | ND | ND | 10 | 0.004 | 2 | Erosion of natural deposits; glass & electronics production wastes
Asbestos (i) |  | MFL | ND | ND | NR | 7 | 7 | 0.2 | Internal corrosion of asbestos cement pipes; erosion of natural deposits
Barium |  | ppb | 118 | ND | ND | 1000 | 2000 | 100 | Discharge of oil drilling wastes and from metal refineries; erosion of natural deposits
Beryllium |  | ppb | ND | ND | ND | 4 | 1 | 1 | Discharge from metal refineries; aerospace and defense industries
Cadmium |  | ppb | ND | ND | ND | 5 | 0.04 | 1 | Internal corrosion of galvanized pipes; discharge from electroplating industrial factories and metal refineries, runoff from waste batteries and paints, natural deposits erosion
Chromium |  | ppb | ND | ND | ND | 50 | MCLG = 100 | 10 | Discharge from steel and pulp mills; erosion of natural deposits
Copper (j) |  | ppm | ND | ND | ND | AL=1.3 | 0.3 | 0.05 | Internal corrosion of household pipes; erosion of natural deposits
Cyanide |  | ppb | ND | ND | ND | 150 | 150 | 100 | Discharge from steel/metal, plastic and fertilizer factories
Fluoride (k) |  | ppm | 0.6-0.9/0.7 | ND | 0.41-0.59/0.5 | 2 | 1 | 0.1 | Erosion of natural deposits; water additive that promotes strong teeth
|  |  | (treatment related) | (naturally occurring) | (naturally occurring)
Lead (j) |  | ppb | ND | ND | ND | AL=15 | 0.2 | 5 | Internal corrosion of household pipes; erosion of natural deposits
Mercury |  | ppb | ND | ND | ND | 2 | 1.2 | 1 | Erosion of natural deposits; discharge from factories; runoff from landfills
Nickel |  | ppb | ND | ND | ND | 100 | 12 | 10 | Erosion of natural deposits; discharge from metal factories
Nitrate (as Nitrogen) |  | ppm | ND | ND-0.5/ND | 2.6-4.2/3.27 | 10 | 10 | 0.4 | Runoff & leaching from fertilizer use; septic tank and sewage; erosion of natural deposits
Nitrite (as Nitrogen) |  | ppm | ND | ND | ND | 1 | 1 | 0.4 | Runoff & leaching from fertilizer use; septic tank and sewage; erosion of natural deposits
Perchlorate |  | ppb | ND | ND | ND | 6 | 1 | 4 | Industrial waste discharge
Selenium |  | ppb | ND | ND | ND | 50 | 30 | 5 | Refineries, mines and chemical waste discharge; runoff from livestock lots
Thallium |  | ppb | ND | ND | ND | 2 | 0.1 | 1 | Leaching from ore-processing sites; factory discharge
RADIOLOGICALS (l)
Gross Alpha Particle Activity |  | pCi/L | ND | ND | ND | 15 | (0) | 3 | Erosion of natural deposits
due 2028
Gross Beta Particle Activity |  | pCi/L | ND | ND-0.071/0.024 | NR | 50 | (0) | 4 | Decay of natural and man-made deposits
Combined Radium |  | pCi/L | ND | ND (2015) | 0.148 (2016) | 5 | (0) | NA | Erosion of natural deposits
Radium 226 + 228 |  |  |  | due 2022 | due 2028
Radium 226 |  | pCi/L | ND | ND (2015) | 0.147 (2016) | NA | 0.05 | 1 | Erosion of natural deposits
|  |  |  | due 2022 | due 2028
Radium 228 |  | pCi/L | ND | ND (2015) | 0.001 (2016) | NA | 0.019 | 1 | Erosion of natural deposits
|  |  |  | due 2022 | due 2028
Strontium-90 |  | pCi/L | ND | ND | NR | 8 | 0.35 | 2 | Decay of natural and man-made deposits
Tritium |  | pCi/L | ND | ND | NR | 20,000 | 400 | 1,000 | Decay of natural and man-made deposits
Uranium |  | pCi/L | ND | due 2019 | 2.4 (2017) | 20 | 0.43 | 1 | Erosion of natural deposits
due 2020
DISINFECTION BY-PRODUCTS, DISINFECTANT RESIDUALS, AND DISINFECTION BY-PRODUCTS PRECURSORS (m)
Total Trihalomethanes (TTHM) (i) |  | ppb | 11-35/38 | 44.2 - 64.9 / 55.47 | NR | 80 | NA | 1 | By-product of drinking water disinfection
|  |  | Distribution system-wide (i) | Distribution system-wide (i)
Sum of Five Haloacetic Acids (HAA5) |  | ppb | ND-21/17 | 13.5 - 29.3 / 20.05 | NR | 60 | NA | 1 | By-product of drinking water disinfection
|  |  | Distribution system-wide (i) | Distribution system-wide (i)
Total Chlorine Residual |  | ppm | 1.4-2.9/2.4 | 2.51 - 2.60 / 2.56 | NR | [4.0] | [4.0] | NA | Drinking water disinfectant added for treatment
|  |  | highest RAA | highest RAA
|  |  | Distribution system-wide | Distribution system-wide
Bromate (n) |  | ppb | ND-10/5.0 | NA | NA | 10 | 0.1 | 1.0 | Byproduct of drinking water ozonation
highest RAA (j)
Total Organic Carbon (TOC) |  | ppm | 2.1-2.8/2.4 | 1.8-2.8/2.35 | ND | TT | NA | 0.30 | Various natural and man-made sources; TOC as a medium for the formation of disinfection byproducts
SECONDARY STANDARDS - Aesthetic Standards
Aluminum (o) |  | ppb | ND-220/105 | ND | ND | 200 | 600 | 50 | Residue from water treatment processes; natural deposits erosion
Chloride |  | ppm | 96-97/96 | 90 | 6.8-9.8/8.3 | 500 | NA | (2) | Runoff/leaching from natural deposits; seawater influence
Color |  | units | ND-1/ND | ND | ND | 15 | NA | (1) | Naturally occurring organic materials
Copper (j) |  | ppm | ND | ND | ND | 1 | 0.3 | 0.05 | Internal corrosion of household pipes; natural deposits erosion; wood preservatives leaching
Foaming Agents-Methylene Blue Active Substances (MBAS) |  | ppb | ND | ND | ND | 500 | NA | (50) | Municipal and industrial waste discharges
Iron |  | ppb | ND | ND | ND | 300 | NA | 100 | Leaching from natural deposits; industrial wastes
Manganese |  | ppb | ND | ND | ND | 50 | NL=500 | 20 | Leaching from natural deposits
MTBE |  | ppb | ND | ND | ND | 5 | 13 | 3 | Gasoline discharges from watercraft engines
Odor Threshold (p) |  | TON | 3 | 1 | 1 | 3 | NA | 1 | Naturally occurring organic materials
Silver |  | ppb | ND | ND | ND | 100 | NA | 10 | Industrial discharges
Specific Conductance |  | µS/cm | 897-1010/954 | 500 | 380-410/395 | 1600 | NA | NA | Substances that form ions when in water; seawater influence
Sulfate |  | ppm | 190-236/213 | 40 | 25-31/28 | 500 | NA | 0.5 | Runoff/leaching from natural deposits; industrial wastes
Thiobencarb |  | ppb | ND | ND | ND | 1 | 42 | 1 | Runoff/leaching from rice herbicide
Total Dissolved Solids (TDS) (q) |  | ppm | 553-639/596 | 290-330/310 | 210-230/220 | 1000 | NA | (2) | Runoff/leaching from natural deposits; seawater influence
Turbidity (a) |  | NTU | ND | ND | ND | 5 | NA | 0.1 | Soil runoff
Zinc |  | ppm | ND | ND | ND | 5 | NA | 0.05 | Runoff/leaching from natural deposits; industrial wastes
OTHER PARAMETERS
General Minerals
Alkalinity (as CaCO3) |  | ppm | 107-117/112 | 49-76/66.25 | 150-160/155 | NA | NA | (1) | Measure of water quality
Calcium |  | ppm | 57-69/63 | 21-23/22 | 51-52/51.5 | NA | NA | (0.1) | Measure of water quality
Hardness (as CaCO3) |  | ppm | 233-274/254 | 110 | 160-170/165 | NA | NA | (1) | Measure of water quality
Magnesium |  | ppm | 23-26/24 | 13 | 7.5-8.6/8.05 | NA | NA | (0.01) | Measure of water quality
Potassium |  | ppm | 4.4-5.0/4.7 | 3.0-3.3/3.1 | 1.4 | NA | NA | (0.2) | Measure of water quality
Sodium |  | ppm | 94-103/98 | 62 | 13-22/17.5 | NA | NA | (1) | Measure of water quality
Unregulated Contaminants
Boron |  | ppb | 130 | 180-190/185 | 150 | NL=1,000 | NA | 100 | Runoff/leaching from natural deposits; industrial wastes
Chromium VI |  | ppb | ND | ND | ND | NA | 0.02 | 1 | Runoff/leaching from natural deposits; discharge from industrial waste factories
Dichlorodifluoromethane (Freon 12) |  | ppb | ND | NR | NR | NL=1,000 | NA | 0.5 | Industrial waste discharge
Ethyl-tert-butyl-ether (ETBE) |  | ppb | ND | ND | NR | NA | NA | 3 | Used as gasoline additive
tert-Amyl-methyl-ether (TAME) |  | ppb | ND | ND | NR | NA | NA | 3 | Used as gasoline additive
tert-Butyl alcohol (TBA) |  | ppb | ND | ND | NR | NL=12 | NA | 2 | MTBE breakdown product; used as gasoline additive
Vanadium |  | ppb | ND | ND | NR | NL=50 | NA | 3 | Naturally occurring; industrial waste discharge
Miscellaneous ( r)
Calcium Carbonate Precipitation Potential (CCPP) (as CaCO3) (s) |  | ppm | 0.9-9.1/5.2 | NR | NR | NA | NA | NA | Elemental balance in water; affected by temperature, other factors
Chlorate |  | ppb | 32 | ND | NR | NL=800 | NA | 20 | By-product of drinking water chlorination; industrial processes
Corrosivity (t) |  | AI | 12.2-12.5/12.4 | 11.88-12.04/11.96 | NR | NA | NA | NA | Elemental balance in water; affected by temperature, other factors
(as Aggressiveness Index)
Corrosivity (u) |  | Sl | 0.43-0.57/0.50 | 0.01-0.16/0.085 | NR | NA | NA | NA | Elemental balance in water; affected by temperature, other factors
(as Saturation Index)
N-Nitrosodimethylamine |  | ppt | 2.2 | ND | NR | NL=10 | 3 | (2) | By-product of drinking water chlorination; industrial processes
(NDMA)
pH |  | pH units | 8.1-8.2/8.1 | 8.1-8.4/8.25 | 7.9-8.2/8.1 | NA | NA | NA | Measure of water quality
Radon |  | pCi/L | ND | NR | NR | NA | NA | 100 | Naturally occurring, comes from decay of uranium in nearly all soils
Total Dissolved Solids (TDS) (w) |  | ppm | 283-650/514 | 210-330/270 | 210-230/220 | 1000 | NA | (2) | Runoff/leaching from natural deposits; seawater influence
Total Trihalomethanes (TTHM) (v) |  | ppb | 12-58/23 | 2.46-60.9/40.75 | NR | 1000 | NA | (2) | Runoff/leaching from natural deposits; seawater influence
DEFINITION OF TERMS AND FOOTNOTES
‡ As a wholesale water system, Metropolitan and Three Valleys MWD provides its member agencies with relevant source water information and monitoring results that they may need for their annual water quality report. Compliance with state or federal regulations is determined at the treatment plant effluent locations and/or distribution system, or plant influent per frequency stipulated in Metropolitan and Three Valleys MWD's State-approved monitoring plans, and is based on TT, RAA, or LRAA, as appropriate. Data above Metropolitan's laboratory reporting limit (RL) but below the State DLR are reported as ND in this report; these data are available upon request. Metropolitan and Three Valleys MWD were in compliance with all primary and secondary drinking water regulations for the current monitoring period.
Note: Metropolitan and Three Valleys MWD monitors the distribution system for constituents under the revised Total Coliform Rule (TCR), Water Fluoridation Standards, and Disinfectants/Disinfection Byproduct Rule (TTHMs, HAA5, and total chlorine residual), including NDMA. Constituents with grayed out areas in the distribution system column are routinely monitored at treatment plant effluents and not in the distribution system.
Definition of Terms
AI | Aggressiveness Index |  |  |  | NA | Not Applicable
AL | Action Level |  |  |  | ND | Not Detected at or above DLR or RL
Average | Result based on arithmetic mean |  |  |  | NL | Notification Level to SWRCB
CaCO3 | Calcium Carbonate |  |  |  | NTU | Nephelometric Turbidity Units
CCPP | Calcium Carbonate Precipitation Potential |  |  |  | pCi/L | picoCuries per Liter
CFE | Combined Filter Effluent |  |  |  | PHG | Public Health Goal
CFU | Colony-Forming Units |  |  |  | ppb | parts per billion or micrograms per liter (µg/L)
DLR | Detection Limits for Purposes of Reporting |  |  |  | ppm | parts per million or milligrams per liter (mg/L)
HAA5 | Sum of five haloacetic acids |  |  |  | ppq | parts per quadrillion or picograms per liter (pg/L)
HPC | Heterotrophic Plate Count |  |  |  | RAA | Running Annual Average; highest RAA is the highest of all Running Annual Averages calculated as an average of all the
| Locational Running Annual Average; highest LRAA is the highest |  |  |  |  | within a 12-month period
| of all Locational Running Annual Averages calculated as an average |  |  |  | Range | Results based on minimum and maximum values; range and average values are the same if a single value is
| of all samples collected within a 12 month period |  |  |  |  | reported for samples collected
MCL | Maximum Contaminant Level |  |  |  | RL | Reporting Limit
MCLG | Maximum Contaminant Level Goal |  |  |  | SI | Saturation Index (Langelier)
MFL | Million Fibers per Liter |  |  |  | SWRCB | State Water Resources Control Board
MRDL | Maximum Residual Disinfectant Level |  |  |  | TDS | Total Dissolved Solids
MRDLG | Maximum Residual Disinfectant Level Goal |  |  |  | TON | Threshold Odor Number
[5 empty] | TT | Treatment Technique is a required process intended to reduce the level of a contaminate in drinking water
[5 empty] | TTHM | Total Trihalomethanes
Footnotes
(a) | Metropolitan and Three Valleys MWD monitors turbidity at the CFE locations using continuous and grab samples. Turbidity, a measure of cloudiness of the water, is an indicator of treatment performance. Turbidity was in compliance with the TT primary drinking water standard and the secondary drinking water standard of less than 5 NTU.
(b) | Per the State's Surface Water Treatment Rule, treatment techniques that remove or inactivate Giardia cysts will also remove HPCs, Legionella, and viruses. Legionella and virus monitoring is not required.
(c) | Compliance is based on monthly samples from treatment plant effluents and the distribution system.
(d) | The MCL for E. coli is based on routine and repeat samples that are total coliform-positive, and either is E. coli-positive or the system fails to take repeat samples following an E. coli-positive routine sample, or the system fails to analyze a total coliform-positive repeat sample for E. coli.
(e) | All distribution system samples had detectable total chlorine residuals, so no HPC was required. Metropolitan and Three Valleys MWD monitors HPCs to ensure treatment process efficacy.
(f) | A single Giardia cyst was detected in one sample from the filter effluent at the Skinner water treatment plant, prior to the treated water reservoir and addition of final disinfectant. The monitoring method detects all cysts, regardless of whether they are alive or dead. The plant met all operational and regulatory requirements throughout the year, including at the time of this single sampling event, and there was no regulatory violation.
(g) | 1,2,3-Trichloropropane (TCP) was monitored quarterly in Metropolitan's and Three Valleys MWD source and treated waters for the State initial monitoring requirement promulgated in January 2018. Metropolitan and Three Valleys MWD will begin annual monitoring in 2019.
(h) | Metropolitan uses acrylamide for water treatment processes and was in compliance with the treatment technique requirements regarding its use when treating drinking water. Metropolitan does not use any epichlorohydrin's.
(i) | Data reported once every nine-year compliance cycle until the next samples are collected. Metropolitans current monitoring results are from 2011. Three Valleys MWD results are from 2018.
(j) | As a wholesaler, Metropolitan and Three Valleys MWD have no retail customers and is not required to collect samples at consumers' taps. However, compliance monitoring under Title 22 is required at plant effluents.
(k) | Metropolitan and Three Valleys MWD were in compliance with all provisions of the State's fluoridation system requirements.
(l) | Data are from samples collected in 2017. Metropolitan's required triennial monitoring (2020–2022) will be performed in 2020.
(m) | Compliance with the State and Federal MCLs is based on RAA or LRAA, as appropriate. Plant core locations for TTHM and HAA5 are service connections specific to each of the treatment plant effluents.
(n) | Compliance with the State and Federal bromate MCL is based on RAA. No MCL exceedance occurred in the Mills or Weymouth treatment plant effluents.
(o) | Compliance with the State MCL for aluminum is based on RAA. No secondary standard MCL exceedance occurred in the Diemer or Weymouth treatment plant effluents.
(p) | Compliance with odor threshold secondary MCL is based on RAA. Treatment plants begin quarterly monitoring if annual monitoring results are above 3.
(q) | Metropolitan's TDS compliance data are based on flow-weighted monthly composite samples collected twice per year (April and October). The 12-month statistical summary of flow-weighted data is reported in the "Other Parameters" section under "Miscellaneous". Three Valleys MWD monitors for TDS on a monthly basis.
(r) | Data are from voluntary monitoring of constituents and are provided for informational purposes.
(s) | Positive CCPP = non-corrosive; tendency to precipitate and/or deposit scale on pipes. Negative CCPP = corrosive; tendency to dissolve calcium carbonate. Reference: Standard Methods (SM2330)
(t) | AI ≥ 12.0 = Non-aggressive water; AI 10.0–11.9 = Moderately aggressive water; AI ≤ 10.0 = Highly aggressive water. Reference: ANSI/AWWA Standard C400-93 (R98)
(u) | Positive SI = non-corrosive; tendency to precipitate and/or deposit scale on pipes. Negative SI = corrosive; tendency to dissolve calcium carbonate. Reference: Standard Methods (SM2330)
(v) | HAA5 and TTHM noncompliance samples collected at treatment plant effluents.
(w) | For Metropolitan only: Statistical summary represents 12 months of flow-weighted data and values may be different than the TDS reported to meet compliance with secondary drinking water regulations.
(x) | Volatile Organic Chemicals for the Three Valleys MWD Wells will be done again in 2020. The current results are from 2016.
revised 5/2/2019