## Sheet1
Three Valleys Municipal Water District
2025 WATER QUALITY REPORT TO TVMWD MEMBER AGENCIES
WEYMOUTH refers to the Metropolitan Water District's Weymouth Water Treatment Plant in the city of La Verne.
MIRAMAR refers to the Three Valleys Municipal Water District's Miramar Water Treatment Plant in the city of Claremont.
|  |  | WEYMOUTH EFFLUENT | MIRAMAR | MIRAMAR GROUNDWATER (v) | REGULATORY STANDARDS
EFFLUENT
[6 empty] | State MCL | PHG | State DLR/CCRDL, (RL) | Major Sources in Drinking Water
|  |  | Range/Average | Range/Average
SOURCE WATER
% of State Project Water |  |  | 0-100% | 96.68%
% of Groundwater |  |  |  |  | 3.32%
PRIMARY STANDARDS - Mandatory Health-Related Standards
CLARITY
Combined Filter Effluent (CFE) Turbidity (a) |  | NTU | 0.06 | 0.05 | 0.20-0.49/0.263 | TT | NA | NA | Soil runoff
|  | % ≤ 0.3 | 100% | 100% | 100%
MICROBIOLOGICAL (b)
Total Coliform Bacteria ( c) |  | % Positive Monthly Samples | 0-0.5/0.08% | 0% | 0% | TT | MCLG = 0 | NA | Naturally present in the environment
|  |  | distribution system-wide | distribution system-wide
Escherichia coli (E. coli)( c) |  | Number | 0% | 0% | 0% | TT | MCLG = 0 | NA | Human and animal fecal waste
|  |  | distribution system-wide | distribution system-wide
Heterotrophic Plate Count (d) |  | CFU/ mL | ND | ND | ND | TT | NA | NA | Naturally present in the environment
Cryptosporidium |  | Oocyst | ND | ND | ND | TT | MCLG = 0 | NA | Human and animal fecal waste
200 L
Giardia |  | Cysts | ND | ND | ND | TT | MCLG = 0 | NA | Human and animal fecal waste
200 L
ORGANIC CHEMICALS
Synthetic Organic Compounds (e) |  | Units
1,2,3-Trichloropropange (1,2,3-TCP) |  | ppt | ND | ND | ND | 5 | 0.7 | 5 | Discharge from industrial and agrichemical factories; byproducts of producing other compounds and pesticides, leaching from hazardous waste site
2,4,5-TP (Silvex) |  | ppb | ND | ND | ND | 50 | 3 | 1 | Residue of banned herbicide
2,4-D |  | ppb | ND | ND | ND | 70 | 20 | 10 | Runoff from herbicide used on row crops, range land, lawns and aquatic weeds
Acrylamide (f) |  | ppm | ND | ND | ND | TT | MCLG = 0 | NA | Water treatment chemical impurities
Alachlor |  | ppb | ND | ND | ND | 2 | 4 | 1 | Runoff from herbicide used on row crops
Atrazine |  | ppb | ND | ND | ND | 1 | 0.15 | 0.5 | Runoff from herbicide used on row crops and along railroad and highways rights-of-way
Bentazon |  | ppb | ND | ND | ND | 18 | 200 | 2 | Runoff/leaching from herbicide used on beans, peppers, corn, peanuts, rice, and ornamental grasses
Benzo(a)pyrene |  | ppt | ND | ND | ND | 200 | 7 | 100 | Leaching from linings of water storage tanks and distribution mains
Carbofuran |  | ppb | ND | ND | ND | 18 | 0.7 | 5 | Leaching of soil fumigant used on rice, alfalfa and grapes vineyards
Chlordane |  | ppt | ND | ND | ND | 100 | 30 | 100 | Residue of banned insecticide
Dalapon |  | ppb | ND | ND | ND | 200 | 790 | 10 | Runoff from herbicide used on rights of way, crops and landscape maintenance
Di(2-ethylhexyl) adipate |  | ppb | ND | ND | ND | 400 | 200 | 5 | Discharge from chemical factories
Di(2-ethylhexyl) phthalate |  | ppb | ND | ND | ND | 4 | 12 | 3 | Discharge from rubber and chemical factories; inert ingredient in pesticides
Dibromochloropropane (DBCP) |  | ppt | ND | ND | ND-0.011/0.003 (ppb) | 200 | 3 | 10 | Banned nematicide that may still be present in soils due to runoff/leaching
Dinoseb |  | ppb | ND | ND | ND | 7 | 14 | 2 | Runoff from herbicide used on soybeans, vegetables and fruits
Dioxin (2,3,7,8-TCDD) |  | ppq | ND | ND | ND | 30 | 0.05 | 5 | Waste incineration emissions, chemical factory discharge
Diquat |  | ppb | ND | ND | ND | 20 | 6 | 4 | Runoff from herbicide used for terrestrial and aquatic weeds
Endothall |  | ppb | ND | ND | ND | 100 | 94 | 45 | Runoff from herbicide used for terrestrial and aquatic weeds
Endrin |  | ppb | ND | ND | ND | 2 | 0.3 | 0.1 | Residue of banned insecticide and rodenticide
Epichlorohydrin |  | ppm | ND | ND | ND | TT | MCLG = 0 | NA | Water treatment chemical impurities
Ethylene dibromide (EDB) |  | ppt | ND | ND | ND | 50 | 10 | 20 | Discharge from petroleum refineries; underground gas tank leaks, banned nematicide that maybe still present in soils due to runoff and leaching
Glyphosate |  | ppb | ND | ND | ND | 700 | 900 | 25 | Runoff from herbicide use
Heptachlor |  | ppt | ND | ND | ND | 10 | 8 | 10 | Residue of banned insecticide
Heptachlor Epoxide |  | ppt | ND | ND | ND | 10 | 6 | 10 | Breakdown product of heptachlor
Hexachlorobenzene |  | ppb | ND | ND | ND | 1 | 0.03 | 0.5 | Discharge from metal refineries & agrichemical factories; wastewater chlorination reaction by-product
Hexachlorocyclopentadiene |  | ppb | ND | ND | ND | 50 | 2 | 1 | Discharge from chemical factories
Lindane |  | ppt | ND | ND | ND | 200 | 32 | 200 | Runoff/leaching from insecticide used on cattle, lumber, gardens
Methoxychlor |  | ppb | ND | ND | ND | 30 | 0.09 | 10 | Runoff/leaching from insecticide uses
Molinate (Ordram) |  | ppb | ND | ND | ND | 20 | 1 | 2 | Runoff/leaching from herbicide used on rice
Oxamyl (Vydate) |  | ppb | ND | ND | ND | 50 | 26 | 20 | Runoff/leaching from insecticide uses
Pentachlorophenol (PCP) |  | ppb | ND | ND | ND | 1 | 0.3 | 0.2 | Discharge from wood preserving factories, other insecticidal and herbicidal uses
Picloram |  | ppb | ND | ND | ND | 500 | 166 | 1 | Herbicide runoff
Polychlorinated Biphenyls (PCBs) |  | ppt | ND | ND | ND | 500 | 90 | 500 | Runoff from landfills; discharge of waste chemicals
Simazine |  | ppb | ND | ND | ND | 4 | 4 | 1 | Herbicide runoff
Thiobencarb |  | ppb | ND | ND | ND | 70 | 42 | 1 | Runoff/leaching from herbicide used on rice
Toxaphene |  | ppb | ND | ND | ND | 3 | 0.03 | 1 | Runoff/leaching from insecticide used on cotton and cattle
Volatile Organic Chemicals
1,1,1-Trichloroethane |  | ppb | ND | ND | ND | 200 | 1000 | 0.5 | Discharge from metal degreasing sites; manufacture of food wrappings
1,1,2,2-Tetrachloroethane |  | ppb | ND | ND | ND | 1 | 0.1 | 0.5 | Discharge from industrial, agricultural chemical factories; solvent used in production of TCE, pesticides, varnish and lacquers
1,1,2-Trichloro-1,2,2-trifluoroethane (Freon 113) |  | ppm | ND | ND | ND | 1.2 | 4 | 0.01 | Discharge from metal degreasing sites and other factories; dry-cleaning solvent; refrigerant
1,1,2-Trichloroethane |  | ppb | ND | ND | ND | 5 | 0.3 | 0.5 | Discharge from industrial chemical factories
1,1-Dichloroethane |  | ppb | ND | ND | ND | 5 | 3 | 0.5 | Extraction & degreasing solvent; fumigant
1,1-Dichloroethylene |  | ppb | ND | ND | ND | 6 | 10 | 0.5 | Discharge from industrial chemical factories
1,2,4-Trichlorobenzene |  | ppb | ND | ND | ND | 5 | 5 | 0.5 | Discharge from textile-finishing factories
1,2-Dichlorobenzene |  | ppb | ND | ND | ND | 600 | 600 | 0.5 | Discharge from industrial chemical factories
1,2-Dichloroethane |  | ppt | ND | ND | ND | 500 | 400 | 500 | Discharge from industrial chemical factories
1,2-Dichloropropane |  | ppb | ND | ND | ND | 5 | 0.5 | 0.5 | Discharge from industrial chemical factories; primary component of some fumigants
1,3-Dichloropropene |  | ppb | ND | ND | ND | 500 | 200 | 500 | Runoff/leaching from nematicide used on croplands
1,4-Dichlorobenzene |  | ppb | ND | ND | ND | 5 | 6 | 0.5 | Discharge from industrial chemical factories
Benzene |  | ppb | ND | ND | ND | 1 | 0.15 | 0.5 | Plastic factory discharge; gas tanks and landfill leaching
Carbon Tetrachloride |  | ppt | ND | ND | ND | 500 | 100 | 500 | Discharge from chemical plants and other industrial activities
cis-1,2-Dichloroethylene |  | ppb | ND | ND | ND | 6 | 13 | 0.5 | Industrial chemical factory discharge; biodegradation byproduct of TCE/PCE groundwater contamination
Dichloromethane (methylene chloride) |  | ppb | ND | ND | ND | 5 | 4 | 0.5 | Discharge from pharmaceutical and chemical factories
Ethylbenzene |  | ppb | ND | ND | ND | 300 | 300 | 0.5 | Discharge from petroleum refineries; industrial chemical factories
Methyl-tert-butyl-ether (MTBE) |  | ppb | ND | ND | ND | 13 | 13 | 3 | Gasoline discharge from watercraft engines
Monochlorobenzene |  | ppb | ND | ND | ND | 70 | 70 | 0.5 | Discharge from industrial, agricultural chemical factories and dry-cleaning facilities
Styrene |  | ppb | ND | ND | ND | 100 | 0.5 | 0.5 | Rubber and plastics factories discharge, landfill leaching
Tetrachloroethylene (PCE) |  | ppb | ND | ND | ND | 5 | 0.06 | 0.5 | Discharge from factories, dry cleaners and auto shops
Toluene |  | ppb | ND | ND | ND | 150 | 150 | 0.5 | Discharge from petroleum and chemical refineries
trans-1,2-Dichloroethylene |  | ppb | ND | ND | ND | 10 | 50 | 0.5 | Industrial chemical factory discharge; biodegradation byproduct of TCE/PCE groundwater contamination
Trichloroethylene (TCE) |  | ppb | ND | ND | ND | 5 | 1.7 | 0.5 | Discharge from metal degreasing sites and other factories
Trichlorofluoromethane (Freon 11) |  | ppb | ND | ND | ND | 150 | 1300 | 5 | Discharge from industrial factories; degreasing solvent; propellant
Vinyl chloride |  | ppt | ND | ND | ND | 500 | 50 | 500 | Leaching from PVC piping; plastics factory discharge; biodegradation byproduct of TCE/PCE biodegradation
Xylenes |  | ppm | ND | ND | ND | 1.75 | 1.8 | 0.0005 | Discharge from petroleum and chemical refineries; fuel solvent
INORGANIC CHEMICALS
Aluminum |  | ppb | ND-100/96 | 110 | ND | 1000 | 600 | 50 | Residue from water treatment process; erosion of natural deposits
Antimony |  | ppb | ND | ND | ND | 6 | 1 | 6 | Petroleum refinery discharges, fire retardants, solder, electronics
Arsenic |  | ppb | ND | ND | ND | 10 | 0.004 | 2 | Erosion of natural deposits; glass & electronics production wastes
Asbestos (h) |  | MFL | ND | ND | ND | 7 | 7 | 0.2 | Internal corrosion of asbestos cement pipes; erosion of natural deposits
Barium |  | ppb | 129 | ND | ND | 1000 | 2000 | 100 | Discharge of oil drilling wastes and from metal refineries; erosion of natural deposits
Beryllium |  | ppb | ND | ND | ND | 4 | 1 | 1 | Discharge from metal refineries; aerospace and defense industries
Cadmium |  | ppb | ND | ND | ND | 5 | 0.04 | 1 | Internal corrosion of galvanized pipes; discharge from electroplating industrial factories and metal refineries, runoff from waste batteries and paints, natural deposits erosion
Chromium |  | ppb | ND | ND | ND | 50 | MCLG = 100 | 10 | Discharge from steel and pulp mills; erosion of natural deposits
Chromium VI |  | ppb | ND | ND | 0.63-0.78/0.68 | 10 | 0.02 | 0.1 | Runoff/leaching from natural deposits: discharge from industrial wastes
Copper (i) |  | ppm | ND | ND | ND | AL=1.3 | 0.3 | 0.05 | Internal corrosion of household pipes; erosion of natural deposits
Cyanide |  | ppb | ND | ND | ND | 150 | 150 | 100 | Discharge from steel/metal, plastic and fertilizer factories
Fluoride (j) |  | ppm | 0.5-0.8/0.7 | ND | 0.26-0.6/0.42 | 2 | 1 | 0.1 | Erosion of natural deposits; water additive that promotes strong teeth
|  |  |  | (naturally occurring) | (naturally occurring)
Lead (i) |  | ppb | ND | ND | ND | AL=15 | 0.2 | 5 | Internal corrosion of household pipes; erosion of natural deposits
Mercury |  | ppb | ND | ND | ND | 2 | 1.2 | 1 | Erosion of natural deposits; discharge from factories; runoff from landfills
Nickel |  | ppb | ND | ND | ND | 100 | 12 | 10 | Erosion of natural deposits; discharge from metal factories
Nitrate (as Nitrogen) |  | ppm | ND | 0-0.42/0.07 | 1.37-3.7/2.21 | 10 | 10 | 0.4 | Runoff & leaching from fertilizer use; septic tank and sewage; erosion of natural deposits
Nitrite (as Nitrogen) |  | ppm | ND | ND | ND | 1 | 1 | 0.4 | Runoff & leaching from fertilizer use; septic tank and sewage; erosion of natural deposits
Perchlorate |  | ppb | ND | ND | ND | 6 | 1 | 1 | Industrial waste discharge
Selenium |  | ppb | ND | ND | ND | 50 | 30 | 5 | Refineries, mines and chemical waste discharge; runoff from livestock lots
Thallium |  | ppb | ND | ND | ND | 2 | 0.1 | 1 | Leaching from ore-processing sites; factory discharge
RADIOLOGICALS
Gross Alpha Particle Activity |  | pCi/L | ND | ND | 3.6-3.8/3.7 | 15 | MCLG=0 | 3 | Erosion of natural deposits
Gross Beta Particle Activity |  | pCi/L | ND-5/ND | ND | NR | 50 | MCLG=0 | 4 | Decay of natural and man-made deposits
Combined Radium |  | pCi/L | ND | ND | NR | 5 | MCLG=0 | NA | Erosion of natural deposits
Radium 226 + 228
Radium 226 |  | pCi/L | ND | ND | NR-.58/0.29 | NA | 0.05 | 1 | Erosion of natural deposits
Radium 228 |  | pCi/L | ND | 0.63 | NR-.279/0.24 | NA | 0.019 | 1 | Erosion of natural deposits
Strontium-90 |  | pCi/L | ND | ND | NR | 8 | 0.35 | 2 | Decay of natural and man-made deposits
Tritium |  | pCi/L | ND | ND | NR | 20,000 | 400 | 1,000 | Decay of natural and man-made deposits
Uranium |  | pCi/L | ND-3/ND | ND | 2.2-4.37/3.285 | 20 | 0.43 | 1 | Erosion of natural deposits
DISINFECTION BY-PRODUCTS, DISINFECTANT RESIDUALS, AND DISINFECTION BY-PRODUCTS PRECURSORS (k)
Total Trihalomethanes (TTHM) |  | ppb | 24-30/31 | 37.9-60.9/48.48 | NR | 80 | NA | 1 | By-product of drinking water disinfection
|  |  | Distribution system-wide | Distribution system-wide
Sum of Five Haloacetic Acids (HAA5) |  | ppb | ND-4.9/3.1 | 11.6-26.9/15.39 | NR | 60 | NA | 1 | By-product of drinking water disinfection
|  |  | Distribution system-wide | Distribution system-wide
Chloramines (as total chlorine residual) |  | ppm | 1.1-3.1/2.6 | 2.53-2.57/2.55 | NR | MRDL = 4.0 | MRDL = 4.0 | N/A | Drinking water disinfectant added for treatment
|  |  | highest RAA | highest RAA
|  |  | Distribution system-wide | Distribution system-wide
Bromate (l) |  | ppb | ND-12/3.0 | NR | NR | 10 | 0.1 | 1.0 | Byproduct of drinking water ozonation
highest RAA
Total Organic Carbon (TOC) |  | ppm | 1.6-2.8/2.5 | 1.7-2.9/2.08 | NR | TT | NA | 0.30 | Various natural and man-made sources; TOC as a medium for the formation of disinfection byproducts
|  |  | highest RAA | highest RAA
SECONDARY STANDARDS - Aesthetic Standards
Aluminum (g) |  | ppb | ND-100/96 | ND | ND | 200 | 600 | 50 | Residue from water treatment processes; natural deposits erosion
Chloride |  | ppm | 86-98/92 | 100 | 8.1-26/14.3 | 500 | NA | (2) | Runoff/leaching from natural deposits; seawater influence
Color |  | color units | 1 | ND | ND | 15 | NA | (1) | Naturally occurring organic materials
Copper (i) |  | ppm | ND | ND | ND | 1 | 0.3 | 0.05 | Internal corrosion of household pipes; natural deposits erosion; wood preservatives leaching
Foaming Agents-Methylene Blue Active Substances (MBAS) |  | ppb | ND | ND | ND | 500 | NA | (50) | Municipal and industrial waste discharges
Iron |  | ppb | ND | ND | ND | 300 | NA | 100 | Leaching from natural deposits; industrial wastes
Manganese |  | ppb | ND | ND | ND | 50 | NL=500 | (5) | Leaching from natural deposits
MTBE |  | ppb | ND | ND | ND | 5 | 13 | 3 | Gasoline discharges from watercraft engines
Odor Threshold |  | TON | ND | 1 | 1 | 3 | NA | 1 | Naturally occurring organic materials
Silver |  | ppb | ND | ND | ND | 100 | NA | 10 | Industrial discharges
Specific Conductance |  | µS/cm | 754-981/868 | 380-580/480 | 450-670/517.5 | 1600 | NA | NA | Substances that form ions when in water; seawater influence
Sulfate |  | ppm | 139-212/176 | 23 | 23-41/20.25 | 500 | NA | 0.5 | Runoff/leaching from natural deposits; industrial wastes
Thiobencarb |  | ppb | ND | ND | ND | 1 | 42 | 1 | Runoff/leaching from rice herbicide
Total Dissolved Solids (TDS) (m) |  | ppm | 456-617/536 | 380 | 290-450/347.5 | 1000 | NA | (2) | Runoff/leaching from natural deposits; seawater influence
Turbidity (a) |  | NTU | ND | 0.12 | 0.35-0.89/0.62 | 5 | NA | 0.1 | Soil runoff
Zinc |  | ppm | ND | ND | ND | 5 | NA | 0.05 | Runoff/leaching from natural deposits; industrial wastes
OTHER PARAMETERS
General Minerals
Alkalinity (as CaCO3) |  | ppm | 95-124/110 | 79-83/81 | 170-220/185 | NA | NA | (1) | Measure of water quality
Calcium |  | ppm | 43-70/56 | 19 | 60-81/67.5 | NA | NA | (0.1) | Measure of water quality
Hardness (as CaCO3) |  | ppm | 189-280/234 | 97 | 190-270/215 | NA | NA | (1) | Measure of water quality
Magnesium |  | ppm | 19-25/22 | 12 | 8.8-15/10.8 | NA | NA | (0.01) | Measure of water quality
Potassium |  | ppm | 3.8-5/4.4 | 2.6 | 1.9-2.2/2.025 | NA | NA | (0.2) | Measure of water quality
Sodium |  | ppm | 76-100/89 | 68 | 10-30/18.520 | NA | NA | (1) | Measure of water quality
Unregulated Contaminants
Boron |  | ppb | 130 | 110 | 120-130/125 | NL=1,000 | NA | 100 | Runoff/leaching from natural deposits; industrial wastes
Chlorate |  | ppb | 31 | ND | NR | NL=800 | NA | (20) | By-product of drinking water chlorination; industrial processes
Lithium |  | ppb | 27-41/34 | NR | NR | NA | NA | (10) | Naturally occurring, used in electrochemical cells, batteries, and organic synthesis and pharmaceuticals
Vanadium |  | ppb | ND | ND | NR | NL=50 | NA | 3 | Naturally occurring; industrial waste discharge
Dichlorodifluoromethane (Freon 12) |  | ppb | ND | ND | NR | NL=1,000 | NA | 0.5 | Industrial waste discharge
Ethyl-tert-butyl-ether (ETBE) |  | ppb | ND | ND | NR | NA | NA | 3 | Used as gasoline additive
tert-Amyl-methyl-ether (TAME) |  | ppb | ND | ND | NR | NA | NA | 3 | Used as gasoline additive
tert-Butyl alcohol (TBA) |  | ppb | ND | ND | NR | NL=12 | NA | 2 | MTBE breakdown product; used as gasoline additive
Nitrosamine Compounds
N-Nitrosodimethylamine (NDMA) |  | ppt | ND | ND | NR | NL=10 | 3 | (2) | Byproducts of drinking water chloramination: industrial processes
N-Nitrosodiethylamine (NDEA) |  | ppt | ND | ND | NR | NL=10 | NA | (2)
N-itrosodi-n-propylamine (NDPA) |  | ppt | ND | ND | NR | NL=10 | NA | (2)
N-Nitrosomethylethylamine (NMEA) |  | ppt | ND | ND | NR | NA | NA | (2)
N-Nirosodi-n-butylamine (NDBA) |  | ppt | ND | ND | NR | NA | NA | (2)
N-Nitrosopyroline (NPYR) |  | ppt | ND | ND | NR | NA | NA | (2)
N-Nitrosopipedine (NPIP) |  | ppt | ND | ND | NR | NA | NA | (2)
N-Nitrosomorpholine (NMOR) |  | ppt | ND | ND | NR | NA | NA | (2)
Perfluoroalkyl and Polyfluoroalky Substances PFAS Analyzed by EPA Methods 533 and 537.1 (n)
Perfluorocatanoic Acid (PFOA) |  | ppt | ND | ND | ND-4.78/1.195 | NL=5.1 | 0.007 | 2 | Industrial chemical factory discharges: runoff/leaching from landfills: used in fire-retarding foams and various industrial processes
Reservoir Effluent
Perfluoroctanesulfonic Acid (PFOS) |  | ppt | ND | ND | ND | NL=6.5 | 1 | 2
Reservoir Effluent
Perfluorobutaneulfonic Acid (PFBS) |  | ppt | ND | ND | ND-3.4/0.98 | NL=500 | NA | 2
Reservoir Effluent
Perfluorononoic Acid (PFNA) |  | ppt | ND | ND | ND | NA | NA | 2
Reservoir Effluent
Perfluorohexanesulfonic Acid (PFHxS) |  | ppt | ND | ND | ND-3.3/0.695 | NL=1000 | NA | 2
Reservoir Effluent
Perfluoroheptanoic Acid (PFHpA) |  | ppt | ND | ND | ND-2.9/0.69 | NA | NA | 2
Reservoir Effluent
Perfluorodecanoic Acid (PFDA) |  | ppt | ND | ND | ND | NA | NA | 2
Reservoir Effluent
Perfluorododecanoic Acid (PFDoA) |  | ppt | ND | ND | ND | NA | NA | 2
Reservoir Effluent
Perfluorohexanoic Acid (PFHxA) |  | ppt | ND | ND | ND-5.1/1.23 | NA | NA | 2
Reservoir Effluent
Perfluoroundecanoic Acid (PFUnA) |  | ppt | ND | ND | ND | NA | NA | 2
Reservoir Effluent
4,8-dioxa-3H-perfluorononanoate (ADONA) |  | ppt | ND | ND | ND | NA | NA | 2
Reservoir Effluent
F-53B Major (11-Cl-PF3OUdS) |  | ppt | ND | ND | ND | NA | NA | 2
Reservoir Effluent
F-53B Minor (9Cl-PF3ONS) |  | ppt | ND | ND | ND | NA | NA | 2
Reservoir Effluent
GenX (HFPO-DA) |  | ppt | ND | ND | ND | NA | NA | 2
Reservoir Effluent
Perfluoroalkyl and Polyfluoroalky Substances PFAS Analyzed by EPA Methods 533 Only (n)
4-2 Fluorotelomer sulfonic acid (42. FTS) |  | ppt | ND | ND | ND | NA | NA | 3 | Industrial chemical factory discharges, runoff/leaching from landfills: used in fire-retarding foams and various industrial processes
Reservoir Effluent
6:2 Fluorotelomer sulfonic acid (6:2 FTS) |  | ppt | ND | ND | ND | NA | NA | 5
Reservoir Effluent
8:2 Fluorotelomer sulfonic acid (8:2 FTS) |  | ppt | ND | ND | ND | NA | NA | 5
Reservoir Effluent
Perfluoro 3-methoxypropanoic acid (PFMPA) |  | ppt | ND | ND | ND | NA | NA | 2
Reservoir Effluent
Perfluoro-4-methoxybutanoic acid (PFMBA) |  | ppt | ND | ND | ND | NA | NA | 2
Reservoir Effluent
Perfluorobutanoic acid (PFBA) |  | ppt | ND | ND | ND-3.0/0.75 | NA | NA | 2
Reservoir Effluent
Perfluoroheptanesulfonic acid (PFHpS) |  | ppt | ND | ND | ND | NA | NA | 2
Reservoir Effluent
Perfluoropentanesulfonic acid (PFPeS) |  | ppt | ND | ND | ND | NA | NA | 2
Reservoir Effluent
Perfluoropenetanoic acid (PFPeA) |  | ppt | ND | ND | ND-5.3/1.77 | NA | NA | 2
Reservoir Effluent
Nonafluoro-3,6-dioxaheptanoic acid (NFDHA) |  | ppt | ND | ND | ND | NA | NA | 2
Reservoir Effluent
Perfluoro(2-ethoxyethane)sulfonic acid (PFEESA) |  | ppt | ND | ND | ND | NA | NA | 2
Reservoir Effluent
Perfluoroalkyl and Polyfluoroalky Substances PFAS Analyzed by EPA Methods 537.1 Only (n)
Perfluorotetradecanoic acid (PFTA) |  | ppt | ND | ND | ND | NA | NA | 2
Reservoir Effluent
Perfluorotridecanoic acid (PFTrDA) |  | ppt | ND | ND | ND | NA | NA | 2
Reservoir Effluent
N-ethyl Perfluorooctanesulfonamidoacetic acid (NEtFOSAA) |  | ppt | ND | ND | ND | NA | NA | 2
Reservoir Effluent
N-methyl Perfluorooctanesfulfonamidoacetic acid (NMeFOSAA) |  | ppt | ND | ND | ND | NA | NA | 2
Reservoir Effluent
Miscellaneous
Calcium Carbonate Precipitation Potential (CCPP) (as CaCO3) (p) |  | ppm | 2.5-11/7.6 | NR | NR | NA | NA | NA | Measures of the balance between pH and calcium carbonate saturation in the water
Corrosivity (q) |  | AI | 12.3-12.5/12.4 | 12.11 | NR | NA | NA | NA
(as Aggressiveness Index)
Corrosivity (r) |  | Sl | 0.51-0.61/0.56 | 0.31 | NR | NA | NA | NA
(as Saturation Index)
pH |  | pH units | 8.2-8.3/8.2 | 7.7-8.6/8.37 | NR | NA | NA | NA | Not applicable
Radon |  | pCi/L | ND | NR | NR | NA | NA | 100 | Gas produced by the decay of naturally occurring uranium in soil and water
Total Dissolved Solids (TDS) (s) |  | ppm | 346-660/506 | 380 | 290-450/347.5 | 1000 | NA | NA | Runoff/leaching from natural deposits
DEFINITION OF TERMS AND FOOTNOTES
‡ As a wholesale water system, Metropolitan and Three Valleys MWD provides its member agencies with relevant source water information and monitoring results that they may need for their annual water quality report. Compliance with state or federal regulations is determined at the treatment plant effluent locations and/or distribution system, or plant influent per frequency stipulated in Metropolitan and Three Valleys MWD's State-approved monitoring plans, and is based on TT, RAA, or LRAA, as appropriate. Data above Metropolitan's laboratory reporting limit (RL) but below the State DLR are reported as ND in this report; these data are available upon request. Metropolitan and Three Valleys MWD were in compliance with all primary and secondary drinking water regulations for the current monitoring period.
Note: Metropolitan and Three Valleys MWD monitors the distribution system for constituents under the revised Total Coliform Rule (RTCR), Water Fluoridation Standards, and Disinfectants/Disinfection Byproduct Rule (TTHMs, HAA5, and total chlorine residual), including NDMA. Constituents with grayed out areas in the distribution system column are routinely monitored at treatment plant effluents and not in the distribution system.
Definition of Terms
AI | Aggressiveness Index |  |  |  |  | NL | Notification Level to SWRCB
AL | Action Level |  |  |  |  | NR | Not required
Average | Result based on arithmetic mean |  |  |  |  | NTU | Nephelometric Turbidity Units
CaCO3 | Calcium Carbonate |  |  |  |  | pCi/L | picoCuries per Liter
CCPP | Calcium Carbonate Precipitation Potential |  |  |  |  | PHG | Public Health Goal
CCRDL | Consumer Confidence Report Detection Level |  |  |  |  | ppb | parts per billion or micrograms per liter (µg/L)
CFE | Combined Filter Effluent |  |  |  |  | ppm | parts per million or milligrams per liter (mg/L)
CFU | Colony-Forming Units |  |  |  |  | ppq | parts per quadrillion or picograms per liter (pg/L)
DLR | Detection Limits for Purposes of Reporting |  |  |  |  | RAA | Running Annual Average; highest RAA is the highest of all Running Annual Averages calculated as an average of all the samples collected within a 12-month period
HAA5 | Sum of five haloacetic acids
HPC | Heterotrophic Plate Count |  |  |  |  | Range | Results based on minimum and maximum values; range and average values are the same if a single value is reported for samples collected once or twice annually
LRAA | Locational Running Annual Average, highest LRAA is the highest of all LRAAs calculated as an average of all samples collected within a 12-month period
[6 empty] | RL | Reporting Limit
MCL | Maximum Contaminant Level |  |  |  |  | SI | Saturation Index (Langelier)
MCLG | Maximum Contaminant Level Goal |  |  |  |  | TDS | Total Dissolved Solids
MFL | Million Fibers per Liter |  |  |  |  | TON | Threshold Odor Number
MRDL | Maximum Residual Disinfectant Level |  |  |  |  | TT | Treatment Technique is a required process intended to reduce the level of a contaminate in drinking water
MRDLG | Maximum Residual Disinfectant Level Goal
NA | Not Applicable |  |  |  |  | TTHM | Total Trihalomethanes
ND | Not Detected at or above DLR or RL |  |  |  |  | UCMR5 | Fifth Unregulated Contaminant Monitoring Rule
Footnotes
(a) | Metropolitan and Three Valleys MWD monitors turbidity at the CFE locations using continuous and grab samples. Turbidity, a measure of cloudiness of the water, is an indicator of treatment performance. Turbidity was in compliance with the TT primary drinking water standard and the secondary drinking water standard of less than 5 NTU.
(b) | Per the State's Surface Water Treatment Rule, treatment techniques that remove or inactivate Giardia cysts will also remove HPC bacteria, Legionella, and viruses. Legionella and virus monitoring is not required.
(c) | Compliance is based on monthly samples from treatment plant effluents and the distribution system. No.Level 1 assessments occurred and no. E. coli was detected.
(d) | MWD and TVMWD analyze HPC bacteria in the plant effluent to monitor treatment process efficacy.
(e) | MWD data are from samples collected in 2024 and reported once every three-year compliance cycle until the next required monitoring in 2027. TVMWD data are from samples collected in 2025.
(f) | MWD uses acrylamide for water treatment processes and was in compliance with the treatment technique requirements regarding its use when treating drinking water. MWD does not use any epichlorohydrin's. TVMWD does not use acrylamide or epichlorohydrin's for water treatment processes.
(g) | Compliance with the State MCL for aluminum is based on RAA.
(h) | MWD data reported for 2020 for the required nine-year monitoring cycle (2020-2028). TVMWD data reported for 2025 and is conducted annually.
(i) | As a wholesaler, Metropolitan and Three Valleys MWD have no retail customers and are not required to collect samples at consumers' taps. However, compliance monitoring under Title 22 is required at plant effluents.
(j) | Metropolitan was in compliance with all provisions of the State's fluoridation system requirements. TVMWD does not have fluoride feed systems and all fluoride results are naturally occurring.
(k) | Compliance with the state and federal MCLs is based on RAA or LRAA, as appropriate. Plant core locations for TTHM and HAA5 are service connections specific to each of the treatment plant effluents.
(l) | Compliance with the state and federal bromate MCL is based on RAA.
(m) | Metropolitan's TDS compliance data are based on flow-weighted monthly composite samples collected twice per year (April and October). The 12-month statistical summary of flow-weighted data is reported in "Other Parameters'. TVMWD is required to test once annually for TDS.
(n) | CCRDL is from DDW's Monitoring Order DW-2025-0002-DDW for the 29 constituents detected by EPA Methods 553 and/or 537.1. Results below CCRDL's are considered "ND".
(o) | Compliance with odor threshold secondary MCL is based on RAA. Treatment Plant begin quarterly monitoring if annual monitoring results are above 3.
(p) | Positive CCPP = non-corrosive; tendency to precipitate and/or deposit scale on pipes. Negative CCPP = corrosive; tendency to dissolve calcium carbonate. Reference: Standard Methods (SM2330)
(q) | AI ≥ 12.0 = Non-aggressive water; AI 10.0–11.9 = Moderately aggressive water; AI ≤ 10.0 = Highly aggressive water. Reference: ANSI/AWWA Standard C400-93 (R98)
( r) | Positive SI = non-corrosive; tendency to precipitate and/or deposit scale on pipes. Negative SI = corrosive; tendency to dissolve calcium carbonate. Reference: Standard Methods (SM2330)
(s) | Statistical summary represents 12 months of flow-weighted data and values may be different than the TDS reported to meet compliance with secondary drinking water regulations for Metropolitan. Metropolitans and TVMWD TDS goal is < 500 mg/L.
(t) | HAA5 and TTHM noncompliance samples were collected at the treatment plant effluents.
(u) | Data are the average of the results from the two analytical methods.
(v) | TVMWD Operations is blending the Miragrand well water with other sources to reduce the level below the notification levels to non-detect (ND). There are no detections of PFOA/PFAS contaminants leaving the Miramar Treatment Plant to our member agencies.
2026-05-19