
2025 Consumer Confidence Report

	Water System Name:
	Leisure Lake Mobile Estates Water System
	Report Date:
	April 2026


We test the drinking water quality for many constituents as required by State and Federal Regulations. This report shows the results of our monitoring for the period of January 1 - December 31, 2025 and may include earlier monitoring data.
Este informe contiene información muy importante sobre su agua potable.  Tradúzcalo ó hable con alguien que lo entienda bien.

	Type of water source(s) in use:  
	Groundwater from two (2) wells

	                                                      Well 01 and 02 in Lancaster, CA

	 Drinking Water Source Assessment information:
	A drinking water source assessment was conducted for Well 01 of 

	Leisure Lake Mobile Estates Water System in July 2001 and Well 02 in February 2002.  Well 01 and Well 02 are con- sidered most vulnerable to the following activities not associated with any detected contaminants: Transportation

	corridors – Freeways/State Highways, Wells - water supply, and recreational area – surface water source.

	A copy of the complete assessment may be viewed at: State Water Resources Control Board – Division of Drinking 

	Water, 500 N. Central Ave., Suite 500, Glendale, CA  91203 or by calling 818-551-2045

	Time and place of regularly scheduled board meetings for public participation:
	Regularly scheduled water board or

	City/county council meetings currently are not held.

	For more information, contact: 
	Gary Lumpkins – Skookum Water Co.
	  Phone: 
	  (661) 822-4185

	

	TERMS USED IN THIS REPORT:

	Maximum Contaminant Level (MCL): The highest level of a contaminant that is allowed in drinking water.  Primary MCLs are set as close to the PHGs (or MCLGs) as is economically and technologically feasible.  Secondary MCLs are set to protect the odor, taste, and appearance of drinking water.

Maximum Contaminant Level Goal (MCLG): The level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs are set by the U.S. Environmental Protection Agency (USEPA).

Public Health Goal (PHG): The level of a contaminant in drinking water below which there is no known or expected risk to health.  PHGs are set by the California Environmental Protection Agency.

Maximum Residual Disinfectant Level (MRDL):  The level of a disinfectant added for water treatment that may not be exceeded at the consumer’s tap.

Maximum Residual Disinfectant Level Goal (MRDLG): The level of a disinfectant added for water treatment below which there is no known or expected risk to health.  MRDLGs are set by the U.S. Environmental Protection Agency.
N/A: not applicable

uS/cm: microSiemens per centimeter, a measure of electrical conductivity.
	Primary Drinking Water Standards (PDWS): MCLs and MRDLs for contaminants that affect health along with their monitoring and reporting requirements, and water treatment requirements.

Secondary Drinking Water Standards (SDWS):  MCLs for contaminants that affect taste, odor, or appearance of the drinking water.  Contaminants with SDWSs do not affect the health at the MCL levels.

Treatment Technique (TT):  A required process intended to reduce the level of a contaminant in drinking water.

Regulatory Action Level (AL): The concentration of a contaminant which, if exceeded, triggers treatment or other requirements that a water system must follow.

Variances and Exemptions: State Board permission to exceed an MCL or not comply with a treatment technique under certain conditions.

ND: not detectable at testing limit  

ppm: parts per million or milligrams per liter (mg/L)

ppb: parts per billion or micrograms per liter (ug/L)
ppt: parts per trillion or nanograms per liter (ng/L) 
ppq: parts per quadrillion or pictogram per liter (pg/L)
pCi/L: picocuries per liter (a measure of radiation)
Nephelometric Turbidity Unit (NTU): uS/cm is “microSiemens per centimeter”


The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.
Contaminants that may be present in source water include:
· Microbial contaminants, such as viruses and bacteria that may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

· Inorganic contaminants, such as salts and metals, that can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

· Pesticides and herbicides that may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

· Organic chemical contaminants, including synthetic and volatile organic chemicals that are byproducts of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, agricultural application, and septic systems.

· Radioactive contaminants that can be naturally-occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, the USEPA and the State Water Resources Control Board (State Board) prescribe regulations that limit the amount of certain contaminants in water provided by public water systems.  State Board regulations also establish limits for contaminants in bottled water that provide the same protection for public health.

Tables 1, 2, 3, 4, 5, 6, and 7 list all of the drinking water contaminants that were detected during the most recent sampling for the constituent.  The presence of these contaminants in the water does not necessarily indicate that the water poses a health risk. The State Board allows us to monitor for certain contaminants less than once per year because the concentrations of these contaminants do not change frequently.  Some of the data, though representative of the water quality, are more than one year old.  Any violation of an AL, MCL, MRDL, or TT is asterisked.  Additional information regarding the violation is provided later in this report.
	Table 1.  Sampling Results Showing the Detection of Coliform Bacteria

	Microbiological Contaminants 
	Highest No. of Detections
	No. of Months in Violation
	MCL
	MCLG
	Typical Source of Bacteria

	E. coli

	(In the year)

0
	0
	(a)
	0
	Human and animal fecal waste

	(a) Routine and repeat samples are total coliform-positive, and either is E. coli-positive, or system fails to take repeat samples following E. coli-positive routine sample or system fails to analyze total coliform-positive repeat sample for E. coli.


	Table 2 – SAMPLING RESULTS SHOWING THE detection of Lead and copper

	Lead and Copper
(complete if lead or copper detected in the last sample set)
	Sample Date
	No. of Samples Collected
	90th Percentile Level Detected
	No. Sites Exceeding AL
	AL
	PHG
	No. of Schools Requesting Lead Sampling
	Typical Source of Contaminant

	Lead (ppb)
	7/23/25 to

9/29/25
	3
	0.005
	0
	15
	0.2
	0
	Internal corrosion of household water plumbing systems; discharges from industrial manufacturers; erosion of natural deposits

	Copper (ppm)
	7/23/25 to

9/29/25
	3
	0.072
	0
	1.3
	0.3
	N/A
	Internal corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives


	TAble 3 - sampling results for sodium and hardness

	Chemical or Constituent (and reporting units)
	Sample Date
	Level Detected
	Range of Detections
	MCL
	PHG

(MCLG)
	Typical Source of Contaminant

	Sodium (ppm)
	2023/2024
	59
	48-70
	none
	none
	Salt present in the water and is generally naturally occurring

	Hardness (ppm)
	2023/2024
	200
	150-250
	none
	none
	Sum of polyvalent cations present in the water, generally magnesium and calcium, and are usually naturally occurring


	TAble 4 - detection of contaminants with a Primary Drinking Water Standard

	Chemical or Constituent
(and reporting units)
	Sample Date
	Level Detected
	Range of Detections
	MCL

[MRDL]
	PHG

(MCLG)

[MRDLG]
	Typical Source of Contaminant

	Gross Alpha (pCi/L)
	2021
	4.57
	3.84-5.31
	15
	(0)
	Erosion of natural deposits

	Uranium (pCi/L)
	2015/2021
	2.12
	1.33-2.75
	20
	0.43
	Erosion of natural deposits

	Arsenic (ppb)

Well 01 and Well 02 Treatment Plant Effluent
	2025
	3.61
	ND-8.5
	10
	0.004
	Erosion of natural deposits; runoff from orchards, glass and electronics production wastes

	Barium (ppm)
	2023/2024
	0.083
	0.072-0.093
	1
	2
	Discharge from oil drilling wastes and from metal refineries; erosion of natural deposits

	Fluoride (ppm)
	2023/2024
	0.41
	0.36-0.45
	2
	1
	Erosion of natural deposits; water additive that promotes strong teeth; discharge from fertilizer and aluminum factories.

	Hexavalent Chromium (ppb)
	2025
	5.95
	5.1-6.8
	10
	0.02
	Discharge from electroplating factories, leather tanneries, wood preservation, chemical synthesis, refractory production, and textile manufacturing facilities; erosion of natural deposits

	Nitrate (as Nitrogen) (ppm)
	2025
	1.26
	0.68-1.9
	10
	10
	Runoff and leaching from fertilizer use; leaching from septic tanks and sewage; erosion of natural deposits

	Nitrate + Nitrite as N (ppm)
	2025
	1.54
	0.68-2.4
	10
	10
	Runoff and leaching from fertilizer use; leaching from septic tanks and sewage; erosion of natural deposits

	Nitrite as N (ppm)
	2025
	0.42
	ND-0.84
	1 
	1 
	Runoff and leaching from fertilizer use; leaching from septic tanks and sewage; erosion of natural deposits

	Perchlorate (ppb)
	2024/2025
	0.55
	ND-1.1
	6
	1
	Perchlorate is an inorganic chemical used in solid rocket propellant, fireworks, explosives, flares, matches, and a variety of industries. It usually gets into drinking water as a result of environmental contamination from historic aerospace or other industrial operations that used or use, store, or dispose of perchlorate and its salts.

	Selenium (ppb)
	2023/2024
	1.1
	ND-2.2
	50
	30
	Discharge from petroleum, glass, and metal refineries; erosion of natural deposits; discharge from mines and chemical manufacturers; runoff from livestock lots (feed additive)


	TAble 5 - detection of contaminants with a Secondary Drinking Water Standard

	Chemical or Constituent
(and reporting units)
	Sample Date
	Level Detected
	Range of Detections
	MCL


	PHG

(MCLG)
	Typical Source of Contaminant

	Chloride (ppm)
	2023/2024
	109
	67-150
	500
	N/A
	Runoff/leaching from natural deposits; seawater influence

	Color (units)
	2023/2024
	1.5
	1.0-2.0
	15
	N/A
	Naturally occurring organic material

	Iron (ppb)
	2023/2024
	146
	ND-670
	300
	N/A
	Leaching from natural deposits; industrial wastes

	Manganese (ppb)
	2023/2024
	5.5
	ND-11
	50
	N/A
	Leaching from natural deposits

	Odor (units)
	2023/2024
	0.50
	ND-1.0
	3
	N/A
	Runoff/leaching from natural deposits; seawater influence

	Specific Conductance (uS/cm)
	2023/2024
	670
	536-804
	1600
	N/A
	Substances that form ions when in water; seawater influence

	Sulfate (ppm)
	2023/2024
	45
	37-52
	500
	N/A
	Runoff/leaching from natural deposits; industrial wastes

	Total Dissolved Solids (ppm)
	2023/2024
	430
	340-520
	1000
	N/A
	Runoff/leaching from natural deposits

	Turbidity (NTU units)
	2023/2024
	0.25
	0.23-0.26
	5
	N/A
	Soil runoff


	TAble 6 – detection of UNREGULATED CONTAMINANTS

	Chemical or Constituent
(and reporting units)
	Sample Date
	Level Detected
	Range of Detections
	Notification Level
	Health Effects Language

	Boron (ppm)
	2014
	0.3
	0.3
	1
	The babies of some pregnant women who drink water containing boron in excess of the notification level may have an increased risk of developmental effects, based on studies in laboratory animals.

	Vanadium (ppb)
	2014
	10.5
	9-12
	50
	The babies of some pregnant women who drink water containing vanadium in in excess of the notification level may have an increased risk of developmental effects, based on studies in laboratory animals.


	STAGE 2 DETECTION OF DISINFECTANTS/DISINFECTION BYPRODUCT RULE mONITORING

	Chemical or Constituent
(and reporting units)
	Sample Date
	Level Detected
	Range of Detections
	MCL
	PHG
(MCLG)
	Typical Source of Contaminant

	Total Trihalomethanes (TTHMs) (ppb)


	2025
	ND
	ND
	80
	N/A
	Byproduct of drinking water disinfection

	Haloacetic Acids (5) (HAA5) (ppb)
	2025
	ND
	ND
	60
	N/A
	Byproduct of drinking water disinfection


Summary Information for Violation of a MCL, MRDL, AL, TT, 
or Monitoring and Reporting Requirement

	TABLE 7 - VIOLATION OF A MCL, MRDL, AL, TT, OR MONITORING AND REPORTING REQUIREMENT

	Violation
	Explanation
	Duration
	Actions Taken to Correct the Violation
	Health Effects Language

	Follow-Up or Routine Tap Monitoring/Reporting 

(Lead and Copper Rule)
	Our water system failed to collect the correct amount of lead and copper samples.
We are required to collect five (5) samples, and we only collected three (3).
	June 1st through September 30th of 2025.
	We are going to collect Lead and Copper Samples in 2026.
	We are required to monitor your drinking water for specific contaminants on a regular basis.  Results of regular monitoring are an indicator of whether or not your drinking water meets health standards.  During 2021, we did not complete all monitoring for lead and copper and therefore, cannot be sure of the quality of your drinking water during that time.


Additional General Information on Drinking Water
Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that the water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the USEPA’s Safe Drinking Water Hotline (1-800-426-4791). 
Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. USEPA/Centers for Disease Control (CDC) guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (1-800-426-4791).
Lead: If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing.  Leisure Lake Mobile Estates is responsible for providing high quality drinking water but cannot control the variety of materials used in plumbing components.  When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking.  If you are concerned about lead in your water, you may wish to have your water tested.  Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline (1-800-426-4701) or at http://www.epa.gov/lead.
Arsenic: While your drinking water meets the federal and state standard for arsenic, it does contain low levels of arsenic.  The arsenic standard balances the current understanding of arsenic’s possible health effects against the cost of removing arsenic from drinking water.  The U.S. Environmental Protection Agency continues to research the health effects of low levels of arsenic, which is a mineral known to cause cancer in humans at high concentrations and is linked to other health effects such as skin damage and circulatory problems.

Why are the terms “ppm” and “ppb” Important?

The terms refer to exposure standards and guidelines created to protect the public from harmful substances that can cause serious health effects. Exposure standards and guidelines are created from risk assessments that include dose response, exposure and hazard identification assessments. The following comparisons and information may be helpful:

1 standard atmosphere of water (1 liter of pure water at 4 degrees Celsius) weights 1,000,000 mg or one (1) kilogram (2.2 lbs.): 1 liter = 1.06 quarts.

One ppb = 1 inch in 16,000 miles; 1 cent in $10 million; 1 second in 32 years; one drop in an Olympic swimming pool.

One ppm = 1 inch in 16 miles; 1 minute in 2 years; 1 cent in $10,000; one drop in 55 gallons.

Report prepared by:  Skookum Water Company, Tehachapi, CA
SWS CCR Form
Revised January 2026
SWS CCR Form
Revised January 2026

