Consumer Confidence Report
Page 2 of 5


2025 Consumer Confidence Report

	Water System Name:
	Baltimore Air Coil Company
	Report Date:
	April, 2025

	
	
	
	


We test the drinking water quality for many constituents as required by state and federal regulations.  This report shows the results of our monitoring for the period of January 1 - December 31, 2024 and may include earlier monitoring data.

Este informe contiene información muy importante sobre su agua potable.  Tradúzcalo ó hable con alguien que lo entienda bien.

	Type of water source(s) in use:  
	Groundwater 

	Name & general location of source(s):  
	Well 03 15341 Road 28 ½ Madera, CA 93636

	 

	

	Drinking Water Source Assessment information:
	The most recent source water assessment is available by appointment at State Water Resources Control Board Drinking Water Division WWW.waterboards.com or Madera County Environmental Health

	

	Time and place of regularly scheduled board meetings for public participation:
	N/A

	

	For more information, contact: 
	Central Cal Waterworks, Inc. 
	  Phone: 
	(  559-575-5627 )

	

	TERMS USED IN THIS REPORT


The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

· Microbial contaminants, such as viruses and bacteria, that may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

· Inorganic contaminants, such as salts and metals, that can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

· Pesticides and herbicides, that may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

· Organic chemical contaminants, including synthetic and volatile organic chemicals, that are by-products of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, agricultural application, and septic systems.

· Radioactive contaminants, that can be naturally-occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, the USEPA and the State Water Resources Control Board (State Board) prescribe regulations that limit the amount of certain contaminants in water provided by public water systems.  State Board regulations also establish limits for contaminants in bottled water that provide the same protection for public health.

Tables 1, 2, 3, 4, 5, 7, and 8 list all of the drinking water contaminants that were detected during the most recent sampling for the constituent.  The presence of these contaminants in the water does not necessarily indicate that the water poses a health risk.  The State Board allows us to monitor for certain contaminants less than once per year because the concentrations of these contaminants do not change frequently.  Some of the data, though representative of the water quality, are more than one year old.

	Table 1 – SAMPLING RESULTS SHOWING the detection of coliform bacteria

	Microbiological Contaminants
(complete if bacteria detected)
	Highest No. of Detections
	No. of months in violation
	MCL
	 MCLG
	Typical Source of Bacteria

	Total Coliform Bacteria
	(In a mo.)


	0
	More than 1 sample in a month with a detection
	0
	Naturally present in the environment

	Fecal Coliform or E. coli
	(In the year)


	0
	A routine sample and a repeat sample detect total coliform and either sample also detects fecal coliform or E. coli
	0
	Human and animal fecal waste

	Table 2 – SAMPLING RESULTS SHOWING THE detection of Lead and copper

	Lead and Copper
(complete if lead or copper detected in the last sample set)
	Sample Date
	No. of samples collected
	90th percentile level detected
	No. sites exceeding AL
	AL
	PHG
	Typical Source of Contaminant

	Lead (ppb)
	08/18/24
	5
	0.0020
	0
	15
	0.2
	Internal corrosion of household water plumbing systems; discharges from industrial manufacturers; erosion of natural deposits

	Copper (ppm)
	08/18/24
	5
	0.0031
	0
	1.3
	0.3
	Internal corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives

	TAble 3 – SAMPLING RESULTS FOR sodium and hardness

	Chemical or Constituent (and reporting units)
	Sample Date
	Level
Detected
	Range of Detections
	MCL
	PHG
(MCLG)
	Typical Source of Contaminant

	Sodium mg/l
	1/20/21
	33
	33
	
	
	Salt present in the water and is generally naturally occurring

	Hardness mg/l
	11/9/22
	74
	N/A
	
	
	Sum of polyvalent cations present in the water, generally magnesium and calcium, and are usually naturally occurring


*Any violation of an MCL or AL is asterisked.  Additional information regarding the violation is provided later in this report.

	TAble 4 – detection of contaminants with a Primary Drinking Water Standard

	Chemical or Constituent
(and reporting units)
	Sample Da/te
	Level
Detected
	Range of Detections
	MCL
[MRDL]
	PHG
(MCLG)
[MRDLG]
	Typical Source of Contaminant

	Nitrate as No3(ppm)
	2/18/2025
	1.2
	N/A
	10
	10
	Runoff and leaching from fertilizer used: leaching form septic tanks and sewage; erosion of natural deposits 

	Gross Alpha (pCi/L
	2/18/2025
	.733
	N/A
	15
	3
	Runoff  leaching from natural deposits

	Chromium (hexavalent) (µg/L)


	2/18/2025
	.270
	N/A
	10
	.02
	Erosion of natural deposits; transformation of naturally occurring trivalent chromium to hexavalent chromium by natural processes and human activities such as discharges from electroplating factories, leather tanneries, wood preservation, chemical synthesis, refractory production, and textile manufacturing facilities.

	Arsenic (ppb)
	06/27/2024
	2.9
	2.9
	10
	4
	Erosion of natural deposits; runoff from orchards; glass and electronics production waste.

	Barium (ug/l)
	06/27/2024
	72
	72
	1
	2
	Discharges of oil drilling wastes and from metal.

	Chromium (ppb)
	06/27/2024
	2



	2
	0.05
	100
	Discharge from steel and pulp mills and chrome plating; erosion of natural deposits

	TAble 5 – detection of contaminants with a Secondary Drinking Water Standard

	Chemical or Constituent
(and reporting units)
	Sample Date
	Level Detected
	Range of Detections
	MCL
	PHG
(MCLG)
	Typical Source of Contaminant

	Specific Conductance (EC) (umhos/cm)
	1/20/21
	310
	310
	1600
	N/A
	Substance that forms ions when in water; seawater influence 

	Aluminum (ppm)
	06/27/2024
	.019
	.019
	1
	0.6
	Erosion of natural deposits; residue from some surface water treatment processes.

	Zinc(ppm)
	1/20/2021
	1.4
	1.4
	5
	N/A
	Runoff  leaching from natural deposits

	Iron
	5/17/2021
	92
	300
	100
	
	Runoff  leaching from natural deposits

	Chloride mg/l
	01/20/2021
	35
	35
	500
	500
	Runoff/leaching from natural deposits; seawater influence


Additional General Information on Drinking Water

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that the water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the USEPA’s Safe Drinking Water Hotline (1-800-426-4791).

Synthetic Organic Contaminants including Pesticides and Herbicides
	Chemical or Constituent
(and reporting units)
	Sample Date
	Level Detected
	Range of Detections
	Notification Level
	Health Effects Language

	
	
	
	
	
	


Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. USEPA/Centers for Disease Control (CDC) guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (1-800-426-4791).

Lead-Specific Language for Community Water Systems:  If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing.  Baltimore Air Coil of California is responsible for providing high quality drinking water but cannot control the variety of materials used in plumbing components.  When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. [Optional: If you do so, you may wish to collect the flushed water and reuse it for another beneficial purpose, such as watering plants.] If you are concerned about lead in your water, you may wish to have your water tested.  Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/lead.

	

	

	


Summary Information for Violation of a MCL, MRDL, AL, TT, 
or Monitoring and Reporting Requirement
For Water Systems Providing Ground Water as a Source of Drinking Water
	TAble 7 – SAMPLING RESULTS SHOWING
feCal indicator-positive ground water source samples

	Microbiological Contaminants

(complete if fecal-indicator detected)
	Total No. of Detections
	Sample
 Dates
	MCL
[MRDL]
	PHG
(MCLG)
[MRDLG]
	Typical Source of Contaminant

	E. coli
	0
	Monthly
	0
	(0)
	Human and animal fecal waste

	Enterococci
	0
	Monthly
	TT
	n/a
	Human and animal fecal waste


Central Cal Waterworks submits monthly bacteriological results to   Madera County Environmental Health Drinking Water Division. If anyone receiving this Consumer Confidence report has any questions regarding any of the result, please contact Jason Sherrell or Daniel Robarge at 559-575-5627.  Central Cal Waterworks Inc. is here to service Baltimore Aircoil Company for all their water needs.
	Water Conservation Tips for Consumers

	Did you know that the average U.S. household uses approximately 400 gallons of water per day or 100 gallons per person per day?  Luckily, there are many low-cost and no-cost ways to conserve water.  Small changes can make a big difference – try one today and soon it will become second nature.
· Take short showers – a 5 minutes shower uses 4 to 5 gallons of water compared to up to 50 gallons for a bath. Use a water-efficient showerhead.  They are inexpensive, easy to install, and can save you up to 750 gallons a month.

· Shut off water while brushing your teeth, washing your hair and shaving and save up to 500 gallons a month.

· Run your clothes washer and dishwasher only when they are full.  You can save up to 1,000 gallons a month.
· Fix leaking toilets and faucets.  Faucet washers are inexpensive and take only a few minutes to replace.  To check your toilet for a leak, place a few drops of food coloring in the tank and wait.  If it seeps into the toilet bowl without flushing, you have a leak.  Fixing it or replacing it with a new, more efficient model can save up to 1,000 gallons a month.

· Water plants only when necessary.   Adjust sprinklers so only your lawn is watered.  Apply water only as fast as the soil can absorb it and during the cooler parts of the day to reduce evaporation.

· Teach your kids about water conservation to ensure a future generation that uses water wisely.  

· Visit www.epa.gov/watersense for more information.




