Consumer Confidence Report
Page 5 of 5

2021 Consumer Confidence Report

	Water System Name:
	Talley Transportation Inc.
	Report Date:
	May 2022


We test the drinking water quality for many constituents as required by State and Federal Regulations.  This report shows the results of our monitoring for the period of January 1 - December 31, 2021 and may include earlier monitoring data.
Este informe contiene información muy importante sobre su agua para beber.  Favor de comunicarse Talley Transportation, 12325 Avenue 29, Madera para asistirlo en enpanol.
	Type of water source(s) in use:  
	Well 1, System #2000961

	Name & location of source(s):  
	12325 Avenue 29, Madera, CA

	Drinking Water Source Assessment information:
	

	Time and place of regularly scheduled board meetings for public participation:
	

	For more information, contact: 
	Mr. Marty Talley
	  Phone: 
	(559)  673-9014

	

	TERMS USED IN THIS REPORT:

	Maximum Contaminant Level (MCL): The highest level of a contaminant that is allowed in drinking water.  Primary MCLs are set as close to the PHGs (or MCLGs) as is economically and technologically feasible.  Secondary MCLs are set to protect the odor, taste, and appearance of drinking water.

Maximum Contaminant Level Goal (MCLG): The level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs are set by the U.S. Environmental Protection Agency (USEPA).

Public Health Goal (PHG): The level of a contaminant in drinking water below which there is no known or expected risk to health.  PHGs are set by the California Environmental Protection Agency.

Maximum Residual Disinfectant Level (MRDL): The highest level of a disinfectant allowed in drinking water.  There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

 Maximum Residual Disinfectant Level Goal (MRDLG): The level of a drinking water disinfectant below which there is no known or expected risk to health.  MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants
Primary Drinking Water Standards (PDWS): MCLs and MRDLs for contaminants that affect health along with their monitoring and reporting requirements, and water treatment requirements.


	Secondary Drinking Water Standards (SDWS):  MCLs for contaminants that affect taste, odor, or appearance of the drinking water.  Contaminants with SDWSs do not affect the health at the MCL levels.

Treatment Technique (TT):  A required process intended to reduce the level of a contaminant in drinking water.

Regulatory Action Level (AL): The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

Variances and Exemptions:  State Board permission to exceed an MCL or not comply with a treatment technique under certain conditions.
Level 1 Assessment:  A Level 1 assessment is a study of the water system to identify potential problems and determine (if possible) why total coliform bacteria have been found in our water system.

Level 2 Assessment:  A level 2 assessment is a very detailed study of the water system to identify potential problems and determine (if possible) why an E. coli MCL violation has occurred and/or why total coliform bacteria have been found in our water system on multiple occasions
ND: not detectable at testing limit  

ppm: parts per million or milligrams per liter (mg/L)

ppb: parts per billion or micrograms per liter (ug/L)
ppt: parts per trillion or nanograms per liter (ng/L) 

pCi/L: picocuries per liter (a measure of radiation)


The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:
· Microbial contaminants, such as viruses and bacteria that may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

· Inorganic contaminants, such as salts and metals, that can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

· Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

· Organic chemical contaminants, including synthetic and volatile organic chemicals that are byproducts of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, agricultural application, and septic systems.

· Radioactive contaminants, which can be naturally-occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, U.S. EPA and the State Board prescribe regulations that limit the amount of certain contaminants in water provided by public water systems.  The US Food and Drug Administration regulations and California law also establish limits for contaminants in bottled water that provide the same protection for public health.

Tables 1, 2, 3, 4, 5, and 6 list all of the drinking water contaminants that were detected during the most recent sampling for the constituent.  The presence of these contaminants in the water does not necessarily indicate that the water poses a health risk.  The State Board allows us to monitor for certain contaminants less than once per year because the concentrations of these contaminants do not change frequently.  Some of the data, though representative of the water quality, are more than one year old. Any violation of an AL, MCL, or MRDL is asterisked.  Additional information regarding the violation is provided later in this report. 
	Table 1 - sampling results showing the detection of coliform bacteria

	Microbiological   Contaminants 
(completed if  bacteria  detected)
	Highest No. of detections
	No. of months in violation
	MCL
	 MCLG
	Typical Source of Bacteria

	Total Coliform Bacteria

	(Between Jan 1, 2021 and June 30, 2021)
0
	0
	1 positive monthly sample (for systems collecting fewer than 40 samples per month:  two or more positive monthly samples is a violation of the total coliform  MCL)
	0
	Naturally present in the environment

	Fecal Coliform and  E. coli)
	(In the year)

0
	0
	A routine sample and a repeat sample are total coliform positive, and one of these is also fecal coliform or E. coli positive
	0
	Human and animal fecal waste

	E. coli (State Revised Total Coliform Rule)

	(In the year)

0
	0

	Routine and repeat samples are total coliform positive and either is E.coli positive or system fails to take repeat samples following E coli positive routine sample or system fails to analyze total coliform positive repeat sample for E. coli
	0
	Human and animal fecal waste

	Table 2 - sampling results showing the detection of Lead and copper

	Lead and Copper

(complete if  lead or copper detected in the last  sample set)
	No. of samples collected
	90th percentile level detected
	No. sites exceeding AL 
	AL
	PHG


	Typical Source of Contaminant

	Lead (ppb) 

(Sampled 8/21)
	5
	3.4

	0
	15
	0.2
	Internal corrosion of household water plumbing systems; discharges from industrial manufacturers; erosion of natural deposits

	Copper (ppm)

(Sampled 8/21)
	5
	ND
	0
	1.3
	0.3
	Internal corrosion of household water plumbing systems; erosion of natural deposits; leaching from wood preservatives

	TAble 3 - sampling results for sodium and hardness

	Chemical or Constituent (and reporting units)
	Sample Date
	Level Detected
	Range of Detections
	MCL
	PHG

(MCLG)
	Typical Source of Contaminant

	Sodium (ppm) 


	3/18
	22
	
	none
	none
	Salt present in the water and is generally naturally occurring

	Hardness (ppm)


	3/18
	67
	
	none
	none
	Sum of polyvalent cations present in the water, generally magnesium and calcium and are usually naturally occurring


	TAble 4 - detection of contaminants with a Primary Drinking Water Standard

	Chemical or Constituent
(and reporting units)
	Sample Date
	Level Detected
	Range of Detections
	MCL

[MRDL]
	PHG

(MCLG)

[MRDLG]
	Typical Source of Contaminant

	Nitrate (as Nitrogen, N) (ppm) 
	1/21
	2.2
	
	10
	10
	Runoff and leaching from fertilizer use; leaching from septic tanks, sewage; erosion of natural deposits

	Dibromochloropropane (DBCP) (ug/L)
	2021
	0.21
	0.18-0.24
	200
	1.7
	Banned nematocide that may still be present in soils due to runoff/leaching from former use on soybeans, cotton, vineyards, tomatoes, and tree fruit

	Fluoride (ppm) 
	6/21
	0.13
	
	2.0
	1
	Erosion of natural deposits; water additive which promotes strong teeth; discharge from fertilizer and aluminum factories

	Barium (ppm)
	6/21
	0.079
	
	1
	2
	Discharge of oil drilling wastes and from metal refineries; erosion of natural deposits

	
	
	
	
	
	
	

	TAble 5 - detection of contaminants with a Secondary Drinking Water Standard

	Chemical or Constituent
(and reporting units)
	Sample Date
	Level Detected
	Range of Detections
	MCL


	PHG

(MCLG)
	Typical Source of Contaminant

	Chloride (ppm)

 
	3/18
	21
	
	500
	N/A
	Runoff/leaching from natural deposits; sea water influence

	Specific Conductance (us/cm) 
	3/18
	240
	
	1600
	N/A
	Substances that form ions when in water; seawater influence

	Sulfate (ppm)  


	3/18
	6.9
	
	500
	N/A
	Runoff/leaching from natural deposits; industrial wastes

	Total Dissolved Solids (ppm)
	3/18
	190
	
	1000
	N/A
	Runoff/leaching from natural deposits

	Turbidity (ntu)


	3/18
	0.20
	
	5
	N/A
	Soil runoff

	TABLE 6 - DETECTION OF UNREGULATED CONTAMINANTS

	Chemical or Constituent

(and reporting units)
	Sample Date
	Level Detected
	Notification Level
	Health Effects Language

	
	
	
	
	


For Water Systems Providing Ground Water as a Source of Drinking Water

	TAble 7 – SAMPLING RESULTS SHOWING
feCal indicator-positive ground water source samples

	Microbiological Contaminants

(complete if fecal-indicator detected)
	Total No. of Detections
	Sample
 Dates
	MCL
[MRDL]
	PHG
(MCLG)
[MRDLG]
	Typical Source of Contaminant

	E. coli
	(In the year)
0
	
	0
	(0)
	Human and animal fecal waste


Additional General Information on Drinking Water

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that the water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the USEPA’s Safe Drinking Water Hotline (1-800-426-4791).

Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. USEPA/Centers for Disease Control (CDC) guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (1-800-426-4791).
If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  Infants and young children are typically more vulnerable to lead in drinking water than the general population.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. It is possible that lead levels at your home may be higher than at other homes in the community as a result of materials used in your home’s plumbing.   Talley Transportation is responsible for providing high quality drinking water but cannot control the variety of materials used in plumbing components.  When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking.  If you are concerned about lead in your water, you may wish to have your water tested.  Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline (1-800-426-4701) or at http://www.epa.gov/lead.
Summary Information for Contaminants Exceeding an MCL, MRDL, or AL, or a Violation of Any Treatment Technique or Monitoring and Reporting Requirement

We constantly monitor for various contaminants in the water supply to meet all regulatory requirements. As you can see by the tables, we have learned through our monitoring and testing that some contaminants have been detected.  The detection levels of these contaminants are below the MCL and do not pose a health risk 

Consumer Confidence Report

Certification Form

Water system name:   Talley Transportation

PWS I.D. No 2000961

The water system named above hereby certifies that its Consumer Confidence Report was distributed on ___________________ (date) to customers (and appropriate notices of availability have been given).  Further, the system certifies that the information contained in the report is correct and consistent with the compliance monitoring data previously submitted to the State Water Resources Control Board, Division of Drinking Water

	Certified by:
	Name:
	Marty Talley
	
	

	
	Signature:
	
	
	

	
	Title:
	Talley Transportation
	
	

	
	Phone Number:
	559-673-9014
	Date:
	


To summarize report delivery used and good-faith efforts taken, please complete the below by checking all items that apply and fill-in where appropriate:

 FORMCHECKBOX 

CCR was distributed by mail or other direct delivery methods.  Specify other direct delivery methods used:  

 FORMCHECKBOX 

“Good faith” efforts were used to reach non-bill paying consumers.  Those efforts included the following methods:

 FORMCHECKBOX 

Posting the CCR on the Internet at www.


 FORMCHECKBOX 

Mailing the CCR to postal patrons within the service area (attach zip codes used)

 FORMCHECKBOX 

Advertising the availability of the CCR in news media (attach copy of press release)

 FORMCHECKBOX 

Publication of the CCR in a local newspaper of general circulation (attach a copy of the published notice, including name of newspaper and date published)

 FORMCHECKBOX 

Posted the CCR in public places (attach a list of locations)

 FORMCHECKBOX 

Delivery of multiple copies of CCR to single bill addresses serving several persons, such as apartments, businesses, and schools

 FORMCHECKBOX 

Delivery to community organizations (attach a list of organizations)

 FORMCHECKBOX 

For privately-owned utilities:  Delivered the CCR to the California Public Utilities Commission
Prepared by:      Name:    Charles Protzman_________________________________________________

                           Title:   Protzman Enterprises______________________________________________

                           Phone:  916-457-7988_____________________Date:       May 2022__________      
SWS CCR Form
Revised Jan 2022
SWS CCR Form
Revised January 2022

