City of Chowchilla

Annual   	CONSUMER

CONFIDENCE

REPORT

Reporting Year 2025

This report is available at the Chowchilla Civic Center and on the internet at www.CityOfChowchilla.org

Este reporte está disponible en Español en la oficina de la Ciudad de Chowchilla y por la internet, www.CityOfChowchilla.org

Your Water, Your Report

The City of Chowchilla presents our annual consumer confidence report (C.C.R) required by the California State Department of Health Services that summarizes the water quality sampling results for 2025 for all our water customers. We continually strive to enhance our water system delivery infrastructure, and we are committed to making improvements to deliver the best quality drinking water to you. The City spends significant time and expense to ensure you are provided with water that meets (is within drinking water standards) or exceeds (is better than) the standard for drinking water quality. As new challenges to drinking water safety emerge, we remain committed to meeting the goals of source water protection, water conservation and community education.

Questions?

Please remember that we are available to assist you. For more information about this report, or if you have any questions about your drinking water, please contact the City of Chowchilla Public Services Department at (559) 665-8615, ext. 789. You can also email us at PublicServices@CityOfChowchilla.org.

Community Participation

The City Council meets the second and fourth Tuesday of the month beginning at 4:00 p.m. at the Chowchilla Civic Center, 130 S. Second Street. The public is welcome and encouraged to attend these meetings.

Important Health Information

Some people may be more vulnerable to contaminants in drinking water than the general population. Immune-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infection. These people should seek advice from their health care providers about drinking water. U.S. EPA/CDC (Centers for Disease Control and Prevention) guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline at (800) 426-4791 or http://water.epa.gov/drink/hotline.

Health Effects for Inorganic Contaminants

Nitrate in drinking water at levels above 10 ug/L is a health risk for infants or those less than six months of age. Such nitrate levels in drinking water can interfere with the capacity of the infant’s blood to carry oxygen, resulting in serious illness; symptoms include shortness of breath and blueness of the skin. Nitrate levels above 10 ug/L may also affect the ability of the blood to carry oxygen in other individuals, such as pregnant women and those with certain specific enzyme deficiencies. If you are caring for an infant, or if you are pregnant, you should seek advice from your health care provider.

Constituents That Could Be in Water

The source of drinking water (both tap water and bottled water) includes rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material and can pick up substances resulting from the presence of animals or human activity.

To ensure that tap water is safe to drink, the U.S. Environmental Protection Agency (USEPA) and the SWRCB, Division of Drinking Water prescribe regulations that limit the amount of certain contaminants in water provided by public water systems. Drinking water, including bottled water, may reasonably be expected to contain at least some small amounts of contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects may be obtained by calling the U.S. EPA’s Safe Drinking Water Hotline (800) 426-4791.

Contaminants that could be present in source water include:

Microbial Contaminants, such as viruses and bacteria that may come from sewage treatment plants, septic systems, agricultural livestock operations and wildlife.

Inorganic Contaminants, such as salts and minerals that can be naturally occurring or result from urban storm water runoff, industrial or domestic wastewater discharges, oil and gas production, mining or farming.

Pesticides and Herbicides, that may come from a variety of sources such as agriculture, urban water runoff, and residential uses.

Organic Chemical Contaminants, including synthetic and volatile organic chemicals that are by-products of industrial processes and petroleum production, and can also come from gas stations, urban storm water runoff, agricultural application and septic systems.

Radioactive Contaminants that can be naturally occurring or be the result of oil and gas production and mining activities.

Well Water Treatment

Each well site has a chlorine pump metering a chlorine dosage into the distribution system, which yields a residual throughout the distribution system approximately 0.30 – 0.45 parts per million (PPM).

Conservation For Our Future

Be conservative while watering outside; drip irrigation systems are a low-flow way to water landscape areas. Soaker hoses are a less expensive alternative, and they work well in narrow areas and odd-shaped beds and gardens to prevent over-spray from sprinklers. Rain shut-off devices that prevent automatic sprinklers from turning on when it rains.

It is important to not allow water to run off lawns and landscaping or flow into the gutters; plus, sidewalks do not need water.

The Chowchilla City Council passed resolutions to modify the City Municipal Code to conserve water year-round. Everyone needs to know what these changes are and how they directly affect you. Essentially, the action regulates all outdoor use of water during the restricted periods including but not limited to automated irrigation systems, sprinklers, hand-held hose watering of lawns, landscape areas and gardens, and the washing of driveways and sidewalks.

The City’s Outdoor Water Use Program intends to encourage water conservation. Watering lawns, gardens, etc., with automated irrigation systems and sprinklers is the #1 cause of water pressure problems in the community. Watering schedules are designed to help our customers meet the requirements of the City’s water conservation ordinance. If everyone would comply with their watering schedule our water pressure problems would lessen and we could conserve water for our future needs. Everyone is asked to help and follow the requirements of the Outdoor Water Use Program. The City of Chowchilla can issue Administrative Citations and assess penalty fines for watering violations per City Ordinance #13.04.215.

The City of Chowchilla’s odd/even schedule allows:

- Even number addresses to water on Tuesday and Saturday.

- Odd number addresses to water on Wednesday and Sunday.

- Schools, parks and landscape medians are allowed to water on Monday and Friday.

- NO WATERING ALLOWED on Thursday:

- No mid-day watering is allowed between the times of 10 am and 7 pm.

Cross-Connection Control Program

This section explains that a cross-connection occurs when a potential pathway exists for non-drinking water (for example, irrigation water, chemical solutions, or other liquids) to flow backward into the potable water system. To protect drinking water safely, the City operates a Cross-Connection Control Program.

The program includes:

- Identifying locations where cross-connections may occur, such as commercial properties, irrigation systems, and certain equipment.

- Requiring installation of backflow prevention assemblies where needed.

- Ensuring that backflow devices are tested and maintained regularly by certified testers.

- Conducting surveys and inspections to verify continued protection.

The City notes that backflow prevention assemblies are installed throughout the system and that customers must keep these devices accessible and in good working order. The section encourages customers with questions to contact the City for guidance.

Where Does the City of Chowchilla Get Its Water?

The City explains that its drinking water supply comes entirely from local groundwater wells rather than from surface water such as rivers or reservoirs. The City operates 6 active wells distributed throughout the community, with a new well (well 15) coming online in the new future.

The water system serves over 4,500 service connections, including homes, businesses, and other facilities. The system includes miles of water mains, fire hydrants, meters, and storage facilities to deliver water to customers.

Lead in Home Plumbing

This section explains that lead can enter drinking water primarily through materials and components in household plumbing, such as lead-based solder, brass fixtures, and older service lines. The City notes that it is responsible for providing high-quality drinking water but cannot control the materials used in customers' plumbing systems.

To reduce potential exposure to lead at the tap, customers are advised to:

- Flush indoor faucets by running cold water for 30 seconds to 2 minutes before using it for drinking or cooking when water has been sitting for several hours.

- Use only cold water for drinking and cooking.

- Consider having water tested for lead if they are concerned.

The section notes that some people may be at higher risk from lead exposure, including pregnant people and young children, and recommends discussing concerns with a health care provider. Customers are directed to the EPA's Safe Drinking Water Hotline and website for more information on lead in drinking water, testing, and reducing exposure: https://www.epa.gov/ground-water-and-drinking-water/basic-information-about-lead-drinking-water.

# PFAS: Per- and Polyfluoroalkyl Substances

# Per- and polyfluoroalkyl substances (PFAS) are a group of more than 14,000 human-made substances (U.S. EPA CompTox) that are not naturally occurring and are resistant to heat, water, and oil. Due to their unique chemistry, PFAS have been widely used as surface coatings and protectant formulations in consumer, commercial, and industrial products such as carpet, home textiles, clothing, food packaging, and non-stick cookware. PFAS have also been used for industrial applications, such as a surfactant in chrome plating and for emergency response applications, such as in firefighting foam. In typical conditions, PFAS are resistant to degradation and do not break down in the environment.

Exposure to PFAS may result in adverse health effects including developmental effects to fetuses during pregnancy, cancer, liver effects, immune effects, thyroid effects, and other effects (such as cholesterol changes). In several national studies, PFAS have been found in the blood serum of nearly all people tested.

## Exposure and Occurrence

PFAS has been detected in air, water, wastewater, fish, and soil worldwide. PFAS are especially present in and around manufacturing facilities that use or produce PFAS. Some PFAS are volatile and can be carried long distances through the air. PFAS have been detected in many parts of the world, including oceans and the Arctic, indicating that long-range transport is possible.

People can be exposed to PFAS through food, food packaging, consumer products, house dust, and drinking water. Four major sources of PFAS in drinking water are fire training and response sites; industrial sites; landfills; and wastewater treatment plants and biosolids. Once in groundwater, PFAS can be easily transported large distances, tend to accumulate in groundwater, and can contaminate sources of drinking water. Contaminated drinking water has led to high levels of exposure to PFAS for some populations residing near manufacturing facilities that use or have used PFAS in their manufacturing process.

More information about PFAS in non-drinking water, monitoring/occurrence maps, and other actions in California addressing PFAS can be found at the State Water Board's PFAS web portal.

## PFAS Regulations for California Drinking Water

### Public Health Goals and Maximum Contaminant Levels

On April 10, 2024, the United States Environmental Protection Agency (U.S. EPA) announced final National Primary Drinking Water Regulation (NPDWR) for six PFAS, establishing legally enforceable Maximum Contaminant Levels (MCLs). The PFAS compounds PFOA, PFOS, PFHxS, PFNA, HFPO-DA (commonly known as GenX) are regulated as contaminants with individual MCLs. The PFAS compounds PFHxS, PFNA, PFBS, and HFPO-DA (GenX) are regulated as a PFAS mixture with a Hazard Index (HI) MCL. The regulation proposed by U.S. EPA will require public water systems to monitor for these PFAS, notify the public of the levels of these PFAS, and reduce the levels of these PFAS in drinking water if they exceed the standards.

The Hazard Index is made up of a sum of fractions. Each fraction compares the level of each PFAS measured in the water to the highest level below which there is no risk of health effects. The Hazard Index MCL is set at 1 and applies to any mixture containing two or more of PFHxS, PFNA, PFBS, and HFPO-DA (GenX) is set at 1. For more information on the Hazard Index MCL, see U.S. EPA's Hazard Index MCL fact sheet.

The timeline for rule implementation provided by U.S. EPA is as follows:

- Within three years of rule promulgation (2024 - 2027):

  - Initial monitoring must be complete

- Starting three years following rule promulgation (2027 - 2029):

  - Results of initial monitoring must be included in Consumer Confidence Reports (i.e., Annual Water Quality Report)

  - Regular monitoring for compliance must begin, and results of compliance monitoring must be included in Consumer Confidence Reports

  - Public notification for monitoring and testing violations

- Starting five years following rule promulgation (starting 2029):

  - Comply with all MCLs

  - Public notification for MCL violations

For further information about this regulation and resources for both the general public and public water systems (including fact sheets, frequently asked questions, and communications toolkits), please see U.S. EPA's webpage for the Final PFAS National Primary Drinking Water Regulation.

For California, the development of standards for PFOA, PFOS, PFHxS, PFNA, HFPO-DA (GenX), PFBS, and other PFAS are among the priorities of the Division of Drinking Water. Updates to the rulemaking process for PFAS in California will be posted at the PFAS MCL rulemaking record webpage.

On April 5, 2024, the Office of Environmental Health and Hazard Assessment (OEHHA) adopted Public Health Goals (PHGs) for two PFAS: PFOA and PFOS. The PHG for PFOA is 0.007 nanograms per liter (ng/L) or parts per trillion (ppt). The PHG for PFOS is 1 ng/L or ppt. PHGs are established by OEHHA and are concentration of drinking water contaminants that pose no significant health risk, based on current risk assessment principles, practices, and methods. OEHHA establishes PHGs pursuant to HSC §116365(c) for contaminants with MCLs, and for those for which MCLs will be adopted. HSC §116365(a) requires a contaminant's MCL to be established at a level as close to its' PHG as is technologically and economically feasible, placing primary emphasis on the protection of public health. In this way, PHGs serve as the basis for the development of MCLs. In addition to the PHGs for PFOA and PFOS, the Division of Drinking Water has also requested that OEHHA include evaluations as to evaluate whether PFAS can be grouped together for regulatory purposes or based on specific characteristics or features of the chemicals. In May 2025, the Division of Drinking Water requested for OEHHA to establish a PHG for PFHxS.

Source Water Assessment

In accordance with the State of California Drinking Water Source Assessment and Protection (DWSAP) Program, a source water assessment was conducted for the Chowchilla Municipal Water Division water system in May of 2002 and is ongoing. The sources considered vulnerable from the following activities associated with contaminants detected in the water supply include: apartments, condominiums, high-density housing, parks, utility stations-maintenance areas, recreational areas-surface water sources. Sources considered vulnerable to the following activities not associated with any detected contaminants in the water supply include: automobile gas stations, historic gas stations, machine shops, sewer collection systems.

Definitions

MCL (Maximum Contaminant Level): The highest level of a contaminant that is allowed in drinking water. Primary MCLs are set as close to the PGHs (or MCLGs) as is economically and technologically feasible. Secondary MCLs are set to protect the odor, taste and appearance of drinking water.

MCLG (Maximum Contaminant Level Goal): The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs are set by the U.S. EPA.

PDWS (Primary Drinking Water Standard): MCLs for contaminants that affect health, along with their monitoring and reporting requirements and water treatment requirements.

PHG (Public Health Goal): The level of a contaminant in drinking water below which there is no known or expected risk to health. PHGs are set by the California Environmental Protection Agency.

Vulnerability

While quarterly sampling well #10 in 2024 the average Nitrate level results were 3.55 mg/L, which did not exceed greater than 50% of the MCL.  Regulations require the city to take quarterly samples at well 10 to ensure the nitrates levels do not meet the maximum level of 10 ug/L.  In 2025 the well was online for 6 weeks during the year and was then taken offline for repairs.  The City did not collect a Nitrate sample due to the well being offline.  The City will collect a sample before the well goes back online. This report contains important information about your drinking water. Translate it or speak with someone who understands it.

Este reporte contiene información muy importante sobre su agua, prtable. Tradúzcalo o hable con alguien que lo entienda bien.

Sampling Results

This table lists the drinking water contaminants that we tested for according to State drinking water requirements. The presence of these contaminants in the water does not necessarily indicate that the water poses a health risk. During 2025, the City of Chowchilla collected bacteriological samples throughout the water distribution system.  All samples collected are compliant with the State Water Resources Control Board (SWRCB). The State allows the City of Chowchilla to monitor some contaminants less than once per year because the concentration of these contaminants does not change frequently. Results in the table below reflect samples collected from six (6) groundwater sources, well(s) enumerated as #1A, #3 #5A, #10, #11 and #14. Some of the following data, though representative, is more than one year old with data that ranged from 2022 to 2025.

| PRIMARY STANDARDS | MCL | PHG (MCLG) | RANGE LOW-HIGH | AVERAGE DETECTED | UoM | TYPICAL SOURCE OF CONTAMINANT |
| --- | --- | --- | --- | --- | --- | --- |
| Arsenic | 10 | N/A | N/D–.0027 | N/D – .0026 | mg/L | Erosion of natural deposits, runoff from orchards, glass and electronics production wastes |
| Barium | 1 | 2 | 0.11–0.35 | 0.17 | ug/L | Discharges of oil drilling wastes and from metal refineries, erosion of natural deposits |
| Nitrate [as NO3] | 10 | 10 | 0..67–5.0 | 2.5 | ug/L | Runoff and leaching from fertilizer use, leaching from septic tanks and sewage, erosion of natural deposits |
| Dibromo chloropropane [DBCP] | 200 | N/A | N/D–N/D | N/D | ug/L | Banned nematicide that may still be present in soils due to runoff/leaching from former use on soybeans, cotton, vineyards, tomatoes and tree fruit |
| Ethylene Dibromide [EDB] | 50 | 0.01 | N/D–N/D | N/D | mg/L | Discharge from petroleum refineries, underground gas tank leaks, banned nematicides that may still be present in soils due to runoff and leaching from grain and fruit crops |
| SECONDARY STANDARDS | MCL | PHG (MCLG) | RANGE LOW-HIGH | AVERAGE DETECTED | UoM | TYPICAL SOURCE OF CONTAMINANT |
| Chloride | 250 | N/A | 19-41 | 29.5 | mg/L | Runoff /leaching from natural deposits, seawater influence |
| Iron | 300 | N/A | N/D–N/D | N/D | ug/L | Leaching from natural deposits, industrial wastes |
| Odor | 3 | N/A | N/D–N/D | N/D | TON | Naturally occurring organic materials |
| pH [Laboratory] | 6.5-8.5 | N/A | 7.6–7.9 | 7.8 | Std. Units |  |
| Specific Conductance | 900 | N/A | 200-460 | 333 | umho/cm | Substances that form ions when in water, seawater influence |
| Total Dissolved Solids [TDS] | 500 | N/A | 180–380 | 285 | mg/L | Runoff/leaching from natural deposits |
| Sulfate | 250 | N/A | 2.2-9 | 4.9 | mg/L | Runoff/leaching from natural deposits, industrial wastes |
| Lab Turbidity | 5 | N/A | N/D–.23 | 0.13 | NTU | Soil runoff |
| Total Chromium | 50 | N/A | N/D–N/D | N/D | ug/L |  |
| GENERAL MINERALS | MCL | PHG (MCLG) | RANGE LOW-HIGH | AVERAGE DETECTED | UoM | TYPICAL SOURCE OF CONTAMINANT |
| Bicarbonate | N/A | N/A | 67–150 | 109 | mg/L |  |
| Calcium | N/A | N/A | 16-45 | 30.5 | mg/L |  |
| Copper | 1300 | 80 | N/D-.0077 | .0011 | mg/L | Internal corrosion of household plumbing systems, erosion of natural deposits, leaching from wood preservatives |
| Fluoride | 2 | N/A | N/D–0.11 | 0.11 | mg/L | Erosion of natural deposits |
| Lead | 15 | <0.005 | N/D | N/D | mg/L | Internal corrosion of household plumbing systems, discharge from industrial manufacturers, erosion of natural deposits |
| Magnesium | N/A | N/A | 3.9-12 | 8.13 | mg/L |  |
| Potassium | N/A | N/A | 4-4.6 | 4.31 | mg/L |  |
| Sodium | N/A | N/A | 17-26 | 21.6 | mg/L |  |
| Total Alkalinity | N/A | N/A | 67-150 | 109 | mg/L |  |
| Total Hardness [as CaCO3] | N/A | N/A | 55-160 | 108.6 | mg/L |  |
| ORGANICS | MCL | PHG (MCLG) | RANGE LOW-HIGH | AVERAGE DETECTED | UoM | TYPICAL SOURCE OF CONTAMINANT |
| Bromoform | N/A | 0.50 | N/D–N/D | N/D | ug/L |  |
| Tetrachloroethylene [PCE] | 5 | 60 | N/D-N/D | N/D | ug/L | Discharge from factories, dry cleaners and auto shops (metal degreaser) |
| RADIOACTIVITY | MCL | PHG (MCLG) | RANGE LOW-HIGH | AVERAGE DETECTED | UoM | TYPICAL SOURCE OF CONTAMINANT |
| Gross Alpha | 15 pCi/L | N/A | 1.08-1.94 | 1.55 | pCi/L | Erosion of natural and man-made deposits |
| Uranium | 20 pCi/L | N/A | N/D–< 0.67 | 0.52 | pCi/L | Erosion of natural deposits |

Abbreviation Key

MCL – Maximum Contaminant Level 	N/A – Not Applicable 	AL – Action Level

MCLG – Maximum Contaminant Level Goal 	pCi/L – Picocuries per Liter 	umho/cm – Micromhos per Centimeter

mg/L – Milligrams per Liter or parts per million	N/D – Non-Detect 	NTU – Nephelometric Turbidity

ug/L – Micrograms per Liter or parts per billion	PHG – Public Health Goal	TON – Threshold odor number

UoM – Unit of Measurement	ng/L – Nanoggrams per liter (or parts per trillion ppt)

|  | City of Chowchilla Domestic Water Wells |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | 29 Per-and Polyfluoroalkyl Substances (PFAS) Compounds |  |  |  |  |  |  |
| Sample Date | 12/17/2025 | 12/18/2023 | 12/17/2025 | 2/10/2025 | 12/17/2025 | 12/17/2025 |  |
| PFAS Short Chain | WELL 1A | WELL 3 | WELL 5A | WELL 10 | WELL 11 | WELL 14 |  |
| 11CI-PF3OUdS | N/D | N/D | N/D | N/D | N/D | N/D |  |
| 9CI-PF3ONS | N/D | N/D | N/D | N/D | N/D | N/D |  |
| ADONA | N/D | N/D | N/D | N/D | N/D | N/D |  |
| HFPO-DA | N/D | N/D | N/D | N/D | N/D | N/D |  |
| NFDHA | N/D | N/D | N/D | N/D | N/D | N/D |  |
| PFBA | N/D | N/D | N/D | N/D | N/D | N/D |  |
| PFBS | N/D | N/D | N/D | N/D | N/D | N/D |  |
| 8:2 FTS | N/D | N/D | N/D | N/D | N/D | N/D |  |
| PFDA | N/D | N/D | N/D | N/D | N/D | N/D |  |
| PFDoA | N/D | N/D | N/D | N/D | N/D | N/D |  |
| PFEESA | N/D | N/D | N/D | N/D | N/D | N/D |  |
| PFHpS | N/D | N/D | N/D | N/D | N/D | N/D |  |
| PFHpA | N/D | N/D | N/D | N/D | N/D | N/D |  |
| 4:2 FTS | N/D | N/D | N/D | N/D | N/D | N/D |  |
| PFHxS | N/D | N/D | N/D | N/D | N/D | N/D |  |
| PFHxA | N/D | N/D | N/D | N/D | N/D | N/D |  |
| PFMPA | N/D | N/D | N/D | N/D | N/D | N/D |  |
| PFMBA | N/D | N/D | N/D | N/D | N/D | N/D |  |
| PFNA | N/D | N/D | N/D | N/D | N/D | N/D |  |
| 6:2 FTS | N/D | N/D | N/D | N/D | N/D | N/D |  |
| PFOS | N/D | N/D | 3.9 ng/L | 2.7 ng/L | N/D | N/D | Below MCL |
| PFOA | N/D | N/D | 3.5 ng/L | 2.5 ng/L | N/D | N/D | Below MCL |
| PFPeA | N/D | N/D | N/D | N/D | N/D | N/D |  |
| PFPeS | N/D | N/D | N/D | N/D | N/D | N/D |  |
| PFUnDA | N/D | N/D | N/D | N/D | N/D | N/D |  |
| PFAS by LC-MS/MS | WELL 1A | WELL 3 | WELL 5A | WELL 10 | WELL 11 | WELL 14 |  |
| NEtFOSAA | N/D | N/D | N/D | N/D | N/D | N/D |  |
| NMeFOSAA | N/D | N/D | N/D | N/D | N/D | N/D |  |
| PFTDA | N/D | N/D | N/D | N/D | N/D | N/D |  |
| PFTrDA | N/D | N/D | N/D | N/D | N/D | N/D |  |