  - 2018 Consumer Confidence Report

| Water System Name: | Le Grand C.S.D. | Report Date: | 04/22/19 |
| --- | --- | --- | --- |

We test the drinking water quality for many constituents as required by state and federal regulations.  This report shows the results of our monitoring for the period of January 1 - December 31, 2018 and may include earlier monitoring data.

Este informe contiene información muy importante sobre su agua para beber.                                                                             Favor de comunicarse Le Grand CSD a (209) 389-4173 para asistirlo en español.

| Type of water source(s) in use: | Groundwater Wells |
| --- | --- |
| Name & general location of source(s): | Well #1A (West Cook & Murdock) and Well #4 (Filmore Ct.) - Le Grand, CA |
| Drinking Water Source Assessment information: | Completed in April of 2003 - see last page |
| Time and place of regularly scheduled board meetings for public participation: Second Thursday of month at 6:00pm @ 13038 Jefferson St. - Le Grand, CA |
| For more information, contact: | Le Grand C.S.D. | Phone: | (209) 389-4173 |
| TERMS USED IN THIS REPORT |
| Maximum Contaminant Level (MCL): The highest level of a contaminant that is allowed in drinking water. Primary MCLs are set as close to the PHGs (or MCLGs) as is economically and technologically feasible. Secondary MCLs are set to protect the odor, taste, and appearance of drinking water. Maximum Contaminant Level Goal (MCLG): The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs are set by the U.S. Environmental Protection Agency (USEPA). Public Health Goal (PHG): The level of a contaminant in drinking water below which there is no known or expected risk to health. PHGs are set by the California Environmental Protection Agency. Maximum Residual Disinfectant Level (MRDL): The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants. Maximum Residual Disinfectant Level Goal (MRDLG): The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants. Primary Drinking Water Standards (PDWS): MCLs and MRDLs for contaminants that affect health along with their monitoring and reporting requirements, and water treatment requirements. | Regulatory Action Level (AL): The concentration of a contaminant which, if exceeded, triggers treatment or other requirements that a water system must follow. Secondary Drinking Water Standards (SDWS): MCLs for contaminants that affect taste, odor, or appearance of the drinking water. Contaminants with SDWSs do not affect the health at the MCL levels. Treatment Technique (TT): A required process intended to reduce the level of a contaminant in drinking water. Level 1 Assessment: A Level 1 assessment is a study of the water system to identify potential problems and determine (if possible) why total coliform bacteria have been found in our water system. Level 2 Assessment: A Level 2 assessment is a very detailed study of the water system to identify potential problems and determine (if possible) why an E. coli MCL violation has occurred and/or why total coliform bacteria have been found in our water system on multiple occasions. Variances and Exemptions: State Board permission to exceed an MCL or not comply with a treatment technique under certain conditions. ND: not detectable at testing limit ppm: parts per million or milligrams per liter (mg/L) ppb: parts per billion or micrograms per liter (µg/L) ppt: parts per trillion or nanograms per liter (ng/L) ppq: parts per quadrillion or picogram per liter (pg/L) pCi/L: picocuries per liter (a measure of radiation) |

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

- Microbial contaminants, such as viruses and bacteria, that may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

- Inorganic contaminants, such as salts and metals, that can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

- Pesticides and herbicides, that may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

- Organic chemical contaminants, including synthetic and volatile organic chemicals, that are by-products of industrial and petroleum production, and can also come from gas stations, urban stormwater runoff, agricultural application, and septic systems.

- Radioactive contaminants, that can be naturally-occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, the USEPA and the State Water Resources Control Board (State Board) prescribe regulations that limit the amount of certain contaminants in water provided by public water systems.  State Board regulations also establish limits for contaminants in bottled water that provide the same protection for public health.

Tables 1, 2, 3, 4, 5, and 6 list all of the drinking water contaminants that were detected during the most recent sampling for the constituent.  The presence of these contaminants in the water does not necessarily indicate that the water poses a health risk.  The State Board allows us to monitor for certain contaminants less than once per year because the concentrations of these contaminants do not change frequently.  Some of the data, though representative of the water quality, are more than one year old.

| Table 1 – SAMPLING RESULTS SHOWING the detection of coliform bacteria |
| --- |
| Microbiological Contaminants | Highest No. of Detections | No. of Months in Violation | MCL | MCLG | Typical Source of Bacteria |
| Total Coliform Bacteria | (In a mo.) 0 | 0 | More than 1 sample in a month with a detection | 0 | Naturally present in the environment |
| Fecal Coliform or E. coli (State Total Coliform Rule) | (In the year) 0 | 0 | A routine sample and a repeat sample are total coliform positive, and one of these is also fecal coliform or E. coli positive | 0 | Human and animal fecal waste |
| E. coli (Federal Revised Total Coliform Rule) | (In the year) 0 | 0 | (a) | 0 | Human and animal fecal waste |
| (a) Routine and repeat samples are total coliform-positive and either is E. coli-positive or system fails to take repeat samples following E. coli-positive routine sample or system fails to analyze total coliform-positive repeat sample for E. coli. |
| table 2 – SAMPLING RESULTS SHOWING THE detection of Lead and copper |
| Lead and Copper (and reporting units) | Sample Date | No. of Samples Collected | 90th Percentile Level Detected | No. Sites Exceeding AL | AL | PHG | Typical Source of Contaminant |
| Lead (ppb) | 09/27/16 | 10 | < 5 | 0 | 15 | 0.2 | Internal corrosion of household water plumbing systems; discharges from industrial manufacturers; erosion of natural deposits |
| Copper (ppm) | 09/27/16 | 10 | 0.05 | 0 | 1.3 | 0.3 | Internal corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives |
| TAble 3 – SAMPLING RESULTS FOR sodium and hardness |
| Chemical or Constituent (and reporting units) | Sample Date | Average Level Detected | Range of Detections | MCL | PHG (MCLG) | Typical Source of Contaminant |
| Sodium (ppm) | 08/23/16 | 21 | 17 - 25 | None | None | Salt present in the water and is generally naturally occurring |
| Hardness (ppm) | 02/23/16 | 191 | 190 - 192 | None | None | Sum of polyvalent cations present in the water, generally magnesium and calcium, and are usually naturally occurring |

*Any violation of an MCL or AL is asterisked.  Additional information regarding the violation is provided later in this report.

| TAble 4 – detection of contaminants with a Primary Drinking Water Standard |  |
| --- | --- |
| Chemical or Constituent (and reporting units) | Sample Date | Average Level Detected | Range of Detections | MCL [MRDL] | PHG (MCLG) [MRDLG] | Typical Source of Contaminant |  |
| Nitrate as Nitrogen (ppm) | 05/15/18 | 3 | 1 - 4 | 10 | 10 | Runoff and leaching from fertilizer use; leaching from septic tanks and sewage; erosion of natural deposits |  |
| 1,2,3-Trichloropropane [TCP] (ppb) | 2018 | < 0.005 | < 0.005 - 0.011* | 0.005 | 0.0007 | Past use of soil fumigants that contained TCP as an impurity. |  |
| Arsenic (ppb) | 02/23/16 | 8 | 6 - 10 | 10 | 0.004 | Erosion of natural deposits; runoff from orchards; glass and electronics production wastes |  |
| Barium (ppm) | 02/23/16 | 0.1 | 0.1 - 0.3 | 1 | 2 | Discharge of oil drilling wastes and from metal refineries; erosion of natural deposits |  |
| TAble 5 – detection of contaminants with a Secondary Drinking Water Standard |  |
| Chemical or Constituent (and reporting units) | Sample Date | Average Level Detected | Range of Detections | MCL | PHG (MCLG) | Typical Source of Contaminant |  |
| Total Dissolved Solids (ppm) | 08/23/16 | 195 | 186 - 204 | 1000 | N/A | Runoff/leaching from natural deposits |  |
| Specific Conductance (umho/cm) | 2016 | 325 | 306 - 347 | 1600 | N/A | Substances that form ions when in water; seawater influence |  |
| Chloride (ppm) | 08/23/16 | 6 | 5 - 8 | 500 | N/A | Runoff/leaching from natural deposits; seawater influence |  |
| Sulfate (ppm) | 08/23/16 | 16 | 11 - 22 | 500 | N/A | Runoff/leaching from natural deposits’ industrial wastes |  |
| Manganese (ppb) | 02/23/16 | 25 | < 20 - 49 | 50 | NA | Leaching from natural deposits |  |
| Iron (ppb) | 08/23/16 | 115 | < 100 - 230 | 300 | N/A | Leaching from natural deposits; industrial wastes |  |
| Turbidity (NTU) | 02/23/16 | < 0.05 | < 0.05 - 0.07 | 5 | NA | Soil runoff |  |
|  | TABLE 6 - DETECTION OF ADDITIONAL CONTAMINANTS |
|  | Chemical or Constituent (and reporting units) | Sample Date | Range of Detections | MCL (Notification) | Health Effects Language |
|  | Distribution System Chlorine Residual (ppm) | 2018 | < 0.05 - 1.1 | (4) | Some people who use water containing chlorine well in excess of the MRDL could experience irritating effects to their eyes and nose. Some people who drink water containing chlorine well in excess of the MRDL could experience stomach discomfort. |

*Any violation of an MCL or AL is asterisked.  Additional information regarding the violation is provided on the next page

Additional General Information on Drinking Water

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.                        The presence of contaminants does not necessarily indicate that the water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the USEPA’s Safe Drinking Water Hotline (1-800-426-4791).

Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. USEPA/Centers for Disease Control (CDC) guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline.

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing.  Le Grand C.S.D. is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components.  When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking.  If you are concerned about lead in your water, you may wish to have your water tested.  Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead.

While your drinking water meets the current EPA standard for arsenic, it does contain low levels of arsenic.  The standard balances the current understanding of arsenic's possible health effects against the cost of removing arsenic from drinking water.  The U.S. Environmental Protection Agency continues to research the health effects of low levels of arsenic, which is a mineral known to cause cancer in humans at high concentrations and is linked to other health effects such as skin damage and other circulatory problems.

This Consumer Confidence Report (CCR) reflects changes in drinking water regulatory requirements during 2018.  All water systems are required to comply with the state Total Coliform Rule.  Beginning April 1, 2016, all water systems are also required to comply with the federal Revised Total Coliform Rule.  The new federal rule maintains the purpose to protect public health by ensuring the integrity of the drinking water distribution system and monitoring for the presence of microbials (i.e., total coliform and E. coli bacteria).  The U.S. EPA anticipates greater public health protection as the new rule requires water systems that are vulnerable to microbial contamination to identify and fix problems.  Water systems that exceed a specified frequency of total coliform occurrences are required to conduct an assessment to determine if any sanitary defects exist.  If found, these must be corrected by the water system.

Summary Information for Contaminants Exceeding an MCL or AL, or a Violation                                                      of any Treatment or Monitoring and Reporting Requirements

In 2018, 1,2,3-Trichloropropane (1,2,3-TCP) was detected at Well #1A above the 0.005 ppb maximum contaminant  level (“MCL”).   The annual average for 1,2,3-TCP for both wells was below the MCL.  We will continue testing for TCP at both wells.  Some people who drink water containing 1,2,3-TCP in excess of the MCL over many years may have an increased risk of getting cancer.

Vulnerability Assessment Summary

A source water assessment was conducted for Well #1A and Well #4 of the Le Grand Community Services District water system in April of 2003.  Well #1A considered most vulnerable to the following activities not associated with any detected contaminants:  automobile - gas stations, and historic gas stations.  A trigger report from the Water Quality Inquiry (WQI) was run and arsenic was the only constituent of concern.  Although it can be from various possible contaminating activities, the arsenic is believed to be naturally occurring.  It is the lead water supply well for the system.  The PCA inventory indicates Well #1A is most vulnerable to automobile gas stations, but there have been no confirmed detections of organic chemicals associated with this type of activity.

Well #4 is considered most vulnerable to the following activities not associated with any detected contaminants:  septic systems - high density.  A trigger report from the Water Quality Inquiry (WQI) was run and arsenic, iron and manganese were constituents of concern.  Although it can be from various possible contaminating activities, the arsenic is believed to be naturally occurring.  The PCA inventory indicates Well #4 is most vulnerable to septic tank systems.  The well has low nitrate levels and is the deepest well.  It is the secondary system well and is operated during the high demand summer months.  For more information regarding the assessment summary, contact Le Grand C.S.D. at:  (209) 389-4173.