I’SOT
2020
 Water Quality Consumer Confidence Report

Public Water System Number #2500911
Este informe contiene informacion muy importante sobre su agua beber.

Traduzcalo o hable con alguien que lo entienda bien.

For additional information concerning your drinking water, contact Leo Nerbonne at 233-5151.

Water for I’SOT Inc. water system originates from wells drawing from the Warm Springs Valley Sub-Basin,

known as Well #15  - Well #17 and Well #6.
Source Water Assessment Information:
California Department of Health Services conducted drinking water source assessments for the wells in April 2003.  The sources are considered most vulnerable to the following activities not associated with any detected contaminants:  lagoons/liquid wastes, NPDES/WDR permitted discharges, septic systems – low density, sewer collection systems, wells – oil, gas, geothermal,  automobile gas stations, historic gas stations, and boat services/repair/refinishing.  The complete assessment may be viewed by contacting Leo Nerbonne at 530-640-0782.

Definitions of some of the terms used in this report:
Maximum Contaminant Level (MCL):  The highest level of a contaminant that is allowed in drinking water.  Primary MCLs are set as close to the PHGs (or MCLGs) as is technologically, and economically feasible.  Secondary MCLs are set to protect the odor, taste, and appearance of drinking water.

Primary Drinking Water Standards (PDWS):  MCLs for contaminants that affect health along with their monitoring and reporting requirements, and surface water treatment requirements.

Public Health Goal (PHG):  The level of a contaminant in drinking water below which there is no known or expected risk to health.  PHGs are set by the California Environmental Protection Agency.

Maximum Contaminant Level Goal (MCLG):  The level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs are set by the Federal Environmental Protection Agency (USEPA).

Regulatory Action (AL):  The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

Maximum Residual Disinfectant Level (MRDL):  The level of a disinfectant added for water treatment that may not be exceeded at the consumer’s tap.

Maximum Residual Disinfectant Level Goal (MRDLG): The level of a disinfectant added for water treatment below which there is no known or expected risk to health.  MRDLGs are set by the U.S. Environmental Protection Agency.

ppb: parts per billion or micrograms per liter;     ppm: parts per million or milligrams per liter
ND: non detectable at testing limit ;                     TDS: Total Dissolved Solids

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

· Microbial contaminants, such as viruses and bacteria, that may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

· Inorganic contaminants, such as salts and metals, that can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

· Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

· Organic chemical contaminants, including synthetic and volatile organic chemicals, that are byproducts of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, and septic systems. 

· Radioactive contaminants, which can be naturally-occurring or be the result of oil and gas production and mining activities.

General Information on Drinking Water:
All drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that the water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the USEPA’s Safe Drinking Water Hotline at 1‑800‑426‑4791.

Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly individuals, and infants can be particularly at risk from infections.  These people should seek advice about drinking water from their health care providers.  The USEPA/Center for Disease Control guidelines on appropriate means to lessen the risk of infection by cryptosporidium and other microbiological contaminants are available from the Safe Drinking Water Hotline at 1-800-426-4791.

Water Quality Data

Microbiological Water Quality:
Testing for bacteriological contaminants in the distribution system is required by State regulations.  This testing is done regularly to verify that the water system is free from coliform bacteria.  The minimum number of tests required per month is one.  In our distribution system, we test the water once per month for coliform bacteria.  The highest number of samples found to contain coliform bacteria during any one month was none in 2020.

Lead & Copper Testing Results:
Lead & copper testing of water from individual taps in the distribution system is required by State regulations.  The table below summarizes the most recent sampling for lead and copper.
	Lead and Copper
	Year Tested
	Number of samples collected
	Number of samples required
	90th Percentile Result
	Action Level

	Lead (ppb)
	2018
	5
	5
	ND
	15

	Copper (ppm)
	2018
	5
	5
	0.0559
	1.30


Chemical sampling results showing Detected contaminants
The following tables list all detected chemicals in our water during the most recent sampling.  Please note that not all sampling is required annually so in some cases our results are more than one year old.
	Contaminants with Primary MCLs

	Chemical Detected
	Source
	Year Tested
	Level Detected
	MCL
	PHG or (MCLG)
	Origin

	Fluoride (ppm)
	Well #15

Well #17

Well #6
	2017
2014
2010
	0.20
0.4
 0.17
	2
	1
	Erosion of natural deposits; water additive which promotes strong teeth; discharge from fertilizer and aluminum factories

	Arsenic (ppb)
	Well #15

Well #6

Well #17
	2017
2010

2014
	ND
ND

ND
	50
	0.004
	Erosion of natural deposits; runoff from orchards; glass and electronics production wastes

	Contaminants with Secondary MCLs

	Chemical Detected
	Source
	Year Tested
	Level Detected
	Secondary MCL
	Origin

	Chloride (ppm)
	Well #15

Well # 17
	2017
2014
	8.7
24.6
	500
	Naturally occurring

	Hardness (ppm)
	Well #15

Well #17
	2017
2014
	49
ND
	None
	Naturally occurring

	Iron (ppb)
	Well#15

Well#17
	2017
2014
	589
140
	300
	Naturally occurring

	Manganese (ppb)
	Well #15

Well #17
	2017
2014
	245
ND
	50
	Erosion of natural deposits

	Sodium (ppm)
	Well #15

Well #17
	2017
2014
	61
115
	None
	Naturally occurring

	Sulfate (ppm)
	Well #15

Well #17
	2017
2014
	28.1
33.9
	500
	Naturally occurring

	Unregulated contaminants

	Chemical Detected
	Source
	Year Tested
	Level Detected
	Action Level
	Origin

	Boron (ppb)
	Well #15

Well #17
	2003

2003
	1330

973
	1000 advisory
	Naturally occurring

	Disinfectant Residuals

	Chemical Detected
	Source
	Year Tested
	Level Detected
	MRDL
	MRDLG
	Origin

	Chlorine (ppm)
	Distribution
	2014
	ND - 1
	4.0
	4
	Drinking water disinfectant added for treatment


, “In addition to the listed chemicals, we have tested for over fifty other chemicals, none of which were detected.”
