Consumer Confidence Report
Page 6 of 6

2021 Consumer Confidence Report

	Water System Name:
	North Shore MHE W/S  CA270-2256
	Report Date:
	06-26-2022


We test the drinking water quality for many constituents as required by state and federal regulations.  This report shows the results of our monitoring for the period of January 1 - December 31, 2021.
Este informe contiene información muy importante sobre su agua potable.  Tradúzcalo ó hable con alguien que lo entienda bien.

	Type of water source(s) in use:  
	Groundwater

	Name & location of source(s):  
	Two Wells located within the property

	

	

	Drinking Water Source Assessment information:
	N/A

	

	Time and place of regularly scheduled board meetings for public participation:
	There no regularly scheduled Board 

	Meetings open to the public.

	For more information, contact: 
	Mike Christensen
	  Phone: 
	( 831 ) 601-6079

	

	TERMS USED IN THIS REPORT

	Maximum Contaminant Level (MCL): The highest level of a contaminant that is allowed in drinking water.  Primary MCLs are set as close to the PHGs (or MCLGs) as is economically and technologically feasible.  Secondary MCLs are set to protect the odor, taste, and appearance of drinking water.

Maximum Contaminant Level Goal (MCLG): The level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs are set by the U.S. Environmental Protection Agency (USEPA).

Public Health Goal (PHG): The level of a contaminant in drinking water below which there is no known or expected risk to health.  PHGs are set by the California Environmental Protection Agency.

Maximum Residual Disinfectant Level (MRDL):  The highest level of a disinfectant allowed in drinking water.  There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.
Maximum Residual Disinfectant Level Goal (MRDLG): The level of a drinking water disinfectant below which there is no known or expected risk to health.  MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.
	Primary Drinking Water Standards (PDWS): MCLs and MRDLs for contaminants that affect health along with their monitoring and reporting requirements, and water treatment requirements.

Secondary Drinking Water Standards (SDWS):  MCLs for contaminants that affect taste, odor, or appearance of the drinking water.  Contaminants with SDWSs do not affect the health at the MCL levels.

Treatment Technique (TT):  A required process intended to reduce the level of a contaminant in drinking water.

Regulatory Action Level (AL): The concentration of a contaminant which, if exceeded, triggers treatment or other requirements that a water system must follow.

Variances and Exemptions:  Department permission to exceed an MCL or not comply with a treatment technique under certain conditions.

ND: not detectable at testing limit  

ppm: parts per million or milligrams per liter (mg/L)

ppb: parts per billion or micrograms per liter (ug/L)
ppt: parts per trillion or nanograms per liter (ng/L) 

ppq: parts per quadrillion or picogram per liter (pg/L)

pCi/L: picocuries per liter (a measure of radiation)


The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

· Microbial contaminants, such as viruses and bacteria, that may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

· Inorganic contaminants, such as salts and metals, that can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

· Pesticides and herbicides, that may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

· Organic chemical contaminants, including synthetic and volatile organic chemicals, that are by-products of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, agricultural application, and septic systems.

· Radioactive contaminants, that can be naturally-occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, the USEPA and the state Department of Public Health (Department) prescribe regulations that limit the amount of certain contaminants in water provided by public water systems.  Department regulations also establish limits for contaminants in bottled water that provide the same protection for public health.

Tables 1, 2, 3, 4, 5, 7, and 8 list all of the drinking water contaminants that were detected during the most recent sampling for the constituent.  The presence of these contaminants in the water does not necessarily indicate that the water poses a health risk.  The Department allows us to monitor for certain contaminants less than once per year because the concentrations of these contaminants do not change frequently.  Some of the data, though representative of the water quality, are more than one year old.

	Table 1 – SAMPLING RESULTS SHOWING the detection of coliform bacteria

	Microbiological Contaminants

(complete if bacteria detected)
	Highest No. of Detections
	No. of months in violation
	MCL
	 MCLG
	Typical Source of Bacteria

	Total Coliform Bacteria
	(In a mo.)


	0
	More than 1 sample in a month with a detection
	0
	Naturally present in the environment

	Fecal Coliform or E. coli
	(In the year)


	0
	A routine sample and a repeat sample detect total coliform and either sample also detects fecal coliform or E. coli
	0
	Human and animal fecal waste

	Table 2 – SAMPLING RESULTS SHOWING THE detection of Lead and copper

	Lead and Copper

(complete if lead or copper detected in the last sample set)
	No. of samples collected
	90th percentile level detected
	No. sites exceeding AL
	AL
	PHG
	Typical Source of Contaminant

	Lead (ppb)
08-09-21
	5
	ND
	0
	15
	0.2
	Internal corrosion of household water plumbing systems; discharges from industrial manufacturers; erosion of natural deposits

	Copper (ug/L)
08-09-21
	5
	     ND
	0
	1300
	0.3
	Internal corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives

	TAble 3 – SAMPLING RESULTS FOR sodium and hardness

	Chemical or Constituent (and reporting units)
	Sample Date
	Level Detected
	Range of Detections
	MCL
	PHG

(MCLG)
	Typical Source of Contaminant

	Sodium (ppm)
	11-30-16
	32
	32
	none
	none
	Salt present in the water and is generally naturally occurring

	Hardness (ppm)
	11-30-16
	    600
	      600
	none
	none
	Sum of polyvalent cations present in the water, generally magnesium and calcium, and are usually naturally occurring


*Any violation of an MCL or AL is asterisked.  Additional information regarding the violation is provided later in this report.

	TAble 4 – detection of contaminants with a Primary Drinking Water Standard

	Chemical or Constituent
(and reporting units)
	Sample Date
	Level Detected
	Range of Detections
	MCL
[MRDL]
	PHG
(MCLG)
[MRDLG]
	Typical Source of Contaminant

	Selenium(ug/L)
	01-30-16
	N.D,
	N.D.
	50
	N/A
	Discharge from Petroleum glass, and metal refineries; erosion of natural deposits; discharge from mines and chemical manufacturers; runoff  from feed lots (feed additive.

	Fluoride(mg/L)
	11-30-16
	.18
	.18
	2
	1
	Erosion of natural deposits; water additive that promotes strong teeth; discharge from fertilizer and aluminum  factories.

	Arsenic(ug/L)
	11-30-16
	N.D.
	N.D.
	10
	.000004
	Erosion of natural deposits; runoff from orchards; glass and electronics production wastes.

	Nitrate As N
	11-10-21
	2.5
	2.5
	
	
	Runoff and leaching from fertilizer use;leaching from septic tanksand sewage; erosion of natural deposits.

	TAble 5 – detection of contaminants with a Secondary Drinking Water Standard

	Chemical or Constituent
(and reporting units)
	Sample Date
	Level Detected
	Range of Detections
	MCL
	PHG
(MCLG)
	Typical Source of Contaminant

	 Sulfate   (ppm)
	11-30-16
	260   
	260
	 500
	   N/A
	 Runoff/leaching from natural deposits; industrial wastes,

	 Chloride  (ppm)
	 11-30-16
	31 
	31
	500 
	   N/A
	 Runnoff/leaching from natural deposits; sea water influence,

	Total Dissolved Solids
                 (mg/L)
	 11-30-16
	850
	850
	1000 
	 N/A
	 Runoff/leachimg from natural deposits,

	Specific Conductance(EC)
        (uS/cm
	11-30-16
	1200  
	1200
	1600
	N/A
	 Substances that form ions when in water; sea water influence.

	Color(Color Units)
	11-30-16
	4.0
	4.0
	     15
	N/A
	 Naturally-occurring organic material.

	 Turbidity(NTU)
	 11-30-16
	1.1 
	1.1
	N/A
	 N/A
	 Soil Runoff.

	 Iron(ug/L)
	 11-30-16
	     310 
	310
	300 
	 300
	 

	 Manganese(ug/L)
	 11-30-16
	 110
	110
	 50
	 50
	 

	TAble 6 – detection of UNREGULATED CONTAMINANTS

	Chemical or Constituent
(and reporting units)
	Sample Date
	Level Detected
	Range of Detections
	Notification Level
	Health Effects Language

	
	
	
	
	
	

	
	
	
	
	
	


*Any violation of an MCL, MRDL, or TT is asterisked.  Additional information regarding the violation is provided later in this report.

Additional General Information on Drinking Water

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that the water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the USEPA’s Safe Drinking Water Hotline (1-800-426-4791).

Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. USEPA/Centers for Disease Control (CDC) guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (1-800-426-4791).

	N/A

	

	

	

	

	


Summary Information for Violation of a MCL, MRDL, AL, TT, 
or Monitoring and Reporting Requirement

	VIOLATION OF A MCL, MRDL, AL, TT, OR MONITORING AND REPORTING REQUIREMENT

	Violation
	Explanation
	Duration
	Actions Taken to Correct the Violation
	Health Effects Language

	N/A
	
	
	
	

	
	
	
	
	


For Water Systems Providing Ground Water as a Source of Drinking Water
	TAble 7 – SAMPLING RESULTS SHOWING
feCal indicator-positive ground water source samples

	Microbiological Contaminants

(complete if fecal-indicator detected)
	Total No. of Detections
	Sample
 Dates
	MCL
[MRDL]
	PHG
(MCLG)
[MRDLG]
	Typical Source of Contaminant

	E. coli
	(In the year)
	
	0
	(0)
	Human and animal fecal waste

	Enterococci
	(In the year)
	
	TT
	n/a
	Human and animal fecal waste

	Coliphage
	(In the year)
	
	TT
	n/a
	Human and animal fecal waste


Summary Information for Fecal Indicator-Positive Ground Water Source Samples,
Uncorrected Significant Deficiencies, or Ground Water TT 
	SPECIAL NOTICE OF FECAL INDICATOR-POSITIVE GROUND WATER SOURCE SAMPLE

	N/A

	

	

	

	

	SPECIAL NOTICE FOR UNCORRECTED SIGNIFICANT DEFICIENCIES

	N/A

	

	

	

	

	VIOLATION OF GROUND WATER TT

	TT Violation
	Explanation
	Duration
	Actions Taken to Correct the Violation
	Health Effects Language

	N/A
	
	
	
	

	
	
	
	
	


For Systems Providing Surface Water as a Source of Drinking Water

	Table 8 - sampling results showing TREATMENT OF  SURFACE WATER SOURCES

	Treatment Technique (a)
(Type of approved filtration technology used)
	

	Turbidity Performance Standards (b)
(that must be met through the water treatment process)
	Turbidity of the filtered water must:

1 – Be less than or equal to _____ NTU in 95% of measurements in a month.

2 – Not exceed _____ NTU for more than eight consecutive hours.

3 – Not exceed ____ NTU at any time.

	Lowest monthly percentage of samples that met Turbidity Performance Standard No. 1.
	

	Highest single turbidity measurement during the year
	

	Number of violations of any surface water treatment requirements
	


(a)
A required process intended to reduce the level of a contaminant in drinking water.

(b)
Turbidity (measured in NTU) is a measurement of the cloudiness of water and is a good indicator of water quality and filtration performance.  Turbidity results which meet performance standards are considered to be in compliance with filtration requirements.

* Any violation of a TT is marked with an asterisk.  Additional information regarding the violation is provided below.
Summary Information for Violation of a Surface Water TT
	VIOLATION OF A SURFACE WATER TT

	TT Violation
	Explanation
	Duration
	Actions Taken to Correct the Violation
	Health Effects Language

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	


Summary Information for Operating Under a Variance or Exemption 
	

	

	

	

	

	



