2020 Consumer Confidence Report

Circle Oaks County Water District

2020

The Circle Oaks County Water District routinely monitors for contaminates in your drinking water according to federal and state requirements. We are pleased to report that our drinking water is safe and meets all federal and state requirements.

Circle Oaks County Water District works around the clock to provide top quality water to every tap. We ask that all our consumers help us protect our water sources, which are the heart of our community, our way of life, and our children's future. For the safely of the public and the water sources no trespassing will not be tolerated on any district property or facilities. This is to include the well sites, springs, treatment plant, piping, and fire hydrants. Please report and concerns, unusual activity, or trespassing to the District Office or the Napa County Sheriff.

We want our customers to be informed about their water utility. If you wish to learn more, please attend any of our regularly scheduled Board of Directors Meetings. The Board normally holds meetings on the 2nd Wednesday of every month at 6:45pm.

All meetings convene in the Circle Oaks Water District Office at:

380 Circle Oaks Dr.

Napa, Ca 94558.

District business such as billing, payments, permits, policies, ordinances, and other general administrative matters may be addressed by calling Paul Quarneri at the district office, (707) 254-7796.

Este informe contiene informacion muy importante sobre su agua potable. Traduzaco o hable con Alguien que to entienda bien.

| TERMS USED IN THIS REPORT |  |
| --- | --- |
| Maximum Contaminant Level (MCL): The highest level of a contaminant that is allowed in drinking water. Primary MCLs are set as close to the PHGs (or MCLGs) as is economically and technologically feasible. Secondary MCLs are set to protect the odor, taste, and appearance of drinking water Maximum Contaminant Level Goal (MCLG): The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs are set by the U.S. Environmental Protection Agency (USEPA). Public Health Goal (PHG): The level of a contaminant in drinking water below which there is no known or expected risk to health. PHGs are set by the California Environmental Protection Agency. Maximum Residual Disinfectant Level (MRDL): The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants. Maximum Residual Disinfectant Level Goal (MRDLG): The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants. Treatment Technique (TT): A required process intended to reduce the level of a contaminant in drinking water. | Primary Drinking Water Standards (PDWS): MCLs and MRDLs for contaminants that affect health along with their monitoring and reporting requirements, and water treatment requirements. Secondary Drinking Water Standards (SDWS): MCLs for contaminants that affect taste, odor, or appearance of the drinking water. Contaminants with SDWSs do not affect the health at the MCL levels. Regulatory Action Level (AL): The concentration of a contaminant which, if exceeded, triggers treatment or other requirements that a water system must follow. Variances and Exemptions: State Board permission to exceed an MCL or not comply with a treatment technique under certain conditions. ND: not detectable at testing limit ppm: parts per million or milligrams per liter (mg/L) ppb: parts per billion or micrograms per liter (µg/L) ppt: parts per trillion or nanograms per liter (ng/L) ppq: parts per quadrillion or picogram per liter (pg/L) pCi/L: picocuries per liter (a measure of radiation) Turbidity: (measured in NTU) is a measurement of the cloudiness of water and is a good indicator of water quality and filtration performance. Turbidity results which meet performance standards are considered to be in compliance with filtration requirements. |

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

- Microbial contaminants, such as viruses and bacteria, that may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

- Inorganic contaminants, such as salts and metals, that can be naturally-occurring or result from urban storm-water runoff, industrial or domestic waste-water discharges, oil and gas production, mining, or farming.

- Pesticides and herbicides, that may come from a variety of sources such as agriculture, urban storm water runoff, and residential uses.

- Organic chemical contaminants, including synthetic and volatile organic chemicals, that are by-products of industrial processes and petroleum production, and can also come from gas stations, urban storm-water runoff, agricultural application, and septic systems.

- Radioactive contaminants, that can be naturally-occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, the USEPA and the State Water Resources Control Board (State Board) prescribe regulations that limit the number of certain contaminants in water provided by public water systems.  State Board regulations also establish limits for contaminants in bottled water that provide the same protection for public health.

Tables 1, 2, 3, 4, 5, 7, and 8 list all of the raw water contaminants that were detected during the most recent sampling for the constituent.  The presence of these contaminants in the water does not necessarily indicate that the water poses a health risk.

| Table 1 – SAMPLING RESULTS SHOWING the detection of cruciform bacteria |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Microbiological Contaminants (complete if bacteria detected) | Highest No. of Detections | No. of months in violation |  |  | MCL |  | MCLG | Typical Source of Bacteria |
| Total Coliform Bacteria | 0 | 0 |  |  | More than 1 sample in a month with a detection |  | 0 | Naturally present in the environment |
| Fecal Coliform or E. coli | 0 | 0 |  |  | A routine sample and a repeat sample detect total coliform and either sample also detects fecal coliform or E. coli |  | 0 | Human and animal fecal waste |
| Table 2 – SAMPLING RESULTS SHOWING THE detection of Lead and copper |  |  |  |  |  |  |  |  |
| Lead and Copper (complete if lead or copper detected in the last sample set) | Date | No. of samples collected | 90th percentile level detected |  | No. sites exceeding AL | AL | PHG | Typical Source of Contaminant |
| Lead (ppb) | 07/31/19 | 10 | 1.2 ug/L |  | 0 | 15 ug/L | 2 ug/L | Internal corrosion of household water plumbing systems; discharges from industrial manufacturers; erosion of natural deposits |
| Copper (ppm) | 07/31/19 | 10 | ND ug/L |  | 0 | 1300 ug/L | 300 ug/L | Internal corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives |
| Table 3 – SAMPLING RESULTS FOR sodium and hardness In raw water sources |  |  |  |  |  |  |  |  |
| Chemical or Constituent (and reporting units) | Sample Date | Level Detected |  | Range of Detections |  | MCL | PHG (MCLG) | Typical Source of Contaminant |
| Sodium (ppm) | 07/23/19 | 9.8 |  | NA |  | none | none | Salt present in the water and is generally naturally occurring |
| Hardness (ppm) | 7/23/19 | 71 |  | NA |  | none | none | Sum of polyvalent cations present in the water, generally magnesium and calcium, and are usually naturally occurring |

| Table 4 – detection of contaminants in raw water sources with a Primary Drinking Water Standard |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Chemical or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL [MRDL] | PHG (MCLG) [MRDLG] | Typical Source of Contaminant |
| Arsenic (ppb) | 07/23/19 | 4.1 | NA | 10 | N/A | Erosion from natural deposits. |

| Table 5 – detection of contaminants in raw water sources with a Secondary Drinking Water Standard |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Chemical or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL | PHG (MCLG) | Typical Source of Contaminant |
| *Iron (ppb) | 07/23/19 | 9300 | N/A | 300 | N/A | Leaching from natural deposits. |
| Sulfate (ppm) | 07/23/19 | 45 | N/A | 500 | N/A | Runoff/leaching from natural deposits. |
| Total Dissolved Solids (ppm) | 07/23/19 | 220 | N/A | 1000 | N/A | Runoff/leaching from natural deposits. |
| *Color (units) | 07/23/19 | 65 | N/A | 15 | N/A | Naturally occurring organic material |
| Manganese (ppb) | 07/23/19 | 0.61 | N/A | 50 | N/A | Leaching from natural deposits. |
| Specific Conductance (umhos) | 07/23/19 | 210 | N/A | 1600 | N/A | Substances that form iron when in water; seawater influence. |
| Odor Threshold (TON) | 07/23/19 | 1.0 | N/A | 3 | N/A | Naturally occurring organic material |
| *Turbidity (NTU) | 07/23/19 | 39 | N/A | 5 | N/A | Soil Runoff |
| Table 6 – detection of UNREGULATED CONTAMINANTS |  |  |  |  |  |  |
| Chemical or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | Notification Level |  | Health Effects Language |
| None |  |  |  |  |  |  |

*Any violation of an MCL, MRDL, or TT is asterisked.  Additional information regarding the violation is provided later in this report.

Additional General Information on Drinking Water

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that the water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the USEPA’s Safe Drinking Water Hotline (1-800-426-4791).

Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. USEPA/Centers for Disease Control (CDC) guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (1-800-426-4791).

Lead-Specific Language for Community Water Systems:  If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. Circle Oaks County Water District is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components.  When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking.  If you are concerned about lead in your water, you may wish to have your water tested.  Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead.

For Systems Providing Surface Water as a Source of Drinking Water

| Table 7 - sampling results showing TREATMENT OF SURFACE WATER SOURCES |  |
| --- | --- |
| Treatment Technique (a) (Type of approved filtration technology used) | Conventional Filtration |
| Turbidity Performance Standards (b) (that must be met through the water treatment process) | Turbidity of the filtered water must: 1 – Be less than or equal to _0.3_ NTU in 95% of measurements in a month. 2 – Not exceed _1.0_ NTU for more than eight consecutive hours. 3 – Not exceed _5.0_ NTU at any time. |
| Lowest monthly percentage of samples that met Turbidity Performance Standard No. 1. | 100.00% |
| Number of violations of any surface water treatment requirements | 0 |

Summary Information for Violation of a MCL, MRDL, AL, TT, 
or Monitoring and Reporting Requirement

Iron, Color, Odor Threshold, and Turbidity exceeded the MCL limits. These samples are collected from the Raw Water Source before any treatment. The treatment process is designed to substantially reduce these products in the finished water. There are no PHGs, MCLGs, or mandatory standard health effects language for constituents with secondary drinking water standards because secondary MCLs are set on the basis of aesthetics

Raw Water Asterisked Secondary Chemicals or Contaminates

TABLE 8

| Chemical or Contaminate | Post Filtration Value | Explanation |
| --- | --- | --- |
| Iron | ND | Because our raw water is provided by underground water which has a large amount of iron naturally occurring in it. Although the raw, or “pre-treated” water has large amounts of iron, the filtration process we use removes a large majority if not all of this contaminate. After treatment the water being produced by our plant has a well below MCL regulation. |
| Color | ND (Clear) | Because our raw water is provided by underground water a large amount of naturally-occurring minerals, many of which add color to our raw or “pre-treated” water. Because of the filtration process we are proud to say the the water being produced by our plant is free and clear of all color. |
| Turbidity | < 0.3 Range 0.03-0.30 Average 0.17 | Turbidity is generally caused by the stirring up of contaminates like silt, dirt, and minerals during rain or when pumping/moving water. Although the turbidity is high during raw water testing, we are happy to say that after treatment our water is well below the MCL regulations. |