ANNUAL WATER QUALITY REPORT

For the year 2019

SYSTEM NAME: APPLE VALLEY VIEW MUTUAL WATER COMPANY

SYSTEMS LOCATION:  24288 SHOSHONE RD. APPLE VALLEY, CA. 92307

MAILING ADDRESS:  P. O. BOX 3680, APPLE VALLEY, CA. 92307

PHONE:     (760) 247-4217      CONTACT PERSON: JOE SALTMERIS/PRES.

MEETING:     ANNUAL STOCKHOLDERS MEETING

DATE:     SECOND WEEK OF SUNDAY IN JUNE                TIME: 1:00PM

LOCATION:      ___LONE WOLF COLONY________________

MEETING’S ADDRESS: 23200 BEAR VALLEY RD.  APPLE VALLEY, CA.

Este informe contiene información muy importante sobre su agua potable.  Tradúzcalo o hable

con alguien que lo entienda bien

TO OUR VALUE CUSTOMERS

We test the drinking water quality for many constituents as required by State and Federal Regulations.

I'm pleased to report that our drinking water is safe and meets Federal and State requirements.

This report shows the results of our monitoring for the period of January 1 – December 31, 2019.

We’re very pleased to provide you with this year's Annual Quality Water Report. We want to keep you informed about the

excellent water and services we have delivered to you over the past year. Our goal is and always has been, to provide to you

a safe and dependable supply of drinking water.

Your source of water supply is groundwater pumped out of two wells located at the South West end of Cahuilla Rd,

block 24000. The two wells are on the same well lot, within 200 feet of each other, at a dept of 450 feet.

| TERMS USED IN THIS REPORT |  |
| --- | --- |
| Maximum Contaminant Level (MCL): The highest level of a contaminant that is allowed in drinking water. Primary MCLs are set as close to the PHGs (or MCLGs) as is economically and technologically feasible. Secondary MCLs are set to protect the odor, taste, and appearance of drinking water. Maximum Contaminant Level Goal (MCLG): The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs are set by the U.S. Environmental Protection Agency (USEPA). Public Health Goal (PHG): The level of a contaminant in drinking water below which there is no known or expected risk to health. PHGs are set by the California Environmental Protection Agency. Maximum Residual Disinfectant Level (MRDL): The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants. Maximum Residual Disinfectant Level Goal (MRDLG): The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants. | Primary Drinking Water Standards (PDWS): MCLs and MRDLs for contaminants that affect health along with their monitoring and reporting requirements, and water treatment requirements. Secondary Drinking Water Standards (SDWS): MCLs for contaminants that affect taste, odor, or appearance of the drinking water. Contaminants with SDWSs do not affect the health at the MCL levels. Treatment Technique (TT): A required process intended to reduce the level of a contaminant in drinking water. Regulatory Action Level (AL): The concentration of a contaminant which, if exceeded, triggers treatment or other requirements that a water system must follow. Variances and Exemptions: State Board permission to exceed an MCL or not comply with a treatment technique under certain conditions. ND: not detectable at testing limit ppm: parts per million or milligrams per liter (mg/L) ppb: parts per billion or micrograms per liter (µg/L) ppt: parts per trillion or nanograms per liter (ng/L) ppq: parts per quadrillion or picogram per liter (pg/L) pCi/L: picocuries per liter (a measure of radiation) |

A source water assessment was conducted in December 13, 2018. The two wells have a DSWAP completed and determined that

they are most vulnerable to low density septic systems. The system appears to be in good condition and is well maintained

despite the high levels of fluoride detected in the groundwater sources.

Well site is secured and protected. To view this report, please contact our office.

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be in source water include:

- Microbial contaminants, such as viruses and bacteria, that may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

- Inorganic contaminants, such as salts and metals, that can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

- Pesticides and herbicides, that may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

- Organic chemical contaminants, including synthetic and volatile organic chemicals, that are byproducts of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, agricultural application, and septic systems.

- Radioactive contaminants, that can be naturally-occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, the U.S. EPA and the State Board prescribe regulations that limit the amount of certain contaminants in water provided by public water systems.  The U.S. Food and Drug Administration regulations and California law also establish limits for contaminants in bottled water that provide the same protection for public health.

Tables 1, 2, 3, 4, 5, and 6 list all of the drinking water contaminants that were detected during the most recent sampling for the constituent.  The presence of these contaminants in the water does not necessarily indicate that the water poses a health risk.  The State Board allows us to monitor for certain contaminants less than once per year because the concentrations of these contaminants do not change frequently.  Some of the data, though representative of the water quality, are more than one year old.  Any violation of an AL, MCL, MRDL, or TT is asterisked.  Additional information regarding the violation is provided later in this report.

| Table 1 – SAMPLING RESULTS SHOWING the detection of coliform bacteria |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Microbiological Contaminants (complete if bacteria detected) | Highest No. of Detections | No. of months in violation |  |  |  | MCL |  |  | MCLG |  | Typical Source of Bacteria |  |
| Total Coliform Bacteria | (0) | (0) |  |  |  | 0 sample in a month with a detection |  |  | Absent |  | Naturally present in the environment |  |
| Fecal Coliform or E. coli | (0) | (0) |  |  |  | A routine sample and a repeat sample detect total coliform and either sample also detects fecal coliform or E. coli |  |  | 0 |  | Human and animal fecal waste |  |
| Table 2 – SAMPLING RESULTS SHOWING THE detection of Lead and copper |  |  |  |  |  |  |  |  |  |  |  |  |
| Lead and Copper (complete if lead or copper detected in the last sample set) | Sample Date | No. of samples collected | 90th percentile level detected |  |  | No. sites exceeding AL | AL |  | PHG |  | Typical Source of Contaminant |  |
| Lead (ppb) | 9/25/18 | (5) | None |  |  | None | 15 |  | 0.2 |  | Internal corrosion of household water plumbing systems; discharges from industrial manufacturers; erosion of natural deposits |  |
| Copper (ppm) | 9/25/18 | (5) | .05 |  |  | None | 1.3 |  | 0.3 |  | Internal corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives |  |
| TAble 3 – SAMPLING RESULTS FOR sodium and hardness |  |  |  |  |  |  |  |  |  |  |  |  |
| Chemical or Constituent (and reporting units) | Sample Date | Level Detected |  | Range of Detections |  |  | MCL |  | PHG (MCLG) |  | Typical Source of Contaminant |  |
| Sodium (ppm) | 3/15/17 | 66 |  | 56-70 |  |  | none |  | none |  | Salt present in the water and is generally naturally occurring |  |
| Hardness (ppm) | 3/15/17 | 110 |  | 110-150 |  |  | none |  | none |  | Sum of polyvalent cations present in the water, generally magnesium and calcium, and are usually naturally occurring |  |
| TAble 4 – detection of contaminants with a Primary Drinking Water Standard |  |  |  |  |  |  |  |  |  |  |  |  |
| Chemical or Constituent (and reporting units) | Sample Date | Level Detected |  |  | Range of Detections |  |  | MCL [MRDL] |  | PHG (MCLG) [MRDLG] | Typical Source of Contaminant |  |
| Arsenic (ug/L ) | 3/15/17 | 2.3 |  |  | 2.3-6.9 |  |  | 10 |  | 0.004 | Erosion of natural deposits; runoff from orchards; glass and electronics production wastes |  |
| * Fluoride ( mg/L ) Samples, well #2 & #3. | 1/08/19 4/17/19 7/15/19 10/28/19 | 2.7 2.7 2.6 2.7 |  |  | 2.6-2.7 |  |  | 2 |  | 1 | Erosion of natural deposits; water additive which promotes strong teeth; discharge from fertilizer and aluminum factories |  |
| Nitrate as N, (NO3-N-) (mg/L) | Well #2-12/20/19 Well #3-03/26/19 | 2.7 1.2 |  |  | 2.5-2.7 0-1.2 |  |  | 10 |  | 10 | Runoff and leaching from fertilizer use; leaching from septic tanks, sewage; erosion of natural deposits |  |
| sampling results showing the detection of Radioactive Constituents |  |  |  |  |  |  |  |  |  |  |  |  |
| Radioactive Contaminants | Sample Date | Level Detected |  |  | Range of Detections |  |  | # MCL |  | PHG (MCLG) | Typical Source of Contaminant |  |
| Gross Alpha Activity (pCi/L) | 2019 Well #3 | 8.6 |  |  | 8.6 - 12 |  |  | 15 |  | (0) | Erosion of natural deposits |  |
| Uranium (pCi/L) | 2019 Well #3 | 7.4 |  |  | 7.4 - 15 |  |  | 20 |  | (0.43) | Erosion of natural deposits |  |
| TAble 5 – detection of contaminants with a Secondary Drinking Water Standard |  |  |  |  |  |  |  |  |  |  |  |  |
| Chemical or Constituent (and reporting units) | Sample Date | Level Detected |  |  | Range of Detections |  |  | MCL |  |  | PHG (MCLG) | Typical Source of Contaminant |
| Chloride (mg/L) | 3/15/17 | 19 |  |  | 16-19 |  |  | 500 |  |  | N/A | Runoff/leaching from natural deposits; seawater influence |
| Sulfate (mg/L) | 3/15/17 | 74 |  |  | 65-74 |  |  | 500 |  |  | N/A | Runoff/leaching from natural deposits’ industrial wastes |
| Specific Conductance (micromhos) | 3/15/17 | 500 |  |  | N/a-500 |  |  | 1,600 |  |  | N/A | Substances that form ions when in water; seawater influence |
| Total Dissolved Solids [TDS] (mg/L) | 3/15/17 | 340 |  |  | 290-360 |  |  | 1,000 |  |  | N/A | Runoff/leaching from natural deposits |
| Odor Threshold (units) | 3/15/17 | 1 |  |  | 0-1 |  |  | 3 |  |  | N/A | Naturally occurring organic materials |
| Turbidity (NTU) | 3/15/17 | 0.7 |  |  | n/a-1.0 |  |  | 5 |  |  | N/A | Soil runoff |
| Iron | 3/15/17 | 240 |  |  | 0-240 |  |  | 300 |  |  | N/A | Leaching from natural deposits; industrial wastes |

| TAble 6 – detection of UNREGULATED CONTAMINANTS |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Chemical or Constituent (and reporting units) | Sample Date |  | Level Detected | Range of Detections |  | MCL |  |  |  | PHG (MCLG) | Typical Source of Contaminant |
| Calcium (ppm) | 3/15/17 |  | 30 | 30-33 |  | NS |  |  |  | None | Generally found in ground and surface water |
| Magnesium (ppm) | 3/15/17 |  | 7.5 | 7.5-8.0 |  | NS |  |  |  | None | Generally found in ground and surface water |
| Potassium (ppm) | 3/15/17 |  | 2.3 | 2.3-2.6 |  | NS |  |  |  | None | Generally found in ground and surface water |
| Alkalinity (ppm) | 3/15/17 |  | 130 | 0-130 |  | NS |  |  |  | None |  |
| Hexavalent Chromium | 3/15/17 |  | 4.2 | 0-4.2 |  | 10 |  |  |  | 0.02 ppb1 | Some people who drink water containing hexavalent chromium in excess of the MCL over many years may have an increased risk of getting cancer. |
| Chemical or Constituent (and reporting units) | Sample Date |  | Level Detected | ## Action Level |  |  |  | #### Health Effects Language |  |  |  |
| Boron (ug/L) | 3/15/17 | 380 |  |  | 1 ppm |  |  |  | Some men who drink water containing boron in excess of the action level over many years may experience reproductive effects, based on studies in dogs. |  |  |
| Vanadium (ug/L) | 3/15/17 | 11 |  |  | 50ppb |  |  |  | The babies of some pregnant women who drink water containing vanadium in excess of the action level may have an increased risk of developmental effects, based on studies in laboratory animals |  |  |

Additional General Information On Drinking Water

All drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some               contaminants.  The presence of contaminants does not necessarily indicate that the water poses a health risk. More                  information about contaminants and potential health effects can be obtained by calling the U.S. EPA’s Safe Drinking                          Water Hotline (1-800-426-4791).

Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. U.S. EPA/Centers for Disease Control (CDC) guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline                         (1-800-426-4791).

EPA-www.epa.gov/safewater

CDPH – www.cdpph.ca.gov/certlic/drinkingwater/Pages/default.aspx

Arsenic:While your drinking water meets the current standard for arsenic, it does contain low levels of arsenic.                                                    The standard balances the current understanding of arsenic’s possible health effects against the cost of removing arsenic                                       from drinking water.  The California Department of Health Services continues to research the health effects of low levels                                       of arsenic, which is a mineral known to cause cancer in humans at high concentrations and is linked to other health effects                                       such as skin damage and circulatory problems.

Summary Information for Contaminants Exceeding an MCL or AL, or a Violation of any Treatment

or Monitoring and Reporting Requirements

The Fluoride exceeds the MCL in the water. Per Section 116425, Health and Safety Code.

AV View must notify all of its customers that the water exceeds the MCL on their Bi-Monthly water bills, also a Tier 2 notification must be sent to all customers explaining the actions we are taking to lower the Fluoride in your drinking water. The Apple Valley View Mutual Water Co. is investigating multiple remedies to reduce the Fluoride level, starting with connecting with Liberty Utilities ( our neighboring water company ) main water line to blend their finished water with ours to reduce the fluoride MCL’s.  We are also receiving help from SWRCD Prop 1 funds. The scope of this OWP Technical Assistance (TA) project is to prepare an Engineering Report per DWSRF Policy that evaluates three Fluoride violation solution alternatives, i.e., replacement wells, interconnection/consolidation with adjacent system(s), and additional treatment measures.

The MCL for the State level is 2ppm; AV View has 2.6 - 2.8ppm detections; the federal standard is 4ppm.

Fluoride:  “Some people who drink water containing fluoride in excess of the federal MCL of 4 mg/L over many years may get bone disease, including pain and tenderness of the bones. Children who drink water containing fluoride in excess of the state MCL of 2 mg/L may get mottled teeth.”

MCL’s are set at very stringent levels. To understand the possible health effects described for many regulated constituents, a person would have to drink 2 liters of water every day at the MCL level for a lifetime to have a one-in-a-million chance of having the described health effect.

Thank you for allowing us to continue providing your family with clean, quality water this year. In order to maintain a safe and dependable water supply we sometimes need to make improvements that will benefit all of our customers. Please call our office if you have any questions.

We at Apple Valley View Mutual Water Co. work around the clock to provide top quality water to every tap, said Joe Saltmeris. We ask all our customers to help us protect our water sources, which are the heart of our community, our way of life and our children’s future. To conserve on printing cost, please visit the Mojave Water Agency, located at 13846 Conference Center Drive, Apple Valley, Ca. 92307 for information on water conservation. Phone # (760) 946-7000

Submitted by;

Emely Saltmeris

Secretary

Apple Valley View Mutual Water Co.