{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Notification","WQ Report","Lab Data"],"not_rendered":{"charts":0,"images":1,"macros":0,"external_links":0,"defined_names":1,"comments":2,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Notification","index":0,"n_rows":16,"n_cols":8,"rows_kept":16,"cut":false,"hidden":false,"merged":[]}
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null," "," "," "," "," "]
[null,null,null," "," "," "," "," "]

{"sheet":"WQ Report","index":1,"n_rows":149,"n_cols":7,"rows_kept":149,"cut":false,"hidden":false,"merged":[[25,0,25,6],[52,0,52,6],[148,0,148,6],[107,0,107,6],[89,0,89,6],[94,0,94,6],[92,0,92,6],[132,0,132,6],[143,0,143,6]]}
["Parameter","Units","Year \nTested","MCL","DLR","Chino I\nDesalter","Comments"]
[]
["Parameter","Units","Year \nTested","MCL","DLR","Chino I\nDesalter","Comments"]
["PRIMARY  STANDARDS - Mandatory Health-Related Standards"]
["Inorganic Chemicals (IOCs)",null,null,null,null,null,"Entry #"]
["Aluminum","ppb",2019,1000,50,"ND","01105 - B9H1927-01"]
["Antimony","ppb",2019,6,6,"ND","01097 - B9H1927-01"]
["Arsenic","ppb",2019,10,2,"ND","01002 - B9H1927-01"]
["Asbestos","MFL",2019,7,0.2,"ND","81855 - B9H1935"]
["Barium","ppb",2019,1000,100,"ND","01007 - B9H1927-01"]
["Beryllium","ppb",2019,4,1,"ND","01012 - B9H1927-01"]
["Cadmium","ppb",2019,5,1,"ND","01027 - B9H1927-01"]
["Total Chromium","ppb",2019,50,1,"ND","01034 - B9H1927-01"]
["Copper","ppb",2019,1000,50,"ND","01042 - B9H1927-01"]
["Cyanide","ppb",2019,"NA",100,"ND","01291 - B9H1927-01"]
["Fluoride","ppm",2019,2,0.1,"ND","00951 - B9H1927-01"]
["Hexavalent Chromium","ppb",2019,10,1,"ND","01032 - B9H1935"]
["Lead","ppb",2019,15,5,"ND","01051 - B9H1927-01"]
["Mercury","ppb",2019,2,1,"ND","71900 - B9H1927-01"]
["Nickel","ppb",2019,100,10,"ND","01067 - B9H1927-01"]
["Nitrate (as N)","ppm",2019,10,0.2,4.9000000000000004,"00618 - B9H1927-01"]
["Nitrite (as N)","ppb",2019,1,0.1,"ND","00620 - B9H1927-01"]
["Perchlorate","ppb",2019,6,4,"ND","A-031 - B9H1927-01"]
["Selenium","ppb",2019,50,5,"ND","01147 - B9H1927-01"]
["Thallium","ppb",2019,2,1,"ND","01059 - B9H1927-01"]
["Volatile Organic Chemicals (VOCs)"]
["Benzene","ppb",2019,1,0.5,"ND","34030 - B9J1365-01"]
["Carbon Tetrachloride","ppb",2019,0.5,0.5,"ND","32102 - B9J1365-01"]
["1,2-Dichlorobenzene","ppb",2019,600,0.5,"ND","34536 - B9J1365-01"]
["1,4-Dichlorobenzene","ppb",2019,5,0.5,"ND","34571 - B9J1365-01"]
["1,1-Dichloroethane","ppb",2019,5,0.5,"ND","34496 - B9J1365-01"]
["1,2-Dichloroethane","ppb",2019,0.5,0.5,"ND","34531 - B9J1365-01"]
["1,1-Dichloroethylene","ppb",2019,6,0.5,"ND","34501 - B9J1365-01"]
["cis-1,2-Dichloroethylene","ppb",2019,6,0.5,"ND","77093 - B9J1365-01"]
["trans-1,2-Dichloroethylene","ppb",2019,10,0.5,"ND","34546 - B9J1365-01"]
["Dichloromethne (Methyl Chloride)","ppb",2019,5,0.5,"ND","34423 - B9J1365-01"]
["1,3-Dichloropropene","ppb",2019,0.5,0.5,"ND","34704 - B9J1365-01"]
["1,2-Dichloropropane","ppb",2019,5,0.5,"ND","34541 - B9J1365-01"]
["Ethylbenzene","ppb",2019,300,0.5,"ND","34371 - B9J1365-01"]
["Methyl-tert-butyl ether (MTBE)","ppb",2019,5,3,"ND","46491 - B9J1365-01"]
["Styrene","ppb",2019,100,0.5,"ND","77128 - B9J1365-01"]
["1,1,2,2-Tetrachloroethane","ppb",2019,1,0.5,"ND","34516 - B9J1365-01"]
["Tetrachloroethylene","ppb",2019,5,0.5,"ND","34475 - B9J1365-01"]
["Toluene","ppb",2019,150,0.5,"ND","34010 - B9J1365-01"]
["1,2,4 Trichlorobenzene","ppb",2019,5,0.5,"ND","34551 - B9J1365-01"]
["1,1,1-Trichloroethane","ppb",2019,200,0.5,"ND","34506 - B9J1365-01"]
["1,1,2-Trichloroethane","ppb",2019,5,0.5,"ND","34511 - B9J1365-01"]
["Trichloroethene (TCE)","ppb",2019,5,0.5,"ND","39180 - B9J1365-01"]
["Trichlorofluoromethane (Freon-11)","ppb",2019,150,5,"ND","34488 - B9J1365-01"]
["1,1,2-Trichloro-1,2,2-Trifluoroethane \n(Trichlorotrifluoroethane)","ppb",2019,1200,10,"ND","81611 - B9J1365-01"]
["Vinyl Chloride","ppb",2019,0.5,0.5,"ND","39175 - B9J1365-01"]
["Xylenes (Total)","ppb",2019,1750,0.5,"ND","81551 - B9J1365-01"]
["Synthetic Organic Chemicals (SOCs)"]
["Alachlor","ppb",2019,2,1,"ND","77825 - B9I2546-01"]
["Atrazine","ppb",2019,1,0.5,"ND","39033 - B9I2546-01"]
["Bentazon","ppb",2019,18,2,"ND","38710 - B9H1927"]
["Benzo (a) pyrene","ppb",2018,0.2,0.1,"ND","34247 - B9I2546-01"]
[]
["Parameter","Units","Year \nTested","MCL","DLR","Chino I\nDesalter","Comments"]
["PRIMARY  STANDARDS - Mandatory Health-Related Standards"]
["Synthetic Organic Chemicals (SOCs) (Continued)"]
["Carbofuran","ppb",2019,18,5,"ND","81405 - B9H1927-01"]
["2,4-D","ppb",2019,70,10,"ND","39730 - B9H1927-01"]
["Dalapon","ppb",2019,200,10,"ND","38432 - B9H1927-01"]
["Di (2-ethylhexyl) adipate","ppb",2019,400,5,"ND","A-026 - B9I2546-01"]
["Di (2-ethylhexyl) phthalate","ppb",2019,4,3,"ND","39100 - B9I2546-01"]
["Dibromochloropropane (DBCP)","ppb",2019,0.2,0.01,"ND","38761 - B9H1927-01"]
["Dinoseb","ppb",2019,7,2,"ND","81287 - B9H1927-01"]
["Diquat","ppb",2019,20,0.4,"ND","78885 - B9H1935"]
["Endothall","ppb",2019,100,45,"ND","38926 - B9H1927-01"]
["Endrin","ppb",2019,2,0.1,"ND","39390 - B9H1927-01"]
["Ethylene Dibromide (EDB)","ppb",2019,0.05,0.02,"ND","77651 - B9H1927-01"]
["Glyphosate","ppb",2019,700,25,"ND","79743 - B9H1927-01"]
["Heptachlor","ppb",2019,0.01,0.01,"ND","39410 - B9H1927-01"]
["Heptachlor Epoxide","ppb",2019,0.01,0.01,"ND","39420 - B9H1927-01"]
["Hexachlorobenzene","ppb",2019,1,0.5,"ND","39700 - B9H1927-01"]
["Hexachlorocyclopentadiene","ppb",2019,50,1,"ND","34386 - B9H1927-01"]
["Lindane","ppb",2019,0.2,0.2,"ND","39340 - B9H1927-01"]
["Methoxychlor","ppb",2019,30,10,"ND","39480 - B9H1927-01"]
["Molinate","ppb",2019,20,2,"ND","82199 - B9I2546-01"]
["Oxamyl (Vydate)","ppb",2019,50,20,"ND","38865 - B9H1927-01"]
["Pentachlorophenol","ppb",2019,1,0.2,"ND","39032 - B9H1927-01"]
["Picloram","ppb",2019,500,1,"ND","39720 - B9H1927-01"]
["Polychlorinated Biphenyls (PCBs)\n(as decachlorobiphenyl)","ppb",2019,0.5,0.5,"ND","39516 - B9H1927-01"]
["Simazine","ppb",2019,4,1,"ND","39055 - B-I2546-01"]
["Thiobencarb","ppb",2019,70,1,"ND","A-001 - B9I2546-01"]
["Toxaphene","ppb",2019,3,1,"ND","39400 - B9H1927-01"]
["2,3,7,8-TCDD (Dioxin)","ppb",2019,30,5,"ND","34676 - B9H1927-01"]
["2,4,5-TP (Silvex)","ppb",2019,50,1,"ND","39045 - B9H1927-01"]
["Microbiological Constituents"]
["Total Coliform Bacteria ","Highest % of Monthly Positives",2019,"(1)","NA","2.5%","(1) NOTE:  November 2019"]
["Fecal Coliform or E.coli","Highest % of Monthly Positives",2019,"(2)","NA",0,"(2) NOTE:  None"]
["Radiological"]
["Gross Alpha","pCi/L",2019,15,3,"ND","1501 - B9H1935"]
["Disinfectant residuals, disinfection by-products, and disinfection by-products precursors"]
["Chlorine","ppm",2019,"4.0","NA","0.98(a)","(a) Annual average of product water delivered to Chino and JCSD."]
["Chloramine","ppm",2019,"4.0","NA","1.13(b)","(b) Annual average of product water delivered to Chino Hills."]
["Total Trihalomethanes (THM'S/TTHM)","ppb",2019,80,"NA","ND","B9J1365"]
[" - Bromodichloromethane","ppb",2019,"NA",0.5,"ND","32101 - B9J1365"]
[" - Bromoform","ppb",2019,"NA",0.5,"ND","32104 - B9J1365"]
[" - Chloroform","ppb",2019,"NA",0.5,"ND","32106 - B9J1365"]
[" - Dibromochloromethane","ppb",2019,"NA",0.5,"ND","32105 - B9J1365"]
["Haloacetic Acids (Five) (HAA5)","ppb",2019,60,2,"ND","Average of sample analytical results for samples taken during the previous four calendar quarters - B9J1365"]
[]
["Parameter","Units","Year \nTested","MCL","DLR","Chino I\nDesalter","Comments"]
["Parameter","Units","Year \nTested","MCL","DLR","Chino I\nDesalter","Comments"]
["PRIMARY  STANDARDS - Mandatory Health-Related Standards"]
["Disinfectant residuals, disinfection by-products, and disinfection by-products precursors (Continued)"]
[" - Monochloroacetic Acid","ppb",2019,"NA",2,"ND","A-042 - B9J1365"]
[" - Dichloroacetic Acid","ppb",2019,"NA",1,"ND","77288 - B9J1365"]
[" - Trichloroacetic Acid","ppb",2019,"NA",1,"ND","82723 - B9J1365"]
[" - Monobromoacetic Acid","ppb",2019,"NA",1,"ND","A-041 - B9J1365"]
[" - Dibromoacetic Acid","ppb",2019,"NA",1,"ND","82721 - B9J1365"]
["Total Organic Carbon (TOC)","ppm",2019,"NA",0.3,"ND","00680 - B9J1365"]
["SECONDARY  STANDARDS - Aesthetic Standards"]
["Aluminum","ppb",2019,1000,50,"ND","01105 - B9H1927-01"]
["Color","Color\nUnits",2019,15,"NA","<3.0","00081 - B9H1927-01"]
["Chloride","ppm",2019,500,"NA",120,"00940 - B9H1927-01"]
["Copper","ppb",2019,1000,"<50","ND","01042 - B9H1927-01"]
["Foaming Agents (MBAS)","ppm",2019,0.5,"NA","<0.08","38260 - B9H1927-01"]
["Iron","ppb",2019,300,100,"ND","01045 - B9H1927-01"]
["Manganese","ppb",2019,50,20,"ND","01055 - B9H1927-01"]
["Methyl-tert-butyl ether (MTBE)","ppb",2019,5,3,"ND","46491 - B9J1365"]
["Odor - Threshold","TON",2019,3,1,"ND","00086 - B9H1927-01"]
["Silver","ppb",2019,100,10,"ND","01077 - B9H1927-01"]
["Specific Conductance","uS/cm",2019,1600,"NA",620,"00095 - B9H1927-01"]
["Sulfate","ppm",2019,500,0.5,5.8,"00945 - B9H1927-01"]
["Thiobencarb","ppb",2019,1,1,"ND","A-001 - B-I2546-01"]
["Total Dissolved Solids (TDS)","ppm",2019,1000,"NA",460,"70300 - B9H1927-01"]
["Turbidity","NTU",2019,5,"NA",0.18,"82079 - B9H1927-01"]
["Zinc","ppb",2019,5000,50,"ND","01092 - B9H1927-01"]
["OTHER MONITORED PARAMETERS "]
["General Mineral and Physical"]
["Bicarbonate","ppm",2019,"NA","NA",100,"00440 - B9H1927-01"]
["Calcium","ppm",2019,"NA","NA",62,"00916 - B9H1927-01"]
["Carbonate","ppm",2019,"NA","NA","<5.0","00445 - B9H1927-01"]
["Hydroxide","ppm",2019,"NA","NA","<5.0","71830 - B9H1927-01"]
["Magnesium","ppm",2019,"NA","NA",14,"00927 - B9H1927-01"]
["pH","Std. Units",2019,"NA","NA",8,"00403 - B9H1927-01"]
["Potassium","ppm",2019,"NA","NA",1.6,"00937 - B9H1927-01"]
["Sodium","ppm",2019,"NA","NA",28,"00929 - B9H1927-01"]
["Total Alkalinity","ppm",2019,"NA","NA",100,"00410 - B9H1927-01"]
["Total Hardness","ppm",2019,"NA","NA",210,"00900 - B9H1927-01"]
["Additional Analyses"]
["Total Silica","ppm",2019,"NA","NA",11,"00955 - B9H1927-01"]
["Boron","ppb",2019,"NA",100,"ND","01020 - B9H1927-01"]
["N-Nitrosodimethylamine (NDMA)","ppb",2019,"NA",4.0000000000000001E-3,4.0000000000000001E-3,"B9H1930-01"]
["1,2,3-Trichloropropane (1,2,3-TCP)","ppb",2019,"NA",5.0000000000000001E-3,"ND","77443 - B9H1927-01"]
[" "]

{"sheet":"Lab Data","index":2,"n_rows":64,"n_cols":22,"rows_kept":64,"cut":false,"hidden":false,"merged":[[0,19,1,21],[1,1,1,6],[1,7,1,9],[1,10,1,12],[1,13,1,18],[0,1,0,6],[0,7,0,18],[4,0,9,0],[10,0,13,0],[18,0,22,0],[23,0,26,0],[14,0,17,0],[49,0,52,0],[53,0,57,0],[27,0,30,0],[31,0,35,0],[40,0,43,0],[44,0,48,0],[36,0,39,0]]}
[null,"Blended Product Water",null,null,null,null,null,"Clearwell Boosters ",null,null,null,null,null,null,null,null,null,null,null,"Product Average"]
[null,"Before Clearwell",null,null,null,null,null,"Chino",null,null,"Chino Hills",null,null,"JCSD"]
[2019,"NO3","NO3-N","TDS","pH","EC","Langelier","NO3","NO3-N","TDS","NO3","NO3-N","TDS","NO3","NO3-N","TDS","pH","EC","Langelier","Langelier","TCE","123TCP"]
[null,"mg/L","mg/L","mg/L",null,"umhos/cm","Index","mg/L","mg/L","mg/L","mg/L","mg/L","mg/L","mg/L","mg/L","mg/L",null,"umhos/cm","Index","Index","ug/L","ug/L"]
["Jan",{"$f":"C5*4.4268","v":19.035239999999998},4.3,430,7.8,560,0.13,{"$f":"I5*4.4268","v":18.592560000000002},4.2,410,{"$f":"L5*4.4268","v":18.592560000000002},4.2,410,{"$f":"O5*4.4268","v":18.592560000000002},4.2,410,7.8,570,0.26,0.2]
[null,{"$f":"C6*4.4268","v":20.36328},4.5999999999999996,400,7.7,590,0.23,{"$f":"I6*4.4268","v":21.248639999999998},4.8,360,{"$f":"L6*4.4268","v":21.248639999999998},4.8,470,{"$f":"O6*4.4268","v":21.248639999999998},4.8,360,7.7,560,0.15,0.19,"<0.5","<0.005"]
[null,22.134,5,370,7.6,560,-0.17,21.691320000000001,4.9000000000000004,380,21.691320000000001,4.9000000000000004,390,21.691320000000001,4.9000000000000004,390,7.7,580,7.0000000000000007E-2,-0.05]
[null,21.248639999999998,4.8,320,7.6,560,-0.16,20.36328,4.5999999999999996,360,20.36328,4.5999999999999996,380,20.36328,4.5999999999999996,370,7.7,600,0.13,-0.02]
[null,20.36328,4.5999999999999996,410,7.6,530,-0.03,21.248639999999998,4.8,420,21.691320000000001,4.9000000000000004,350,21.248639999999998,4.8,430,7.5,500,-0.26,-0.03]
[null,0,null,null,null,null,null,0,null,null,0,null,null,0]
["Feb",25.232760000000003,5.7,350,7.5,680,-0.27,23.462039999999998,5.3,360,23.462039999999998,5.3,330,23.904720000000001,5.4,310,7.7,630,0.09,-0.09]
[null,21.248639999999998,4.8,440,7.7,610,0.09,21.248639999999998,4.8,420,21.248639999999998,4.8,410,21.248639999999998,4.8,410,7.6,580,0.05,7.0000000000000007E-2,"<0.5","<0.005"]
[null,20.805960000000002,4.7,370,7.7,560,0.04,20.36328,4.5999999999999996,390,20.805960000000002,4.7,390,20.36328,4.5999999999999996,400,7.6,580,-0.08,-0.02]
[null,21.248639999999998,4.8,352,6.86,618,-0.03,21.691320000000001,4.9000000000000004,336,{"$f":"L14*4.4268","v":21.691320000000001},4.9000000000000004,326,{"$f":"O14*4.4268","v":21.691320000000001},4.9000000000000004,328,6.91,570,-0.8,-0.42]
["Mar",22.57668,5.0999999999999996,350,6.92,639,-0.6,22.57668,5.0999999999999996,360,22.57668,5.0999999999999996,356,22.57668,5.0999999999999996,354,6.86,633,-0.8,-0.7]
[null,22.134,5,350,6.79,625,-0.9,23.019360000000002,5.2,344,23.019360000000002,5.2,346,23.019360000000002,5.2,354,6.83,618,-0.9,-0.9,null,"<.005"]
[null,26.118120000000001,5.9,338,7.07,566,-0.6,25.675439999999998,5.8,342,25.675439999999998,5.8,332,25.675439999999998,5.8,334,7.07,544,-0.7,-0.65,"<.5"]
[null,18.14988,4.0999999999999996,414,7.1,619,-0.4,18.592560000000002,4.2,338,18.14988,4.0999999999999996,340,18.592560000000002,4.2,374,6.97,602,-0.6,-0.5]
["Apr",18.14988,4.0999999999999996,296,7.35,518,-0.4,18.14988,4.0999999999999996,296,18.14988,4.0999999999999996,298,18.14988,4.0999999999999996,298,7.21,503,-0.6,-0.5]
[null,18.592560000000002,4.2,330,6.97,529,-0.7,19.477920000000001,4.4000000000000004,286,19.477920000000001,4.4000000000000004,298,18.592560000000002,4.2,338,6.92,549,-0.8,-0.75,"<0.5","<0.005"]
[null,16.379160000000002,3.7,348,6.95,651,-0.8,16.821839999999998,3.8,312,17.264520000000001,3.9,342,17.264520000000001,3.9,348,6.9,558,-0.7,-0.75,"<0.5"]
[null,19.035239999999998,4.3,246,6.9,428,-1,19.477920000000001,4.4000000000000004,322,19.477920000000001,4.4000000000000004,330,19.477920000000001,4.4000000000000004,330,6.71,549,-1,-1]
[null,19.9206,4.5,232,6.99,361,-1,21.691320000000001,4.9000000000000004,330,21.248639999999998,4.8,334,21.691320000000001,4.9000000000000004,304,6.8,481,-1.2,-1.1000000000000001]
["May",22.134,5,320,7.12,500,-0.5,20.36328,4.5999999999999996,368,20.805960000000002,4.7,364,20.36328,4.5999999999999996,366,7.03,549,-0.5,-0.5]
[null,20.805960000000002,4.7,396,6.81,579,-1,21.691320000000001,4.9000000000000004,396,21.691320000000001,4.9000000000000004,386,21.691320000000001,4.9000000000000004,392,6.79,588,-0.9,-0.95,"<0.5","<0.005"]
[null,23.904720000000001,5.4,322,6.77,502,-1.1000000000000001,22.57668,5.0999999999999996,402,23.019360000000002,5.2,400,22.134,5,382,6.87,633,-0.7,-0.9]
[null,25.675439999999998,5.8,424,6.91,631,-0.7,21.691320000000001,4.9000000000000004,428,21.248639999999998,4.8,440,21.248639999999998,4.8,418,6.85,639,-0.7,-0.7]
["June",21.248639999999998,4.8,298,7.05,465,-0.6,23.019360000000002,5.2,334,22.57668,5.0999999999999996,328,23.904720000000001,5.4,324,7.03,504,-0.6,-0.6]
[null,19.9206,4.5,60,6.87,91.9,-2.4,19.9206,4.5,65,19.9206,4.5,65,19.9206,4.5,62,6.75,92.4,-2.5,-2.4500000000000002,"<0.5","<0.005"]
[null,22.57668,5.0999999999999996,360,6.97,511,-0.6,23.019360000000002,5.2,390,23.019360000000002,5.2,360,23.019360000000002,5.2,388,6.79,534,-0.9,-0.75]
[null,18.592560000000002,4.2,424,6.9,604,-0.9,17.7072,4,364,17.7072,4,364,17.7072,4,360,6.99,589,-0.6,-0.75]
["July",17.264520000000001,3.9,424,7.05,613,-0.7,18.14988,4.0999999999999996,272,18.592560000000002,4.2,268,21.691320000000001,4.9000000000000004,372,7.44,573,-0.1,-0.4]
[null,20.36328,4.5999999999999996,372,6.88,611,-0.9,19.9206,4.5,370,19.477920000000001,4.4000000000000004,362,23.904720000000001,5.4,328,7.52,544,0.1,-0.4,"<0.5","<0.005"]
[null,18.14988,4.0999999999999996,320,6.91,559,-0.8,17.264520000000001,3.9,324,17.264520000000001,3.9,322,24.79008,5.6,378,7.65,617,0.2,-0.3]
[null,20.805960000000002,4.7,334,6.99,522,-0.7,19.477920000000001,4.4000000000000004,322,19.035239999999998,4.3,310,19.035239999999998,4.3,334,6.86,541,-0.8,-0.75]
[null,16.379160000000002,3.7,360,7.7,540,0.24,19.035239999999998,4.3,360,16.379160000000002,3.7,380,16.821839999999998,3.8,360,7.7,520,0.12,0.18]
["Aug",20.805960000000002,4.7,360,7.9,590,0.44,17.7072,4,370,17.264520000000001,3.9,360,17.7072,4,390,7.9,590,0.33,0.39]
[null,14.165760000000001,3.2,620,7.6,630,-0.33,16.821839999999998,3.8,500,17.264520000000001,3.9,520,16.821839999999998,3.8,470,7.8,550,0.11,-0.11,"<0.5","<0.005"]
[null,13.2804,3,440,7.8,580,0.21,14.165760000000001,3.2,480,14.60844,3.3,430,14.165760000000001,3.2,420,7.7,580,0.02,0.12]
[null,14.165760000000001,3.2,470,7.8,590,0.31,14.60844,3.3,480,14.60844,3.3,490,14.165760000000001,3.2,470,7.6,580,0.04,0.18]
["Sept",18.14988,4.0999999999999996,630,7.6,760,0.04,13.2804,3,530,12.39504,2.8,600,13.2804,3,600,7.8,720,0.47,0.26]
[null,15.936480000000001,3.6,380,7.4,510,-0.62,18.14988,4.0999999999999996,400,17.264520000000001,3.9,340,17.264520000000001,3.9,370,7.6,490,-0.26,-0.44,"<0.5","<0.005"]
[null,19.9206,4.5,280,7.7,420,-0.26,16.379160000000002,3.7,470,16.379160000000002,3.7,430,16.379160000000002,3.7,480,7.8,620,0.28000000000000003,0.01]
[null,19.9206,4.5,320,7.9,460,0.2,17.264520000000001,3.9,370,17.264520000000001,3.9,340,17.264520000000001,3.9,400,7.8,530,0.22,0.21]
["Oct",19.035239999999998,4.3,270,7.8,400,0.05,12.837719999999999,2.9,470,11.952360000000001,2.7,490,11.952360000000001,2.7,490,7.8,670,0.31,0.18]
[null,14.165760000000001,3.2,400,7.6,560,-0.13,15.4938,3.5,290,15.936480000000001,3.6,300,15.936480000000001,3.6,300,7.8,510,0.17,0.02,"<0.5","<0.005"]
[null,17.264520000000001,3.9,240,7.9,380,0.08,14.165760000000001,3.2,280,14.60844,3.3,290,14.60844,3.3,290,7.8,480,0.03,0.06]
[null,19.477920000000001,4.4000000000000004,52,7.4,110,-1.5,19.477920000000001,4.4000000000000004,56,19.035239999999998,4.3,47,19.035239999999998,4.3,47,7.4,110,-1.53,-1.52]
[null,12.837719999999999,2.9,340,8,520,0.43,13.723080000000001,3.1,280,14.165760000000001,3.2,290,14.165760000000001,3.2,290,7.8,500,0.09,0.26]
["Nov",17.7072,4,200,7.8,310,-0.2,14.60844,3.3,280,14.60844,3.3,280,14.60844,3.3,270,7.8,410,-0.06,-0.13]
[null,12.39504,2.8,430,7.8,550,0.12,11.952360000000001,2.7,410,11.509680000000001,2.6,430,11.509680000000001,2.6,420,7.7,510,-0.21,-0.05,"<0.5","<0.005"]
[null,16.379160000000002,3.7,120,7.7,300,-0.25,11.952360000000001,2.7,230,12.39504,2.8,260,12.39504,2.8,220,7.7,420,-7.0000000000000007E-2,-0.16]
[null,14.60844,3.3,160,7.8,260,-0.27,10.18164,2.2999999999999998,300,10.18164,2.2999999999999998,290,9.7389600000000005,2.2000000000000002,300,7.8,470,0.1,-0.09]
["Dec",15.936480000000001,3.6,200,7.5,340,-0.68,13.2804,3,220,13.2804,3,280,13.2804,3,230,7.7,390,-0.33,-0.51]
[null,14.60844,3.3,230,7.5,380,-0.56999999999999995,11.509680000000001,2.6,290,11.509680000000001,2.6,290,11.509680000000001,2.6,290,7.6,500,-0.1,-0.34,"<0.5","<0.005"]
[null,10.624319999999999,2.4,410,7.8,580,7.0000000000000007E-2,7.5255599999999996,1.7,370,7.5255599999999996,1.7,360,7.9682400000000007,1.8,370,7.8,530,0.17,0.12]
[null,14.60844,3.3,160,7.8,300,-0.25,11.509680000000001,2.6,270,11.509680000000001,2.6,240,11.509680000000001,2.6,260,7.7,450,-0.19,-0.22]
[null,7.5255599999999996,1.7,240,7.8,470,0.04,7.0828800000000003,1.6,270,7.0828800000000003,1.6,270,7.0828800000000003,1.6,270,7.8,530,-0.3,-0.03]
[]
[]
[]
["Min.",{"$f":"MIN(B5:B58)","v":0},1.7,52,6.77,91.9,-2.4,0,1.6,56,0,1.6,47,0,1.6,47,6.71,92.4,-2.5,-1.5,0.5,5.0000000000000001E-3]
["Avg.",{"$f":"AVERAGE(B5:B58)","v":18.223659999999999},4.1943396226415093,334.18867924528303,7.3949056603773595,508.16792452830191,-0.38301886792452833,17.461266666666663,4.0188679245283021,346.7358490566038,17.387486666666664,4.0018867924528321,347.32075471698113,17.666211111111107,4.0660377358490569,350.05660377358492,7.414150943396228,533.40377358490571,-0.30716981132075483,-0.5,0.5,5.0000000000000001E-3]
["Max.",{"$f":"MAX(B5:B58)","v":26.118120000000001},5.9,630,8,760,0.44,25.675439999999998,5.8,530,25.675439999999998,5.8,600,25.675439999999998,5.8,600,7.9,720,0.47,0.2,0.5,5.0000000000000001E-3]