{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["WQ Report","Lab Data","Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":1,"comments":4,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"WQ Report","index":0,"n_rows":170,"n_cols":9,"rows_kept":170,"cut":false,"hidden":false,"merged":[[24,0,24,7],[51,0,51,7],[169,0,169,7],[105,0,105,7],[88,0,88,7],[93,0,93,7],[91,0,91,7],[130,0,130,7],[141,0,141,7],[149,0,149,7]]}
["Parameter","Units","Year \nTested","MCL","DLR","Chino I\nDesalter",null,"Comments"]
["Parameter","Units","Year \nTested","MCL","Reporting Level","Chino I \nDesalter Average","Chino I\nDesalter Range of detection","Comments"]
["PRIMARY  STANDARDS - Mandatory Health-Related Standards",null,null,null,null,"Average","Range"]
["Inorganic Chemicals (IOCs)",null,null,null,null,null,null,"Storet #"]
["Aluminum","ppb",2021,1000,50,"< 50","< 50","01105","Confirmed"]
["Antimony","ppb",2021,6,6,"< 6","< 6","01097","Confirmed"]
["Arsenic","ppb",2021,10,2,"< 2","< 2","01002","Confirmed"]
["Asbestos","MFL",2021,7,0.2,0,0,"81855","Confirmed"]
["Barium","ppb",2021,1000,100,"< 100","< 100","01007","Confirmed"]
["Beryllium","ppb",2021,4,1,"< 1","< 1","01012","Confirmed"]
["Cadmium","ppb",2021,5,1,"< 1","< 1","01027","Confirmed"]
["Total Chromium","ppb",2021,50,10,"< 10","< 10","01034","Confirmed"]
["Copper","ppb",2021,1000,50,"< 50","< 50","01042","Confirmed"]
["Cyanide","ppb",2021,150,100,"< 100","< 100","01291","Confirmed"]
["Fluoride","ppm",2021,2,0.1,"< 0.1","< 0.1","00951","Confirmed"]
["Hexavalent Chromium","ppb",2021,10,1,"< 1","< 1","01032","Confirmed"]
["Lead","ppb",2021,15,5,"< 5","< 5","01051","Confirmed"]
["Mercury","ppb",2021,2,1,"< 1","< 1","71900","Confirmed"]
["Nickel","ppb",2021,100,10,"< 10","< 10","01067","Confirmed"]
["Nitrate (as N)","mg/L",2021,10,0.4,2.54,"1.6 - 4.0","00618","Confirmed"]
["Nitrite (as N)","mg/L",2021,1,0.4,"< 0.4","< 0.4","00620","Confirmed"]
["Perchlorate","ppb",2021,6,2,"<2","<2","A-031","Confirmed"]
["Selenium","ppb",2021,50,5,"< 5","< 5","01147","Confirmed"]
["Thallium","ppb",2021,2,1,"< 1","< 1","01059","Confirmed"]
["Volatile Organic Chemicals (VOCs)"]
["Benzene","ppb",2021,1,0.5,"< 0.5","< 0.5","34030","Confirmed"]
["Carbon Tetrachloride","ppb",2021,0.5,0.5,"< 0.5","< 0.5","32102","Confirmed"]
["1,2-Dichlorobenzene","ppb",2021,600,0.5,"< 0.5","< 0.5","34536","Confirmed"]
["1,4-Dichlorobenzene","ppb",2021,5,0.5,"< 0.5","< 0.5","34571","Confirmed"]
["1,1-Dichloroethane","ppb",2021,5,0.5,"< 0.5","< 0.5","34496","Confirmed"]
["1,2-Dichloroethane","ppb",2021,0.5,0.5,"< 0.5","< 0.5","34531","Confirmed"]
["1,1-Dichloroethylene","ppb",2021,6,0.5,"< 0.5","< 0.5","34501","Confirmed"]
["cis-1,2-Dichloroethylene","ppb",2021,6,0.5,"< 0.5","< 0.5","77093","Confirmed"]
["trans-1,2-Dichloroethylene","ppb",2021,10,0.5,"< 0.5","< 0.5","34546","Confirmed"]
["Dichloromethane (Methyl Chloride)","ppb",2021,5,0.5,"< 0.5","< 0.5","34423","Confirmed"]
["1,3-Dichloropropene","ppb",2021,0.5,0.5,"< 0.5","< 0.5","34561","Confirmed"]
["1,2-Dichloropropane","ppb",2021,5,0.5,"< 0.5","< 0.5","34541","Confirmed"]
["Ethylbenzene","ppb",2021,300,0.5,"< 0.5","< 0.5","34371","Confirmed"]
["Methyl-tert-butyl ether (MTBE)","ppb",2021,13,3,"< 3","< 3","46491","Confirmed"]
["Styrene","ppb",2021,100,0.5,"< 0.5","< 0.5","77128","Confirmed"]
["1,1,2,2-Tetrachloroethane","ppb",2021,1,0.5,"< 0.5","< 0.5","34516","Confirmed"]
["Tetrachloroethylene (PCE)","ppb",2021,5,0.5,"< 0.5","< 0.5","34475","Confirmed"]
["Toluene","ppb",2021,150,0.5,"< 0.5","< 0.5","34010","Confirmed"]
["1,2,4 Trichlorobenzene","ppb",2021,5,0.5,"< 0.5","< 0.5","34551","Confirmed"]
["1,1,1-Trichloroethane","ppb",2021,200,0.5,"< 0.5","< 0.5","34506","Confirmed"]
["1,1,2-Trichloroethane","ppb",2021,5,0.5,"< 0.5","< 0.5","34511","Confirmed"]
["Trichloroethylene (TCE)","ppb",2021,5,0.5,"< 0.5","< 0.5","39180","Confirmed"]
["Trichlorofluoromethane (Freon-11)","ppb",2021,150,5,"< 5","< 5","34488","Confirmed"]
["1,1,2-Trichloro-1,2,2-Trifluoroethane \n(Trichlorotrifluoroethane)","ppb",2021,1200,10,"< 10","< 10","81611","Confirmed"]
["Vinyl Chloride","ppb",2021,0.5,0.5,"< 0.5","< 0.5","39175","Confirmed"]
["Xylenes (Total)","ppb",2021,1750,0.5,"< 0.5","< 0.5","81551","Confirmed"]
["Synthetic Organic Chemicals (SOCs)",null,null,null,null,null,null,null,"Confirmed"]
["Alachlor","ppb",2021,2,1,"< 1","< 1","77825","Confirmed"]
["Atrazine","ppb",2021,1,0.5,"< 0.5","< 0.5","39033","Confirmed"]
["Bentazon","ppb",2021,18,2,"< 2","< 2",38710,"Confirmed"]
["Benzo (a) pyrene","ppb",2021,0.2,0.1,"< 0.1","< 0.1","34247","Confirmed"]
[]
["Parameter","Units","Year \nTested","MCL","Reporting Level","Chino I\nDesalter","Chino I\nDesalter","Comments"]
["PRIMARY  STANDARDS - Mandatory Health-Related Standards",null,null,null,null,"Average","Range"]
["Synthetic Organic Chemicals (SOCs) (Continued)"]
["Carbofuran","ppb",2021,18,5,"< 5","< 5","81405","Confirmed"]
["2,4-D","ppb",2021,70,10,"< 10","< 10","39730","Confirmed"]
["Dalapon","ppb",2021,200,10,"< 10","< 10","38432","Confirmed"]
["Di (2-ethylhexyl) adipate","ppb",2021,400,5,"< 5","< 5","A -26","Confirmed"]
["Di (2-ethylhexyl) phthalate","ppb",2021,4,3,"< 3","< 3","39100","Confirmed"]
["Dibromochloropropane (DBCP)","ppb",2021,0.2,0.01,"< 0.01","< 0.01","38761","Confirmed"]
["Dinoseb","ppb",2021,7,2,"< 2","< 2","81287","Confirmed"]
["Diquat","ppb",2020,20,4,"< 4","< 4","78885","Confirmed"]
["Endothall","ppb",2021,100,45,"< 45","< 45","38926","Confirmed"]
["Endrin","ppb",2021,2,0.1,"< 0.1","< 0.1","39390","Confirmed"]
["Ethylene Dibromide (EDB)","ppb",2021,0.05,0.02,"< 0.02","< 0.02","77651","Confirmed"]
["Glyphosate","ppb",2021,700,25,"< 25","< 25","79743","Confirmed"]
["Heptachlor","ppb",2021,0.01,0.01,"< 0.01","< 0.01","39410","Confirmed"]
["Heptachlor Epoxide","ppb",2021,0.01,0.01,"< 0.01","< 0.01","39420","Confirmed"]
["Hexachlorobenzene","ppb",2021,1,0.5,"< 0.5","< 0.5","39700","Confirmed"]
["Hexachlorocyclopentadiene","ppb",2021,50,1,"< 1","< 1","34386","Confirmed"]
["Lindane","ppb",2021,0.2,0.2,"< 0.2","< 0.2","39340","Confirmed"]
["Methoxychlor","ppb",2021,30,10,"< 10","< 10","39480","Confirmed"]
["Molinate","ppb",2021,20,2,"< 2","< 2","82199","Confirmed"]
["Oxamyl (Vydate)","ppb",2021,50,20,"< 20","< 20","38865","Confirmed"]
["Pentachlorophenol","ppb",2021,1,0.2,"< 0.2","< 0.2","39032","Confirmed"]
["Picloram","ppb",2021,500,1,"< 1","< 1","39720","Confirmed"]
["Polychlorinated Biphenyls (PCBs)\n(as decachlorobiphenyl)","ppb",2021,0.5,0.5,"< 0.5","< 0.5","39516","Confirmed"]
["Simazine","ppb",2021,4,1,"< 1","< 1","39055","Confirmed"]
["Thiobencarb","ppb",2021,70,1,"< 1","< 1","A - 001","Confirmed"]
["Toxaphene","ppb",2021,3,1,"< 1","< 1","39400","Confirmed"]
["2,3,7,8-TCDD (Dioxin)","ppb",2021,30,5,0,0,"34676","Confirmed"]
["2,4,5-TP (Silvex)","ppb",2021,50,1,"< 1","< 1","39045","Confirmed"]
["Microbiological Constituents"]
["Total Coliform Bacteria ","Highest % of Monthly Positives",2021,"(1)","NA",0,"<1 - 2","(1) NOTE:  None","Confirmed"]
["Fecal Coliform or E.coli","Highest % of Monthly Positives",2021,"(2)","NA",0,null,"(2) NOTE:  None","Confirmed"]
["Radiological"]
["Gross Alpha","pCi/L",2021,15,3,0.80800000000000005,0.80800000000000005,1501,"Confirmed"]
["Disinfectant residuals, disinfection by-products, and disinfection by-products precursors"]
["Chlorine","ppm",2021,"4.0","NA","1.33","1.20 - 1.49","(a) Annual average of product water delivered to Chino and JCSD.","Confirmed"]
["Chloramine","ppm",2021,"4.0","NA","1.46","1.30 - 1.62","(b) Annual average of product water delivered to Chino Hills.","Confirmed"]
["Total Trihalomethanes (THM'S/TTHM)","ppb",2021,80,0.5,"< 0.5","< 0.5","82080","Confirmed"]
[" - Bromodichloromethane","ppb",2021,"NA",0.5,"< 0.5","< 0.5","32101","Confirmed"]
[" - Bromoform","ppb",2021,"NA",0.5,"< 0.5","< 0.5","32104","Confirmed"]
[" - Chloroform","ppb",2021,"NA",0.5,"< 0.5","< 0.5","32106","Confirmed"]
[" - Dibromochloromethane","ppb",2021,"NA",0.5,"< 0.5","< 0.5","32105","Confirmed"]
["Haloacetic Acids (Five) (HAA5)","ppb",2021,60,2,"< 2","< 2","A - 049","Confirmed"]
["Parameter","Units","Year \nTested","MCL","Reporting Level","Chino I\nDesalter","Chino I\nDesalter","Comments"]
["Parameter","Units","Year \nTested","MCL","DLR","Chino I\nDesalter",null,"Comments"]
["PRIMARY  STANDARDS - Mandatory Health-Related Standards",null,null,null,null,"Average","Range"]
["Disinfectant residuals, disinfection by-products, and disinfection by-products precursors (Continued)"]
[" - Monochloroacetic Acid","ppb",2021,"NA",2,"< 2","< 2","A - 042","Confirmed"]
[" - Dichloroacetic Acid","ppb",2021,"NA",1,"< 1","< 1","77288","Confirmed"]
[" - Trichloroacetic Acid","ppb",2021,"NA",1,"< 1","< 1","82723","Confirmed"]
[" - Monobromoacetic Acid","ppb",2021,"NA",1,"< 1","< 1","A - 041","Confirmed"]
[" - Dibromoacetic Acid","ppb",2021,"NA",1,"< 1","< 1","82721","Confirmed"]
["Total Organic Carbon (TOC)","ppm",2020,"NA",0.3,"< 0.3","< 0.3","00680","Confirmed"]
["SECONDARY  STANDARDS - Aesthetic Standards",null,null,null,null,"Average","Range",null,"Confirmed"]
["Aluminum","ppb",2021,1000,50,"< 50","< 50","01105","Confirmed"]
["Color","Color\nUnits",2021,15,"NA","< 3","< 3","00081","Confirmed"]
["Chloride","ppm",2021,500,"NA",110,110,"00940","Confirmed"]
["Copper","ppb",2021,1000,"<50","< 50","< 50","01042","Confirmed"]
["Foaming Agents (MBAS)","ppm",2021,0.5,0.1,"< 0.08","< 0.08","38260","Confirmed"]
["Iron","ppb",2021,300,100,"< 100","< 100","01045","Confirmed"]
["Manganese","ppb",2021,50,20,"< 20","< 20","01055","Confirmed"]
["Methyl-tert-butyl ether (MTBE)","ppb",2021,13,3,"< 3","< 3",46491,"Confirmed"]
["Odor - Threshold","TON",2021,3,1,"< 1","< 1","00086","Confirmed"]
["Silver","ppb",2021,100,10,"< 10","< 10","01077","Confirmed"]
["Specific Conductance","uS/cm",2021,1600,"NA",512,"370 - 580",null,"Confirmed"]
["Sulfate","ppm",2021,500,0.5,"< 0.5","< 0.5 - 0.8","00945","Confirmed"]
["Thiobencarb","ppb",2021,70,1,"< 1","< 1","A - 001","Confirmed"]
["Total Dissolved Solids (TDS)","ppm",2021,1000,10,361,"220 - 460",null,"Confirmed"]
["Turbidity","NTU",2021,5,0.1," < 0.1"," < 0.1","82079","Confirmed"]
["Zinc","ppb",2021,5000,50,"< 50","< 50","01092","Confirmed"]
["OTHER MONITORED PARAMETERS ",null,null,null,null,"Average","Range"]
["General Mineral and Physical"]
["Bicarbonate","ppm",2021,"NA",5,85,"64 - 140","00440","Confirmed"]
["Calcium","ppm",2021,"NA","NA",51,"34 - 61","00916","Confirmed"]
["Carbonate","ppm",2021,"NA","NA","< 5","< 5","00445","Confirmed"]
["Hydroxide","ppm",2021,"NA","NA","< 5","< 5","71830","Confirmed"]
["Magnesium","ppm",2020,"NA","NA",11.7,"7.8 - 13","00927","Confirmed"]
["pH","Std. Units",2021,"NA","NA",7.66,"7.1 -  7.9","00403","Confirmed"]
["Potassium","ppm",2021,"NA","NA",0.95,"0 - 1.4","00937","Confirmed"]
["Sodium","ppm",2021,"NA","NA",27,"25 - 29","00929","Confirmed"]
["Total Alkalinity","ppm",2021,"NA","NA",85,"64 - 140","00410","Confirmed"]
["Total Hardness","ppm",2021,"NA","NA",177,"120 - 210","00900","Confirmed"]
["Additional Analyses"]
["Total Silica","ppm",2021,"NA","NA",8.5500000000000007,"8.3 - 8.8","00955","Confirmed"]
["Boron","ppb",2021,"NA",100,"< 100","< 100","01020","Confirmed"]
["1,4-Dioxane","ppb",2021,"NA",0.2,"<0.2","<0.2","C1J3760, C1L2653","Confirmed"]
[]
["N-Nitrosodimethylamine (NDMA)","ppb",2021,"NA",4.0000000000000001E-3,"< 0.004","< 0.004","34438 - C1G0514","Confirmed"]
["1,2,3-Trichloropropane (1,2,3-TCP)","ppb",2021,5.0000000000000001E-3,5.0000000000000001E-3,"< 0.005","< 0.005","77443","Confirmed"]
["Parameter","Units","Year \nTested","RL / NL","Reporting Level","Chino I\nDesalter","Chino I\nDesalter","Comments"]
["Per- and Polyfluoroalkyl Substances (PFAS)"]
["Hexafluoropropylene oxide dimer acid (HFPO-DA)","ppt",2021,"NA",2,"<2","<2"]
["N-EtFOSAA","ppt",2021,"NA",2,"<2","<2"]
["N-MeFOSAA","ppt",2021,"NA",2,"<2","<2"]
["Perfluorobutanesulfonic Acid (PFBS)","ppt",2021,"NA",2,"<2","<2"]
["Perfluorodecanoic Acid (PFDA)","ppt",2021,"NA",2,"<2","<2"]
["Perfluorododecanoic Acid (PFDoDA)","ppt",2021,"NA",2,"<2","<2"]
["Perfluoroheptanoic Acid (PFHpA)","ppt",2021,"NA",2,"<2","<2"]
["Perfluorohexanesulfonic Acid (PFHxS)","ppt",2021,"NA",2,"<2","<2"]
["Perfluorohexanoic Acid (PFHxA)","ppt",2021,"NA",2,"<2","<2"]
["Perfluorononanoic Acid (PFNA)","ppt",2021,"NA",2,"<2","<2"]
["Perfluorooctanesulfonic Acid (PFOS)","ppt",2021,"40 / 6.1",2,"<2","<2"]
["Perfluorooctanoic Acid (PFOA)","ppt",2021,"10 / 5.1",2,"<2","<2"]
["Perfluorotetradecanoic Acid (PFTeDA)","ppt",2021,"NA",2,"<2","<2"]
["Perfluorotridecanoic Acid (PFTrDA)","ppt",2021,"NA",2,"<2","<2"]
["Perfluoroundecanoic Acid (PFUnA)","ppt",2021,"NA",2,"<2","<2"]
["11-chloroeicosafluoro 3oxaundecane-1-sulfonic Acid","ppt",2021,"NA",2,"<2","<2"]
["9-chlorohexadecafluoro-3-oxanone-1-sulfonic Acid","ppt",2021,"NA",2,"<2","<2"]
["4,8-dioxa-3H-perfluorononanoic Acid (ADONA)","ppt",2021,"NA",2,"<2","<2"]
[]
[" "]

{"sheet":"Lab Data","index":1,"n_rows":62,"n_cols":23,"rows_kept":62,"cut":false,"hidden":false,"merged":[[47,0,51,0],[52,0,55,0],[25,0,29,0],[30,0,33,0],[39,0,42,0],[43,0,46,0],[34,0,38,0],[4,0,7,0],[8,0,11,0],[17,0,20,0],[21,0,24,0],[12,0,16,0],[0,20,1,22],[1,2,1,7],[1,8,1,10],[1,11,1,13],[1,14,1,19],[0,2,0,7],[0,8,0,19]]}
[null,null,"Blended Product Water",null,null,null,null,null,"Clearwell Boosters ",null,null,null,null,null,null,null,null,null,null,null,"Product Average"]
[null,null,"Before Clearwell",null,null,null,null,null,"Chino",null,null,"Chino Hills",null,null,"JCSD"]
[2021,null,"NO3","NO3-N","TDS","pH","EC","Langelier","NO3","NO3-N","TDS","NO3","NO3-N","TDS","NO3","NO3-N","TDS","pH","EC","Langelier","Langelier","TCE","123TCP"]
[null,null,"mg/L","mg/L","mg/L",null,"umhos/cm","Index","mg/L","mg/L","mg/L","mg/L","mg/L","mg/L","mg/L","mg/L","mg/L",null,"umhos/cm","Index","Index","ug/L","ug/L"]
["Jan",5,{"$f":"D5*4.4268","v":14.165760000000001},3.2,290,7.7,450,-0.1,{"$f":"J5*4.4268","v":13.2804},3,340,{"$f":"M5*4.4268","v":13.2804},3,320,{"$f":"P5*4.4268","v":13.723080000000001},3.1,340,7.8,520,0.03,{"$f":"IF(AND(H5=\"\",T5=\"\"),\"\",AVERAGE(H5,T5))","v":-3.5000000000000003E-2}]
[null,12,{"$f":"D6*4.4268","v":15.4938},3.5,290,7.9,520,0.35,{"$f":"J6*4.4268","v":13.723080000000001},3.1,310,{"$f":"M6*4.4268","v":13.2804},3,290,{"$f":"P6*4.4268","v":13.723080000000001},3.1,290,7.9,510,0.27,0.31,"<0.5","<0.005"]
[null,19,18.14988,4.0999999999999996,360,7.8,520,7.0000000000000007E-2,15.051119999999999,3.4,390,14.60844,3.3,380,15.4938,3.5,380,7.8,540,0.08,7.5000000000000011E-2]
[null,28,15.051119999999999,3.4,310,7.9,500,0.36,13.723080000000001,3.1,410,13.2804,3,400,14.165760000000001,3.2,380,7.9,580,0.32,0.33999999999999997]
["Feb",2,{"$f":"D9*4.4268","v":15.4938},3.5,390,7.9,580,0.25,{"$f":"J9*4.4268","v":13.2804},3,380,{"$f":"M9*4.4268","v":12.837719999999999},2.9,370,{"$f":"P9*4.4268","v":13.2804},3,380,7.8,560,0.08,{"$f":"IF(AND(H9=\"\",T9=\"\"),\"\",AVERAGE(H9,T9))","v":0.16500000000000001}]
[null,9,11.067,2.5,380,7.7,490,-0.05,15.4938,3.5,440,15.051119999999999,3.4,450,15.051119999999999,3.4,440,7.7,550,0,{"$f":"IF(AND(H10=\"\",T10=\"\"),\"\",AVERAGE(H10,T10))","v":-2.5000000000000001E-2},null,"<0.005"]
[null,16,16.821839999999998,3.8,390,7.5,600,-0.2,15.051119999999999,3.4,310,14.60844,3.3,290,15.4938,3.5,320,7.6,490,-0.25,-0.22500000000000001]
[null,23,9.2962800000000012,2.1,360,7.6,620,-0.16,11.509680000000001,2.6,320,11.952360000000001,2.7,290,11.509680000000001,2.6,320,7.6,540,-0.13,-0.14500000000000002]
["Mar",2,{"$f":"D13*4.4268","v":13.2804},3,420,7.6,560,-0.22,{"$f":"J13*4.4268","v":13.2804},3,350,{"$f":"M13*4.4268","v":13.723080000000001},3.1,340,{"$f":"P13*4.4268","v":13.723080000000001},3.1,360,7.7,520,-0.02,-0.12]
[null,9,{"$f":"D14*4.4268","v":11.952360000000001},2.7,400,7.7,520,-0.19,{"$f":"J14*4.4268","v":13.723080000000001},3.1,410,{"$f":"M14*4.4268","v":12.837719999999999},2.9,390,{"$f":"P14*4.4268","v":14.165760000000001},3.2,420,7.6,560,-0.2,-0.19500000000000001,"<0.5","<0.005"]
[null,16,12.837719999999999,2.9,380,7.6,500,-0.27,12.39504,2.8,350,11.952360000000001,2.7,340,11.952360000000001,2.7,340,7.6,460,-0.31,-0.29000000000000004]
[null,23,15.051119999999999,3.4,330,7.8,500,0.11,14.165760000000001,3.2,350,14.165760000000001,3.2,360,14.165760000000001,3.2,350,7.8,550,0.22,0.16500000000000001]
[null,30,{"$f":"D17*4.4268","v":11.952360000000001},2.7,340,7.8,480,0.2,{"$f":"J17*4.4268","v":11.067},2.5,360,{"$f":"M17*4.4268","v":11.067},2.5,360,{"$f":"P17*4.4268","v":11.067},2.5,340,7.7,490,0.04,0.12000000000000001]
["Apr",6,16.379160000000002,3.7,370,7.8,490,0.09,14.165760000000001,3.2,370,13.723080000000001,3.1,380,14.165760000000001,3.2,390,7.8,510,7.0000000000000007E-2,0.08]
[null,13,11.509680000000001,2.6,260,7.8,450,0.16,11.067,2.5,310,10.18164,2.2999999999999998,310,11.067,2.5,310,7.8,500,0.12,0.14000000000000001,"<0.5","<0.005"]
[null,20,15.051119999999999,3.4,460,7.7,580,0.02,12.39504,2.8,430,11.509680000000001,2.6,440,12.39504,2.8,430,7.6,540,-0.18,-0.08]
[null,27,15.936480000000001,3.6,460,7.5,570,-0.26,11.952360000000001,2.7,410,11.952360000000001,2.7,420,11.952360000000001,2.7,420,7.6,560,-0.05,-0.155]
["May",4,{"$f":"D22*4.4268","v":15.4938},3.5,380,7.7,470,-0.04,12.837719999999999,2.9,420,12.39504,2.8,420,12.39504,2.8,410,7.5,530,-0.24,-0.13999999999999999]
[null,11,15.051119999999999,3.4,400,8,580,0.33,11.509680000000001,2.6,390,10.624319999999999,2.4,400,9.7389600000000005,2.2000000000000002,410,7.8,550,0.11,0.22,"<0.5","<0.005"]
[null,18,10.624319999999999,2.4,360,7.8,520,0.18,9.2962800000000012,2.1,360,8.8536000000000001,2,370,8.8536000000000001,2,380,7.7,530,0.06,0.12]
[null,25,8.4109199999999991,1.9,390,7.8,560,0.24,8.4109199999999991,1.9,420,8.4109199999999991,1.9,420,8.4109199999999991,1.9,390,7.8,560,0.25,0.245]
["June",1,9.7389600000000005,2.2000000000000002,350,7.8,500,-0.1,9.7389600000000005,2.2000000000000002,370,9.7389600000000005,2.2000000000000002,370,9.7389600000000005,2.2000000000000002,360,7.6,510,0.11,4.9999999999999975E-3]
[null,8,9.2962800000000012,2.1,490,7.4,540,-0.5,13.2804,3,400,13.2804,3,400,13.2804,3,410,7.4,500,-0.37,-0.435,"<0.5","<0.005"]
[null,15,10.18164,2.2999999999999998,400,7.9,560,0.37,9.2962800000000012,2.1,380,9.2962800000000012,2.1,410,9.2962800000000012,2.1,400,7.7,550,0.14000000000000001,0.255]
[null,22,10.624319999999999,2.4,440,7.6,550,-0.08,9.7389600000000005,2.2000000000000002,440,9.7389600000000005,2.2000000000000002,440,9.7389600000000005,2.2000000000000002,430,7.6,530,-0.14000000000000001,-0.11000000000000001]
[null,29,9.2962800000000012,2.1,330,7.8,500,0.21,9.2962800000000012,2.1,390,9.2962800000000012,2.1,390,9.7389600000000005,2.2000000000000002,350,7.7,480,0,0.105]
["July",6,10.624319999999999,2.4,430,7.2,480,-0.71,9.7389600000000005,2.2000000000000002,450,9.7389600000000005,2.2000000000000002,430,9.7389600000000005,2.2000000000000002,460,7.2,510,-0.64,-0.67500000000000004,"<0.5","<0.005"]
[null,13,11.952360000000001,2.7,320,7.5,390,-0.36,11.509680000000001,2.6,410,11.509680000000001,2.6,430,11.952360000000001,2.7,410,7.5,480,-0.27,-0.315]
[null,20,11.952360000000001,2.7,390,7.5,480,-0.35,11.952360000000001,2.7,450,11.952360000000001,2.7,460,11.509680000000001,2.6,450,7.4,540,-0.36,-0.35499999999999998]
[null,27,11.509680000000001,2.6,89,8.6999999999999993,160,0.01,9.7389600000000005,2.2000000000000002,390,9.7389600000000005,2.2000000000000002,400,10.18164,2.2999999999999998,380,7.8,570,0.21,0.11]
["Aug",3,10.18164,2.2999999999999998,390,7.1,470,-0.76,11.509680000000001,2.6,420,11.952360000000001,2.7,420,11.509680000000001,2.6,410,7.1,500,-0.8,-0.78]
[null,10,10.18164,2.2999999999999998,330,7.6,440,-0.11,13.2804,3,450,13.723080000000001,3.1,460,13.723080000000001,3.1,440,7.7,530,0.02,-4.4999999999999998E-2,"<0.5","<0.005"]
[null,17,10.624319999999999,2.4,330,7.5,470,-0.03,9.7389600000000005,2.2000000000000002,390,9.7389600000000005,2.2000000000000002,390,9.7389600000000005,2.2000000000000002,370,7.4,530,-0.08,-5.5E-2]
[null,24,{"$f":"D38*4.4268","v":11.067},2.5,480,7.7,570,0.11,{"$f":"J38*4.4268","v":11.067},2.5,460,{"$f":"M38*4.4268","v":11.067},2.5,500,{"$f":"P38*4.4268","v":11.067},2.5,460,7.7,570,0.04,7.4999999999999997E-2]
[null,31,11.952360000000001,2.7,410,7.5,560,-0.54,17.264520000000001,3.9,370,17.264520000000001,3.9,380,17.7072,4,380,7.8,560,0.11,-0.21500000000000002]
["Sept",7,10.18164,2.2999999999999998,430,7.8,550,-0.02,10.624319999999999,2.4,470,11.067,2.5,440,10.624319999999999,2.4,460,7.7,560,-0.06,-0.04]
[null,14,10.624319999999999,2.4,360,7.7,480,-0.22,10.624319999999999,2.4,320,10.624319999999999,2.4,300,11.067,2.5,320,7.8,470,7.0000000000000007E-2,-7.4999999999999997E-2,"<0.5","<0.005"]
[null,21,12.837719999999999,2.9,240,7.6,400,-0.15,11.952360000000001,2.7,320,11.952360000000001,2.7,410,11.952360000000001,2.7,310,7.7,510,0.01,-6.9999999999999993E-2]
[null,28,11.067,2.5,300,7.6,410,-0.1,10.624319999999999,2.4,330,10.624319999999999,2.4,350,10.624319999999999,2.4,320,7.5,460,-0.16,-0.13]
["Oct",5,10.18164,2.2999999999999998,300,7.6,470,-0.17,10.18164,2.2999999999999998,290,10.18164,2.2999999999999998,290,10.18164,2.2999999999999998,280,7.6,500,-7.0000000000000007E-2,-0.12000000000000001]
[null,12,8.8536000000000001,2,320,7.6,530,-0.32,9.7389600000000005,2.2000000000000002,280,10.18164,2.2999999999999998,280,10.18164,2.2999999999999998,280,7.7,500,-7.0000000000000007E-2,-0.19500000000000001,"<0.5","<0.005"]
[null,19,7.5255599999999996,1.7,410,7.5,520,-0.39,7.5255599999999996,1.7,280,7.0828800000000003,1.6,270,7.5255599999999996,1.7,280,7.7,490,0.03,-0.18]
[null,26,9.7389600000000005,2.2000000000000002,270,7.5,480,-0.38,4.8694800000000003,1.1000000000000001,290,11.067,2.5,260,9.7389600000000005,2.2000000000000002,360,7.7,480,-0.14000000000000001,-0.26]
["Nov",2,9.7389600000000005,2.2000000000000002,320,7.8,460,0.04,10.18164,2.2999999999999998,330,10.18164,2.2999999999999998,310,9.7389600000000005,2.2000000000000002,320,7.8,480,-0.04,0]
[null,9,6.6402000000000001,1.5,290,7.8,430,-0.14000000000000001,7.5255599999999996,1.7,390,7.5255599999999996,1.7,350,7.9682400000000007,1.8,380,7.8,520,0.12,-1.0000000000000009E-2]
[null,16,7.9682400000000007,1.8,270,7.7,400,-0.02,7.0828800000000003,1.6,320,7.0828800000000003,1.6,290,7.0828800000000003,1.6,300,7.7,430,-0.05,-3.5000000000000003E-2,"<0.5","<0.005"]
[null,23,{"$f":"D51*4.4268","v":10.18164},2.2999999999999998,260,7.8,440,0.13,{"$f":"J51*4.4268","v":7.9682400000000007},1.8,270,{"$f":"M51*4.4268","v":7.9682400000000007},1.8,260,{"$f":"P51*4.4268","v":7.9682400000000007},1.8,270,7.8,450,0.11,0.12]
[null,30,7.5255599999999996,1.7,280,7.6,470,-0.23,7.0828800000000003,1.6,310,7.0828800000000003,1.6,300,7.0828800000000003,1.6,290,7.6,500,-0.12,-0.17499999999999999]
["Dec",7,6.6402000000000001,1.5,310,7.6,400,-0.3,7.9682400000000007,1.8,350,7.9682400000000007,1.8,320,7.5255599999999996,1.7,340,7.7,450,-0.14000000000000001,-0.22,"<0.5","<0.005"]
[null,14,7.9682400000000007,1.8,220,7.8,440,-7.0000000000000007E-2,7.5255599999999996,1.7,250,7.5255599999999996,1.7,230,7.5255599999999996,1.7,230,7.9,470,0.18,5.4999999999999993E-2]
[null,21,8.8536000000000001,2,320,7.6,420,-0.24,7.9682400000000007,1.8,340,7.9682400000000007,1.8,330,8.4109199999999991,1.9,350,7.6,460,-0.19,-0.215]
[null,28,7.5255599999999996,1.7,210,7.8,350,-0.35,7.0828800000000003,1.6,230,7.0828800000000003,1.6,190,7.0828800000000003,1.6,220,7.8,370,-0.14000000000000001,-0.245]
[]
[]
[]
["Min.",null,{"$f":"MIN(C5:C56)","v":6.6402000000000001},1.5,89,7.1,160,-0.76,4.8694800000000003,1.1000000000000001,230,7.0828800000000003,1.6,190,7.0828800000000003,1.6,220,7.1,370,-0.8,-1.5,"<0.50","<0.005"]
["Avg.",null,{"$f":"AVERAGE(C5:C56)","v":11.390496923076931},2.5730769230769233,346.32692307692309,7.6884615384615431,488.07692307692309,-9.4230769230769243E-2,10.981869230769242,2.4807692307692308,364.80769230769232,10.990382307692318,2.4826923076923078,361.53846153846155,11.109565384615394,2.5096153846153846,361.92307692307691,7.6692307692307695,511.73076923076923,-4.6538461538461542E-2,-0.5,"<0.50","<0.005"]
["Max.",null,{"$f":"MAX(C5:C56)","v":18.14988},4.0999999999999996,490,8.6999999999999993,620,0.37,17.264520000000001,3.9,470,17.264520000000001,3.9,500,17.7072,4,460,7.9,580,0.32,0.2,"<0.50","<0.005"]

{"sheet":"Sheet1","index":2,"n_rows":32,"n_cols":22,"rows_kept":32,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,"Nitrate as N","Total Bacti","E. Coli",null,"Chlorine","Chlorimines","Spec Cond","TDS","Bicarbonate","Hydroxide","Magnesium",null,"pH",null,"Sodium","Total Alkalinity",null,"Total Hardness",null,"Total Silica"]
[null,"DATE","00618",null,null,null,null,null,"00095","70300","00440","71830","00927","DATE","00403","DATE","00929","00410","DATE","00900","DATE","00955"]
[null,"2021-07-27",2.2999999999999998,0,0,null,null,null,570,380,110,5,13,"2021-07-27",7.8,null,null,110,"2021-07-27",190,"2021-07-13",8.3000000000000007]
[null,"2021-07-20",2.6,null,null,null,null,null,540,450,76,5,12,"2021-07-20",7.4,null,null,76,"2021-07-20",180,"2021-07-06",8.8000000000000007]
[null,"2021-07-13",2.7,null,null,null,null,null,480,410,85,6,12,"2021-07-13",7.5,null,null,85,"2021-07-13",180]
[null,"2021-07-06",2.1,null,null,null,null,null,510,460,71,5,11,"2021-07-06",7.2,"2021-07-06",27,71,"2021-07-06",170]
[null,"2021-07-06",2.2000000000000002,null,null,null,null,null,520,440,70,5,12,"2021-07-06",7.4,"2021-07-06",26,70,"2021-07-06",170]
[null,"2021-06-29",2.2000000000000002,null,null,null,null,null,480,350,100,5,11,"2021-06-29",7.7,"2021-06-08",26,100,"2021-06-29",170]
[null,"2021-06-22",2.2000000000000002,null,null,null,null,null,530,430,82,5,12,"2021-06-22",7.6,"2021-04-13",27,82,"2021-06-22",180]
[null,"2021-06-15",2.1,null,null,null,null,null,550,400,110,5,13,"2021-06-15",7.7,"2021-03-09",29,110,"2021-06-15",200]
[null,"2021-06-08",3,null,null,null,null,null,500,410,74,5,11,"2021-06-08",7.4,"2021-02-09",29,74,"2021-06-08",180]
[null,"2021-06-01",2.2000000000000002,null,null,null,null,null,510,360,82,5,12,"2021-06-01",7.6,"2021-01-12",26,82,"2021-06-01",180]
[null,"2021-05-25",1.9,null,null,null,null,null,540,420,97,5,12,"2021-05-25",7.8,null,null,97,"2021-05-25",190]
[null,"2021-05-04",2.8,null,null,null,null,null,530,410,81,5,12,"2021-05-04",7.5,null,null,81,"2021-05-04",180]
[null,"2021-04-27",2.7,null,null,null,null,null,560,420,97,5,12,"2021-04-27",7.6,null,null,97,"2021-04-27",190]
[null,"2021-04-20",2.8,null,null,null,null,null,540,430,72,5,12,"2021-04-20",7.6,null,null,72,"2021-04-20",180]
[null,"2021-04-13",2.5,null,null,null,null,null,500,310,98,5,11,"2021-04-13",7.8,null,null,98,"2021-04-13",170]
[null,"2021-04-06",3.2,null,null,null,null,null,510,390,90,5,11,"2021-04-06",7.8,null,null,90,"2021-04-06",170]
[null,"2021-03-30",2.5,null,null,null,null,null,490,340,94,5,11,"2021-03-30",7.7,null,null,94,"2021-03-30",170]
[null,"2021-03-23",3.2,null,null,"December",null,null,550,350,99,5,12,"2021-03-23",7.8,null,null,99,"2021-03-23",190]
[null,"2021-03-16",2.7,null,null,"November",null,null,460,340,69,5,9.4,"2021-03-16",7.6,null,null,69,"2021-03-16",140]
[null,"2021-03-09",3.2,null,null,"October",null,null,560,420,69,5,11,"2021-03-09",7.6,null,null,69,"2021-03-09",170]
[null,"2021-03-03",3.1,null,null,"September",null,null,520,360,84,5,12,"2021-03-03",7.7,null,null,84,"2021-03-03",190]
[null,"2021-02-23",2.6,null,null,"August",null,null,540,320,69,5,13,"2021-02-23",7.6,null,null,69,"2021-02-23",200]
[null,"2021-02-16",3.5,null,null,"July",1.39,1.39,490,320,64,5,12,"2021-02-16",7.6,null,null,64,"2021-02-16",170]
[null,"2021-02-09",3.4,null,null,"June",1.22,1.3,550,440,82,5,13,"2021-02-09",7.7,null,null,82,"2021-02-09",190]
[null,"2021-02-02",3,null,null,"May",1.37,1.34,560,380,76,5,12,"2021-02-02",7.8,null,null,76,"2021-02-02",190]
[null,"2021-01-28",3.2,null,null,"April",1.4,1.4,580,380,100,5,13,"2021-01-28",7.9,null,null,100,"2021-01-28",210]
[null,"2021-01-19",3.5,null,null,"March",1.26,1.45,540,380,79,5,12,"2021-01-19",7.8,null,null,79,"2021-01-19",180]
[null,"2021-01-12",3.1,null,null,"Feb",1.21,1.51,510,290,100,5,12,"2021-01-12",7.9,null,null,100,"2021-01-12",190]
[null,"2021-01-05",3.1,null,null,"Jan",1.2,1.48,520,340,82,5,11,"2021-01-05",7.8,null,null,85,"2021-01-05",170]