# 2024 Consumer Confidence Report

## Water System Information

Water System Name: Pine Valley Trailer Park

Report Date: April 21, 2025

Type of Water Source(s) in Use: Groundwater

Name and General Location of Source(s): Well #1 and Well #4, Pine Valley Trailer Park

Drinking Water Source Assessment Information: A drinking water source assessment was completed for Well #1 in 2002 (on file with San Diego County DEH)

Time and Place of Regularly Scheduled Board Meetings for Public Participation: No board meetings are scheduled.  If a resident would like to discuss the water, please contact Christina Whittle.

For More Information, Contact: Christina Whittle at 619-842-4055.

## About This Report

We test the drinking water quality for many constituents as required by state and federal regulations.  This report shows the results of our monitoring for the period of January 1 to December 31, 2024, and may include earlier monitoring data.

## Importance of This Report Statement in Spanish

Este informe contiene información muy importante sobre su agua para beber.  Favor de comunicarse con Pine Valley Trailer Park a 27521 Old Highway 80, Guatay, CA  91931 o 619-842-4055 para asistir en español.

## Terms Used in This Report

| Term | Definition |
| --- | --- |
| Level 1 Assessment | A Level 1 assessment is a study of the water system to identify potential problems and determine (if possible) why total coliform bacteria have been found in our water system. |
| Level 2 Assessment | A Level 2 assessment is a very detailed study of the water system to identify potential problems and determine (if possible) why an E. coli MCL violation has occurred and/or why total coliform bacteria have been found in our water system on multiple occasions. |
| Maximum Contaminant Level (MCL) | The highest level of a contaminant that is allowed in drinking water. Primary MCLs are set as close to the PHGs (or MCLGs) as is economically and technologically feasible. Secondary MCLs are set to protect the odor, taste, and appearance of drinking water. |
| Maximum Contaminant Level Goal (MCLG) | The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs are set by the U.S. Environmental Protection Agency (U.S. EPA). |
| Maximum Residual Disinfectant Level (MRDL) | The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants. |
| Maximum Residual Disinfectant Level Goal (MRDLG) | The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants. |
| Primary Drinking Water Standards (PDWS) | MCLs and MRDLs for contaminants that affect health along with their monitoring and reporting requirements, and water treatment requirements. |
| Public Health Goal (PHG) | The level of a contaminant in drinking water below which there is no known or expected risk to health. PHGs are set by the California Environmental Protection Agency. |
| Regulatory Action Level (AL) | The concentration of a contaminant which, if exceeded, triggers treatment or other requirements that a water system must follow. |
| Secondary Drinking Water Standards (SDWS) | MCLs for contaminants that affect taste, odor, or appearance of the drinking water. Contaminants with SDWSs do not affect the health at the MCL levels. |
| Treatment Technique (TT) | A required process intended to reduce the level of a contaminant in drinking water. |
| Variances and Exemptions | Permissions from the State Water Resources Control Board (State Board) to exceed an MCL or not comply with a treatment technique under certain conditions. |
| ND | Not detectable at testing limit. |
| ppm | parts per million or milligrams per liter (mg/L) |
| ppb | parts per billion or micrograms per liter (µg/L) |
| ppt | parts per trillion or nanograms per liter (ng/L) |
| ppq | parts per quadrillion or picogram per liter (pg/L) |
| pCi/L | picocuries per liter (a measure of radiation) |

## Sources of Drinking Water and Contaminants that May Be Present in Source Water

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

- Microbial contaminants, such as viruses and bacteria, that may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

- Inorganic contaminants, such as salts and metals, that can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

- Pesticides and herbicides may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

- Organic chemical contaminants, including synthetic and volatile organic chemicals, that are byproducts of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, agricultural application, and septic systems.

- Radioactive contaminants, that can be naturally-occurring or be the result of oil and gas production and mining activities.

## Regulation of Drinking Water and Bottled Water Quality

In order to ensure that tap water is safe to drink, the U.S. EPA and the State Board prescribe regulations that limit the amount of certain contaminants in water provided by public water systems.  The U.S. Food and Drug Administration regulations and California law also establish limits for contaminants in bottled water that provide the same protection for public health.

## About Your Drinking Water Quality

### Drinking Water Contaminants Detected

Tables 1, 2, 3, 4, 5, 6, 7, and 8 list all of the drinking water contaminants that were detected during the most recent sampling for the constituent.  The presence of these contaminants in the water does not necessarily indicate that the water poses a health risk.  The State Board allows us to monitor for certain contaminants less than once per year because the concentrations of these contaminants do not change frequently.  Some of the data, though representative of the water quality, are more than one year old.  Any violation of an AL, MCL, MRDL, or TT is asterisked.  Additional information regarding the violation is provided later in this report.

Table 1.  Sampling Results Showing the Detection of Coliform Bacteria

Complete if bacteria are detected.

| Microbiological Contaminants | Highest No. of Detections | No. of Months in Violation | MCL | MCLG | Typical Source of Bacteria |
| --- | --- | --- | --- | --- | --- |
| E. coli | 2024 0 | 0 | (a) | 0 | Human and animal fecal waste |

(a) Routine and repeat samples are total coliform-positive and either is E. coli-positive or the system fails to take repeat samples following E. coli-positive routine sample or system fails to analyze total coliform-positive repeat sample for E. coli.

Table 2.  Sampling Results Showing the Detection of Lead and Copper

Complete if lead or copper is detected in the last sample set.

| Lead and Copper | Sample Date | No. of Samples Collected | 90th Percentile Level Detected | No. Sites Exceeding AL | AL | PHG | Typical Source of Contaminant |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Lead (ppb) | 2021 | 5 | 0 | 0 | 15 | 0.2 | Internal corrosion of household water plumbing systems; discharges from industrial manufacturers; erosion of natural deposits |
| Copper (ppm) | 2021 | 5 | 0.045 | 0 | 1.3 | 0.3 | Internal corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives |

Table 3.  Sampling Results for Sodium and Hardness

| Chemical or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL | PHG (MCLG) | Typical Source of Contaminant |
| --- | --- | --- | --- | --- | --- | --- |
| Sodium (ppm) | 2024 | 29 | N/A | None | None | Salt present in the water and is generally naturally occurring |
| Hardness (ppm) | 2024 | 280 | N/A | None | None | Sum of polyvalent cations present in the water, generally magnesium and calcium, and are usually naturally occurring |

Table 4.  Detection of Contaminants with a Primary Drinking Water Standard

| Chemical or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL [MRDL] | PHG (MCLG) [MRDLG] | Typical Source of Contaminant |
| --- | --- | --- | --- | --- | --- | --- |
| TTHM (ppb) | 2024 | 2.2 | N/A | 80 | N/A | Disinfection by-product |
| Fluoride (ppm) | 2024 | 0.14 | N/A | 2 | 1 | Erosion of natural deposits |
| HAA5 (ppb) | 2024 | 0.0 | N/A | 60 | N/A | Disinfection by-product |
| GrossAlpha Particle Activity (pCi/L) | 2024 | 3.32 | N/A | 15 | (0) | Erosion of natural deposits |
| Uranium (pCi/L) | 2023 | 5.2 | N/A | 20 | 0.43 | Erosion of natural deposits |
| Lead (ppb)* | 2024 | 0 | N/A | 5 | 0.2 | Erosion of natural deposits |

Table 5.  Detection of Contaminants with a Secondary Drinking Water Standard

| Chemical or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | SMCL | PHG (MCLG) | Typical Source of Contaminant |
| --- | --- | --- | --- | --- | --- | --- |
| Iron (ppb)* | 2024 | 5047 | 0-25000 | 300 | N/A | Erosion of natural deposits |
| Nickel | 2024 | 10 | N/A | 100 | 12 | Erosion of natural deposits |
| Sulfate (ppm) | 2024 | 54 | N/A | 250 | N/A | Erosion of natural deposits |
| Manganese (ppb)* | 2024 | 502 | 0-3200 | 50 | N/A | Erosion of natural deposits |
| Total Dissolved Solids (ppm) | 2024 | 400 | N/A | 500 | N/A | Erosion of natural deposits |
| Turbidity (NTU) | 2024 | 3.1 | N/A | 5 | N/A | Soil runoff |
| Chloride (ppm) | 2024 | 42 | N/A | 250 | N/A | Erosion of natural deposits |
| Specific Conductance (uS/cm) | 2024 | 640 | N/A | 1600 | N/A | Substances that form ions when in water; seawater influence |
| Color* | 2024 | 25 | N/A | 15 | N/A | Naturally-occurring organic materials |
| Odor (TON) | 2023 | 1 | 1 | 3 | N/A | Naturally-occurring organic materials |

### Additional General Information on Drinking Water

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that the water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the U.S. EPA’s Safe Drinking Water Hotline (1-800-426-4791).

Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections.  These people should seek advice about drinking water from their health care providers.  U.S. EPA/Centers for Disease Control (CDC) guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (1-800-426-4791).

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. Pine Valley Trailer Park is responsible for providing high quality drinking water but cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline (1-800-426-4791) or at http://www.epa.gov/lead.

The Pine Valley Trailer Park Water System recently conducted an inventory of all water service lines, which is the pipe that connects your building or other structure to the water main.  The purpose of the inventory is to identify the material of these service lines and fittings, including the customer-owned side of the water service line.

The pipe that connects your building or other structure to the water main was identified as an unknown material. Lead service lines or certain galvanized pipe can potentially place you at risk for exposure to lead; therefore, this line will need to be replaced if the unknown material is found to be lead.

We are working with CDM Smith Engineering to make final determinations of all service lines.We anticipate replacing any service line determined to contain lead. This may be expedited if you plan to alter or replace the water service line on your property at an earlier time because we may be required to replace the system portion.

The Pine Valley Trailer Park Water System routinely monitors for lead in the distribution system and the most recent water sample results received on 8/7/2024 showed that the 90th percentile of all lead levels measured in the distribution system was Non Detect.  The action level for lead in drinking water is 0.015 milligrams per liter (mg/L) or 15 micrograms per liter (µg/L).

To replace lead or galvanize, requiring replacement service lines, to verify the material of an unknown service line, for information on financial programs to assist with service line replacements or for any other information, contact Pine Valley Trailer Park Water System at 619-842-4055.

### Summary Information for Violation of a MCL, MRDL, AL, TT, or Monitoring and Reporting Requirement

Table 6. Violation of a MCL, MRDL, AL, TT or Monitoring Reporting Requirement

| Violation | Explanation | Duration | Actions Taken to Correct Violation | Health Effects Language |
| --- | --- | --- | --- | --- |
| Iron MCL exceedance and monitoring | Naturally occurring | Ongoing | Plans to install an Iron reducing filtration system. Increased testing. | No effects on health. Only affects aesthetic quality of water |
| Manganese MCL exceedance and monitoring | Naturally occurring | Ongoing | Plans to install Manganese reducing filtration system. Increased testing. | Manganese exposures resulted in neurological effects. High levels of manganese in people have been shown to result in adverse effects to the nervous system. |
| Gross Alpha MCL exceedance | Naturally occurring | Ongoing | Monitoring levels of Gross Alpha until a determination can be made if PVTP exceeds MCL for Gross Alpha | Certain minerals are radioactive and may emit a form of radiation known as alpha radiation. Some people who drink water containing alpha emitters in excess of the MCL over many years may have an increased risk of getting cancer. |

### Summary Information for Violation of a MCL, MRDL, AL, TT, or Monitoring and Reporting Requirement

Table 7. Violation of a MCL, MRDL, AL, TT or Monitoring Reporting Requirement

| Violation | Explanation | Duration | Actions Taken to Correct Violation | Health Effects Language |
| --- | --- | --- | --- | --- |
| On March 19, 2025, the State Water Resources Control Board, Division of Drinking Water (DDW) issued Compliance Order 06_26_25J_002 for Iron and Manganese Maximum Contaminant Level, Monitoring, and Reporting Violations. | Pine Valley Trailer Park was ordered to update the water treatment system with additional treatment processes, monitoring, reporting, and safeguards. | We are updating the water treatment operating system with additional filtrations, monitoring and safeguards to comply with the directive from the State Water Resources Control Board. We are also planning to annex a larger water system. | Pine Valley Trailer Park has ordered additional monthly testing for Iron and Manganese levels, actively pursuing consolidation with local water systems and asked for technical assistance to install an iron and manganese reducing filtration system. The time anticipated to finish the filtration project is three years to complete. Consolidation into a local water system would take an estimated 5 years to complete. | U.S EPA set a lifetime health advisory (HA) level of 0.3 mg/L for chronic exposure to manganese. There can be potential health concerns of neurotoxicity when prolonged exposures to concentrations of manganese above the HA level occurs. |

### For Water Systems Providing Groundwater as a Source of Drinking Water

Table 8.  Sampling Results Showing Fecal Indicator-Positive Groundwater Source Samples

| Microbiological Contaminants (complete if fecal-indicator detected) | Total No. of Detections | Sample Dates | MCL [MRDL] | PHG (MCLG) [MRDLG] | Typical Source of Contaminant |
| --- | --- | --- | --- | --- | --- |
| E. coli | 0 | 2024 | 0 | (0) | Human and animal fecal waste |
| Enterococci | 0 | 2024 | TT | N/A | Human and animal fecal waste |
| Coliphage | 0 | 2024 | TT | N/A | Human and animal fecal waste |