## Source Water 2020
2020 Consumer Confidence Report Data — Carlsbad Desalination Plant Source Water Date: January 1, 2020 to December 31, 2020
Source Water (a)
Agua Hedionda Lagoon
|  | State or |  |  |  | Carlsbad | Major Sources in Drinking Water
|  | Federal | PHG | State | Range | Desalination
Parameter | Units | MCL | (MCLG) | DLR | Average | Plant
OTHER PARAMETERS
MICROBIOLOGICAL
Total Coliform | MPN/ |  |  |  | Range | ND-19683
Bacteria | 100 ml | NA | NA | NA | Median | 41 | Naturally present in the environment
| MPN/ |  |  |  | Range | ND-2098
E. coli | 100 ml | NA | NA | NA | Median | 20 | Human and animal fecal waste
ABBREVIATIONS AND FOOTNOTES
Abbreviations
AL | Action Level |  |  |  |  | NL | Notification Level
CDPH | California Department of Public Health |  |  |  |  | NTU | Nephelometric Turbidity Units
CFU | Colony-Forming Units |  |  |  |  | pCi/L | picocurie per liter
DLR | Detection Limits for Purposes of Reporting |  |  |  |  | PHG | Public Health Goal
MBAS | Methylene Blue Active Substances |  |  |  |  | ppb | parts per billion or micrograms per liter (µg/L)
MCL | Maximum Contaminant Level |  |  |  |  | ppm | parts per million or milligrams per liter (mg/L)
MCLG | Maximum Contaminant Level Goal |  |  |  |  | ppq | parts per quadrillion or nanograms per liter (ng/L)
MFL | Million Fibers per Liter |  |  |  |  | ppt | parts of the paramter per trillion parts of the solution
NA | Not Applicable |  |  |  |  | TT | Treatment Technique is a required process intended
NC | Not Collected | [5 empty] | to reduce the level of a contaminant in drinking water
ND | Not Detected |  |  |  |  | µS/cm | microSiemen per centimeter; or micromho per centimeter (µmho/cm)
Footnotes
(a) | A source water assessment (Watershed Sanitary Survey) was completed in August 2005 and is available by contacting your local water utility. A number of potential contaminant sources evaluated in the Watershed Sanitary Survey are not likely to impact the water quality at the desalination plant intake.

## Plant Influent 2020
2020 Consumer Confidence Report Data — Carlsbad Desalination Plant Influent Date: January 1, 2020 to December 31, 2020
Treatment Plant Influent
|  | State or |  |  |  | Carlsbad | Major Sources in Drinking Water
|  | Federal | PHG | State | Range | Desalination
Parameter | Units | MCL | (MCLG) | DLR | Average | Plant
PRIMARY STANDARDS—Mandatory Health-Related Standards
ORGANIC CHEMICALS
Pesticides/PCBs
[5 empty] | Range | ND
Alachlor | ppb | NA | NA | 1 | Average | ND | Runoff from herbicide used on row crops
[5 empty] | Range | ND | Runoff from herbicide used on row crops
Atrazine | ppb | NA | NA | 0.5 | Average | ND | and along highways
[5 empty] | Range | ND | Runoff/leaching from herbicide used on rice,
Bentazon | ppb | NA | NA | 2 | Average | ND | alfalfa, and grapes
[5 empty] | Range | ND | Leaching of soil fumigant used on rice, alfalfa,
Carbofuran | ppb | NA | NA | 5 | Average | ND | and grapes
[5 empty] | Range | ND
Chlordane | ppt | NA | NA | 100 | Average | ND | Residue of banned insecticide
[5 empty] | Range | ND | Runoff from herbicide used on row crops,
2,4-D | ppb | NA | NA | 10 | Average | ND | rangeland, lawns, and aquatic weeds
[5 empty] | Range | ND | Runoff from herbicide used on rights-of-way,
Dalapon | ppb | NA | NA | 10 | Average | ND | crops, and landscapes
Dibromochloropropane |  |  |  |  | Range | ND | Banned nematocide that may still be present
(DBCP) | ppt | NA | NA | 10 | Average | ND | in soils
[5 empty] | Range | ND | Runoff from herbicide used on soybeans,
Dinoseb | ppb | NA | NA | 2 | Average | ND | vegetables, and fruits
[5 empty] | Range | ND | Runoff from herbicide used for terrestrial
Diquat | ppb | NA | NA | 4 | Average | ND | and aquatic weeds
[5 empty] | Range | ND | Runoff from herbicide used for terrestrial
Endothall | ppb | NA | NA | 45 | Average | ND | and aquatic weeds
[5 empty] | Range | ND
Endrin | ppb | NA | NA | 0.1 | Average | ND | Residue of banned insecticide and rodenticide
Ethylene Dibromide |  |  |  |  | Range | ND | Petroleum refinery discharges; underground
(EDB) | ppt | NA | NA | 20 | Average | ND | gas tank leaks
[5 empty] | Range | ND
Glyphosate | ppb | NA | NA | 25 | Average | ND | Runoff from herbicide use
[5 empty] | Range | ND
Heptachlor | ppt | NA | NA | 10 | Average | ND | Residue of banned insecticide
[5 empty] | Range | ND
Heptachlor Epoxide | ppt | NA | NA | 10 | Average | ND | Breakdown product of heptachlor
[5 empty] | Range | ND | Runoff/leaching from insecticide used on cattle,
Lindane | ppt | NA | NA | 200 | Average | ND | lumber, and gardens
[5 empty] | Range | ND
Methoxychlor | ppb | NA | NA | 10 | Average | ND | Runoff/leaching from insecticide uses
[5 empty] | Range | ND
Molinate (Ordram) | ppb | NA | NA | 2 | Average | ND | Runoff/leaching from herbicide used on rice
[5 empty] | Range | ND
Oxamyl (Vydate) | ppb | NA | NA | 20 | Average | ND | Runoff/leaching from insecticide uses
[5 empty] | Range | ND | Discharge from wood preserving factories
Pentachlorophenol | ppb | NA | NA | 0.2 | Average | ND | other insecticidal and herbicidal uses
[5 empty] | Range | ND
Picloram | ppb | NA | NA | 1 | Average | ND | Herbicide runoff
Polychlorinated |  |  |  |  | Range | ND
Biphenyls (PCBs) | ppt | NA | NA | 500 | Average | ND | Runoff from landfills; discharge of waste chemicals
[5 empty] | Range | ND
Simazine | ppb | NA | NA | 1 | Average | ND | Herbicide runoff
[5 empty] | Range | ND
Thiobencarb | ppb | NA | NA | 1 | Average | ND | Runoff leaching from rice herbicide
2,4,5-TP |  |  |  |  | Range | ND
(Silvex) | ppb | NA | NA | 1 | Average | ND | Residue of banned herbicide
[5 empty] | Range | ND | Runoff/leaching from insecticide used on
Toxaphene | ppb | NA | NA | 1 | Average | ND | cotton and cattle
Semi-Volatile Organic Compounds (a)
[5 empty] | Range | ND | Leaching from water storage tank linings
Benzo(a)pyrene | ppt | NA | NA | 100 | Average | ND | and distribution lines
[5 empty] | Range | ND
Di(2-ethylhexyl)adipate | ppb | NA | NA | 5 | Average | ND | Discharge from chemical factories
[5 empty] | Range | ND | Chemical factory discharge; inert ingredient
Di(2-ethylhexyl)phthalate | ppb | NA | NA | 3 | Average | ND | in pesticides
[5 empty] | Range | ND | Discharge from metal refineries & agrichemicals
Hexachlorobenzene | ppb | NA | NA | 0.5 | Average | ND | factories; wastewater chlorination reaction by-product
[5 empty] | Range | ND
Hexachlorocyclopentadiene | ppb | NA | NA | 1 | Average | ND | Discharge from chemical factories
2,3,7,8-TCDD |  |  |  |  | Range | ND | Waste incineration emissions; chemical factory
(Dioxin) | ppq | NA | NA | 5 | Average | ND | discharge
Volatile Organic Compounds
[5 empty] | Range | ND | Plastics factory discharge; gas tanks
Benzene | ppb | NA | NA | 0.5 | Average | ND | and landfill leaching
[5 empty] | Range | ND | Discharge from chemical plants and other industrial
Carbon Tetrachloride | ppt | NA | NA | 500 | Average | ND | waste
[5 empty] | Range | ND
1,2-Dichlorobenzene | ppb | NA | NA | 0.5 | Average | ND | Discharge from industrial chemical factories
[5 empty] | Range | ND
1,4-Dichlorobenzene | ppb | NA | NA | 0.5 | Average | ND | Discharge from industrial chemical factories
[5 empty] | Range | ND
1,1-Dichloroethane | ppb | NA | NA | 0.5 | Average | ND | Extraction and degreasing solvent; fumigant
[5 empty] | Range | ND
1,2-Dichloroethane | ppt | NA | NA | 500 | Average | ND | Discharge from industrial chemical factories
[5 empty] | Range | ND
1,1-Dichloroethylene | ppb | NA | NA | 0.5 | Average | ND | Discharge from industrial chemical factories
[5 empty] | Range | ND | Industrial chemical factory discharge;
cis-1,2-Dichloroethylene | ppb | NA | NA | 0.5 | Average | ND | by-product of TCE and PCE biodegradation
[5 empty] | Range | ND | Industrial chemical factory discharge;
trans-1,2-Dichloroethylene | ppb | NA | NA | 0.5 | Average | ND | by-product of TCE and PCE biodegradation
Dichloromethane |  |  |  |  | Range | ND-0.92 | Discharge from pharmaceutical
(Methylene Chloride) | ppb | NA | NA | 0.5 | Average | ND | and chemical factories
[5 empty] | Range | ND | Industrial chemical factory discharge;
1,2-Dichloropropane | ppb | NA | NA | 0.5 | Average | ND | primary component of some fumigants
[5 empty] | Range | ND | Runoff/leaching from nematocide used on
1,3-Dichloropropene | ppt | NA | NA | 500 | Average | ND | croplands
[5 empty] | Range | ND | Petroleum refinery discharges; industrial
Ethylbenzene | ppb | NA | NA | 0.5 | Average | ND | chemical factories
Methyl-tert-butyl ether |  |  |  |  | Range | ND
(MTBE) | ppb | NA | NA | 3 | Average | ND | Gasoline discharge from watercraft engines
[5 empty] | Range | ND | Discharge from industrial, agricultural, and chemical
Monochlorobenzene | ppb | NA | NA | 0.5 | Average | ND | factories, and dry cleaners
[5 empty] | Range | ND | Rubber and plastics factories discharges;
Styrene | ppb | NA | NA | 0.5 | Average | ND | landfill leaching
[5 empty] | Range | ND | Discharge from industrial, agricultural, and chemical
1,1,2,2-Tetrachloroethane | ppb | NA | NA | 0.5 | Average | ND | factories; solvent uses
Tetrachloroethylene |  |  |  |  | Range | ND | Discharge from factories, dry cleaners,
(PCE) | ppb | NA | NA | 0.5 | Average | ND | and auto shops
[5 empty] | Range | ND
Toluene | ppb | NA | NA | 0.5 | Average | ND | Discharge from petroleum and chemical refineries
[5 empty] | Range | ND
1,2,4-Trichlorobenzene | ppb | NA | NA | 0.5 | Average | ND | Discharge from textile-finishing factories
[5 empty] | Range | ND | Metal degreasing site discharge; manufacture
1,1,1-Trichloroethane | ppb | NA | NA | 0.5 | Average | ND | of food wrappings
[5 empty] | Range | ND
1,1,2-Trichloroethane | ppb | NA | NA | 0.5 | Average | ND | Discharge from industrial chemical factories
Trichloroethylene |  |  |  |  | Range | ND | Discharge from metal degreasing sites and
(TCE) | ppb | NA | NA | 0.5 | Average | ND | other factories
Trichlorofluoromethane |  |  |  |  | Range | ND | Industrial factory discharge; degreasing solvent;
(Freon-11) | ppb | NA | NA | 5 | Average | ND | propellant
1,1,2-Trichloro-1,2,2- |  |  |  |  | Range | ND | Discharge from metal degreasing sites and other
trifluoroethane (Freon-113) | ppm | NA | NA | 0.01 | Average | ND | factories; dry cleaning solvent; refrigerant
[5 empty] | Range | ND | Leaching from PVC piping; plastic factory
Vinyl Chloride | ppt | NA | NA | 500 | Average | ND | discharge; by-product of TCE and PCE biodegradation
[5 empty] | Range | ND | Discharge from petroleum and chemical refineries;
Xylenes | ppm | NA | NA | 0.0005 | Average | ND | fuel solvent
INORGANIC CHEMICALS
[5 empty] | Range | ND | Petroleum refinery discharges; fire retardants;
Antimony | ppb | NA | NA | 6 | Average | ND | solder; electronics
[5 empty] | Range | ND | Natural deposits erosion, glass and electronics
Arsenic | ppb | NA | NA | 2 | Average | ND | production wastes
[5 empty] | Range | ND-130 | Oil and metal refineries discharges;
Barium | ppb | NA | NA | 100 | Average | 66.15 | natural deposits erosion
[5 empty] | Range | ND | Discharge from metal refineries, aerospace,
Beryllium | ppb | NA | NA | 1 | Average | ND | and defense industries
[5 empty] | Range | ND | Internal corrosion of galvanized pipes;
Cadmium | ppb | NA | NA | 1 | Average | ND | natural deposits erosion
[5 empty] | Range | ND | Discharge from steel and pulp mills;
Chromium | ppb | NA | NA | 10 | Average | ND | natural deposits erosion
[5 empty] | Range | ND | Runoff/leaching from natural deposits;
Chromium VI | ppb | NA | NA | 1 | Average | ND | discharge from industrial waste factories
[5 empty] | Range | ND | Discharge from steel/metal, plastic, and
Cyanide | ppb | NA | NA | 100 | Average | ND | fertilizer factories
Fluoride |  |  |  |  | Range | 0.760-1 | Erosion of natural deposits; discharge from
(naturally-occurring) | ppm | NA | NA | 0.1 | Average | 0.837 | fertilizer and aluminum factories
[5 empty] | Range | ND | House pipes internal corrosion;
Lead | ppb | NA | NA | 5 | Average | ND | erosion of natural deposits
[5 empty] | Range | ND | Erosion of natural deposits; factory discharge;
Mercury | ppb | NA | NA | 1 | Average | ND | landfill runoff
[5 empty] | Range | ND | Erosion of natural deposits; discharge from
Nickel | ppb | NA | NA | 10 | Average | ND | metal factories
[5 empty] | Range | ND | Runoff and leaching from fertilizer use; septic tank
Nitrate (as Nitrogen) | ppm | NA | NA | 0.4 | Average | ND | and sewage; natural deposits erosion
[5 empty] | Range | ND | Runoff and leaching from fertilizer use; septic tank
Nitrite (as Nitrogen) | ppm | NA | NA | 0.4 | Average | ND | and sewage; natural deposits erosion
[5 empty] | Range | ND
Perchlorate | ppb | NA | NA | 4 | Average | ND | Industrial waste discharge
[5 empty] | Range | ND-230 | Refineries, mines, and chemical
Selenium | ppb | NA | NA | 5 | Average | 148 | waste discharge; runoff from livestock lots
[5 empty] | Range | ND | Leaching from ore processing; electronics
Thallium | ppb | NA | NA | 1 | Average | ND | factory discharge
RADIOLOGICALS
Gross Alpha |  |  |  |  | Range | 23.6-71.6
Particle Activity | pCi/L | NA | NA | 3 | Average | 49.98 | Erosion of natural deposits
Gross Beta |  |  |  |  | Range | 1.03-260
Particle Activity | pCi/L | NA | NA | 4 | Average | 157 | Decay of natural and man-made deposits
[5 empty] | Range | ND
Radium-226 | pCi/L | NA | NA | 1 | Average | ND | Erosion of natural deposits
[5 empty] | Range | ND
Radium-228 | pCi/L | NA | NA | 1 | Average | ND | Erosion of natural deposits
Combined |  |  |  |  | Range | -0.34-0.682
Radium-226 + 228 | pCi/L | NA | NA | NA | Average | 0.114 | Erosion of natural deposits
[5 empty] | Range | ND
Strontium-90 | pCi/L | NA | NA | 2 | Average | ND | Decay of natural and man-made deposits
[5 empty] | Range | ND
Tritium | pCi/L | NA | NA | 1,000 | Average | ND | Decay of natural and man-made deposits
[5 empty] | Range | ND-2.88
Uranium | pCi/L | NA | NA | 1 | Average | 1.96 | Erosion of natural deposits
SECONDARY STANDARDS—Aesthetic Standards
[5 empty] | Range | ND | Residue from water treatment process;
Aluminum | ppb | NA | NA | 50 | Average | ND | natural deposits erosion
[5 empty] | Range | 19000-20900 | Runoff/leaching from natural deposits;
Chloride | ppm | NA | NA | NA | Average | 19975 | seawater influence
| Color |  |  |  | Range | ND
Color | Units | NA | NA | NA | Average | ND | Naturally-occurring organic materials
[5 empty] | Range | ND | Internal corrosion of household pipes; natural
Copper | ppm | NA | NA | 0.05 | Average | ND | deposits erosion; wood preservatives leaching
Foaming Agents |  |  |  |  | Range | ND
(MBAS) | ppb | NA | NA | NA | Average | ND | Municipal and industrial waste discharges
[5 empty] | Range | ND
Iron | ppb | NA | NA | 100 | Average | ND | Leaching from natural deposits; industrial wastes
[5 empty] | Range | ND
Manganese | ppb | NA | NA | 20 | Average | ND | Leaching from natural deposits
[5 empty] | Range | ND
MTBE | ppb | NA | NA | 3 | Average | ND | Gasoline discharge from watercraft engines
[5 empty] | Range | ND
Odor Threshold | TON | NA | NA | 1 | Average | ND | Naturally-occurring organic materials
[5 empty] | Range | ND
Silver | ppb | NA | NA | 10 | Average | ND | Industrial discharges
[5 empty] | Range | 33.23-52.05 | Source water is the pacific ocean, conductivity
Specific Conductance | µS/cm | NA | NA | NA | Average | 50.32 | will vary widely from surface and groundwater
[5 empty] | Range | NA | Runoff/leaching from natural deposits;
Sulfate | ppm | NA | NA | 0.5 | Average | NA | industrial wastes
[5 empty] | Range | ND
Thiobencarb | ppb | NA | NA | 1 | Average | ND | Runoff/leaching from rice herbicide
Total Dissolved Solids |  |  |  |  | Range | 25040-42260 | Runoff/leaching from natural deposits;
(TDS) | ppm | NA | NA | NA | Average | 37913 | seawater influence
[5 empty] | Range | 0.07-12.47
Turbidity | NTU | NA | NA | 0.1 | Average | 1.11 | Soil runoff
[5 empty] | Range | ND | Runoff/leaching from natural deposits;
Zinc | ppm | NA | NA | 0.05 | Average | ND | industrial wastes
OTHER PARAMETERS
CHEMICAL
[5 empty] | Range | 104-118
Alkalinity | ppm | NA | NA | NA | Average | 112
[5 empty] | Range | 2.4-16 | Runoff/leaching from natural deposits;
Boron | ppm | NA | NA | NA | Average | 4.7 | industrial wastes
[5 empty] | Range | 380-432
Calcium | ppm | NA | NA | NA | Average | 411
[5 empty] | Range | 950-1080
Hardness | ppm | NA | NA | NA | Average | 1028
[5 empty] | Range | 1200-1400
Magnesium | ppm | NA | NA | NA | Average | 1300
| pH |  |  |  | Range | 6.11-11.99
pH | Units | NA | NA | NA | Average | 8.36
[5 empty] | Range | 69.47-701.94
Potassium 40 | pCi/L | NA | NA | NA | Average | 333.39
[5 empty] | Range | NA
Radon | pCi/L | NA | NA | 100 | Average | NA
[5 empty] | Range | 9600-12000
Sodium | ppm | NA | NA | NA | Average | 10475
[5 empty] | Range | 19000-20900
Chloride | ppm | NA | NA | NA | Average | 19975
[5 empty] | Range | ND-3.4
Total Organic Carbon (TOC) | ppm | NA | NA | NA | Average | 1.91 | Various natural and man-made sources
[5 empty] | Range | NA
Vanadium | ppb | NL = 50 | NA | 3 | Average | NA | Naturally-occurring; industrial waste discharge
Dichlorodifluoromethane |  |  |  |  | Range | NA
(Freon 12) | ppb | NL = 1,000 | NA | 0.5 | Average | NA | Industrial waste discharge
Ethyl-tert-butyl ether |  |  |  |  | Range | NA
(ETBE) | ppb | NA | NA | 3 | Average | NA | Used as gasoline additive
tert-Amyl-methyl ether |  |  |  |  | Range | NA
(TAME) | ppb | NA | NA | 3 | Average | NA | Used as gasoline additive
tert-Butyl alcohol |  |  |  |  | Range | NA | MTBE breakdown product; used as gasoline
(TBA) | ppb | NL = 12 | NA | 2 | Average | NA | additive
ABBREVIATIONS AND FOOTNOTES
Abbreviations
AL | Action Level |  |  |  | NTU | Nephelometric Turbidity Units
CFU | Colony-Forming Units |  |  |  | PHG | Public Health Goal
DLR | Detection Limits for Purposes of Reporting |  |  |  | ppb | parts per billion or micrograms per liter (µg/L)
MCL | Maximum Contaminant Level |  |  |  | ppm | parts per million or milligrams per liter (mg/L)
MCLG | Maximum Contaminant Level Goal |  |  |  | RAA | Running Annual Average; highest RAA is the highest of all
NA | Not Applicable |  |  |  |  | Running Annual Averages calculated as average
NC | Not Collected |  |  |  |  | of the all samples collected within a 12-month period
ND | Not Detected |  |  |  | TT | Treatment Technique is a required process intended to reduce
NL | Notification Level |  |  |  |  | the level of a contaminant in drinking water
[5 empty] | µS/cm | microSiemen per centimeter; or micromho per centimeter (µmho/cm)

## Plant Effluent 2020
2020 Consumer Confidence Report Data — Carlsbad Desalination Plant Effluent Data Date: January 1, 2020 to December 31, 2020
Treatment Plant Effluent
State or
|  | Federal | PHG |  |  | Carlsbad | Major Sources in Drinking Water
|  | MCL | (MCLG) | State | Range | Desalination
Parameter | Units | [MRDL] | [MRDLG] | DLR | Average | Plant
PRIMARY STANDARDS—Mandatory Health-Related Standards
CLARITY
Combined Filter | NTU | TT = 0.1 (a) |  |  | Highest | 0.08
Effluent Turbidity | % | TT (a) | NA | NA | % ≤ 0.1 | 100% | Soil runoff
MICROBIOLOGICAL
Total Coliform |  |  |  |  | Range | ND
Bacteria (b) | % | 5.0 | (0) | NA | Average | ND | Naturally present in the environment
[5 empty] | Range | ND
E. coli | (c) | (c) | (0) | NA | Average | ND | Human and animal fecal waste
Heterotrophic Plate Count |  |  |  |  | Range | NA
(HPC) (d) | CFU/ml | TT | NA | NA | Average | NA | Naturally present in the environment
| oocysts/ |  |  |  | Range | NA
Cryptosporidium | 200 L | TT | (0) | NA | Average | NA | Human and animal fecal waste
| cysts/ |  |  |  | Range | NA
Giardia | 200 L | TT | (0) | NA | Average | NA | Human and animal fecal waste
ORGANIC CHEMICALS
Pesticides/PCBs
[5 empty] | Range | ND
Alachlor | ppb | 2 | 4 | 1 | Average | ND | Runoff from herbicide used on row crops
[5 empty] | Range | ND | Runoff from herbicide used on row crops
Atrazine | ppb | 1 | 0.15 | 0.5 | Average | ND | and along highways
[5 empty] | Range | ND | Runoff/leaching from herbicide used on rice,
Bentazon | ppb | 18 | 200 | 2 | Average | ND | alfalfa, and grapes
[5 empty] | Range | ND | Leaching of soil fumigant used on rice, alfalfa,
Carbofuran | ppb | 18 | 1.7 | 5 | Average | ND | and grapes
[5 empty] | Range | ND
Chlordane | ppt | 100 | 30 | 100 | Average | ND | Residue of banned insecticide
[5 empty] | Range | ND | Runoff from herbicide used on row crops,
2,4-D | ppb | 70 | 20 | 10 | Average | ND | rangeland, lawns, and aquatic weeds
[5 empty] | Range | ND | Runoff from herbicide used on rights-of-way,
Dalapon | ppb | 200 | 790 | 10 | Average | ND | crops, and landscapes
Dibromochloropropane |  |  |  |  | Range | ND | Banned nematocide that may still be present
(DBCP) | ppt | 200 | 1.7 | 10 | Average | ND | in soils
[5 empty] | Range | ND | Runoff from herbicide used on soybeans,
Dinoseb | ppb | 7 | 14 | 2 | Average | ND | vegetables, and fruits
[5 empty] | Range | ND | Runoff from herbicide used for terrestrial
Diquat | ppb | 20 | 15 | 4 | Average | ND | and aquatic weeds
[5 empty] | Range | ND | Runoff from herbicide used for terrestrial
Endothall | ppb | 100 | 94 | 45 | Average | ND | and aquatic weeds
[5 empty] | Range | ND
Endrin | ppb | 2 | 1.8 | 0.1 | Average | ND | Residue of banned insecticide and rodenticide
Endrin |  |  |  |  | Range | ND | Petroleum refinery discharges; underground
(EDB) | ppt | 50 | 10 | 20 | Average | ND | gas tank leaks
[5 empty] | Range | ND
Glyphosate | ppb | 700 | 900 | 25 | Average | ND | Runoff from herbicide use
[5 empty] | Range | ND
Heptachlor | ppt | 10 | 8 | 10 | Average | ND | Residue of banned insecticide
[5 empty] | Range | ND
Heptachlor Epoxide | ppt | 10 | 6 | 10 | Average | ND | Breakdown product of heptachlor
[5 empty] | Range | ND | Runoff/leaching from insecticide used on cattle,
Lindane | ppt | 200 | 32 | 200 | Average | ND | lumber, and gardens
[5 empty] | Range | ND
Methoxychlor | ppb | 30 | 0.09 | 10 | Average | ND | Runoff/leaching from insecticide uses
[5 empty] | Range | ND
Molinate (Ordram) | ppb | 20 | 1 | 2 | Average | ND | Runoff/leaching from herbicide used on rice
[5 empty] | Range | ND
Oxamyl (Vydate) | ppb | 50 | 26 | 20 | Average | ND | Runoff/leaching from insecticide uses
[5 empty] | Range | ND | Discharge from wood preserving factories
Pentachlorophenol | ppb | 1 | 0.3 | 0.2 | Average | ND | other insecticidal and herbicidal uses
[5 empty] | Range | ND
Picloram | ppb | 500 | 500 | 1 | Average | ND | Herbicide runoff
Polychlorinated |  |  |  |  | Range | ND
Biphenyls (PCBs) | ppt | 500 | 90 | 500 | Average | ND | Runoff from landfills; discharge of waste chemicals
[5 empty] | Range | ND
Simazine | ppb | 4 | 4 | 1 | Average | ND | Herbicide runoff
[5 empty] | Range | ND
Thiobencarb | ppb | 70 | 70 | 1 | Average | ND | Runoff leaching from rice herbicide
2,4,5-TP |  |  |  |  | Range | ND
(Silvex) | ppb | 50 | 3 | 1 | Average | ND | Residue of banned herbicide
[5 empty] | Range | ND | Runoff/leaching from insecticide used on
Toxaphene | ppb | 3 | 0.03 | 1 | Average | ND | cotton and cattle
Semi-Volatile Organic Compounds
[5 empty] | Range | NA
Acrylamide | NA | TT | (0) | NA | Average | NA | Water treatment chemical impurities
[5 empty] | Range | ND | Leaching from water storage tank linings
Benzo(a)pyrene | ppt | 200 | 7 | 100 | Average | ND | and distribution lines
[5 empty] | Range | ND
Di(2-ethylhexyl)adipate | ppb | 400 | 200 | 5 | Average | ND | Discharge from chemical factories
[5 empty] | Range | ND | Chemical factory discharge; inert ingredient
Di(2-ethylhexyl)phthalate | ppb | 4 | 12 | 3 | Average | ND | in pesticides
[5 empty] | Range | NA
Epichlorohydrin | NA | TT | (0) | NA | Average | NA | Water treatment chemical impurities
[5 empty] | Range | ND | Discharge from metal refineries & agrichemicals
Hexachlorobenzene | ppb | 1 | 0.03 | 0.5 | Average | ND | factories; wastewater chlorination reaction byproduct
[5 empty] | Range | ND
Hexachlorocyclopentadiene | ppb | 50 | 2 | 1 | Average | ND | Discharge from chemical factories
2,3,7,8-TCDD |  |  |  |  | Range | ND | Waste incineration emissions; chemical factory
(Dioxin) | ppq | 30 | 0.05 | 5 | Average | ND | discharge
Volatile Organic Compounds
[5 empty] | Range | ND | Plastics factory discharge; gas tanks
Benzene | ppb | 1 | 0.15 | 0.5 | Average | ND | and landfill leaching
[5 empty] | Range | ND | Discharge from chemical plants and other industrial
Carbon Tetrachloride | ppt | 500 | 100 | 500 | Average | ND | waste
[5 empty] | Range | ND
1,2-Dichlorobenzene | ppb | 600 | 600 | 0.5 | Average | ND | Discharge from industrial chemical factories
[5 empty] | Range | ND
1,4-Dichlorobenzene | ppb | 5 | 6 | 0.5 | Average | ND | Discharge from industrial chemical factories
[5 empty] | Range | ND
1,1-Dichloroethane | ppb | 5 | 3 | 0.5 | Average | ND | Extraction and degreasing solvent; fumigant
[5 empty] | Range | ND
1,2-Dichloroethane | ppt | 500 | 400 | 500 | Average | ND | Discharge from industrial chemical factories
[5 empty] | Range | ND
1,1-Dichloroethylene | ppb | 6 | 10 | 0.5 | Average | ND | Discharge from industrial chemical factories
[5 empty] | Range | ND | Industrial chemical factory discharge;
cis-1,2-Dichloroethylene | ppb | 6 | 100 | 0.5 | Average | ND | byproduct of TCE and PCE biodegradation
[5 empty] | Range | ND | Industrial chemical factory discharge;
trans-1,2-Dichloroethylene | ppb | 10 | 60 | 0.5 | Average | ND | byproduct of TCE and PCE biodegradation
Dichloromethane |  |  |  |  | Range | ND | Discharge from pharmaceutical
(Methylene Chloride) | ppb | 5 | 4 | 0.5 | Average | ND | and chemical factories
[5 empty] | Range | ND | Industrial chemical factory discharge;
1,2-Dichloropropane | ppb | 5 | 0.5 | 0.5 | Average | ND | primary component of some fumigants
[5 empty] | Range | ND | Runoff/leaching from nematocide used on
1,3-Dichloropropene | ppt | 500 | 200 | 500 | Average | ND | croplands
[5 empty] | Range | ND | Petroleum refinery discharge; industrial
Ethylbenzene | ppb | 300 | 300 | 0.5 | Average | ND | chemical factories
Methyl-tert-butyl ether |  |  |  |  | Range | ND
(MTBE) | ppb | 13 | 13 | 3 | Average | ND | Gasoline discharge from watercraft engines
[5 empty] | Range | ND | Discharge from industrial, agricultural, and chemical
Monochlorobenzene | ppb | 70 | 70 | 0.5 | Average | ND | factories, and dry cleaners
[5 empty] | Range | ND | Rubber and plastics factories discharge;
Styrene | ppb | 100 | 0.5 | 0.5 | Average | ND | landfill leaching
[5 empty] | Range | ND | Discharge from industrial, agricultural, and chemical
1,1,2,2-Tetrachloroethane | ppb | 1 | 0.1 | 0.5 | Average | ND | factories; solvent uses
Tetrachloroethylene |  |  |  |  | Range | ND | Discharge from factories, dry cleaners,
(PCE) | ppb | 5 | 0.06 | 0.5 | Average | ND | and auto shops
[5 empty] | Range | ND
Toluene | ppb | 150 | 150 | 0.5 | Average | ND | Discharge from petroleum and chemical refineries
[5 empty] | Range | ND
1,2,4-Trichlorobenzene | ppb | 5 | 5 | 0.5 | Average | ND | Discharge from textile-finishing factories
[5 empty] | Range | ND | Metal degreasing site discharge; manufacture
1,1,1-Trichloroethane | ppb | 200 | 1,000 | 0.5 | Average | ND | of food wrappings
[5 empty] | Range | ND
1,1,2-Trichloroethane | ppb | 5 | 0.3 | 0.5 | Average | ND | Discharge from industrial chemical factories
Trichloroethylene |  |  |  |  | Range | ND | Discharge from metal degreasing sites and
(TCE) | ppb | 5 | 1.7 | 0.5 | Average | ND | other factories
Trichlorofluoromethane |  |  |  |  | Range | ND | Industrial factory discharge; degreasing solvent;
(Freon-11) | ppb | 150 | 1300 | 5 | Average | ND | propellant
1,1,2-Trichloro-1,2,2- |  |  |  |  | Range | ND | Discharge from metal degreasing sites and other
trifluoroethane (Freon-113) | ppm | 1.2 | 4 | 0.01 | Average | ND | factories; dry cleaning solvent; refrigerant
[5 empty] | Range | ND | Leaching from PVC piping; plastic factory
Vinyl Chloride | ppt | 500 | 50 | 500 | Average | ND | discharge; byproduct of TCE and PCE biodegradation
[5 empty] | Range | ND | Discharge from petroleum and chemical refineries;
Xylenes | ppm | 1.750 | 1.8 | 0.0005 | Average | ND | fuel solvent
INORGANIC CHEMICALS
[5 empty] | Range | ND | Residue from water treatment process;
Aluminum | ppm | 1 | 0.6 | 0.05 | Average | ND | natural deposits erosion
[5 empty] | Range | ND | Petroleum refinery discharges; fire retardants;
Antimony | ppb | 6 | 20 | 6 | Average | ND | solder; electronics
[5 empty] | Range | ND | Natural deposits erosion, glass and electronics
Arsenic | ppb | 10 | 0.004 | 2 | Average | ND | production wastes
[5 empty] | Range | NA | Asbestos cement pipes internal corrosion;
Asbestos (f) | MFL | 7 | 7 | 0.2 | Average | NA | natural deposits erosion
[5 empty] | Range | ND | Oil and metal refineries discharge;
Barium | ppb | 1,000 | 2,000 | 100 | Average | ND | natural deposits erosion
[5 empty] | Range | ND | Discharge from metal refineries, aerospace,
Beryllium | ppb | 4 | 1 | 1 | Average | ND | and defense industries
[5 empty] | Range | ND | Internal corrosion of galvanized pipes;
Cadmium | ppb | 5 | 0.04 | 1 | Average | ND | natural deposits erosion
[5 empty] | Range | ND | Discharge from steel and pulp mills;
Chromium | ppb | 50 | (100) | 10 | Average | ND | natural deposits erosion
[5 empty] | Range | ND | Runoff/leaching from natural deposits;
Chromium VI | ppb | 10 | 0.02 | 1 | Average | ND | discharge from industrial waste factories
[5 empty] | Range | ND | Internal corrosion of household pipes;
Copper | ppm | AL = 1.3 | 0.3 | 0.05 | Average | ND | natural deposits erosion
[5 empty] | Range | ND | Discharge from steel/metal, plastic, and
Cyanide | ppb | 150 | 150 | 100 | Average | ND | fertilizer factories
Fluoride (e) |  |  |  |  | Range | 0.605-0.796 | Erosion of natural deposits;
Treatment-related | ppm | 2.0 | 1 | 0.1 | Average | 0.705 | water additive that promotes strong teeth
[5 empty] | Range | ND | House pipes internal corrosion;
Lead | ppb | AL = 15 | 0.2 | 5 | Average | ND | erosion of natural deposits
[5 empty] | Range | ND | Erosion of natural deposits; factory discharge;
Mercury | ppb | 2 | 1.2 | 1 | Average | ND | landfill runoff
[5 empty] | Range | ND | Erosion of natural deposits; discharge from
Nickel | ppb | 100 | 12 | 10 | Average | ND | metal factories
[5 empty] | Range | ND | Runoff and leaching from fertilizer use; septic tank
Nitrate (as Nitrogen) | ppm | 10 | 10 | 0.4 | Average | ND | and sewage; natural deposits erosion
[5 empty] | Range | ND | Runoff and leaching from fertilizer use; septic tank
Nitrite (as Nitrogen) | ppm | 1 | 1 | 0.4 | Average | ND | and sewage; natural deposits erosion
[5 empty] | Range | ND
Perchlorate | ppb | 6 | 1 | 4 | Average | ND | Industrial waste discharge
[5 empty] | Range | ND-6.1 | Refineries, mines, and chemical
Selenium | ppb | 50 | 30 | 5 | Average | ND | waste discharge; runoff from livestock lots
[5 empty] | Range | ND | Leaching from ore processing; electronics
Thallium | ppb | 2 | 0.1 | 1 | Average | ND | factory discharge
RADIOLOGICALS
Gross Alpha |  |  |  |  | Range | ND
Particle Activity | pCi/L | 15 | (0) | 3 | Average | ND | Erosion of natural deposits
Gross Beta |  |  |  |  | Range | ND
Particle Activity | pCi/L | 50 (l) | (0) | 4 | Average | ND | Decay of natural and man-made deposits
[5 empty] | Range | ND
Radium-226 | pCi/L | NA | 0.05 | 1 | Average | ND | Erosion of natural deposits
[5 empty] | Range | ND
Radium-228 | pCi/L | NA | 0.019 | 1 | Average | ND | Erosion of natural deposits
Combined |  |  |  |  | Range | -0.00109-0.712
Radium-226/228 | pCi/L | 5 | (0) | NA | Average | 0.094 | Erosion of natural deposits
[5 empty] | Range | ND
Strontium-90 | pCi/L | 8 | 0.35 | 2 | Average | ND | Decay of natural and man-made deposits
[5 empty] | Range | ND
Tritium | pCi/L | 20000 | 400 | 1,000 | Average | ND | Decay of natural and man-made deposits
[5 empty] | Range | ND
Uranium | pCi/L | 20 | 0.43 | 1 | Average | ND | Erosion of natural deposits
DISINFECTION BYPRODUCTS, DISINFECTANT RESIDUALS, AND DISINFECTION BYPRODUCT PRECURSORS
Total Trihalomethanes |  |  |  |  | Range | ND
(TTHM) | ppb | 80 | NA | 1.0 | Average | ND | Byproduct of drinking water chlorination
Total Trihalomethanes |  |  |  |  | Range | ND
(TTHM) | ppb | 80 | NA | 1.0 | Highest LRAA | ND | Byproduct of drinking water chlorination
Total Trihalomethanes |  |  |  |  | Range | ND
(TTHM) | ppb | 80 | NA | 1.0 | Highest LRAA | ND | Byproduct of drinking water chlorination
Haloacetic Acids (five) |  |  |  |  | Range | ND
(HAA5) | ppb | 60 | NA | 1.0 | Average | ND | Byproduct of drinking water chlorination
Haloacetic Acids (five) |  |  |  |  | Range | ND
(HAA5) | ppb | 60 | NA | 1.0 | Highest LRAA | ND | Byproduct of drinking water chlorination
Haloacetic Acids (five) |  |  |  |  | Range | ND
(HAA5) | ppb | 60 | NA | 1.0 | Highest LRAA | ND | Byproduct of drinking water chlorination
[5 empty] | Range | 2.80-3.41
Total Chlorine Residual | ppm | [4.0] | [4.0] | NA | Highest RAA | 3.19 | Drinking water disinfectant added for treatment
[5 empty] | Range | NA
Bromate | ppb | 10 | 0.1 | 1.0 | Highest RAA | NA | Byproduct of drinking water ozonation
DBP Precursors Control |  |  |  |  | Range | NA | Various natural and man-made sources;
as Total Organic Carbon (TOC) | ppm | TT | NA | 0.30 | Average | NA | TOC as a medium for the formation of disinfection byproducts
SECONDARY STANDARDS—Aesthetic Standards
[5 empty] | Range | ND | Residue from water treatment process;
Aluminum | ppm | 1 | 0.6 | 0.05 | Average | ND | natural deposits erosion
[5 empty] | Range | 54.0-100 | Runoff/leaching from natural deposits;
Chloride | ppm | 500 | NA | NA | Average | 74.6 | seawater influence
| Color |  |  |  | Range | ND
Color | Units | 15 | NA | NA | Average | ND | Naturally-occurring organic materials
[5 empty] | Range | ND | Internal corrosion of household pipes; natural
Copper | ppm | 1.0 | 0.3 | 0.05 | Average | ND | deposits erosion; wood preservatives leaching
Foaming Agents |  |  |  |  | Range | ND
(MBAS) | ppm | 0.5 | NA | NA | Average | ND | Municipal and industrial waste discharges
[5 empty] | Range | ND
Iron | ppm | 0.3 | NA | 0.1 | Average | ND | Leaching from natural deposits; industrial wastes
[5 empty] | Range | ND
Manganese | ppm | 0.5 | NL = 500 | 20 | Average | ND | Leaching from natural deposits
[5 empty] | Range | ND
MTBE | ppb | 5 | 13 | 3 | Average | ND | Gasoline discharge from watercraft engines
[5 empty] | Range | ND
Odor Threshold | TON | 3 | NA | 1 | Average | ND | Naturally-occurring organic materials
[5 empty] | Range | ND
Silver | ppb | 100 | NA | 10 | Average | ND | Industrial discharges
[5 empty] | Range | 291.9-515.7 | Substances that form ions in water;
Specific Conductance | µS/cm | 1,600 | NA | NA | Average | 404.0 | seawater influence
[5 empty] | Range | 12-16.7 | Runoff/leaching from natural deposits;
Sulfate | ppm | 500 | NA | 0.5 | Average | 13.68 | industrial wastes
[5 empty] | Range | ND
Thiobencarb | ppb | 1 | 70 | 1 | Average | ND | Runoff/leaching from rice herbicide
Total Dissolved Solids |  |  |  |  | Range | 140-276 | Runoff/leaching from natural deposits;
(TDS) | ppm | 500 | NA | NA | Average | 205 | seawater influence
[5 empty] | Range | ND - 0.76 | Turbidity is a measure of the cloudiness of the water,
Turbidity | NTU | 5 | NA | 0.1 | Average | 0.1 | an indicator of the effectiveness of our filtration system
[5 empty] | Range | ND | Runoff/leaching from natural deposits;
Zinc | ppm | 5.0 | NA | 0.05 | Average | ND | industrial wastes
OTHER PARAMETERS
MICROBIOLOGICAL
[5 empty] | Range | NA
HPC | CFU/ml | TT | NA | NA | Median | NA | Naturally present in the environment
CHEMICAL
[5 empty] | Range | 46-104
Alkalinity | ppm | NA | NA | NA | Average | 64.43
[5 empty] | Range | 0.36-0.78 | Runoff/leaching from natural deposits;
Boron (g) | ppm | NA | NA | NA | Average | 0.55 | industrial wastes and naturally occurring in seawater
[5 empty] | Range | 16.68-31.88
Calcium | ppm | NA | NA | NA | Average | 22.68
[5 empty] | Range | NA | Byproduct of drinking water chlorination;
Chlorate | ppb | NL = 800 | NA | 20 | Average | NA | industrial processes
Corrosivity |  |  |  |  | Range |  | Elemental balance in water; affected
(as Aggressiveness Index) | AI | NA | NA | NA | Average |  | by temperature, other factors
Corrosivity |  |  |  |  | Range | 0.04-0.63 | Elemental balance in water; affected
(as Saturation Index) | SI | NA | NA | NA | Average | 0.31 | by temperature, other factors
[5 empty] | Range | 41.7-79.7
Total Hardness | ppm | NA | NA | NA | Average | 56.71
[5 empty] | Range | 0.89-0.98
Magnesium | ppm | NA | NA | NA | Average | 0.93
| pH |  |  |  | Range | 8.27-8.80
pH | Units | NA | NA | NA | Average | 8.51
[5 empty] | Range | 0.000-54.467
Potassium 40 | pCi/L | NA | NA | NA | Average | 14.729
[5 empty] | Range | NA
Radon | pCi/L | NA | NA | 100 | Average | NA
[5 empty] | Range | 45.4-66
Sodium | ppm | NA | NA | NA | Average | 55.1
[5 empty] | Range | NA | Various natural and man-made sources;
TOC | ppm | TT | NA | 0.30 | Highest RAA | NA | TOC as a medium for the formation of disinfection byproducts
[5 empty] | Range | NA
Vanadium | ppb | NL = 50 | NA | 3 | Average | NA | Naturally-occurring; industrial waste discharge
N-Nitrosodimethylamine |  |  |  |  | Range | NA | Byproduct of drinking water chloramination;
(NDMA) | ppt | NL = 10 | 3 | 2 | Range | NA | industrial processes
Dichlorodifluoromethane |  |  |  |  | Range | NA
(Freon 12) | ppb | NL = 1,000 | NA | 0.5 | Average | NA | Industrial waste discharge
Ethyl-tert-butyl ether |  |  |  |  | Range | NA
(ETBE) | ppb | NA | NA | 3 | Average | NA | Used as gasoline additive
tert-Amyl-methyl ether |  |  |  |  | Range | NA
(TAME) | ppb | NA | NA | 3 | Average | NA | Used as gasoline additive
tert-Butyl alcohol |  |  |  |  | Range | NA | MTBE breakdown product; used as gasoline
(TBA) | ppb | NL = 12 | NA | 2 | Average | NA | additive
ABBREVIATIONS AND FOOTNOTES
Abbreviations
AI | Aggressiveness Index |  |  |  | MCL | Maximum Contaminant Level
AL | Action Level |  |  |  | MCLG | Maximum Contaminant Level Goal
CDPH | California Department of Public Health |  |  |  | MFL | Million Fibers per Liter
CFU | Colony-Forming Units |  |  |  | MRDL | Maximum Residual Disinfectant Level
DBP | Disinfection Byproducts |  |  |  | MRDLG | Maximum Residual Disinfectant Level Goal
DLR | Detection Limits for Purposes of Reporting |  |  |  | NA | Not Applicable
LRAA | Locational Running Annual Average; highest |  |  |  | ND | Not Detected
| LRAA is the highest of all Locational Running |  |  |  | NL | Notification Level
| Annual Averages calculated as average of |  |  |  | NTU | Nephelometric Turbidity Units
| all samples collected within a 12-month |  |  |  | pCi/L | picoCuries per Liter
| period |  |  |  | PHG | Public Health Goal
MBAS | Methylene Blue Active Substances |  |  |  | ppb | parts per billion or micrograms per liter (µg/L)
Footnotes
(a) | The reverse osmosis filter effluent turbidity must be equal to or less than
0.1 NTU in 95% of the measurements taken each month, shall not exceed 0.5 NTU
in more than two (2) consecutive 15-minute samples and shall not exceed 1.0 NTU at
any time. Turbidity is an indicator of the effectiveness of the filters.
(b) | Total coliform MCLs: No more than 5.0% of the monthly samples may be
total coliform-positive. Compliance is based on the combined distribution system
sampling from all the treatment plants.
(c) | E. coli MCL: The occurrence of two consecutive total coliform-positive
samples, one of which contains E. coli, constitutes an acute MCL violation.
The MCL was not violated.
(d) | All product water tank effluent samples collected had detectable total chlorine residuals
and no HPC was required. HPC reporting level is 1 CFU/ml. Values are based on
monthly median per State guidelines and recommendations.
(e) | Fluoride samples that were below target ranges were blended with other water supply
sources to maintain compliance in water distributed to consumers.
(f) | Not used
(g) | Boron analysis is included as seawater is a natural source for this constituent.