Monte Shasta Mutual Water Company

2023 Water Quality Consumer Confidence Report (CCR)

Water System Description

The Monte Shasta Mutual Water Company (MSMWC) supplies water to the Monte Shasta Subdivision. The Mutual Water Company provides water under pressure, the quality of which is subject to the standards as provided for under the U.S. Environmental Protection Agency’s Safe Drinking Water Regulations. Here at MSMWC we want you to understand the efforts we make to provide you with a safe and dependable drinking water supply. We continually monitor our drinking water quality and strive to protect our water resources. This “Water Quality Report” includes those constituents that were detected in 2023 and may include earlier monitoring data.

The Water System extracts groundwater from two (2) wells referred to as water well #1 and #2. Groundwater is pumped from the wells into two (2) steel water storage tanks. The tanks are interconnected and supply water to the pressure system and gravity feed system. The distribution pressure at your residence will depend upon the elevation of your dwelling with respect to the water system’s headwork elevation. Available water volume will depend upon the water pressure measured at your residence and the diameter of the most restrictive point of your service lateral.

For additional information concerning your drinking water, contact Will Russell at (530) 859-0865.

Definitions of some of the terms used in this report

Maximum Contaminant Level (MCL) – The highest level of a contaminant that is allowed in drinking water.  Primary MCL’s are set as close to the PHGs (or MCLGs) as is technologically, and economically feasible.  Secondary MCLs are set to protect the odor, taste, and appearance of the drinking water.

Primary Drinking Water Standards (PDWS) – MCLs for contaminants that affect health along with their monitoring and reporting requirements, and surface water treatment requirements.

Public Health Goal (PHG) – The level of a contaminant in drinking water below which there is no known or expected risk to health.  PHGs are set by the California Environmental Protection Agency.

Maximum Contaminant Level Goal (MCLG) – The level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs are set by the Federal Environmental Protection Agency, (USEPA).

Regulatory Action Level (AL) – The concentration of a contaminant, which if exceeded, triggers treatment or other requirements, which a water system must follow.

Ppb – Parts per billion or micrograms per liter

Ppm – Parts per million or milligrams per liter

Nd –non detectable at testing limit

TDS – Total Dissolved Solids

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

Microbial contaminants, such as viruses and bacteria; which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

Inorganic contaminants, such as salts and metals, that can be naturally-occurring or result from urban storm water runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban storm water runoff, and residential uses.

Organic chemical contaminants, including synthetic and volatile organic chemicals, which are byproducts of industrial processes and petroleum production, and can also come from gas stations, urban storm water runoff, and septic systems.

Radioactive contaminants, which can be naturally occurring or be the result of oil and gas production and mining activities.

General Information on Drinking Water

All drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that the water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the USEPA’s Safe Drinking Water Hotline at 1-800-426-4791.

Some people may be more vulnerable to contaminants in drinking water than the general population. Immune compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly individuals, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. The USEPA/Center for Disease Control guidelines on appropriate means to lessen the risk of infection by cryptosporidium and other microbiological contaminants are available from the Safe Drinking Water Hotline at 1-800-426-4791.

Water Quality Data

# Microbiological Water Quality

Testing for bacteriological contaminants in the distribution system is required by State regulations. This testing is done regularly to verify that the water system is free from coliform bacteria. The minimum number of tests required is one sample per month. A bacteriological sample is collected from the distribution system on the second Tuesday of each month and analyzed by Pace Analytical for coliform bacteria. Twelve routine samples were collected and tested during the 2023 calendar year with none of these samples testing positive for bacteria contamination. In the event a sample was to test positive for coliform bacteria, a series of follow up samples in compliance with EPA and State of California regulations is required. In the event a bacterial contamination of the systems water was confirmed, the users of the water supply would be notified of the testing results and advised not to consume the water until notified the water is safe to drink. Following a survey by system personnel of a possible source of contamination and necessary repairs identified, the system would be disinfected with a chlorine solution added to the system’s waters. Follow up bacteriological samples would then be collected and analyzed to ensure compliance with safe drinking water standards.

## Drinking Water Source Assessment Report

## In September, 2002 the Department of Health Services’ Division of Drinking Water conducted assessments of the Monte Shasta Water System. This assessment was to determine the vulnerability of our source wells to possible contaminating activities (PCA). Both supply wells are considered most vulnerable to the following activities:

## Septic systems – low density

## The full report is available at the State Water Resources Control Board, Division of Drinking Water at 364 Knollcrest Dr., Redding, CA 96002.

Coliform Bacteria Testing Results

Microbiological	Number of 		MCL		MCLG

Contaminants	Detections

Total Coliform	       0			   0		      0

E. Coli			       0			   0		      0

# Lead & Copper Testing Results

Lead & copper testing of the water from individual taps in the distribution system is required by State regulations. The table below summarizes the most recent sampling data for lead & copper.

Lead &	Year	  	No. of		No. of		90th		Action Level

Copper	Tested		Samples	Samples	Percentile	(ppb)

Collected	Required	Results (ppb)

Lead		2021		     5		     5		0.00		15

Copper		2021		     5		     5		256		1300

More about Lead and Copper

It is advisable to let water run a short while before drinking if the faucet has not been used for more than six hours. Since hot water promotes leaching of lead and copper, avoid using hot tap water for cooking or drinking. These are particularly important precautions to take when mixing formula or other beverages for infants or children. Infants and young children are typically more vulnerable to lead in drinking water than the general population. It is possible that lead levels at your home may be higher than at other homes in the community as a result of materials used in your home’s plumbing. If you are concerned about elevated lead levels in your home’s water, you may wish to have your water tested. In the interim, flushing your faucet prior to using tap water will flush lead and copper contaminants from your fixtures. Additional information is available from the Environmental Protection Agency’s Safe Drinking Water Hotline (1-800-426-4791).

# Chemical Sampling Results Showing Detected Contaminants

The following tables list all detected chemicals in our water during the most recent sampling. Please note that not all sampling is required annually so in some cases our results are more than one year old. These values are expressed in parts per million (ppm) unless otherwise stated.

Contaminants with Primary MCLs

Chemical	Source		Year Tested		Level		MCL	          PHG or

Detected						Detected		          MCLG

(mg/L)

Nitrate		Well #1	      2024		  0.52		  10		  10

Contaminants with Secondary MCLs

Chemical	Source		Year Tested		Level Detected	Secondary

Detected		              			       (mg/L)                      MCL

Conductivity	Well #1	     2018		       87.00		    1600

TDS		Well #1	     2018		       89.00		    1000

Zinc		Well #1	     2018		       95.40		    5000