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[bookmark: _Toc58336713][bookmark: _Toc58336714][bookmark: _Toc58336715]Water System Information
Water System Name: College Park MWC #4900667 
Report Date: 06/03/26
Type of Water Source(s) in Use: Groundwater/ Well
Name and General Location of Source(s): Secondary-Well 01 is located at 3400 Lichau Road. Well 04 is the main well located at 3345 Lichau Road.

Drinking Water Source Assessment Information: Completed September 2001
Time and Place of Regularly Scheduled Board Meetings for Public Participation: Annual Shareholder Meeting
For More Information, Contact: Anne Menendez, Director, College Park Mutual Water Co., www.collegeparkwater.com, 707-897-6277
About This Report
We test the drinking water quality for many constituents as required by state and federal regulations.  This report shows the results of our monitoring for the period of January 1 to December 31, 2025 and may include earlier monitoring data due to the State allowing us to monitor for some contaminants less than once per year because the concentrations of these contaminants do not change frequently. Some of our data, though representative, are more than one year old.
Importance of This Report Statement in Five Non-English Languages (Spanish, Mandarin, Tagalog, Vietnamese, and Hmong)
[bookmark: _Hlk71882782]Language in Spanish:  Este informe contiene información muy importante sobre su agua para beber.  Favor de comunicarse College Park MWC 3400 Lichau Rd, Penngrove, CA  para asistirlo en español.
Language in Mandarin:  这份报告含有关于您的饮用水的重要讯息。请用以下地址和电话联系 College Park MWC 3400 Lichau Rd, Penngrove, CA 
Language in Tagalog: Ang pag-uulat na ito ay naglalaman ng mahalagang impormasyon tungkol sa inyong inuming tubig.  Mangyaring makipag-ugnayan sa College Park MWC 3400 Lichau Rd, Penngrove, CA para matulungan sa wikang Tagalog.
Language in Vietnamese:  Báo cáo này chứa thông tin quan trọng về nước uống của bạn.  Xin vui lòng liên hệ College Park MWC 3400 Lichau Rd, Penngrove, CA để được hỗ trợ giúp bằng tiếng Việt.
Language in Hmong: Tsab ntawv no muaj cov ntsiab lus tseem ceeb txog koj cov dej haus.  Thov hu rau College Park MWC 3400 Lichau Rd, Penngrove, CA rau kev pab hauv lus Askiv.
Terms Used in This Report
	Term
	Definition

	Level 1 Assessment
	A Level 1 assessment is a study of the water system to identify potential problems and determine (if possible) why total coliform bacteria have been found in our water system.

	Level 2 Assessment
	A Level 2 assessment is a very detailed study of the water system to identify potential problems and determine (if possible) why an E. coli MCL violation has occurred and/or why total coliform bacteria have been found in our water system on multiple occasions.

	Maximum Contaminant Level (MCL)
	The highest level of a contaminant that is allowed in drinking water.  Primary MCLs are set as close to the PHGs (or MCLGs) as is economically and technologically feasible.  Secondary MCLs are set to protect the odor, taste, and appearance of drinking water.

	Maximum Contaminant Level Goal (MCLG)
	The level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs are set by the U.S. Environmental Protection Agency (U.S. EPA).

	Maximum Residual Disinfectant Level (MRDL)
	The highest level of a disinfectant allowed in drinking water.  There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

	Maximum Residual Disinfectant Level Goal (MRDLG)
	The level of a drinking water disinfectant below which there is no known or expected risk to health.  MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.

	Primary Drinking Water Standards (PDWS)
	MCLs and MRDLs for contaminants that affect health along with their monitoring and reporting requirements, and water treatment requirements.

	Public Health Goal
(PHG)
	The level of a contaminant in drinking water below which there is no known or expected risk to health.  PHGs are set by the California Environmental Protection Agency.

	Regulatory Action Level
(AL)
	The concentration of a contaminant which, if exceeded, triggers treatment or other requirements that a water system must follow.

	Secondary Drinking Water Standards (SDWS)
	MCLs for contaminants that affect taste, odor, or appearance of the drinking water.  Contaminants with SDWSs do not affect the health at the MCL levels.

	Treatment Technique
(TT)
	A required process intended to reduce the level of a contaminant in drinking water.

	Variances and Exemptions
	Permissions from the State Water Resources Control Board (State Board) to exceed an MCL or not comply with a treatment technique under certain conditions.

	ND
	Not detectable at testing limit.

	ppm
	parts per million or milligrams per liter (mg/L)

	ppb
	parts per billion or micrograms per liter (µg/L)

	ppt
	parts per trillion or nanograms per liter (ng/L)

	ppq
	parts per quadrillion or picogram per liter (pg/L)

	pCi/L
	picocuries per liter (a measure of radiation)


[bookmark: _Toc58336716]Sources of Drinking Water and Contaminants that May Be Present in Source Water
The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.
Contaminants that may be present in source water include:
Microbial contaminants, such as viruses and bacteria, that may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.
Inorganic contaminants, such as salts and metals, that can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.
Pesticides and herbicides, that may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.
Organic chemical contaminants, including synthetic and volatile organic chemicals, that are byproducts of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, agricultural application, and septic systems.
Radioactive contaminants, that can be naturally-occurring or be the result of oil and gas production and mining activities.
Regulation of Drinking Water and Bottled Water Quality
In order to ensure that tap water is safe to drink, the U.S. EPA and the State Board prescribe regulations that limit the amount of certain contaminants in water provided by public water systems.  The U.S. Food and Drug Administration regulations and California law also establish limits for contaminants in bottled water that provide the same protection for public health.
[bookmark: _Toc58336717]About Your Drinking Water Quality
[bookmark: _Toc58336718][bookmark: _Hlk57994699]Drinking Water Contaminants Detected
Tables 1, 2, 3, 4, 5, 6, and 8 list all of the drinking water contaminants that were detected during the most recent sampling for the constituent.  The presence of these contaminants in the water does not necessarily indicate that the water poses a health risk.  The State Board allows us to monitor for certain contaminants less than once per year because the concentrations of these contaminants do not change frequently.  Some of the data, though representative of the water quality, are more than one year old.  Any violation of an AL, MCL, MRDL, or TT is asterisked.  Additional information regarding the violation is provided later in this report.
Table 1.  Sampling Results Showing the Detection of Coliform Bacteria
Complete if bacteria are detected.

	Microbiological Contaminants 
	Highest No. of Detections
	No. of Months in Violation
	MCL
	MCLG
	Typical Source of Bacteria

	E. coli

	(In the year)
0
	0
	(a)
	0
	Human and animal fecal waste



(a) Routine and repeat samples are total coliform-positive and either is E. coli-positive or system fails to take repeat samples following E. coli-positive routine sample or system fails to analyze total coliform-positive repeat sample for E. coli.
Table 2.  Sampling Results Showing the Detection of Lead and Copper
Complete if lead or copper is detected in the last sample set.
	Lead and Copper 
	Sample Date
	No. of Samples Collected
	90th Percentile Level Detected
	No. Sites Exceeding AL
	AL
	PHG
	Typical Source of
Contaminant

	Lead (ppm)
	08/12/2025
	10
	<0.005
	0
	15
	0.2
	Internal corrosion of household water plumbing systems; discharges from industrial manufacturers; erosion of natural deposits

	Copper (ppm)
	08/12/2025
	10
	.160
	0
	1.3
	0.3
	Internal corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives


Table 3.  Sampling Results for Sodium and Hardness
	Chemical or Constituent (and reporting units)
	Sample Date
	Level Detected
	Range of Detections
	MCL
	PHG (MCLG)
	Typical Source of Contaminant

	Sodium (ppm)
Well 04
Well 01
	
06/13/23
07/23/25
	
70 mg/l
72 mg/l

	70-72 mg/l
	None
	None
	Salt present in the water and is generally naturally occurring

	Hardness (ppm)
Well 04
Well 01
	
06/13/23
07/23/25
	
130 mg/l
200 mg/l
	130-200 mg/l
	None
	None
	Sum of polyvalent cations present in the water, generally magnesium and calcium, and are usually naturally occurring


Table 4.  Detection of Contaminants with a Primary Drinking Water Standard
	Chemical or Constituent
(and
reporting units)
	Sample Date
	Level Detected
	Range of Detections
	MCL [MRDL]
	PHG (MCLG) [MRDLG]
	Typical Source of Contaminant

	Chromium, hexavalent
Well 01
	02/07/25
	0.12 ug/l
	0.12 ug/l
	10 ug/l
	0.02 ug/l
	Erosion of natural deposits; transformation of naturally occurring trivalent chromium to hexavalent chromium by natural processes and human activities such as discharges from electroplating factories, leather tanneries, wood preservation, chemical synthesis, refractory production, and textile manufacturing facilities.

	Gross Alpha Particle Activity
Well 01
	06/14/24
	6.59 pCi/l
	6.59 pCi/l
	15
	(0)
	Erosion of natural deposits

	Fluoride
Well 04
Well 01
	
06/13/23
07/21/22
	
.14 mg/l
.58 mg/l
	
.14-.58 mg/l
	
2 mg/l
	
1 mg/l
	Erosion of natural deposits; water additive which promotes strong teeth; discharge from fertilizer and aluminum factories

	TTHM
	10/22/2020
	2.70 ug/l
	2.70 ug/l
	80 ug/l
	N/A
	Byproduct of drinking water disinfection

	Total Haloacetic Acids (HAA5)
	09/26/2017
	3.20 ug/l
	3.20 ug/l
	60 ug/l
	N/A
	Byproduct of drinking water disinfection



Table 5.  Detection of Contaminants with a Secondary Drinking Water Standard
	Chemical or Constituent (and reporting units)
	Sample Date
	Level Detected
	Range of Detections
	SMCL
	PHG (MCLG)
	Typical Source
of
Contaminant

	Manganese
Well 04
Well 01
	
10/10/25
QTRLY
	
76 ug/l
76 ug/l
Annual Avg
	
*76 ug/l
*68-80 ug/l
	
50 ug/l
	
N/A
	Leaching from natural deposits

	Iron
Well 04
Well 01
	
06/13/23
QTRLY
	
180 ug/l
1233 ug/l
Annual Avg
	
180 ug/l
*730-1600 ug/l
	
300 ug/l
	
N/A
	Leaching from natural deposits; industrial wastes

	Chloride
Well 04
Well 01
	
06/13/23
07/23/25
	
36 mg/l
30 mg/l
	
30-36 mg/l
	500 mg/l
	N/A
	Runoff/leaching from natural deposits; seawater influence

	Sulfate
Well 04
Well 01
	
06/13/23
07/23/25
	
.72 mg/l
8.9 mg/l
	
.72-8.9 mg/l
	500 mg/l
	N/A
	Runoff/ leaching from natural deposits; industrial wastes

	Specific Conductance
Well 04
Well 01
	
06/13/23
07/23/25
	
540 us
600 us
	
540-600 us
	1600 us
	N/A
	Substances that form ions when in water; seawater influence 

	Zinc
Well 01
	
07/21/22
	
138 mg/l
	
138 mg/l
	
5 mg/l
	
N/A
	Runoff/leaching from natural deposits; industrial wastes

	Turbidity
Well 04
Well 01
	
06/13/23
07/23/25
	
5.8 NTU
5.3 NTU
	
5.3 – 5.8 NTU
	
5 NTU
	
N/A
	Soil runoff

	Total Dissolved Solids
Well 04
Well 01
	
06/13/23
07/23/25
	
380 mg/l
360 mg/l
	
360-380 mg/l
	
1000
Mg/l
	
N/A
	Runoff/leaching from natural deposits

	Color 
Well 01 
Well 04
	
07/21/22
06/13/23
	
25 Units
10 Units
	
10-25* Units
	
15 Units
	
N/A
	
Naturally occurring organic materials


Table 6.  Detection of Unregulated Contaminants
	[bookmark: _Toc58336719]Chemical or Constituent (and reporting units)
	Sample Date
	Level Detected
	Range of Detections
	Notification Level
	Health Effects 

	N/A
	
	
	
	
	


Additional General Information on Drinking Water
Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that the water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the U.S. EPA’s Safe Drinking Water Hotline (1-800-426-4791).
Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections.  These people should seek advice about drinking water from their health care providers.  U.S. EPA/Centers for Disease Control (CDC) guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (1-800-426-4791).
Lead-Specific Language:  If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing.  College Park MWC is responsible for providing high quality drinking water but cannot control the variety of materials used in plumbing components.  When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking.  [Optional: If you do so, you may wish to collect the flushed water and reuse it for another beneficial purpose, such as watering plants.]  If you are concerned about lead in your water, you may wish to have your water tested.  Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline (1-800-426-4791) or at http://www.epa.gov/lead.
[bookmark: _Toc58336720]Summary Information for Violation of a MCL, MRDL, AL, TT, or Monitoring and Reporting Requirement
Table 7. Violation of a MCL, MRDL, AL, TT or Monitoring Reporting Requirement
	Violation
	Explanation
	Duration
	Actions Taken to Correct Violation
	Health Effects Language

	Manganese
Well 04
Well 01
	SMCL Exceedance
	4 quarters of 2025
	Researching treatment techniques for implementation by 12/31/2029
	There are no PHGs, MCLGs, or mandatory standard health effects language for these constituents because secondary MCLs are set on the basis of aesthetic concerns.

	Iron
Well 01
	SMCL Exceedance
	4 quarters 2025
	Researching treatment techniques for implementation by 12/31/2029
	There are no PHGs, MCLGs, or mandatory standard health effects language for these constituents because secondary MCLs are set on the basis of aesthetic concerns.



[bookmark: _Toc58336721]For Water Systems Providing Groundwater as a Source of Drinking Water
Table 8.  Sampling Results Showing Fecal Indicator-Positive Groundwater Source Samples
	[bookmark: _Toc58336722]Microbiological Contaminants (complete if fecal-indicator detected)
	Total No. of Detections
	Sample Dates
	MCL [MRDL]
	PHG (MCLG) [MRDLG]
	Typical Source of Contaminant

	E. coli
	0
	
	0
	(0)
	Human and animal fecal waste

	Enterococci
	0
	
	TT
	N/A
	Human and animal fecal waste

	Coliphage
	0
	
	TT
	N/A
	Human and animal fecal waste


Summary Information for Fecal Indicator-Positive Groundwater Source Samples, Uncorrected Significant Deficiencies, or Violation of a Groundwater TT
	Special Notice of Fecal Indicator-Positive Groundwater Source Sample: N/A



	Special Notice for Uncorrected Significant Deficiencies: N/A



Table 9. Violation of Groundwater TT
	[bookmark: _Toc58336723]Violation
	Explanation
	Duration
	Actions Taken to Correct Violation
	Health Effects Language

	N/A
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