## 2018 CCR
BBPUD 2014 Annual Consumer Confidence Report | BBPUD 2019 Annual Consumer Confidence Report
| 1 Primary Constituents | [17 empty] | Typical Source | CONTACT US For more information about water quality or to report a water quality concern, call 707-875-3332 or visit www.bodegabaypud.com. BBPUD encourages public participation in decisions affecting drinking water quality and other matters at its Board of Directors meeting held the third Wednesday of each month at 9 A.M., 265 Doran Park Road, Bodega Bay. Board of Directors Rod Moore, Robert Gerber, Peter Rooney Ned Mantua and Evan Rohrer General Manager Janet Ames ADDITIONAL CONTACTS California State Water Resource Control Board, Division of Drinking Water: 707-576-2145 U.S. Environmental Protection Agency Safe Drinking Water Hotline: 800-426-4791 Sonoma County Public Health Department: 707-565-4400 Spanish Este informe contiene información muy importante sobre su agua potable. Tradúzcalo o hable con alguien que lo entienda bien.
| Microbiological Contaminants | MCL | PHG or MCLG | Average | Met Regulation? | Highest # of Detections |  |  | # of Months in Violation |  |  | Notes
| Total Coliform in Distribution System | <1 positive/mo | 0 | N/A | No | 1 |  |  | 1 |  |  | Resampled the positive sample location along with 3 other locations and all of the wells that where running that day. | [6 empty] | Naturally present in the environment.
| Fecal Coliform or E. coli | positive sample and positive repeat sample | 0 | N/A | Yes | 0 |  |  | 0 | [9 empty] | Human and animal fecal waste.
| Inorganic Constituents | MCL | PHG or MCLG | Average | Met Regulation? | Ropollo Well 1 | Date of Most Recent Sample | Ropollo Well 2 | Date of Most Recent Sample | Ropollo Well 3A | Date of Most Recent Sample | Dunes Well 03A | Date of Most Recent Sample | Dunes Well 4 | Salmon Creek Well | Date of Most Recent Sample | Bay Flat Well | Date of Most Recent Sample
| Aluminum Al (ppb) | 1000 | 600 | 35.6 | Yes | 78 | 2015-12-17 | N/A |  | ND | 2015-12-17 | ND | 2015-12-23 | <50 |  | 2016-06-16 | < 50 | 2017-10-19 | Erosion of natural deposits.
| Fluoride F (natually occuring) (ppm) | 2 | 1 | 0.29 | Yes | 0.11 | 2015-12-17 | N/A |  | 0.13 | 2015-12-17 | 0.1 | 2015-12-23 | 0.13 |  | 2015-12-17 | 0.12 | 2017-10-19 | Erosion of natural deposits; discharge from fertilizer and aluminium factories.
| Nitrate NO3 (ppm) | 45 as Nitrate |  | 1.7 | Yes | 2.5 | 2019-12-11 | 1.5 | 2019-01-24 | < .40 | 2019-08-08 | 1.1 | 2019-12-04 | < .40 |  | 2018-12-13 | <.40 | 2019-01-31 | Runoff and leaching from fertilizer use; leaching from septic tanks and sewage; erosion of natural deposits.
| Hexavalent Chromium (ppb) | 10 | 0.02 | 0.35 | Yes | ND | 2017-10-26 | 1.1 | 2014-10-28 | ND | 2017-10-26 | ND | 2017-10-26 | ND |  | 2017-10-26 | < 1.0 | 2017-10-19
| Organic Constituents | MCL | PHG or MCLG | Average | Met Regulation? | Ropollo Well 1 | Date of Most Recent Sample | Ropollo Well 2 | Date of Most Recent Sample | Ropollo Well 3A | Date of Most Recent Sample | Dunes Well 03A | Date of Most Recent Sample | Dunes Well 4 | Salmon Creek Well | Date of Most Recent Sample | Bay Flat Well | Date of Most Recent Sample
| Total Trihalomethanes (TTHMs) (ppb) | 80 | NS | 9.37 | Yes | 10.03 ug/L Sample Date October 16, 2019 8.72 ug/L Sample Date October 16, 2019 | [12 empty] | By product of drinking water disinfection. Some people who drink water containing trihalomethanes in excess of the MCL over many years may experience liver, kidney, or central nercous system problems, and may have an increased risk of getting cancer.
| 2 Constituents With Secondary MCLs | MCL | PHG or MCLG | Average | Met Regulation? | Ropollo Well 1 | Date of Most Recent Sample | Ropollo Well 2 | Date of Most Recent Sample | Ropollo Well 3A | Date of Most Recent Sample | Dunes Well 03A | Date of Most Recent Sample | Dunes Well 4 | Salmon Creek Well | Date of Most Recent Sample | Bay Flat Well | Date of Most Recent Sample
| Aluminum Al (ppb) | 1000 | 600 | 45.6 | Yes | 78 | 2015-12-17 | N/A |  | < 50 | 2018-12-13 | ND | 2015-12-23 | <50 |  | 2016-06-16 | < 50 | 2017-10-19 | Erosion of natural deposits.
| Chloride Cl (ppm) | 500 | NS | 210.6 | Yes | 430 | 2019-07-18 | N/A |  | 410 | 2019-03-21 | 42 | 2019-07-18 | 61 |  | 2019-07-18 | 110 | 2017-10-19 | Runoff/leaching from natural deposits; seawater influence.
| Color, color units | 15 | NS | 7.4 | No | <5.0 | 2019-07-18 | N/A |  | 17 | 2018-12-13 | <5.0 | 2019-07-18 | <5.0 |  | 2019-07-30 | < 5.0 | 2017-10-19 | Naturally occurring organic materials.
| Odor-Threshold Odor Number (T.O.N.) | 3 | NS | 1.8 | Yes | <1.0 | 2019-07-18 | N/A |  | < 1.0 | 2018-12-13 | <1.0 | 2019-07-18 | 5 |  | 2019-07-30 | < 1.0 | 2017-10-19 | Naturally occurring organic materials.
| Turbidity (NTU) | 5 | NS | 1.18 | Yes | 0.24 | 2019-07-18 | N/A |  | 5 | 2018-12-13 | 0.22 | 2019-07-18 | 0.25 |  | 2019-07-30 | 0.23 | 2017-10-19 | Soil runoff
| Specific Conductance (umhos/cm) | 1600 | NS | 1094 | No | 1700 | 2019-07-18 | N/A |  | 2100 | 2018-12-13 | 460 | 2019-07-18 | 550 |  | 2019-07-30 | 660 | 2017-10-19 | Substances that from ions when in water; seawater influence.
| Sulfate SO4 (ppm) | 500 | NS | 26.06 | Yes | 60 | 2019-07-18 | N/A |  | 49 | 2018-12-13 | 11 | 2019-07-18 | 1.4 |  | 2019-07-30 | 8.9 | 2017-10-19 | Runoff/leaching from natural deposits.
| Sodium Na (ppm) | 500 | NS | 65.6 | Yes | 120 | 2019-07-18 | N/A |  | 100 | 2018-12-13 | 24 | 2019-07-18 | 36 |  | 2019-07-30 | 48 | 2017-10-19 | Salt is present in the water and is generally naturally occurring.
| Total Disolved Solids (ppm) | 1000 | NS | 694 | No | 1100 | 2019-07-18 | N/A |  | 1500 | 2018-12-13 | 240 | 2019-07-18 | 250 |  | 2019-07-30 | 380 | 2017-10-19 | Runoff/leaching from natural deposits.
| 3 Lead and Copper | AL | PHG |  | Met Regulation? | 90th Percentile Level Found |  |  | Date of Most Recent Sample | # of Sites (out of 10) found above the AL
| Copper (ppb) *** | 1300 | 300 |  | Yes | 0.27 |  |  | 2019-07-01 | 0 |  | Internal corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives.
| Lead (ppb) | 15 | 0.2 |  | Yes | ND |  |  | 2019-07-01 | 0 |  | Internal corrosion of household plumbing systems; discharges from industrial manufacturers; erosion of natural deposits.
| 4 Other Water Quality Parameters | MCL | PHG or MCLG | Average | Met Regulation? | Ropollo Well 1 | Date of Most Recent Sample | Ropollo Well 2 | Date of Most Recent Sample | Ropollo Well 3A | Date of Most Recent Sample | Dunes Well 03A | Date of Most Recent Sample | Dunes Well 4 | Salmon Creek Well | Date of Most Recent Sample | Bay Flat Well | Date of Most Recent Sample
| Arsenic As (ppb) | 10 | 10 | 2.18 | Yes | 4.9 | 2015-12-17 | N/A |  | < 2.0 | 2018-12-13 | ND | 2015-12-23 | < 2.0 |  | 2018-12-13 | < 2.0 | 2017-10-19 | Erosion of natural deposits; runoff from orchards; glass & elctronics production wastes.
| Chromium Cr (ppb) | 100 | 100 | ND | Yes | ND | 2015-12-17 | N/A |  | < 10 | 2018-12-13 | ND | 2015-12-23 | ND |  | 2015-12-17 | < 10 | 2017-10-19 | Dischage from steel and pulp mills and chrome plating, erosion of natural deposits.
| Total Alkalinity as CaCO3 (ppm) | N/A | N/A | N/A | N/A | 180 | 2019-07-18 | N/A |  | 180 | 2018-12-13 | 140 | 2019-07-18 | 170 |  | 2019-07-30 | 200 | 2017-10-19 | N/A
| Bicarbonate as HCO3 (ppm) | N/A | N/A | N/A | N/A | 210 | 2019-07-18 | N/A |  | 220 | 2018-12-13 | 180 | 2019-07-18 | 220 |  | 2019-07-30 | 250 | 2017-10-19 | N/A
| Hardness as CaCO3 (ppm) | N/A | N/A | N/A | N/A | 549 | 2019-07-18 | N/A |  | 736 | 2018-12-13 | 184 | 2019-07-18 | 144 |  | 2019-07-30 | 230 | 2017-10-19 | Sum of polyvalent cations present in the water, generally magnesium and calcium, and are usually naturally occuring.
| Calcium Ca (ppm) | N/A | N/A | N/A | N/A | 130 | 2019-07-18 | N/A |  | 160 | 2018-12-13 | 53 | 2019-07-18 | 46 |  | 2019-07-30 | 49 | 2017-10-19 | N/A
| Iron Fe (ppb) | 300 | 300 | 206 | No | <100 | 2019-07-18 | N/A |  | 510 | 2019-06-06 | <100 | 2019-07-18 | 120 |  | 2019-07-30 | 200 | 2019-01-31 | Leaching from natural deposits; industrial wastes
| Magnesium Mg (ppm) | N/A | N/A | N/A | N/A | 56 | 2019-07-18 | N/A |  | 79 | 2018-12-13 | 13 | 2019-07-18 | 11 |  | 2019-07-30 | 26 | 2017-10-19 | N/A
| Manganese Mn (ppb) | 50 | 50 | 72 | No | 100 | 2019-07-18 | N/A |  | 220 | 2019-03-21 | <20 | 2019-07-18 | <20 |  | 2019-07-30 | ND | 2019-01-31 | Leaching from natural deposits.
| pH | N/A | N/A | N/A | N/A | 7.86 | 2019-07-18 | N/A |  | 7.35 | 2018-12-13 | 7.76 | 2019-07-18 | 7.65 |  | 2019-07-30 | 8.07 | 2017-10-19 | N/A
* Sampling schedule in accordance with BBPUD's Source Chemical Monitoring Requirements as issued by California State Water Resource Control Board.
Key Terms
| DBP - disinfection by-products. These are formed when chlorine and/or ozone reacts with natural consistuents in water. Trihalomethanes (THMs), haloacetic acids (HAAs) and bromate are disinfection by-products. | [5 empty] | PHG - Public Health Goal. The level of a contaminant in drinking water below which there is no known or expected risk to health. Public health goals are set by the California Environmental Protection Agency.
| MCL - maximum contaminant level. The highest Level of a contaminant that is allowed in drinking water. Primany MCLs are set as close to the PHGs or MCLGs as is economically and technologically feasible. Secondary MCLs are set to protect odor, taste and appearance of drinking water. | [5 empty] | Regulatory action level - The concentration which, if exceeded, triggers treatment or other requirements that a water system must follow.
| MCLG - Maximum contaminant level goal. The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs are set by the U.S. Environmental Protection Agency. | [5 empty] | TOC - Total organic carbon. A measure of organic compunds that could form by-products after disinfection.
| MRDL - Maximum residual disinfectant level. The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants. | [5 empty] | Turbidity - A measure of the cloudiness of water. Turbidity is monitored because it is a good indication of groundwater quality and a high turbidity can hinder the effectivness of disinfectants.
| MRDLG - Maximum residual disinfectant level goal. The level of drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants. | [5 empty] | TT - Treatment technique. A required process intended to reduce the level of a contaminant in drinking water.
| Notification level - A health-based advisory level established by the California Department of Public Health for chemicals in drinking water that lack MCLs. | [5 empty] | 90th percentile - A measure that indicates 90 percent of the samples had a lower result.
| Primary drinking water standard - These standards regulate contaminants that affect health by setting MCLs and MRDLs along with their monitoring, reporting and water treatment requirements. | [5 empty] | Please see the attached public notification letter
A source water assessment was conducted by the California Department of Health Services in March 2002. This report is avaialble at the District office. From the assessments it was determined that the Salmon Creek Wells are the most vulnerable to grazing, the Bodega Dunes Wells are the most Vulnerable to septic systems and sewer collection systems, and the Roppolo Wells are the most vulnerable to automobile gas stations.
Disclosures required per California Drinking Water Regulations Title 22 Chapter 15 Article 20 § 64481
The source of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally-occuring minerals and in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.
Contaminants that may be present in source water include:
Microbial contaminants, such as viruses and bacteria, that may come from sewage treatment plants, spetic systems, agricultural livestock operations, and wildlife.
Inorganic contaminants, such as salts and metals, that can be naturally-occuring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining or farming.
Pesticides and herbicides, that may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.
Organic chemical contaminants, including synthetic and volatile organic chemicals, that are by-products of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, agricultural application, and septic systems.
Radioactive contaminants, that can be naturally-occuring or be the result of oil and gas production and mining activities.
In order to ensure tap water is safe to drink, the U.S. Environmental Protection Agency (USEPA) and the California Department of Public Health (Department) prescribe regulations that limit the amount of certain contaminants in water provided by public water systems. Department regualtions also establish limits for contaminants in bottled water that provide the same protection for public health.
Drinking water, including bottled water, may resonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the USEPA's Safe Drinking Water Hotline at (1-800-426-4791).
Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemothereapy, persons who have undergone organ transpants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. USEPA / Centers for Disease Control (CDC) guidleines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (1-800-426-4791).
https://www.bodegabaypud.com/wp-content/uploads/2020/03/BBPUD-2019-CCR.pdf

## 2018 CCR worksheet
1 Primary Constituents | MCL | PHG or MCLG | Average | Met Regulation? | Ropollo Well 1 | Ropollo Well 2 | Ropollo well 3A | Dunes Well 03A | Dunes Well 4 | Salmon Creek Well
Microbial Constituents
Total Coliform in Distribution System | >1 positive/mo | 0 | 0 | Yes
Fecal Coliform or E. coli | positive sample and positive repeat sample | 0 | 0 | Yes
Inorganic Constituents
Aluminum Al (ppb) | 1000 | 600 | ND | Yes
Fluoride F (natually occuring) (ppm) | 2 | 1 | 0.11 | Yes
Nitrate NO3 (ppm) | 45 as Nitrate |  | 4.14 | Yes
Organic Constituents
Total Trihalomethanes (TTHMs) (ppb) | 80 | NS |  | Yes
2 Constituents Which Have Secondary MCLs
Aluminum Al (ppb) | 1000 | 600 | ND | Yes
Chloride Cl (ppm) | 500 | NS | 204.8 | Yes
Color, color units | 15 | NS | 17.8 | No
Odor-Threshold Odor Number (T.O.N.) | 3 | NS | 2.84 | Yes
Turbidity (NTU) | 5 | NS | 3.35 | Yes
Specific Conductance (umhos/cm) | 1600 | NS | 1016 | Yes
Sulfate SO4 (ppm) | 500 | NS | 24.4 | Yes
Sodium Na (ppm) | none | NS | 58.2 | N/A
Total Disolved Solids (ppm) | N/A | NS | 640 | N/A
3 Lead and Copper | AL | PHG |  |  | 90th Percentile Level Found |  | # of Sites (out of 20) found above the AL
Copper (ppb) *** | 1300 | 300 |  | No
Lead (ppb) | 15 | 0.2 |  | Yes
4 Other Water Quality Parameters
Arsenic As (ppb) | 10 | 10 | 1.36 | Yes
Chromium Cr (ppb) | 100 | 100 | ND | Yes
Total Alkalinity as CaCO3 (ppm) | N/A | N/A | 166 | N/A
Bicarbonate as HCO3 (ppm) | N/A | N/A | 202 | N/A
Hardness as CaCO3 (ppm) | N/A | N/A | 326.4 | N/A
Calcium Ca (ppm) | N/A | N/A | 78.6 | N/A
Iron Fe (ppb) | 300 | N/A | 120 | Yes
Magnesium Mg (ppm) | N/A | N/A | 32.4 | N/A
Manganese Mn (ppb) | 50 | N/A | 63.4 | No
pH | N/A | N/A | 7.7 | N/A