## 2024 Consumer Confidence Report

| Water System Name: | EAST OROSI #5401003 | Report Date: | JULY 1, 2025 |
| --- | --- | --- | --- |

We test the drinking water quality for many constituents as required by State and Federal Regulations.  This report shows the results of our monitoring for the period of January 1 2024 - December 31, 2024.

Este informe contiene información muy importante sobre su agua potable.  Tradúzcalo ó hable con alguien que lo entienda bien.

| Type of water source(s) in use: | WATER WELL |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Name & location of source(s): | West Well on Road 136 – Iona Road Well |  |  |  |  |  |
| Drinking Water Source Assessment information: |  | Information In Office |  |  |  |  |
| Time and place of regularly scheduled board meetings for public participation: |  |  |  |  |  |  |
| For more information, contact: | Ralph Gutierrez |  |  | Phone: |  | ( 559 ) 901-6097 |
| TERMS USED IN THIS REPORT: |  |  |  |  |  |  |  |
| Maximum Contaminant Level (MCL): The highest level of a contaminant that is allowed in drinking water. Primary MCLs are set as close to the PHGs (or MCLGs) as is economically and technologically feasible. Secondary MCLs are set to protect the odor, taste, and appearance of drinking water. Maximum Contaminant Level Goal (MCLG): The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs are set by the U.S. Environmental Protection Agency (USEPA). Public Health Goal (PHG): The level of a contaminant in drinking water below which there is no known or expected risk to health. PHGs are set by the California Environmental Protection Agency. Maximum Residual Disinfectant Level (MRDL): The level of a disinfectant added for water treatment that may not be exceeded at the consumer’s tap. Maximum Residual Disinfectant Level Goal (MRDLG): The level of a disinfectant added for water treatment below which there is no known or expected risk to health. MRDLGs are set by the U.S. Environmental Protection Agency. |  |  | Primary Drinking Water Standards (PDWS): MCLs and MRDLs for contaminants that affect health along with their monitoring and reporting requirements, and water treatment requirements. Secondary Drinking Water Standards (SDWS): MCLs for contaminants that affect taste, odor, or appearance of the drinking water. Contaminants with SDWSs do not affect the health at the MCL levels. Treatment Technique (TT): A required process intended to reduce the level of a contaminant in drinking water. Regulatory Action Level (AL): The concentration of a contaminant which, if exceeded, triggers treatment or other requirements that a water system must follow. Variances and Exemptions: Department permission to exceed an MCL or not comply with a treatment technique under certain conditions. ND: not detectable at testing limit ppm: parts per million or milligrams per liter (mg/L) ppb: parts per billion or micrograms per liter (ug/L) ppt: parts per trillion or nanograms per liter (ng/L) pCi/L: picocuries per liter (a measure of radiation) |  |  |  |  |

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

- Microbial contaminants, such as viruses and bacteria, that may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

- Inorganic contaminants, such as salts and metals, that can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

- Pesticides and herbicides, that may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

- Organic chemical contaminants, including synthetic and volatile organic chemicals, that are byproducts of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, agricultural application, and septic systems.

- Consistent with 40 CFR sections 141.84(a)(7) and 40 CFR 141.153(h)(8)(ii), CCRs must include a statement that service line inventory has been prepared and include instructions to access the publicly available service line inventory, including inventories consisting of only a statement that the distribution system has no lead. If the service line inventory is online, the CCR must include the direct link to the inventory. .  Service Line Inventory completed and can be requested at the front office.

In order to ensure that tap water is safe to drink, the USEPA and the state Department of Health Services (Department) prescribe regulations that limit the amount of certain contaminants in water provided by public water systems.  Department regulations also establish limits for contaminants in bottled water that must provide the same protection for public health.

Tables 1, 2, 3, 4, and 5 list all of the drinking water contaminants that were detected during the most recent sampling for the constituent.  The presence of these contaminants in the water does not necessarily indicate that the water poses a health risk.  The Department allows us to monitor for certain contaminants less than once per year because the concentrations of these contaminants do not change frequently.  Some of the data, though representative of the water quality, are more than one year old.

| Table 1 - sampling results showing the detection of coliform bacteria |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Microbiological Contaminants (to be completed only if there was a detection of bacteria ) | Highest No. of detections | No. of months in violation |  | MCL |  | MCLG |  | Typical Source of Bacteria |  |
| Total Coliform Bacteria | (In a mo.) 0 | 0 |  | More than 1 sample in a month with a detection |  | 0 |  | Naturally present in the environment |  |
| E.Coli | 0 | 0 |  | Routine and repeat sample are total coliform-positive a either is E.Coli positive or system fails to take repeat samples following E.Coli positive routine samples or system fails to analyze total coliform-positive repeat sample for E.Coli |  |  |  | Human and animal waste |  |
| Table 2 - sampling results showing the detection of Lead and copper |  |  |  |  |  |  |  |  |  |  |
| Lead and Copper (to be completed only if there was a detection of lead or copper in the last sample set) | No. of samples collected |  | 90th percentile level detected | No. sites exceeding AL | AL | PHG | No. of Schools Requesting Lead Sampling |  | Typical Source of Contaminant |  |
| Lead (ppb) 8/16/24 9/18/24 | 10 |  | ND | 0 | 15 | 0.2 | 0 |  | Internal corrosion of household water plumbing systems; discharges from industrial manufacturers; erosion of natural deposits |  |
| Cop/per (ppm) 9-18-23 9-19-23 9-22-23 | 10 |  | ND | 0 | 1.3 | .3 | N/A |  | Internal corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives |  |
| TAble 3 - sampling results for sodium and hardness |  |  |  |  |  |  |  |  |  |
| Chemical or Constituent (and reporting units) | Sample Date |  | Level Detected | Range of Detections | MCL | PHG (MCLG) |  | Typical Source of Contaminant |  |
| Sodium (ppm) | 3/24/24 |  | 19 | 19 | none | none |  | Generally found in ground & surface water |  |
| Hardness (ppm) | 3/28/24 |  | 180 | 180 | none | none |  | Generally found in ground & surface water |  |

*Any violation of an MCL or AL is marked with an  asterisk.  Additional information regarding the violation is provided later in this report.

| TAble 4 - detection of contaminants with a Primary Drinking Water Standard |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Chemical or Constituent (and reporting units) | Sample Date | Level Detected |  | Range of Detections |  | MCL [MRDL] |  | PHG (MCLG) [MRDLG] | Typical Source of Contaminant |
| Nitrates ppm 2024 | 1st, 2nd, 3rd, 4th Qtrs | 10.8 |  | 10 - 11 |  | 10 |  |  | Runoff and leaching from fertilizer use; leaching from septic tanks and sewage; erosion of natural deposits |
| Flouride ppm | 3/28/22 3/24/23 | .12 .12 |  | .12 .12 |  | 2.0 |  | 1 | Erosion of natural deposits; water additive that promotes strong teeth; discharge from fertilizer and aluminum factories |
| Perchlorate ppb Chromium (hexavalent) ug/L Arsenic | 3/23/22 5/31/24 12/5/24 3/23/22 | 3.6 .32 2.4 |  | 3.6 ND - .47 2.4 |  | 6 10 |  | 1 | Perchlorate has been shown to interfere with uptake of iodide by the thyroid gland, and to thereby reduce the production of thyroid hormones, leading to adverse affects associated with inadequate hormone levels. Thyroid hormones are needed for normal prenatal growth and development of the fetus, as well as for normal growth and development in the infant and child. In adults, thyroid hormones are needed for normal metabolism and mental function. Erosion of natural deposits; transformation of naturally occurring trivalent chromium to hexavalent chromium by natural processes and human activities such as discharges from electroplating factories, leather tanneries, wood preservation, chemical synthesis. Some people who drink water containing hexavalent chromium in excess of the MCL over many yeas may have an increased risk of getting cancer. Some people who drink water containing arsenic in excess of the MCL, over many years may experience skin damage or circulatory system problems, and may have an increased risk of getting cancer |
| Barium ppm | 3/24/23 | .055 |  | .055 |  | 1 |  | 2 | Discharge of oil drilling wastes and from metal refineries; erosion of natural deposits |
| Gross Alpha PCi/L | 9/24/24 | 2.01 |  | 2.01 |  | 15 |  |  | Erosion of natural deposits |
| Uranium pCi/L | 7/22/15 | 1.5 |  | 1.5 |  | 20 |  | .043 | Erosion and natural deposits |
| Radium 226 | 1st & 2nd Qtr | .86 |  | .62 – 1.11 |  | 5 |  | 5 | Erosion and natural deposits |
| Radium 228 2, 4 Qtr. Pci/L | 4th Qtr | .123 |  | ND -231 |  | 5 |  | 5 | Erosion and natural deposits |
| Total Radium | 1st, 2nd Qtr | .30 |  | .28 - .032 |  | 5 |  | 5 | Erosion and natural deposits |
| Table 5 DETECTION OF CONTAMINANTS WITH SECONDARY DRINKING WATER STANDARD |  |  |  |  |  |  |  |  |  |
| Chemical or Constituent (and reporting units) | Sample Date | Level Detected |  | Range of Detections |  | MCL |  | PHG (MCLG) | Typical Source of Contaminant |
| Sulfate ppm | 3/28/24 | 2.0 |  | 2.0 |  | 500 |  |  | Runoff/leaching from natural deposits industrial wastes |
| Total Dissolved Solids (TDS) ppm | 3/23/22 | 470 |  | 470 |  | 1000 |  |  | Runoff/leaching from natural deposits |
| Specific Conductance uS/cm | 3/28/24 6/28/24 | 480 760 |  | 430 490 |  | 1600 |  |  | Substances that form ions when in water; seawater influence |
| Chloride ppm | 3/28/24 | 18 |  | 18 |  | 500 |  |  | Runoff/leaching from natural deposits; seawater influence |
| Manganese ug/L Totall dissolved solids mg/L Iron ppb | 12/5/24 9/24/24 6/28/24 5/28/24 6-28/24 9-24/24 12-5/24 | .43 340 ND 3400 ND - 1300 |  | ND – 150 340 1133 |  | 500 300 |  |  | Leaching from natural deposits; industrial wastes |
| TABLE 6 – From Distribution System |  |  |  |  |  |  |  |  |  |
| Chemical or Constituent (and reporting units) | Sample Date |  | Level Detected |  | Notification Level |  | Health Effects Language |  |  |
| TTHMs (Total Trihalomethanes ppb | 5/24/19 |  | 3.2 |  | 80 |  | By-product of drinking water disinfection |  |  |
| Haloacetic Acids ppb | 5/24/19 |  | ND |  | 60 |  | By-product of drinking water disinfection |  |  |

*Any violation of an MCL, MRDL, or TT is asterisked.  Additional information regarding the violation is provided later in this report.

Additional General Information on Drinking Water

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that the water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the USEPA’s Safe Drinking Water Hotline (1-800-426-4791).

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. USEPA/Centers for Disease Control (CDC) guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (1-800-426-4791).

Nitrate in drinking water at levels above 10 mg/L is a health risk for infants of less than six months of age. Such nitrate levels in drinking water can interfere with the capacity of the infant’s blood to carry oxygen, resulting in serious illness; symptoms include shortness of breath and blueness of the skin. Nitrate levels above 10 mg/L may also affect the ability of the blood to carry oxygen in other individuals, such as pregnant women and those with specific enzyme deficiencies. If you are caring for an infant, or you are pregnant, you should ask advice from your health care Provider...

Summary Information for Contaminants Exceeding an MCL, MRDL, or AL, or a Violation of Any Treatment Technique or Monitoring and Reporting Requirement