
[image: image1.jpg]treehouse

TRUE ALMOND GOODNESS




Treehouse California Almonds, LLC
Consumer Confidence Report for 2020
Treehouse California Almonds well water consumer confidence report for Earlimart CA5403139.  Prepared July 2020 for the period of January 1 2020 - December 31 2020 and does include earlier monitoring data.
Name, Location, and Type of Water Source: This report covers the two active wells Treehouse utilizes at the Earlimart facility located at 6914 Road 160, Earlimart, CA, 93219, which are on site and used for almond blanching, plant sanitation and restroom needs.
Drinking water assessment:   Treehouse California Almonds certifies that the test results meet requirements for our use in the manufacturing of almonds.  Water test were sampled by McMor Chlorination and tested at BC laboratories a certification lab.
Public Participation: This well water is privately owned and controlled for water use only at Treehouse Almonds.  No public meetings are held; thus, no public participation is encouraged and has no effect on the decision made in relation to our water.  This report will be written in English and posted in our employee break area for access to all persons at Treehouse Earlimart.
Contact:  Treehouse California Almonds, LLC is a corporation that is privately owned, and who owns the well.  Brian Ball is the manager that would answer any questions in regard to the water system or the confidence report; you may contact him at (559) 757-5020.  If he is unavailable one may contact Jonathan Meyer. 

Definitions:  MCL = Maximum Contamination Level.  

Levels of Detected Contaminants:  Given within the tables below are found levels of contaminants found at Treehouse California Almonds Earlimart facility.  

Summary:  Treehouse California Water is clean and drinkable as per the California state water resources control board definitions.  TCA meets all MRL – maximum residue levels for all bacteria, heavy metals and pesticides.  It is safe to drink as well as use in almond blanching and cleaning.
Table 1: Microbiological Contaminants (Total Coliform Rule)
	Contaminant
	Month with highest counts
	Months with two or more positives/month
	Source

	Coliform
	August 
	August only 
	Naturally present in the environment

	E. coli
	Absent
	Absent
	Human and animal Fecal waste


Table 2: Lead and Copper

	Contaminant
	Method
	Result 90% level
	Action level
	Sites that exceeded AL
	Source

	Copper (Cu) five samples
	E200.7

EPA 200.8
	<10,.003 mg/L
	(50)1.3 mg/L
	0
	Internal pipe corrosion, erosion of natural deposits & leaching from wood preservatives

	Lead (Pb) five samples
	E200.8

EPA 200.8
	<1.0, .0052 mg/L
	(5).015 mg/L
	0
	Internal pipe corrosion, discharges from industrial manufactures & erosion of natural deposits


Table 3: Sodium and Hardness

	Contaminant
	Method
	Result
	Range
	Source

	Sodium (Na)
	EPA 200.7
	68 mg/L
	68 mg/L
	Salt present in water is naturally occurring

	Hardness (CaCO3)
	SM2340 B
	150mg/L
	150 mg/L
	Sum of Polyvalent cations in water, generally Mg & Ca and are naturally occurring

	* Hardness tested for Boiler, water is always hard with out treatment.  Water used in the boiler is conditioned.


Table 4: Primary Drinking Water Standard (MCL, MRDL, or TT)

	Contaminant
	Unit
	Level
	Range
	MCL 
	Source

	Copper (Cu)
	ug/L
	<10
	.0002-.0064
	1000
	Internal pipe corrosion, erosion of natural deposits & leaching from wood preservatives

	Fluoride 
	ug/L
	0.11
	0.11
	2.0
	Erosion of natural deposits

	Nitrate (NO3)
	ppm
	32
	 32
	45
	Runoff & leaching from fertilizer

	Nitrate as N (E300.0)
	mg/L
	8.1
	8.0-8.1
	10
	Runoff & leaching from fertilizer

	Nitrite as N (E353.2)
	mg/L
	<0.05, <.10
	0.05-.10
	1.0
	Runoff & leaching from fertilizer

	Uranium
	pCi/L
	1.0
	1.0
	20
	Erosion of natural deposits

	Gross Alpha
	pCi/L
	3.0
	3.0
	15
	Erosion of natural deposits


Table 5: Secondary Drinking Water Standard (MCL)

	Contaminant
	Unit
	Level
	Range
	MCL 
	Source / Health Effects

	Iron (Fe)
	ppb
	2400
	2400
	300
	Erosion of natural deposits

	Specific Conductance
	µS/cm
	900
	900
	1600
	Substances that form ions in when in water

	Chloride
	ppm
	390
	390
	500
	Runoff/leaching of natural deposits

	Odor – Threshold
	Units
	0
	0
	3
	Natural occurring organic material

	Manganese (E200.7)
	mg/L
	9.3
	9.3
	50
	High levels have been shown to affect the nervous system

	Sulfate (SO4) (E300.0)
	mg/L
	80
	80
	500
	Runoff/leaching of natural deposits

	Turbidity 
	NTU
	0.22
	0.22
	5
	Soil runoff


Table 6: Unregulated Contaminants

	Contaminant
	Unit
	Level
	Range
	MCL 
	Health Effects

	Boron
	ug/L
	900
	900
	1000
	The babies of some pregnant women who drink water containing boron in excess of the notification level may have an increase risk of developmental effects, based on studies in lab animals.


Table 7: Other Contaminants

	Contaminant
	Unit
	Level
	Range
	MCL 
	Health Effects

	1,2-Dichloroethane-d4
	ug/L
	<0.50
	0.5
	10
	Some people who use water containing 1,2-dichloroethane in excess of the MCL over many years may have an increased risk of getting cancer

	Alachlor
	ug/L
	<0.20
	<0.20
	2
	

	Ammonia
	ug/L
	0.15
	0.15
	
	

	Atrazine
	ug/L
	<0.30
	<0.30
	1
	

	Bicarbonate
	ug/L
	380
	380
	
	

	Bis(2-Ethylhexyl)phthalate
	ug/L
	<3.0
	<3.0
	4
	

	Benzo[a]pyrene
	ug/L
	<0.10
	<0.10
	0.2
	

	Bromodichloromethane
	ug/L
	<0.5
	<0.5
	1
	

	Bromoform
	ug/L
	<0.5
	<0.5
	1
	

	Calcium (Ca)
	ug/L
	45
	45
	
	

	Carbonate
	ug/L
	<2.5
	2.5
	
	

	Carbon tetrachloride
	ug/L
	<0.50
	<0.50
	1
	

	Chloroform
	ug/L
	<0.5
	<0.5
	1
	

	Chlorobenzene
	ug/L
	<0.50
	<0.50
	70
	

	Dichlorobenzene
	ug/L
	<0.50
	<0.50
	0.50
	

	Cic-1,2-Dichloroethene
	ug/L
	<0.50
	<0.50
	6
	

	cis-1,-3-Dichloropropene
	ug/L
	<0.50
	<0.50
	0.5
	

	1,3-Dichlorobenzene
	ug/L
	<0.50
	<0.50
	0.50
	

	Dichlorodifloromethane
	ug/L
	<0.50
	<0.50
	0.50
	

	Dibromochloromethane
	ug/L
	<0.5
	<0.5
	1
	

	Ethylbenzene
	ug/L
	<0.50
	<0.50
	300
	

	Ethylene dibromide
	ug/L
	<0.010
	<0.010
	0.05
	

	Hexachlorobenzene
	ug/L
	<0.20
	<0.20
	1
	

	Hexachlorocyclopentadiene
	ug/L
	<1.0
	<1.0
	50
	

	Hydroxide
	ug/L
	ND
	ND
	
	

	Toluene-d8
	ug/L
	<.50
	.50
	150
	

	Total Trihalomethanes
	ug/L
	<2.0
	<2.0
	80
	

	Dibromoacetic Acid
	ug/L
	<1.0
	 <1.0
	1
	

	Dichloroacetic Acid
	ug/L
	<1.0
	<1.0
	1
	

	Magnesium (Mg)
	ug/L
	9.3
	9.3
	
	

	Molinate
	ug/L
	<0.50
	<0.50
	20
	

	Monobromoacetic Acid
	ug/L
	<1.0
	<1.0
	1
	

	Monochloroacetic Acid
	ug/L
	<1.0
	<1.0
	2
	

	Methyl t-butyl ether
	ug/L
	<0.50
	<0.50
	13
	

	Methylene chloride
	ug/L
	<0.50
	<0.50
	5
	

	pH, Laboratory
	pH
	8.09
	8.09
	
	

	Phosphate
	ug/L
	44
	44
	
	

	Potassium (K)
	ug/L
	3.6
	3.6
	
	

	Radium 226
	pCi/L
	ND
	ND
	1.0
	

	Radium 228
	pCi/L
	ND
	ND
	1.0
	

	Simazine
	ug/L
	<0.30
	<0.30
	4
	

	Strontium 90
	pCi/L
	ND
	ND
	2.0
	

	Styrene
	ug/L
	<0.50
	<0.50
	100
	

	Thiobencarb
	ug/L
	<0.50
	<0.50
	70
	

	Tritium
	pCi/L
	ND
	ND
	1000
	

	Trichloroacetic Acid
	ug/L
	<1.0
	<1.0
	1
	

	Trans-1,3-Dichloropropene
	ug/L
	<0.50
	<0.50
	0.5
	

	Trans-1,2-Dichloroethene
	ug/L
	<0.50
	<0.50
	10
	

	1,2-Dibromo-3-chloropropane
	ug/L
	<0.005
	<0.010
	0.20
	

	1,2-Dichloroethane-d4
	%
	96.1
	96.1
	125
	

	1,2-Dichlorobenzene
	ug/L
	<0.50
	<0.50
	600
	

	1,4-Dichlorobenzene
	ug/L
	<0.50
	<0.50
	5
	

	1,2-Dichloroethene
	ug/L
	<0.50
	<0.50
	5
	

	1,1-Dichloroethene
	ug/L
	<0.50
	<0.50
	0.50
	

	1,2-Dichloropropane
	ug/L
	<0.50
	<0.50
	5
	

	Total 1,3-Dichloropropane
	ug/L
	<0.010
	<0.50
	0.50
	

	1,1,2,2-Tetrachloroethane
	ug/L
	<0.50
	<0.50
	1
	

	Tetrachlorethene
	ug/L
	<0.50
	<0.50
	5
	

	Touene
	ug/L
	<0.50
	<0.50
	150
	

	Touene-8B
	%
	98.5
	98.5
	120
	

	1,2,4-Trichlorobenzine
	ug/L
	<0.50
	<0.50
	5
	

	1,1,1-Trichloroethane
	ug/L
	<0.50
	<0.50
	200
	

	1,1,2-Trichloroethane
	ug/L
	<0.50
	<0.50
	5
	

	Trichloroethene
	ug/L
	<0.50
	<0.50
	5
	

	Trichlorofluoromethane
	ug/L
	<0.50
	<0.50
	150
	

	1,12-Trichloro-1,2,2-trifluoroehahane 
	ug/L
	<0.50
	<0.50
	1200
	

	4-Bromofluorobenzene
	%
	95.6
	95.6
	120
	

	2,3-Dibromopropionic acid
	%
	30.6
	30.6
	130


	

	Perchlorate
	ug/L
	<4.0
	<4.0
	6
	

	Hexavalent Chromium
	ug/L
	<2.0, 2.7
	<2.0-2.7
	10
	

	1,3-Dichlorpropene
	ug/L
	<.50
	.5
	
	

	Vinyl chloride
	ug/L
	<0.50
	<0.50
	0.50
	

	Total Xylenes
	ug/L
	<0.50
	<0.50
	1750
	


Special Language Section:

  Nitrate: Nitrate in drinking water at levels above 45mg/L is a health risk for infants on less than six months of age.  Such nitrate levels in drinking water can interfere with the capacity of the infant’s blood to carry oxygen resulting in serious illness; symptoms include shortness of breath and blueness of the skin.  Nitrate levels above 45 mg/L may also affect the ability of the blood to carry oxygen in other individuals, such as pregnant women and those with specific enzyme deficiencies.  If you are caring for an infant, or you are pregnant, you should ask advice form your health car provider. 

Nitrate levels may rise quickly for short periods of time because of rainfall or agricultural activity.

  Arsenic: While your drinking water meets the federal and state standard for arsenic, it does contain low levels of arsenic.  The arsenic standard balances the current understanding of arsenic’s possible health effects of low levels of arsenic, which is a mineral known to cause cancer in humans at high concentrations and is linked to other health effects such as skin damage and circulatory problems. 

  Lead: If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and plumbing.  When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using the water for drinking or cooking.  Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://wwwl.epa.gov/safewater.lead. 
\\tcaapps\Quality\4 Site Standards\4.10 Water Plans & Reports\Well Water Reports2020\20 Consumer Confidence Report Earlimart.doc
Page 2 of 3

